# Invitation to Bid – RIDLEY PARK BLEACHERS

# Solicitation # 444-0816-07

ADDENDUM #1

Ridley Park Sports Complex Expansion – Softball Bleacher Package 2

Columbia, Tennessee

NARRATIVE:

This addendum includes clarification of material requirements in Part 1, Products of the specifications as well as revised plans and engineering comments / responses dated August 26th, 2016.

Failure to acknowledge this addendum in the Bid Form may result in Bid being deemed non-responsive.

Where any original item is amended, voided or superseded hereby, the provision of such item not so specifically amended, voided or superseded shall remain in effect.

CLARIFICATION:

- See the attached revised plans and response letter to engineering and codes comments.

- Part 1  Products, subsection 2.02 Materials , A.8. states, “Welded understructure of any kind will not be accepted.” Omit item A.8 in this section.

- If welds are used, the bleacher must use a minimum 4” x 4” aluminum angle as specified in Part 1 Products, Section 2.02 Materials, Item A.2. or provide documentation that materials used have equivalent structural values from a structural engineer licensed in Tennessee.

- Item 6. TIME IS OF THE ESSENCE: Revise this sentence: “It is expected that work be completed on this project by February 6th, 2017 after the NOTICE TO PROCEED is issued (October 17th, 2016.)”

NOTE: Receipt of this addendum should be acknowledged on the bid form.

END OF ADDENDUM