## Sheet1
KUB ITEM NO. | TDOT ITEM NO. | DESCRIPTION | UNIT | ROADWAY QUANTITIES | GAS QUANTITIES | WATER QUANTITIES | WASTEWATER QUANTITIES | QTY. | UNIT PRICE | TOTAL PRICE
| 105-01 | CONSTRUCTION STAKES, LINES AND GRADES | LS | 1 |  |  |  | 1
| 201-01 | CLEARING AND GRUBBING | LS | 1 |  |  |  | 1
| 202-01.56 | REMOVAL OF STRUCTURES & OBSTRUCTIONS (CATCH BASINS) | LS | 1 |  |  |  | 1
| 202-02.21 | REMOVAL OF PIPE (STORM PIPE) | L.F. | 1316 |  |  |  | 1316
| 202-03 | REMOVAL OF RIGID PAVEMENT, SIDEWALK, ETC. | S.Y. | 365 |  |  |  | 365
| 202-03.01 | REMOVAL OF ASPHALT PAVEMENT | S.Y. | 2218 |  |  |  | 2218
| 203-01 | ROAD & DRAINAGE EXCAVATION (UNCLASSIFIED) | C.Y. | 950 |  |  |  | 950
| 203-03 | BORROW EXCAVATION (UNCLASSIFIED) | C.Y. | 100 |  |  |  | 100
| 203-06 | WATER | M.G. | 1 |  |  |  | 1
| 203-07 | FURNISHING & SPREADING TOPSOIL | C.Y. | 100 |  |  |  | 100
| 209-05 | SEDIMENT REMOVAL | C.Y. | 100 |  |  |  | 100
| 209-09.43 | CURB INLET PROTECTION (TYPE 4) | EACH | 28 | 1 | 1 | 1 | 31
| 209-40.33 | CATCH BASIN PROTECTION (TYPE D) | EACH | 8 | 1 | 1 | 1 | 11
| 303-01 | MINERAL AGGREGATE, TYPE A BASE, GRADING D | TON | 1447 | 41 | 33 | 68 | 1589
| 307-01.08 | ASPHALT CONCRETE MIX (PG64-22) (BPMB-HM) GRADING B-M2 | TON | 124 | 7 | 9 | 29 | 169
| 407-20.05 | SAW CUTTING ASPHALT PAVEMENT | L.F. | 3568 |  |  |  | 3568
| 411-01.10 | ACS MIX(PG64-22) GRADING D | TON | 750 | 3 | 4 | 13 | 770
| 415-01.02 | COLD PLANING BITUMINOUS PAVEMENT | S.Y. | 8320 |  |  |  | 8320
| 604-01.01 | CLASS A CONCRETE (ROADWAY) | C.Y. | 9 |  |  |  | 9
| 604-01.02 | STEEL BAR REINFORCEMENT (ROADWAY) | LB. | 275 |  |  |  | 275
| 604-01.04 | 1 1/2" STEEL PIPE HANDRAIL | L.F. | 65 |  |  |  | 65
| 607-02.02 | 15" CONCRETE PIPE CULVERT (CLASS III) | L.F. | 3 |  |  |  | 3
| 607-03.02 | 18" CONCRETE PIPE CULVERT (CLASS III) | L.F. | 2039 |  |  |  | 2039
| 607-05.02 | 24" CONCRETE PIPE CULVERT (CLASS III) | L.F. | 350 |  |  |  | 350
| 607-40.08 | CORRUGATED METAL PIPE ARCH (SIZE EQUIV. 48" ROUND) | L.F. | 3 |  |  |  | 3
| 607-57.06 | REINFORCED CONCRETE PIPE ARCH (58"X36") | L.F. | 22 |  |  |  | 22
| 611-01.02 | MANHOLES, > 4' - 8' DEPTH | EACH | 1 |  |  |  | 1
| 611-05.01 | TRENCH DRAINS | L.F. | 28 |  |  |  | 28
| 611-05.02 | 12IN PVC PIPE FOR TRENCH DRAINS | L.F. | 14 |  |  |  | 14
| 611-07.01 | CLASS A CONCRETE ( PIPE ENDWALLS) | C.Y. | 1.07 |  |  |  | 1.07
| 611-07.02 | STEEL BAR REINFORCEMENT (PIPE ENDWALLS) | LB. | 153 |  |  |  | 153
| 611-09.01 | ADJUSTMENT OF EXISTING CATCH BASIN | EACH | 1 |  |  |  | 1
| 611-09.03 | CAPPING EXISTING CATCHBASIN | EACH | 1 |  |  |  | 1
| 611-12.01 | CATCH BASINS, TYPE 12, 0' - 4' DEPTH | EACH | 7 |  |  |  | 7
| 611-12.02 | CATCH BASINS, TYPE 12, > 4' - 8' DEPTH | EACH | 9 |  |  |  | 9
| 611-14.02 | CATCH BASINS, TYPE 14, > 4' - 8' DEPTH | EACH | 1 |  |  |  | 1
| 611-42.01 | CATCH BASINS, TYPE 42, 0' - 4' DEPTH | EACH | 3 |  |  |  | 3
| 701-01.01 | CONCRETE SIDEWALK (4 ") | S.F. | 15000 | 225 | 225 | 225 | 15675
| 701-02 | CONCRETE DRIVEWAY | S.F. | 5514 |  | 225 | 225 | 5964
| 701-02.03 | CONCRETE CURB RAMP | S.F. | 1270 |  |  |  | 1270
| 702-01 | CONCRETE CURB | C.Y. | 2.5 | 5.3 |  | 6.6 | 14.4
| 702-03 | CONCRETE COMBINED CURB & GUTTER | C.Y. | 178 |  |  |  | 178
| 712-01 | TRAFFIC CONTROL | LS | 1 |  |  |  | 1
| 712-04.01 | FLEXIBLE DRUMS (CHANNELIZING) | EACH | 125 |  |  |  | 125
| 712-05.03 | WARNING LIGHTS (TYPE C) | EACH | 125 |  |  |  | 125
| 712-06 | SIGNS (CONSTRUCTION) | S.F. | 526 |  |  |  | 526
| 713-16.20 | SIGNS (R1-1, STOP) | EACH | 6 |  |  |  | 6
| 716-02.05 | PLASTIC PAVEMENT MARKING (STOP LINE) | L.F. | 206 |  |  |  | 206
| 716-02.06 | PLASTIC PAVEMENT MARKING (TURN LANE ARROW) | EACH | 2 |  |  |  | 2
| 716-02.09 | PLASTIC PAVEMENT MARKING (LONGITUDINAL CROSS-WALK) | L.F. | 210 |  |  |  | 210
| 716-13.02 | SPRAY THERMO PVMT MRKNG (60 mil) (6IN LINE) | L.M. | 2.4 |  |  |  | 2.4
| 717-01 | MOBILIZATION | LS | 0.6 | 0.1 | 0.2 | 0.1 | 1
| 740-11.02 | TEMPORARY SEDIMENT TUBE 12IN | L.F. | 5300 | 360 | 360 | 360 | 6380
| 801-01 | SEEDING (WITH MULCH) | UNIT |  |  | 1.85 | 2.52 | 4.37
| 801-03 | WATER (SEEDING & SODDING) | M.G. | 9 |  |  |  | 9
| 803-01 | SODDING (NEW SOD) | S.Y. | 904 |  |  |  | 904
UTILITY - GAS
1015 | 920-13.05 | Pre-Construction Site Video Recording - Gas | LS |  | 1 |  |  | 1
4000 |  | MDPE Gas Main Installation - Open Cut, exclusive of road boring, includes trench excavation providing no less than required minimun cover up to 8' maximum trench depth, pipe, fittings, bedding, testing and purging as required by section 15720 (The CONTRACTOR will furnish all gas line materials required for the gas line installation including tracer wire.). | [5 empty] | 0
4000 b. | 920-11 | MDPE Gas Main Installation - Open Cut 8" MDPE gas main, SDR 13.5 | LF |  | 75 |  |  | 75
4000 e. | 920-12 | MDPE Gas Main Installation - Open Cut 2" MDPE gas main, SDR 11 | LF |  | 795 |  |  | 795
4000 f. | 920-13 | Adder for full clean stone backfill of trench with compaction per Section 02321 for areas in or within 3' of pavement | LF |  | 870 |  |  | 870
4005 |  | Polyethlene Gas Tee & Valve Installation (complete all labor and installation of tees, couplings, reducers, other fittings as needed, valves, valve boxes, tracer wire, asphalt/concrete restoration, cleanup/restoration, pressure test as required by section 15720) | [5 empty] | 0
4005 b. | 920-10.04 | Polyethylene Gas Tee & Valve Installation 2” Polyethylene Main on New 2” Polyethylene Main Per KUB Fig. 15720-a2 | EA |  | 1 |  |  | 1
4010 |  | Tie-ins to Existing Gas Main / New Mains Tie-Ins & Valve Assemblies (complete all labor and installation for tie-ins to existing gas main including the installation of tees, couplings, reducers, valves, valve boxes, other fittings as needed, tracer wire, pressure test, backfill, asphalt/concrete restoration, cleanup/restoration as required by section 15720). | [5 empty] | 0
4010 c. | 920-11.04 | Tie-Ins to Existing Gas Main / New Mains Tie-Ins & Valve Assemblies 2” Polyethylene Straight Tie-In to 1 1/4" Polyethylene Main Per KUB Fig. 15720-x | EA |  | 1 |  |  | 1
4010 g. | 920-12.04 | Tie-Ins to Existing Gas Main / New Mains Tie-Ins & Valve Assemblies 8” Polyethylene Straight Tie-In to 8” Polyethylene Main Per KUB Fig. 15720-z8 | EA |  | 2 |  |  | 2
4010 g.2. | 920-13.04 | Tie-Ins to Existing Gas Main / New Mains Tie-Ins & Valve Assemblies 2” Polyethylene Tie-In to Existing 4” Polyethylene Main w/Valve Per KUB Fig. 15720-uu4 | EA |  | 1 |  |  | 1
4015 |  | Gas Valve Installation (complete installation per KUB standard drawings. Additional valves, if required, shall be installed at the direction of the OWNER's Resident Project Representative). The installation includes valve, valve box, including bedding, valve box installation, pipe connections, backfill as required, and necessary equipment as required to complete the item in accordance with the Drawings and Specifications required by Section 15720. | [5 empty] | 0
4015 b. | 920-14.04 | 8" IPS, MDPE Gas Valve Installation | EA |  | 1 |  |  | 1
4030 |  | Gas Service Installation- Short Side Service: The following unit prices will be utilized for the installation/full replacement of new or existing services for properties on the same side of the road as the gas main including up to 150' of pipe from the main to the meter location, tapping tee, valve, valve box, EFV, riser, couplings, tracer wire, tracer wire clip, riser protective sleeve, backfill, asphalt/concrete restoration, cleanup/restoration, pressure test and NGUS as required by Section 15345. | [5 empty] | 0
4030 b. | 920-15.04 | Gas Service Installation Short Side 1/2" IPS Residential Service Line with a 1 1/4" Riser on Polyethylene Main Per KUB Fig. 15345-b | EA |  | 5 |  |  | 5
4035 |  | Gas Service Installation- Long Side Service: The following unit prices will be utilized for the installation/full replacement of new or existing gas services for properties on the opposite side of the road as the gas main including the road bore, bore pipe, up to 150' of pipe from the longside property line to the meter location, tapping tee, valve, valve box, EFV, riser, tracer wire, tracer wire clip, riser protective sleeve, backfill, asphalt/concrete restoration, cleanup/restoration, pressure test and NGUS as required by Section 15345. | [5 empty] | 0
4035 b. | 920-16.04 | Gas Service Installation Long Side 1/2" IPS Residential Service Line with a 1 1/4" Riser on Polyethylene Main Per KUB Fig. 15345-b | EA |  | 15 |  |  | 15
4050 |  | Condemn Existing Gas Facilities: Condemn gas facilities, to include but not be limited to, the disconnecting, purging and sealing of existing facilities as indicated on the drawings, removal of valve boxes no longer in service and any above ground appurtenances, backfill, asphalt/concrete restoration, & cleanup/restoration. | [5 empty] | 0
4050 a. | 920-14.05 | Condemn Existing Gas Facilities | LS |  | 1 |  |  | 1
4065 |  | Temporary Gas Main Bypass (complete all labor and installation for Bypass including installation of tees, couplings, pipe, backfill, asphalt/concrete restoration, cleanup/restoration, pressure test, NGUS and Bypass condemn once work is complete as required by section 15720. | [5 empty] | 0
4065 a. | 920-17.04 | Temporary Gas Main Bypass -1" Bypass - Per KUB Fig. 15720-yy | EA |  | 3 |  |  | 3
6005 |  | Permanent Patching: | [5 empty] | 0
6005 b. | 920-14 | Pavement Repair, Base Course (Base Course Only) - Gas | LF |  | 1320 |  |  | 1320
6010 |  | Removal and Replacement: | [5 empty] | 0
6010 g. | 920-18.04 | Pipeline Marker Installation (Marker Furnished by Owner) | EA |  | 5 |  |  | 5
6045 | 920-15.05 | Cleanup Restoration & Closeout - Gas | LS |  | 1 |  |  | 1
UTILITY - WATER
1015 | 920-19.05 | Pre-Construction Site Video Recording - Water | LS |  |  | 1 |  | 1
3000 |  | Water Line
3000 f. | 920-16 | 8" Restrained Joint Water Line Under Pavement or Within 3' of Edge of Pavement Per Section 02321 | LF |  |  | 930 |  | 930
3000 h. | 920-17 | 6" Restrained Joint Water Line Under Pavement or Within 3' of Edge of Pavement Per Section 02321 | LF |  |  | 70 |  | 70
3010 |  | Water Valve Installation | [5 empty] | 0
3010 d. | 920-19.04 | Water Valve Installation 8" Gate Valve | EA |  |  | 6 |  | 6
3015 |  | Air Valves, Blowoff Valves, & Hydrants | [5 empty] | 0
3015 a. | 920-20.04 | 2" Blow-off Valve Assembly | EA |  |  | 1 |  | 1
3015 d. | 920-20.12 | Fire Hydrant Assembly | EA |  |  | 3 |  | 3
3020 |  | Tie-ins to Existing Facilities (complete all labor and installation for tie-ups including installation of tees, couplings, reducers, backfill, asphalt/concrete restoration, cleanup/restoration, pressure test, & tracer wire.) | [5 empty] | 0
3020 a. | 920-20.20 | Tie-Ins to Existing Facilities Sta. 0+00 Line '1': Tie into ex. 8" Cast Iron Line (Atlantic Ave. at Oswald St.) Tie-In #1 | EA |  |  | 1 |  | 1
3020 b. | 920-20.28 | Tie-Ins to Existing Facilities Sta. 0+47 Line '1': Tie into ex. 6" Cast Iron Line (Oswald St.) Tie-In #2 | EA |  |  | 1 |  | 1
3020 c. | 920-20.36 | Tie-Ins to Existing Facilities Sta. 0+00 Line '2': Tie into ex. 8" Cast Iron Line (Atlantic Ave at First Creek) Tie-In #3 | EA |  |  | 1 |  | 1
3020 d. | 920-20.44 | Tie-Ins to Existing Facilities Sta. 4+87 Line '2': Tie into ex. 8" HDPE Line (Atlantic Ave at Pacific St.) Tie-In #4 | EA |  |  | 1 |  | 1
3025 |  | Service Connections complete all labor and installation for service connections per KUB Specifications 02518, Part 2, including, but not limited to all associated fittings, piping, backfill, asphalt/concrete restoration, cleanup, etc. | [5 empty] | 0
3025 a. | 920-20.52 | Service Connection - Reconnection (service tap) - 1" and smaller | EA |  |  | 53 |  | 53
3025 h. | 920-20.60 | Service Connection - Meter well and lid, meter horn, and associated fittings - 1" and smaller | EA |  |  | 53 |  | 53
3025 o. | 920-18 | Service Connection - 3/4" copper service pipe | LF |  |  | 1900 |  | 1900
3025 p. | 920-19 | Service Connection - 1" HDPE service pipe | LF |  |  | 100 |  | 100
3025 q. | 920-20 | Service Connection - 2" service pipe | LF |  |  | 100 |  | 100
3030 |  | Retire Existing Water Facilities | [5 empty] | 0
3030 a. | 920-20.05 | Abandon Existing Mains - Water | LS |  |  | 1 |  | 1
3030 b. | 920-20.68 | Abandon Existing Valves, Air Valves, & Blowoff Assemblies | EA |  |  | 5 |  | 5
3030 c. | 920-20.13 | Abandon Existing Fire Hydrants | LS |  |  | 1 |  | 1
6005 |  | Permanent Patching: | [5 empty] | 0
6005 b. | 920-20.08 | Pavement Repair, Base Course (Base Course Only) - Water | LF |  |  | 2200 |  | 2200
6010 |  | Removal and Replacement: | [5 empty] | 0
6051 |  | District Meter Vaults - complete all labor and installation of meter vault per KUB Specifications 02950, including, but not limited to all associated fittings, piping, backfill, asphalt/concrete restoration, cleanup, landscaping, seeding, mulching, concrete patching etc. | [5 empty] | 0
6051 a. | 920-20.76 | District Meter Vaults: Meter Vaults: 5 - 7 Feet Deep 4' precast concrete manhole with eccentric cone (0-180 degrees) including standard 26" frame and cover | EA |  |  | 1 |  | 1
6051 b. | 920-20.84 | District Meter Tap: 2" tap on 8" main | EA |  |  | 1 |  | 1
7030 | 920-20.85 | Antenna Assemblies: complete all labor and installation for antenna assemblies per KUB Specification 02950 including but not limited to manhole wall penetrations, all associated conduit and fittings, meter well, non-metallic lid, backfill, asphalt/concrete restoration, cleanup, landscaping, etc. | EA |  |  | 1 |  | 1
UTILITY - WASTEWATER
1015 | 920-20.45 | Pre-Construction Site Video Recording - Wastewater | LS |  |  |  | 1 | 1
2115 |  | Gravity Sewer Pipe, PVC, 8 Inches, Paved | [5 empty] | 0
2115 a. | 920-20.16 | Gravity Sewer Pipe, PVC, 8 Inches, Paved 0 – 6 Feet Deep | LF |  |  |  | 142 | 142
2115 b. | 920-20.24 | Gravity Sewer Pipe, PVC, 8 Inches, Paved 6 – 8 Feet Deep | LF |  |  |  | 43 | 43
2420 | 920-20.86 | PVC Sewer Lateral Appurtenances | EA |  |  |  | 26 | 26
2425 |  | PVC Sewer Lateral, 6-Inch Diameter | [5 empty] | 0
2425 a. | 920-20.32 | PVC Sewer Lateral, 6-Inch Diameter, in Road | LF |  |  |  | 423 | 423
2425 b. | 920-20.40 | PVC Sewer Lateral, 6-Inch Diameter, in Easement | LF |  |  |  | 680 | 680
2435 |  | Manhole, Concrete, 4-Foot Diameter | [5 empty] | 0
2435 a. | 920-20.87 | Manhole, Concrete, 4-Foot Diameter, 0 - 6 Feet Deep | EA |  |  |  | 1 | 1
2435 b. | 920-20.88 | Manhole, Concrete, 4-Foot Diameter, 6 - 8 Feet Deep | EA |  |  |  | 1 | 1
2535 | 920-20.89 | Locate and Excavate Manhole | EA |  |  |  | 2 | 2
2630 | 920-20.53 | Sewer Flow Control | LS |  |  |  | 1 | 1
2640 | 920-10.03 | Flowable Fill - Wastewater | CY |  |  |  | 10 | 10
6005 |  | Permanent Patching: | [5 empty] | 0
6005 b. | 920-20.48 | Pavement Repair, Base Course (Base Course Only) - Wastewater | LF |  |  |  | 185 | 185
6010 |  | Removal and Replacement:
TOTAL BID
TOTAL BID (IN WORDS)
The bidder acknowledges receipt of the following addenda:
Addendum No._____________ |  | Date:___________________________________
Addendum No._____________ |  | Date:___________________________________
Addendum No._____________ |  | Date:___________________________________
Addendum No._____________ |  | Date:___________________________________