City of Myrtle Beach

Request for Proposal

RFP 18-R0005

Pool Dehumidifier/HVAC Maintenance

Issue Date:  August 16, 2017

First in Service

Issued By:

Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

Phone:  843-918-2170

www.cityofmyrtlebeach.com

City of Myrtle Beach Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

| REQUEST FOR PROPOSAL |  |
| --- | --- |
| RFP # 18-R0005 Pool Dehumidifier/HVAC Maintenance |  |
| Buyer Contact: | Ann Sowers 843-918-2172 asowers@cityofmyrtlebeach.com |
| Mandatory Pre-Proposal Conference: Attendance is required for proposal consideration. | Wednesday, August 23, 2017 at 10:00 Mary C. Canty Recreation Center 971 Canal Street, Myrtle Beach, SC 29577 |
| Opening Date & Time: | Wednesday, September 6, 2017 at 2:00 |

Please note the following required condition (if indicated by an X below):

_____ 	Proposal for a service $20,000.00 or greater must be accompanied by a bid bond in the amount of five

percent (5%) of the total dollar amount of the proposal submitted, payable to the City of Myrtle Beach.

No proposals will be accepted unless submitted on the forms furnished herein.  All pages of the proposal must be in a sealed envelope and delivered in accordance with these instructions:

- The envelope must be marked with company name, proposal number/name, and time/date of proposal opening.

- Proposal packages shall be delivered to the address listed above.  The City of Myrtle Beach is not responsible for late or misdirected mail.

If the above criteria are not met, your proposal may be rejected.  Proposals are not subject to public reading.

Offerors are advised that from the date of issue of this solicitation until award of the contract, no contact with City personnel related to this solicitation is permitted.  All communications/requests for clarification are to be directed to the Buyer listed above.

It is the intent and purpose of the City of Myrtle Beach that this Request for Proposal promotes competitive proposals.  It shall be the Offeror’s responsibility to advise the Purchasing Division if any language, requirements, etc., or any combination thereof, inadvertently restricts or limits the requirements stated in this Request for Proposal to a single source.  Such notification must be submitted in writing and must be received by the Purchasing Division no later than three (3) City of Myrtle Beach business days prior to the proposal opening date.

Offeror to complete this section:

Name of Offeror:	________________________________________________________________________

Address:	______________________________________________________________________________

Phone Number:	________________________________________________________________________

E-mail:		______________________________________________________________________________

Please note:  Signature is required on page 20.

CITY OF MYRTLE BEACH – GENERAL INSTRUCTIONS

MUST BE SIGNED AS PART OF REQUEST FOR PROPOSAL PACKAGE

1.0	SUMMARY

  - DOCUMENT INCLUDES:

2.0	Authority

2.01		Equal Weight and Force

2.02		Written Explanations

2.03		Disputes with Written Explanations

2.04		Written Addenda

3.0	Requirements for Written Proposal Documents

3.01		Availability of Documents

3.02		Responsive Proposals

3.03		Non-Responsive Proposals

3.04		Document Completion

3.05		Contents of Proposal Packet

3.06		Single Package Requirement

3.07		Proposal Submission

3.08		Proposal Delivery/Opening

3.09		Document Ownership

4.0	Full Examination

4.01		Thorough Investigation

4.02		Pre-Proposal Meetings

4.03		Evidence of Examination

5.0	Pricing

5.01		Unit Pricing

5.02		Cash Discounts

5.03		Changes in Cost

5.04		Price Evaluation

6.0	Tax Information

6.01		Sales Tax/Federal Tax

6.02		Payment of Taxes

7.0	Material Assessment

7.01		Product Documentation

7.02		SDS

7.03		Evidence of Work/Product

7.04		Sample Submission

7.05		Sample Ownership

7.06		Furnished Items

7.07		Quality of Items

8.0	Changes in Specifications

8.01		Authority of Specifications

8.02		Equipment

8.03		Deviation from Specifications

8.04		Material Preference

8.05		Changes after Award

8.06		Equivalent Items

9.0	Modifications

9.01		Additional Work

9.02		Adjustments to Items/Work

10.0	Bond Requirements

10.01		Proposal/Performance/Payment Bonds

11.0	Delivery

11.01		Warehouse Deliveries

11.02		Dates

11.03		Delivery Price

11.04		Documentation

11.05		Wrong Deliveries

12.0	Award Criteria/Timeline

12.01		Award Criteria

12.02		Contract Issuance

12.03		Commencement of Work

12.04		Contract Timeline

12.05		Notification

12.06		City Business License

13.0	Offeror Responsibilities

13.01		Duration of Proposal

13.02		Transfer of Responsibilities

13.03		Drug-Free Workplace

13.04		Subcontractors

13.05		Coordination and Contact

13.06		Liquidated Damages

13.07		Force Majure

14.0	Indemnity Clause

14.01		Hold Harmless

14.02		Failure to Enforce

15.0	Federal and State Laws

15.01		Employment Regulations

15.02		Employment Discrimination

15.03		Compliance with Laws

16.0	Financial Accounting

16.01		Representation

16.02		Payment

17.0	Proposal Rejection/Withdrawal

17.01		Reasons for Rejection

17.02		Best Interest of the City

17.03		Determination of Responsibility

17.04		Disqualification

17.05		Withdrawal Timeline

18.0	Protest Procedures/Timelines

18.01		Proposal Specifications/Contract Terms

18.02		Intent to Award

19.0	City Reserved Rights

19.01		Reserved Right

19.02		Final Judgment

19.03		Clarification

19.04		Price Increase

19.05		Loss/Damage

19.06		Performance Failure

19.07		Termination for Convenience

19.08		Termination for Default

19.09		Negotiation

20.0	ADA Compliance

20.01		Contact Information

21.0	Signatures

21.01		Accuracy and Completeness

21.02		Non-Collusion

21.03		Compliance

  - DEFINITIONS:

- City of Myrtle Beach – herein referred to as “City.”

B.  RFP – Request for Proposal

C.  Offeror – any vendor, proprietor, business, company, service provider, or corporation

who submits a proposal to the City.

D.  Proposal – the collection of documents that includes these general instructions, the

scope of work and/or specifications, a written offer, and signature page to

be used for consideration in negotiations and/or contract development.

E.  Addendum – a written change, addition, alteration, correction, or revision to a proposal

document.

F.  Bond – provides financial assurance that the proposal has been submitted in good faith,

that an offeror will enter into a contract at the amount proposed, and will

provide the appropriate performance and payment bonds.

G.  Bid Bond – an insurance agreement, accompanied by a monetary commitment, by

which a third party accepts liability and guarantees that the bidder will not

withdraw from the bid.

H.  Performance Bond – guarantees execution of the terms of a contract.

I.  Payment Bond – covers payment of subcontractors, laborers, materials, and suppliers

associated with the project.

2.0	AUTHORITY:

2.01	Equal Weight and Force.  The instructions herein contained are given for the purpose of

guidance in properly preparing an applicable proposal.  These directions have equal weight

and force with the specifications and strict compliance is required with all of the provisions.

Unless otherwise stated in the special instructions of the proposal, these general

instructions shall apply.

2.02	Written Explanations.  Only written information from the procurement manager or an

authorized representative of the purchasing division is binding; therefore no verbal

instructions or verbal information from any other source shall be binding on the City.  The

City shall not be responsible for any other explanation or interpretation and the decision of

the procurement manager or an authorized representative of the purchasing division shall

be final and binding upon each Offeror.

2.03	Disputes with Written Explanations.  The written specifications are considered clear and

complete.  Failure of the Offeror to call attention in writing to any disputes, definitions,

discrepancies, inconsistencies or incompleteness before the opening of the proposal in the

time and manner set forth herein is a waiver of right to do so upon opening of the proposals.

Clarifications requested by Offerors must be in writing not less than three (3) days before

date and time set for receipt of proposals.

2.04	Written Addenda.  Should the procurement manager deem it necessary to alter proposal

specifications, those alterations shall be made in the form of written addenda that shall be

posted on the City website, and may be advertised in the South Carolina Business

Opportunties (SCBO) online publication and the local newspaper.  The Offeror is

responsible for monitoring all of these sources and should not rely on a single source for

updates. These addenda shall then be considered as part of these specifications.  No

interpretations of the meaning of the proposal specifications shall be made orally.

3.0	REQUIREMENTS FOR WRITTEN DOCUMENTS:

3.01	Availability of Documents.  Proposal documents may be obtained through the City of

Myrtle Beach website (www.cityofmyrtlebeach.com), or in person at the City of Myrtle

Beach Purchasing Office, 3231 Mr. Joe White Avenue, Myrtle Beach, SC  29577, Monday

through Friday (excluding City holidays), from 8:00 AM to 5:00 PM.  Proposal documents

may be mailed or sent via e-mail by vendor request only.

3.02	Responsive Proposals.  The City of Myrtle Beach will review proposals on a pass/fail

basis to determine whether the proposal is “responsive” to this RFP.  A responsive

proposal will contain all required documents and forms that are completed in their

entirety.  Documents and forms must be unaltered, legible, signed, sealed appropriately,

and free from errors without noted corrections.  The City reserves the right (at its sole

discretion) to determine whether a proposal is responsive.

3.03	Non-Responsive Proposals.  Proposals that are incomplete, unsigned, improperly signed

or sealed, conditional, illegible, obscure, contain arithmetical errors, corrections without

initials, ambiguities, alterations, and/or irregularities of any kind, may be declared non-

responsive.

3.04	Document Completion.  A proposal and signature document is provided as part of the

solicitation.  This form must be used in submitting a proposal and all pages of the proposal

document must be completely filled out in blue ink and signed by the Offeror.  No proposal

shall be accepted unless submitted on the forms furnished herein.  The format of the

proposal documents shall not be altered in any way.  Written errors made on the

proposal documents prior to submission must be corrected by marking through the entry in

blue ink and making the correct entry adjacent to the written error and initialed by the

Offeror in blue ink.

3.05	Contents of Proposal Packet.  The general instructions, scope of work and/or

specifications, and the proposal and signature document constitute the proposal packet. By

submitting a proposal, the Offeror is deemed to have accepted all of the terms and

conditions set forth in the proposal packet documents.  Alternative proposals shall not be

considered.  All proposal packet documents, after completion by the Offeror, must be

returned with the proposal in the same order as received by the Offeror.

3.06	Single Package Requirement.  Unless otherwise stated in the special instructions section

of this proposal request, submit one complete proposal package using the attached form(s),

for proposed pricing.

3.07	Proposal Submission.  Each proposal must be enclosed in a sealed envelope, clearly

marked on the outside with the company name/address in the upper left-hand corner and

proposal number/name and time/date of opening in the lower left-hand corner.  This sealed

envelope must be delivered to the procurement buyer.  If the required information is not

clearly stated on the outside of the envelope, the proposal is considered nonresponsive.

It is the Offeror’s responsibility to ensure that the proposal is delivered by the official

opening date and time.  Proposals submitted after the date and time set for receipt shall be

considered late, regardless of the degree of lateness or the reason related thereto,

including causes beyond the control of the Offeror.  Late proposals shall not be opened

and will be returned to the Offeror unopened.  The City of Myrtle Beach is not

responsible for late or misdirected mail.

3.08	Proposal Delivery/Opening.  All proposals must be sealed, marked and delivered in

accordance with these instructions to Purchasing Division, City of Myrtle Beach,

3231 Mr. Joe White Avenue, Myrtle Beach, SC  29577.  Proposals received prior to the

advertised hour of opening shall be securely kept sealed.  Proposals are open to the public

at the opening date and time so specified on the front cover sheet.  Only the names of

offerors shall be read aloud.  The contents of the proposals shall not be disclosed.

3.09	Document Ownership.  All documents, reports, proposals, submittals, working papers or

other material submitted to the City from the Offeror shall become the sole and exclusive

property of the City, in the public domain, and are not the property of the Offeror.  The

Offeror shall not copyright, or cause to be copyrighted, any portion of any of said

documents submitted to the City as a result of this solicitation.

4.0	FULL EXAMINATION:

4.01	Thorough Investigation.  Offerors shall make all investigations necessary to thoroughly

inform themselves regarding plant and facilities for delivery of material and equipment

and/or service to be performed as required by the proposal conditions.  No plea of ignorance

by the Offeror of conditions that exist or that may hereafter exist as a result of failure or

omission on the part of the Offeror to make the necessary examination and investigations,

or failure to fulfill in every detail the requirements of the contract documents, shall in no

way relieve the Offeror from any obligation in respect to the proposal.

4.02	Pre-Proposal Meetings.  When Offerors are required to make site visits or attend

pre-proposal meetings, all expenses shall be paid for by the Offeror, unless previous written

arrangements are made with the City.  No offeror will be admitted to a pre-proposal

meeting after the specified start time, otherwise the proposal will be considered non-

responsive.

4.03	Evidence of Examination.  Submission of a proposal will be considered as conclusive

evidence of the Offeror’s complete examination, understanding and acceptance of the

specifications.

5.0	PRICING:

5.01	Unit Pricing.  Unit pricing will govern over extended prices unless otherwise stated in

special instructions in this proposal request.  All prices quoted should be firm.  In those

cases where a firm proposal cannot be made, consideration shall still be given to all

Offerors.  Also, maximum or ceiling prices should be quoted where possible when proposal

contains non-firm prices.

5.02	Cash Discounts.  Cash discounts, if allowed, should be so stated on the proposal form.

Prices must, however, be based upon payment thirty (30) calendar days after delivery.

5.03	Changes in Cost.  If during the term of the contract entered into as a result of this proposal,

the cost of material(s) is/are increased through no act on the part of the contractor other

than to comply with any prevailing rise in the market price(s) of material(s) used, it shall

be the contractor’s responsibility to notify the City of Myrtle Beach Purchasing Office in

writing of the price increase(s) and the effective date of the increase(s).  Price(s) shall be

increased only to the point of absorbing additional cost(s) of material(s) paid for by the

contractor.  At any time during the term of the contract, the City may request that the

contractor provide written documentation from the manufacturer/supplier of the material(s)

to substantiate price increase(s).  If during the term of the contract, the cost of material(s)

to the contractor is reduced, then the contractor shall reduce the contract price(s) and notify

the procurement buyer in writing.

5.04	Price Evaluation.  The City of Myrtle Beach shall evaluate the Offeror’s price proposal

for completeness, price reasonableness, price realism, and unbalanced pricing.  Price

reasonableness shall be established by competition and determined primarily by

comparison with other offers submitted.  Price realism shall be established by analysis of

the unit price submitted to determine whether the estimated proposed price reflects a

clear understanding of the requirements, are realistic for the work to be performed, and

are consistent with the methods of performance and materials described in the Offeror’s

proposal.  Unbalanced pricing exists when, despite an acceptable total evaluated price,

the price of one or more contract line items is significantly overstated or understated and

poses an unacceptable risk to the City.  The City may determine that a proposal is

unacceptable if the proposed price is materially unbalanced between line items.

6.0	TAX INFORMATION:

6.01	Sales Tax/Federal Tax.  The City of Myrtle Beach pays South Carolina State Sales Tax.

The City is exempt from Federal Excise Tax and shall issue exemption certificates if

required.  All applicable taxes should be shown as separate line items unless otherwise

indicated.

6.02	Payment of Taxes.  The contractor agrees to pay all taxes and license fees of whatever

nature applicable to conduct business and furnish the City of Myrtle Beach, if requested,

with duplicate receipts or other satisfactory evidence showing the prompt payment of all

taxes and fees when referred to and showing that all licenses are in effect.

7.0	MATERIAL ASSESSMENT:

7.01	Product Documentation.  Proposal shall include adequate brochures, latest printed

specification and advertising literature describing the product(s) offered in such a fashion

as to permit ready comparison with the specifications on an item-by-item basis where

applicable.

7.02	Safety Data Sheet (SDS).  If so requested in the proposed documents, a completed SDS

for the item(s) indicated must be provided with the proposal documents.  Failure to submit

this form upon request may result in rejection of proposal.

7.03	Evidence of Work/Product.  All Offerors must be prepared to present suitable evidence

of similar work recently completed or goods supplied.  Products are to be brand name or

equal unless otherwise specified. If submitting an equal product, supporting documents

must be provided with proposal.

7.04	Sample Submission.  When samples are required with a proposal, they must be submitted

with the proposal unless approved by the purchasing manager or purchasing manager’s

authorized representative.

7.05	Sample Ownership.  Samples submitted shall become the property of the City of Myrtle

Beach.  The entire cost of the sample(s) shall be paid for by the Offeror unless previous

written arrangements are made with the City.

7.06	Furnished Items.  Offerors are required to state exactly what they intend to furnish;

otherwise, they shall be required to furnish the items as specified.

7.07	Quality of Items.  Offerors shall submit, with their proposal, data necessary to evaluate

and determine the quality of the item(s) they are proposing.  Unless otherwise specified,

the Offeror shall unconditionally guarantee the items and workmanship being proposed.  If

any defects or signs of deterioration are noted which, in the City’s opinion, are due to faulty

workmanship or material, the Offeror, upon notification and at the expense of the Offeror,

shall replace the items to the complete satisfaction of the City.  Upon the Offeror’s failure

to replace items, the City may return the rejected items to the Offeror at the Offeror’s risk

and expense, or the City may dispose of them as its own property.

8.0	CHANGES IN SPECIFICATIONS:

8.01	Authority of Specifications.  It shall be understood that in all cases the terms and

conditions, as detailed in the specifications, shall supersede terms and conditions, as

detailed in the general instructions.  No verbal agreement or conversation with any officer,

agent, or employee of the City shall affect or modify any of the terms and conditions.

8.02	Equipment.  If this proposal is for the purchase of equipment, the Offeror guarantees that

the equipment offered is standard new equipment, latest model or regular stock product,

with parts regularly used for the type of equipment offered; also that no attachment or part

has been substituted or applied contrary to the manufacturer’s recommendations and

standard practices.

8.03	Deviation from Specifications.  Any deviation from specifications must be noted in detail

and submitted in writing with this proposal.  Complete specifications should be attached

for any substitutions offered, or when amplifications are desirable or necessary.  The

absence of a specification deviation statement and accompanying specifications shall hold

the Offeror strictly accountable to the specifications as written herein.

8.04	Material Preference.  The specifications, as listed herein, represent our preference in

material; however, we are fully cognizant that no two pieces of comparable material are

identical and/or same in size, function, and operation; and some of the specifications will

not completely coincide with ours as listed.  Please list your exceptions and explanations

separately. It is not our intent to write specifications for any project on which only one

proponent can submit a proposal.

8.05	Changes after Award.  Any changes in specifications, after the purchase order/contract

has been awarded, must be with the written consent of the purchasing division; otherwise,

the responsibility for such changes shall be with the Offeror.

8.06	Equivalent Items.  For items identified in this proposal as “brand name or equal,” the

Offeror’s proposal must indicate each product that is being offered as an “equal” product

by providing the following information:

A.  A description reflecting the characteristics and level of quality that will satisfy

the salient physical, functional, or performance characteristics of “equal”

products specified in the proposal

B.  A clear identification of the item by brand name and make/model number (if

any)

C.  Descriptive literature such as illustrations, drawings, photographs, or a clear

reference to previously furnished descriptive data or information that is

readily available to the purchasing buyer

D.  A clear description of any modifications the Offeror plans to make in a product

so that it conforms to the proposal requirements

Compliance verification is performed by the City purchasing buyer and their requestor(s).

The purchasing buyer is required to evaluate “equal” products on the basis of information

furnished by the Offeror, or identified in the proposal.  The buyer is not responsible for

locating, obtaining, or researching any information that is not provided.  An Offeror’s

product will not be considered as an “equal” product if there is an inadequate description

of how the “equal” product meets the salient characteristics specified in the proposal.

9.0	MODIFICATIONS:

9.01	Additional Work.  The proposal shall not contain any unauthorized additions.  No

additional work shall be allowed or paid for unless such extra or additional work is ordered

in writing by the purchasing division and with the price for such established and agreed

upon before such extras are delivered or work is performed.

9.02	Adjustments to Items/Work.  The City of Myrtle Beach shall have the right, without

invalidating the contract, to make additions to or deductions from the items or work

covered by the specifications.  In case such deductions or additions are made, an equitable

price adjustment shall be made between the City and the contractor.  Any such adjustments

in price shall be made in writing.

10.0	BOND REQUIREMENTS:

10.01	Proposal/Performance/Payment Bonds.  If required, Offeror shall supply a proposal

bond of 5% of the total proposal amount.  The successful Offeror at its own cost and

expense shall furnish, if required, a valid performance and payment bond (payable to the

City of Myrtle Beach) in the full amount of this agreement conditioned on the full and

faithful performance of the work under this agreement in accordance with the

specifications and contract documents.  Bonds are required if the contract work is valued

at $20,000.00 or more for construction and/or any type of service related requirement. The

performance and payment bonds shall be executed by the contractor and a bonding

company authorized to do business in the State of South Carolina and approved by the

State of South Carolina to issue such performance and payment bonds.  Bonds must be

received within ten (10) calendar days from the date and time of notification of award.

Only the forms provided by the City for the performance and payment bonds will be

accepted.

11.0	DELIVERY:

11.01	Warehouse Deliveries.  Unless otherwise stated in the special instructions section of this

proposal request, deliveries will be accepted during the hours between 8:00 AM and 4:00

PM Monday through Friday, excluding City holidays.

11.02	Dates.  The delivery date as stated in the proposal shall be the time required to deliver the

complete item(s) after the receipt of the order or award of the contract.  Where multiple

items appear on a proposal request, the Offeror shall, unless otherwise stated by the City,

show delivery date for each item separately.  If only a single delivery date is shown, it shall

be assumed to mean that all items included in the proposal can and will be delivered on or

before the specified date. The Offeror certifies that the delivery shall be completed in the

time the Offeror states, starting at the time the order is placed, provided that the time

between the proposal opening and the placing of the order does not exceed the number of

days stipulated in the proposal.  The right is reserved to reject any proposal on which the

delivery time indicated is considered sufficient to delay the operation for which the

commodity is intended. Successful Offeror(s) shall be responsible for making any and all

claims against carriers for missing or damaged items.

11.03	Delivery Price.  Proposal prices are to be Delivered Price (FOB Destination).  Proposal

prices must include all delivery costs, including but not limited to, loading and unloading

cost(s), transportation charge(s) and fuel surcharge(s).  The City of Myrtle Beach shall not

be responsible for any demurrage charge(s).

11.04	Documentation.  Invoice(s), certificates of origin, warranties and guarantees must be

submitted at the time of delivery of the item(s).

11.05	Wrong Deliveries.  In the event that materials, supplies, etc. are delivered which do not

comply with specifications and have not been approved by the purchasing division, the

contractor, upon notification, shall immediately remove from the premises any such

materials, supplies, etc. and replace them with materials, supplies, etc. in full accordance

with the specifications.

12.0	AWARD CRITERIA/TIMELINE:

12.01	Award Criteria.  For service and supply-related requirements, the award will be made

within the time specified to the responsible Offeror meeting the specifications and

having the lowest possible cost consistent with the quality and service needed for effective

use.  The following criteria shall be used in making this determination:

A.  Superior quality and specification adherence

B.  Adequate maintenance and service

C.  Delivery and/or completion time

D.  Guarantees and warranties

E.  Company’s reputation and financial status

F.  Past experience and cost with similar or like equipment or service

G.  Anticipated future cost and experience

H.  Performance of proponent’s equipment by other agencies, plants, and firms

Evaluation factors, if required, shall be stated in either a percent basis or a numerical

format.

12.02	Contract Issuance.  The award of a contract is accomplished by executing a written

agreement that incorporates the entire proposal, Offeror’s response, clarifications,

addenda, and additions.  All such materials constitute the contract documents.  The Offeror

agrees to accept the contract terms unless substantive changes are made without the

approval of the Offeror.  Offeror shall not add any provisions reserving the right to accept

or reject an award.  The procurement office is the sole point of contact for the issuance

of the contract.

12.03	Commencement of Work.  Upon execution and delivery of the contract and insurance

certificates, the Offeror shall be notified to proceed with the work of the contract.  The

work of the contract shall be commenced within one (1) City business day following such

notification, or as otherwise specified in the Notice to Proceed.  The performance period

shall be from date of issuance of Notice to Proceed through one (1) calendar year.

Contract prices shall remain firm for the duration of the contract period.  The City of

Myrtle Beach reserves the right to adjust the performance period to meet the best interests

of the City.  Any such adjustment will be made in writing through the Purchasing Office.

12.04	Contract Timeline.  In the event the successful Offeror fails or refuses to execute a formal

written contract with the City of Myrtle Beach in form and content acceptable to the City,

within ten (10) City business days after notice of acceptance of the proposal, the proposal

may be revoked, and all obligations of the City in connection with the proposal may be

canceled.

12.05	Notification.  Proposal tabulations will be available on-line at

www.cityofmyrtlebeach.com/purchasing.html. Winning Offeror shall be notified five (5)

City business days after proposal tabulations are posted.

12.06	City Business License.  The successful Offeror must obtain a City of Myrtle Beach

business license in order to conduct business within our city.  A business license is not

required to submit a proposal; however, any offeror that receives an award under this

proposal shall be required to obtain a City business license before work can begin.  For

further information on obtaining a city business license, contact the City Business

License Office at 843-918-1200.

13.0	OFFEROR RESPONSIBILITIES:

13.01	Duration of Proposal.  Proposal prices, terms and conditions shall be firm for a period of

at least one hundred twenty (120) calendar days from the deadline for receipt of submittal,

or until such time as established in the proposal.  The successful proposal shall not be

subject to future price escalation or changes of terms if accepted during the one hundred

twenty (120) day period, or the specified proposal time.  Price decreases or changes in

terms by others after the acceptance of a proposal shall not be considered.

13.02	Transfer of Responsibilities.  The contractor shall not assign or otherwise transfer any of

its responsibilities or obligations under the contract to any other person or entity without

prior written consent of the City.

13.03	Drug-Free Workplace.  In accordance with the provisions of the Drug-Free Workplace

Act, the City of Myrtle Beach shall promote a drug-free workplace.  Illegal drugs or

narcotics in the workplace are strictly prohibited.  The manufacture, possession, use, and/or

distribution of a controlled substance of any kind while working on City property is subject

to disciplinary action up to and including immediate discharge.  As such, Offerors are

required to insure that a drug-free workplace is provided in the performance of any City

contracts.  By submitting a proposal, Offeror certifies that, if awarded the contract, they

and their subcontractors shall comply with the City’s Drug-Free Workplace Policy.  The

failure of any Offeror to uphold and enforce this policy is subject to termination of contract.

13.04	Subcontractors.  The contractor shall be wholly responsible for the performance of all

subcontractors and for their acts and omissions, and those of persons either directly or

indirectly employed by the contractor, and the fact that subcontractors are subject to the

approval of the City of Myrtle Beach shall not affect the contractor’s responsibility in this

regard.  The Offeror shall bind every subcontractor to all terms and conditions anywhere

contained in the contract documents as far as applicable to the work of such subcontractor

so that the subcontractor assumes toward the contractor and toward the work all the

obligations and responsibilities that the contract assumes toward the City as to the

performance of the subcontractor’s portion of the work.

13.05	Coordination and Contact.  The selected Offeror shall be required to assume

responsibility for coordination, engineering, delivery, installation, and maintenance of all

equipment, software and services offered in their proposal, whether they are the

manufacturer or producer of them.  Offeror shall not assign, transfer, convey, sublet, or

otherwise dispose of the contract or their right, title, or interest therein without prior written

consent of the City.  Further, the City of Myrtle Beach shall consider the selected Offeror

to be the sole point of contact with regard to contractual matters, including payment of any

and all charges resulting from the lease or purchase of the entire service equipment and

software configuration, when applicable.  Only service and equipment offered by Offerors

who have installed similar systems of comparable size shall be considered.  All service and

equipment offered shall be in current standard production and of the latest design.

13.06	Liquidated Damages.  If the Offeror fails to deliver the supplies or perform the services

within the time specified in the contract, the Offeror shall, in place of actual damages,

pay to the City of Myrtle Beach liquidated damages of $__________ per calendar day

of delay.  If the City terminates the contract, in whole or in part, the contractor is liable

for liquidated damages accruing until the City reasonably obtains delivery or

performance of similar supplies or services from an alternate offeror.  These liquidated

damages are in addition to excess costs of repurchase due to contract termination.  The

Offeror shall not be charged with liquidated damages when the delay in delivery or

performance is documented to be beyond the control and without the fault or negligence

of the Offeror.

13.07	Force Majure.  The Offeror shall not be held responsible for failure to perform the

responsibilities imposed by this proposal due to legal strikes, fires, riots, rebellions, and

acts of God beyond the control of the Offeror, unless otherwise specified in the proposal.

14.0	INDEMNITY CLAUSE:

14.01	Hold Harmless.  The contractor agrees to indemnify and save harmless the City of

Myrtle Beach, its officers, representatives, departments, agencies, employees, and agents,

from all claims, loss, damage, injury, fines, penalties, demands, actions, suits, and

liabilities arising from the contractor’s own fault or negligence or through the negligence

or fault of the manufacturer of goods supplied by the contractor.  This obligation shall

extend to and include, all litigation costs, court costs, and reasonable attorney fees

incurred by the City in response to such claims, provided it is ultimately determined that

such claims result from the contractor’s or manufacturer’s fault or negligence.

14.02.  Failure to Enforce.  Failure by the City at any time to enforce the provisions of the

proposal shall not be construed as a waiver of any provisions.  The failure to enforce shall

not affect the validity of any part of the proposal.

15.0	FEDERAL AND STATE LAWS:

15.01	Employment Regulations.  Offerors shall comply with all local, state, and federal

directives, orders, and laws as applicable to this proposal and subsequent contract(s)

including, but not limited to Equal Employment Opportunity (EEO), in compliance with

executive Order 11246, Minority Business Enterprise (MBE), and Occupational Safety and

Health Act (OSHA), as applicable to this contract and Immigration Bill H4400 which states

that every contractor doing business with the City of Myrtle Beach for the physical

performance of services with the total value of the contract to be performed in a twelve-

month period exceeding fifteen thousand dollars ($15,000.00) must agree to the following:

- Register and participate in the federal work authorization program to verify the

employment authorization of all new employees; and require agreement from

its sub-contractors to do the same; or

B.  To employ only workers who:

1.  Possess a valid South Carolina Driver’s License or ID issued by the

South Carolina Department of Motor Vehicles; or

2.  Are eligible to obtain a South Carolina Driver’s License or ID card in

that they meet the requirements; or

3.  Possess a valid Driver’s License or ID card from another state where the

requirements are at least as strict as those in South Carolina.

15.02	Employment Discrimination.  During the performance of this proposal, the Offeror

agrees not to discriminate against any employee or applicant for employment because of

race, religion, color, sex, orientation, age, disability, or national origin; however, some

conditions may be a bona fide occupational qualification reasonably necessary for the

completion of this proposal.  Furthermore, the Offeror agrees that this non-discriminatory

agreement shall be incorporated by the Offeror in all contracts entered into with suppliers,

subcontractors, and all labor organizations furnishing skilled, unskilled, and craft union

skilled labor, or who may perform any such labor or services.

15.03	Compliance with Laws.  The Offeror shall, in the performance of work under this

proposal, fully comply with all applicable federal, state, county, or municipal laws, rules,

regulations, or ordinances, and shall hold the City harmless from any liability resulting

from failure of such compliance.

16.0	FINANCIAL ACCOUNTING:

16.01	Representation.  The selected Offeror shall assign a competent account representative

acceptable to the City of Myrtle Beach who will represent the Offeror in providing

contracted services to the City.  The account representative shall maintain accurate and

detailed records, correspondence, and accounts relating all parts of the proposal.  Records

shall be kept in accordance with sound, generally accepted accounting principles.  The

City shall have the right to audit all records pertaining to the costs incurred under this

proposal.  If the account representative is removed by the Offeror, the new representative

must be acceptable to the City.

16.02	Payment.  Inspection and acceptance of the material, goods, and/or service by an

authorized representative of the City shall be required prior to any payment.  After

acceptance by the City, payments shall be made to the contractor within thirty (30) calendar

days of receipt of invoice.

17.0	PROPOSAL REJECTION/WITHDRAWAL:

17.01	Reasons for Rejection.  The City of Myrtle Beach may reject a proposal if:

A.  The Offeror misstates or conceals any material fact in the proposal; or if,

B.  The proposal does not strictly conform to the law or requirements of the

proposal; or if,

C. The proposal is conditional, except that the Offeror may qualify his/her

proposal for acceptance by the City on an “all or none” basis, or a “low item”

basis.  An “all or none” basis proposal must include all items upon which

proposals are invited.

17.02	Best Interest of City of Myrtle Beach.  The City may, however, reject all proposals

whenever it is deemed in the best interest of the City to do so, and may reject any part of a

proposal unless the proposal has been qualified as provided in statement.  The City may

also waive any minor informalities or irregularities in any proposal.

17.03	Determination of Responsibility.  The City may make such investigation as it deems

necessary to determine the ability of an Offeror to furnish the required goods/services, and

the Offeror shall furnish to the City any requested information and data for this purpose at

the Offeror’s expense.  Information requested may include, but not be limited to:  financial

statements, credit ratings, criminal histories, references, records of past performance,

and/or on-site inspections.  The City reserves the right to reject any Offeror if the evidence

fails to satisfy the City that such Offeror is properly qualified to carry out the terms of this

proposal.

17.04	Disqualification.  Any of the following factors may be considered just cause to

disqualify a proposal without further consideration:  evidence of either direct or indirect

collusion among offerors in regard to the amount, terms, or conditions of the proposal;

attempts to improperly influence any member of the evaluation team; evidence of

offeror’s inability to successfully complete required responsibilities and obligations of the

proposal; existence of any lawsuit, unresolved contractual claim, or dispute between the

offeror and the City; and/or default under any previous agreement with the City that

resulted in the termination of the agreement.

17.05	Withdrawal Timeline.  Proposals may be withdrawn on a written request, received from

Offerors prior to the proposal closing date and time.  Negligence on the part of the Offeror

in preparing the proposal creates no right for withdrawal of the proposal after the proposal

has been opened.  No modifications, clarifications, or explanations of any proposals shall

be allowed after the date and time of closing.

18.0	PROTESTS:

18.01	Procedures/Timelines.  Protest of Proposal Specifications and/or Contract Terms:

- Specifications and contract terms shall be made available for inspection and

copying.  Unless a different deadline is specified in the RFP, protests of the

proposal specifications or contract terms shall be presented to the City in

writing within five (5) City of Myrtle Beach business days prior to proposal

closing.

- Such protest or request for change shall include the reasons for protest or

request, and any proposed changes to specifications or terms.

- Envelopes containing protests of specifications shall be marked and mailed, or

hand delivered within five (5) city of Myrtle Beach business days to the

procurement buyer.

- No protest against award because of the content of proposal specifications or

contract terms shall be considered after the deadline established for submitting

such protest in paragraph A above.

- Submission of a proposal without the timely submission of protest of

specifications or contract terms is deemed a waiver to the right to protest

specifications or contract terms.

- A decision by the procurement buyer shall be given in writing in each of such

cases at least one (1) City of Myrtle Beach business day before the time set for

the opening of proposals.  A copy of the decision may be obtained at the

procurement manager’s office.

- If, in the judgment of the procurement manager, the previously mentioned

inquiry requires explanation or interpretation, any such explanation or

interpretation of said plans, specifications, or other contract documents shall be

made by written addendum duly issued with copies mailed or delivered to each

person or firm receiving a set of contract documents.

18.02	Procedures/Timelines.  Intent to Award:

A.  The written purchase order shall constitute a final decision of the City of Myrtle

Beach to award the contract if no written protest is filed with the City within

five (5) City of Myrtle Beach business days of the posting of the proposal tab.

If a protest is timely filed, the purchase order is a final decision of the City only

upon issuance of a written decision denying the protest and affirming the award.

B.  Purchasing buyer shall notify winning Offeror five (5) City days after proposal

tab is posted on the City website.  It is the responsibility of the Offeror to

check the website.  Any actual Offeror who is adversely affected or aggrieved

by the award of the contract to another Offeror on the same solicitation shall

have five (5) City business days after the posting of proposal tab to submit to

the City a written protest of the award.  The written protest shall specify the

grounds upon which the protest is based.  The City shall not entertain a protest

submitted after the time period established in this rule or such different period

as may be provided in the City’s request for proposals.

C.  Offerors must submit written protests of the intent to award to the procurement

manager within five (5) business days.  The written protest must include name

and contact information of the protestor, solicitation, title and number, the

grounds upon which the protest is based, and relief expected.

19.0	CITY RESERVED RIGHTS:

19.01	Reserved Rights.  The City of Myrtle Beach expressly reserves the following rights:

A.  To reject any and/or all irregularities in the proposals submitted

B.  To reject any and all proposals, or parts thereof, as deemed in the best interest

of the City.

C.  To base awards due with regard on quality of services, experiences, compliance

with specifications, and other such factors as may be necessary in the

circumstances.

D.  To make the award to any Offeror who, in the opinion of senior management,

is in the best interest of the City.

E.  To make award based on negotiations conducted in accordance with this

solicitation or on the basis of a best and final offer by the Offeror.

F.  Only the evaluation factors specified in this solicitation may be used as a basis

for award.

19.02	Final Judgment.  If any doubt or difference of opinion arises between the City of Myrtle

Beach and the Offeror as to the interpretation of this request for proposal, the decision of

the City will be final and binding upon all parties.

19.03	Clarification.  The City of Myrtle Beach reserves the right to obtain clarification on any

point in the Offeror’s proposal. The failure of the Offeror to make additional information

available could result in the rejection of the response.  Such clarification might involve the

delivery of demonstration equipment to the City for evaluation purposes.  Such hardware

shall be provided at no cost to the City.  The City is not obliged to evaluate any or all

products.

19.04	Price Increase.  The City of Myrtle Beach reserves the right to accept or reject any price

increase(s) and to cancel any and all item(s) under the contract for which price increase(s)

is/are considered unacceptable.

19.05	Loss/Damage.  The City of Myrtle Beach shall not be responsible for the loss or damage

of any items during the RFP process.

19.06	Performance Failure.  In the event that the Offeror fails to perform any material

obligations, the City of Myrtle Beach reserves the right to give the Offeror written cure

notice of such failure.  The Offeror shall then have five (5) calendar days to resolve the

failure. If the failure is not resolved within five (5) calendar days, the City reserves the

right to withhold all money that is due and payable to the Offeror.  Such a remedy is in

addition to other remedies that might be available to the City. Moreover, the City reserves

the right to terminate the contract if the Offeror exceeds the five (5) calendar days of non-

performance without the approval of the purchasing manager.

19.07	Termination for Convenience.  The City of Myrtle Beach reserves the right to terminate

the contract with the Contractor when it is in the best interest of the City.  If the contract

is so terminated, the City shall provide the Contractor with thirty (30) calendar days

written notice and shall compensate the Contractor for all necessary and reasonable direct

costs of performing the services actually accomplished as of the date of termination.  No

other costs shall be allowed for a termination for convenience.  No damages shall be

allowed for a termination of convenience.

19.08	Termination for Default.  The performance of work under this proposal may be

terminated by the City in whole, or in part, upon non-performance, violation of contract

terms, delivery failure, bankruptcy or insolvency, or whenever the City determines that

termination is in the City’s best interest.  Any such termination shall be communicated by

a written notice of default, delivered to the Offeror, at least fifteen calendar (15) days before

the date of termination, specifying the extent to which performance of the work is

terminated, and the date upon which such termination becomes effective.  The City of

Myrtle Beach shall be entitled to recover all fees, costs, claims, or damages incurred as a

result of the Contractor’s breach of this Agreement, including reasonable attorney’s fees

and costs of legal action instituted by the City to collect such fees, costs, claims, or

damages.

19.09	Negotiation.  Prior to the notice of award to any offeror, the City of Myrtle Beach may

elect to open negotiations and ultimately reach an agreement with an Offeror who

demonstrates the best combination of attributes to conduct the project, and who also

negotiates a project cost with the City that is fair and reasonable.  The negotiation period

shall be no more than five (5) City business days.  In these negotiations, the City may

address scope of work, unit pricing, or any other contractual requirements fairly contained

within the proposal documents.  In the event that negotiations should commence but fail,

the City shall reject any or all proposals.

20.0	ADA COMPLIANCE:

20.01	Contact Information.  Questions concerning the proposal requirements or specifications

should be directed in writing to the procurement buyer shown on the front page of this

proposal package.  If you need disability-related accommodations, please contact

(843) 918-2170.

21.0	SIGNATURES:

21.01	Accuracy and Completeness.  The authorized signer of the proposal shall represent and

warrant that they have been sufficiently informed in all matters relating to the specified

products; that they have checked their proposal for errors and omissions; that the prices

stated in their proposal are correct and as intended are a complete and correct statement of

prices.

21.02	Non-Collusion.  The authorized signer of the proposal certifies that the proposal is made

without collusion or fraud, and that they have not offered or received any kickbacks or

inducements from any other offeror, supplier, manufacturer, or subcontractor in

connection with their proposal.  Furthermore, the authorized signer certifies that they

have not conferred on any public employee having official responsibility for this

procurement transaction any payment, loan, subscription, advance, deposit of money,

services, or anything of more than nominal value, present or promised, unless

consideration of substantially equal or greater value was exchanged.  Prior compensated

consulting shall not preclude an Offeror from submitting a proposal.

21.03	Compliance.  By Signature below the Offeror affirms that they have examined,

understands and accepts all instructions, specifications and conditions, and shall provide

for appropriate insurance, deposits, and performance bonds if required, and shall comply

fully with specifications as attached for the agreed contract, especially where materials and

work are involved, and that any and all registration requirements where required for

Offerors as set forth in law are met.

____________________________________________________________________________________

Signature of Offeror									Date of Signing

____________________________________________________________________________________

Print Name of Offeror

If more convenient, tabulations are available for pick-up after final award. No proposal tabulations will be faxed.

SPECIFICATIONS

I.	Intent……………………………………………………………………………………………..23

II.	Asbestos Notification………………………………………………………………….................23

III.	Site Visits………………………………………………………………………………………...24

IV.	Work Requirements……………………………………………………………………………...25

A.  Filters………………………………………………………………………………………...25

B.  Maintenance Service…………………………………………………………………………25

i.  Dehumidifier/HVAC Equipment……………………………………………………...26

a.  Monthly…………………………………………………………….................26

b.  Every Six Months…………………………………………………………….26

c.  Annually………………………………………………………………………26

ii.  Furnaces………………………………………………………………………………27

a.  Annually………………………………………………………………………27

C.  Repair Service………………………………………………………………………………..28

D.  Working Hours…………………………………………………………………….................29

i.  Routine Repair Service………………………………………………………………..29

ii.  Emergency Repair Service…………………………………………………………...29

V.	Parts………………………………………………………………………………………………30

A.  Parts Warranty………………………………………………………………………………..30

VI.	Work Safety Requirements………………………………………………………………………31

VII.	Additional Contractor Requirements………………………………………………….................32

A.  Licenses, Registrations, Certifications, Permits, Fees, and Taxes…………………………...32

B.  South Carolina Mechanical Contractor’s License……………………………………………32

C.  Technician Certification……………………………………………………………………...32

D.  Statutes, Regulations, Standards, Codes, and Ordinances…………………………………...32

E.  Safety Data Sheet (SDS)……………………………………………………………………..33

F.  Recovery/Recycling Refrigerants………………………………………………….................33

G.  Hazardous Materials………………………………………………………………................33

H.  Service Call Telephone Number……………………………………………………………..33

I.  Attire…………………………………………………………………………………………..33

J.  No Smoking Policy…………………………………………………………………………...33

VIII.	Bid Prices………………………………………………………………………………………...34

A.  Maintenance Service Bid Prices……………………………………………………………..34

B.  Repair Service Bid Prices………………………………………………………….................34

C.  Cost for Parts…………………………………………………………………………………34

D.  Price Increase………………………………………………………………………………...34

VIX.	Term of Contract…………………………………………………………………………………35

SPECIFICATIONS (continued)

X.	Invoicing…………………………………………………………………………………………35

XI.	Changes in Service…………………………………………………………………….................35

XII.	Exclusivity……………………………………………………………………………………….35

XIII.	Award Criteria…………………………………………………………………………………...36

XIV.	Pepper Geddings Recreation Center Equipment Descriptions…………………………………..37

XV.	Mary C. Canty Recreation Center Equipment Descriptions……………………………………..38

XVI.	Mary C. Canty Locker Room Equipment Descriptions………………………………………….39

SPECIFICATIONS (continued)

INTENT

It is the intent of this Request for Proposal (RFP) to establish a term contract for routine maintenance to be performed on the pool dehumidifier/HVAC equipment specified under the City of Myrtle Beach facilities listed elsewhere in these RFP documents.

Repairs of the specified equipment and related components with a cost of less than five thousand dollars ($5,000.00) per job will also be included in the contract and shall be performed on an “as needed” basis.  Repairs expected to exceed five thousand ($5,000.00) per job shall be bid separately by the City.

The successful Contractor shall provide all materials, supplies, parts, tools, equipment, labor, supervision, transportation, and all other things necessary to perform the work required under this contract.

ASBESTOS NOTIFICATION

Offerors are advised that asbestos-containing material(s) may be located in the same area as some dehumidifier/HVAC equipment.  It is mandatory that offerors familiarize themselves with any asbestos-containing material(s) and that said material(s) be considered a health hazard and precautionary measure(s) be taken in compliance with all applicable federal, state, county, municipal, and local statues, regulations, standards, codes, and ordinances.  It is the offeror’s responsibility to advise all applicable employees of the offeror of this notification.

SPECIFICATIONS (continued)

SITE VISITS

It shall be the responsibility of offerors to make all examinations and investigations necessary to thoroughly inform themselves regarding the work to be performed as required by the conditions set forth in this RFP and to obtain any/all information needed to satisfactorily perform the required work.

A mandatory pre-proposal meeting to review all dehumidifier/HVAC systems covered in this contract will be held at the date, time, and location(s) indicated on the first page of this RFP.  Attendance is required for proposal consideration.  Failure to attend required site visits will be cause for proposal rejection.

Only after attending the mandatory pre-propsoal meeting, and at no cost to the City, offerors may schedule additional site visits to each facility listed in these specifications and inspect the equipment to be covered under the contract to ensure that the offeror fully understands the work involved and the type(s) and condition of the equipment to be maintained.  Additional site visits may be scheduled by contacting the City Aquatics Supervisor, Amanda Bowles, at 843-918-2286.

Where known, the manufacturer name, model, and serial number of the equipment to be maintained is listed under each facility.  However, the City does not guarantee that the information given is complete or totally accurate.  When performing site visits, the City requests that offerors list the quantity and sizes of return air and indoor air intake filters required to perform the specified work and to note any discrepancies found in the space provided under each facility.

No plea of ignorance by an offeror of conditions that exist or that may hereafter exist as a result of failure or omission on the part of the offeror to make the necessary examinations and investigations or failure to fulfill in every detail the requirements of the contract will be accepted as a basis for varying the requirements of the City or for compensation to the successful offeror.

SPECIFICATIONS (continued)

WORK REQUIREMENTS

The specifications included herein shall establish the minimum acceptable standards for maintenance and repair of the equipment to be covered under this contract.  The Contractor shall ensure that all equipment remains in fully operable condition by performing monthly maintenance service and performing repairs on an “as needed” basis.  The Contractor shall be responsible for scheduling and performing maintenance service when due on all equipment.  All equipment shall be serviced and maintained in accordance with the applicable manufacturer’s recommended procedures, these proposal specifications, and the terms and conditions stated herein.

Filters

The Contractor will be required to furnish all return air and air intake filters for each dehumidifier/HVAC unit and the cost of the filters must be included in the maintenance service prices and shall not be billed separately with the exception of the initial purchase and installation of outdoor air intake filters.  All return air and indoor air intake filters used must be of a disposable, long life, medium grade pleated type with a minimum atmospheric efficiency of 20% - 25% and all outside air intake filters used shall be of a reusable moisture resistant type.  The City is requesting separate bid prices to furnish and install, on a one-time basis, the following types of reusable moisture resistant filters for outdoor air intake use and the City will determine which filter type is to be installed prior to award of the contract:

1.  Metal filter frames containing hog’s hair filter media

2.  Washable metal screen filters

Should the City choose to install filter frames containing hog’s hair filter media, after the initial installation is complete, the Contractor will be required to replace only the filter media at each maintenance visit, and the cost for the media must be included in the maintenance service bid prices.

Should the City choose to install washable filters, after the initial installation is complete, the Contractor will be required to wash the filters at each maintenance visit and apply “ticking” to the filters at every other wash.  The cost to wash the filters and application of the ticking must be included in the maintenance service bid prices.

Maintenance Service

Upon award of the contract, the successful Contractor shall contact the City Aquatics Supervisor and schedule and perform maintenance on all equipment covered under the contract.  Maintenance service shall be performed monthly with specific services to be performed every six months and/or annually where specified.  Should shutdown of a system be required, shutdown shall be coordinated with the proper facility personnel prior to the actual shutdown.  Maintenance service shall include, but be limited to, the following (as applicable):

SPECIFICATIONS (continued)

Dehumidifier/HVAC Equipment

Monthly

- Ensure mechanical/electrical equipment room(s) is/are not being used for chemical storage and that units are not exposed to chemical fumes.

- Check chemical storage room exhaust blower(s) for proper operation and corrosion.

- Check all return air filters and air intake filters to ensure that they are clean and in place.  As applicable, replace disposable filters/filer media.

- Check compressor oil levels.  Fill as needed.

- Check blower(s) and motor(s) for proper operation.  Lubricate motors and blower bearing according to manufacturer’s recommendations.  Grease fittings/plugs are to be cleaned free of paint, dust, dirt, and old grease prior to lubrication.

- Inspect blower sheaves for proper alignment and adjust if needed.  Check flower belt(s) for proper alignment, proper tension, draying, glazing, or excessive wear.  Adjust or replace as needed.

- Check remote condenser for free air flow and clean free of trash or other material that interferes with airflow.

- Check remote condenser fan(s) for proper operation.

- Check condensate drain(s) to ensure that they are working properly.  Check drain pan(s) to ensure that they are draining completely and that no dirt or foreign material is accumulating.  Clean pan(s) as needed.

- Check temperature and humidity set points to ensure they are near those specified on the unit nameplate.

- Ensure pool chemistry agrees with accepted standards and equipment recommendations

- Check direct drive centrifugal type fan for proper operation (Pepper Geddings Recreation Center)

Every Six Months

- Check electrical terminals and tighten as needed.

- Check refrigerant sight glass after fifteen (15) minutes of compressor operation to ensure that refrigerant is clear, at proper level, and contains no bubbles or oil droplets.

- Read compressor discharge-gas temperature after running unit in pool heating mode for a minimum of twenty (20) minutes to ensure that temperature is within the recommended range for type of refrigerant used.

- Check heat transfer fluid properties to ensure that they are within the manufacturer’s recommended values.

Annually

- Check electrical terminals and tighten as needed.

- Check refrigerant sight glass after fifteen (15) minutes of compressor operation to ensure that refrigerant is clear, at proper level, and contains no bubbles or oil droplets.

- Read compressor discharge-gas temperature after running unit in pool heating mode for a minimum of twenty (20) minutes to ensure that temperature is within the recommended range for type of refrigerant used.

SPECIFICATIONS (continued)

- Check heat transfer fluid properties to ensure that they are within the manufacturer’s recommended values.

- Check blower bearings for wear.  Grease bearings if needed.

- Check air-side heat transfer coils for dirt/trash.  Clean coils if needed.

- Test ductwork smoke detectors to ensure they are working properly.

Furnaces

Annually

- Inspect area around each unit to ensure that no combustible material is located within the minimum clearance requirements.

- Inspect vent system.

- Shut down units, remove main burners, and clean surface of heat exchanger.

- Clean dirt, dust, or other foreign material from burners, ensure all parts are unobstructed and inspect and clean pilot burner if needed.

- Reassemble units and complete start-up procedure.

- Check burner adjustment.

- Check all gas safety shut-off valves, control valves, and pipe connections for leaks.

- Check for proper operation of automatic gas valve.

- Inspect and service blower section of units as needed.

- Check and test all safety devices for proper operation.

The Contractor shall immediately notify the City of any worn, damaged, broken, or defective part(s) needing replacement, or of any needed repair(s) that is/are identified during the maintenance service and shall replace the required part(s)/make the needed repair(s) only after receiving prior authorization to do so from the City.

Upon completion of each maintenance service, a written service report shall be completed and must include:

- the service date, service location, name of technician performing the work

- list of equipment serviced, detailed description of the work performed, and when applicable, repair(s) completed

- total number of labor hours worked

- an itemized list of worn, damaged, broken, or defective parts replaced

- detail of any additional work needed or recommended that was not completed during the maintenance service.

An authorized City representative shall sign the report and a copy of the report shall be provided to the City within five (5) working days after completion of the work.

SPECIFICATIONS (continued)

Repair Service

The Contractor shall be responsible for troubleshooting problems on all equipment covered under the contract and to make necessary repair(s) on an “as needed” basis.

Repairs with a cost of less than five thousand dollars ($5,000.00) per job are authorized under the contract.  Repairs expected to exceed five thousand dollars ($5,000.00) per job shall be bid separately by the City.

Preferential treatment shall be given to the City, meaning that the City will receive a maximum four (4) hour response time on all calls for service.

The City must authorize all repair work prior to the Contractor proceeding with the work.  The City will not be responsible for the cost of any completed repair(s)/part(s) replaced that has not/have not been approved in advance by the City.

Prior to performing a repair, the Contractor shall provide to the City the estimated cost to complete the work.  The estimate shall include total labor cost, and when applicable, the cost for part(s) required to complete the work.  After receiving authorization from the City, the Contractor shall proceed with the work.

The City may, at the City’s option, request a written quote for any needed repair prior to approving the work.  When requested, the written quote shall be provided no later than two (2) working days from the date of request.  The quote shall include:  1) detailed description of the work to be performed; 2) total number of labor hours required to complete the work; 3) itemized list of required parts and unit cost of each; 4) total cost to complete the work.  It shall be the Contractor’s responsibility to obtain all information necessary to prepare as accurate a quote as possible.  Upon authorization by the City to complete work when a written quote has been provided, actual cost of the work shall not exceed the quoted price without prior approval of the City.

Time charged for all repairs shall begin upon arrival and beginning of work at the job site and shall end upon completion of work and departure from the job site.  The City will not pay for travel time to and from the job site.

The Contractor shall notify the City immediately should any equipment need to be placed out of service for repair beyond the actual service date.  Any equipment that is discovered unsafe/inoperable shall be conspicuously marked with a warning sign or tag suitable to notify user(s) of such condition(s) until the equipment has been repaired and returned to a fully operable state.

SPECIFICATIONS (continued)

Upon completion of each repair, a written service report shall be completed and must include:

- the service date, service location, name of technician performing the work

- list of equipment serviced, detailed description of the work performed

- total number of labor hours worked

- when applicable, an itemized list of worn, damaged, broken, or defective parts replaced

- detail of any additional work needed or recommended that was not completed

An authorized City representative shall sign the report and a copy of the report shall be provided to the City within five (5) working days after completion of the work.

Working Hours

The Contractor shall coordinate all working hours with the City and the work hours must be approved by the City.  Once work begins, work shall be conducted in a timely and continuous manner until complete and shall not be delayed for any contractor reason(s).  Working hours shall be defined as follows:

Normal Working Hours-	7:00am through 5:00pm, Monday through Friday,

excluding City holidays

Emergency Working Hours-	Weekday hours after 5:00pm, all day Saturday, all day

Sunday, and all City holidays

All work shall be accomplished during normal working hours with the following exceptions:

1.  Emergency repairs that cannot be completed during normal working hours

2.  Other work performed outside normal working hours that has been approved in advance by the City

Routine Repair Service

For proposal purposes, work required that does not constitute an emergency but should be complete as soon as possible to eliminate inconvenience to building occupants or to prevent possible damage to equipment/facilities shall be defined as a routine repair.

Emergency Repair Service

For proposal purposes, work required due to immediate safety hazards/concerns, inevitable damage to equipment/facilities or reduction in operational effectiveness shall be defined as an emergency repair.  Emergency repairs(s) completed during normal working hours shall be billed at the routine repair service hourly labor rate.

SPECIFICATIONS (continued)

PARTS

The Contractor shall maintain or have immediate access to commonly used replacement parts to ensure that required work can be completed in a timely manner.  The City understands that the Contractor may not supply all parts required for all work to be performed, however, the Contractor must commit to providing all effort necessary in obtaining needed parts in an expeditious manner.

All parts used shall be new and shall be original equipment manufacturer (OEM) parts, or approved equal.  An approved equal shall meet or exceed OEM specifications for the part being replaced.  All parts shall be Underwriters Laboratory (UL) listed and comply with all UL standards in cases where UL has published lists and standards applicable for the part provided and the application for which its use has been assigned.

Owner’s manual, instructions, or other documentation supplied with parts shall be given to the City upon completion of installation.

Upon request by the City, worn, damaged, broken, or defective parts replaced shall be returned to the City for inspection.  Parts returned for the City’s inspection shall be labeled, identifying the part and the equipment from which the part was taken.

Parts Warranty

The warranty period for parts furnished shall be the manufacturer’s standard warranty period.  The warranty period shall commence upon date of installation.  The Contractor shall provide to the City any written manufacturer warranty documents upon completion of installation.

SPECIFICATIONS (continued)

WORK SAFETY REQUIREMENTS

All tools and equipment used while performing the work required under this contract shall be appropriate for the task being performed, shall be in proper working order and, when applicable, properly calibrated.  City facilities shall not be used to clean contractor tools and/or equipment.

All materials incorporated in the permanent work shall be new and both materials and workmanship shall be the best of quality.

All work shall be completed in a professional manner according to industry standards.  The Contractor shall guarantee all work performed under the contract against any defects in workmanship and shall satisfactorily correct at no cost to the City any such defect that becomes apparent within a period of thirty (30) days after completion of work.  The warranty period shall commence upon date of acceptance by the City.

Access to building(s) and work area(s) must be maintained at all times and work shall be completed in such a manner as to minimize disruption to the normal operation of building occupants.

The Contractor shall be totally responsible for the safety of the job site and all associated hazards/liabilities of the work to be conducted.  Sound safety practices must be adhered to at all times.

The Contractor shall take proper measures to protect adjacent or adjoining property that might be injured and/or damaged by any process of the work to be done.  In case of injury or damage due to negligence on the part of the Contractor, the Contractor shall, at the Contractor’s expense and to the satisfaction of the City, restore the injured or damaged property to a condition similar or equal to that existing before such injury or damage was done.

The Contractor shall provide any and all barricades and lights for the work or portion of the work within which operations are being conducted.  All operations and stockpiles of material and/or stored equipment shall be adequately barricaded and lighted.

The Contractor shall remove from the job site daily all trash and debris associated with the work being performed and shall properly dispose of all waste.  Upon completion of all work, the Contractor shall remove from the job site any remaining trash and debris and all materials, supplies, tools, and equipment associated with the work performed and the entire work area shall be cleaned, by the Contractor, to a normal or “first class” condition as judged by the City.

SPECIFICATIONS (continued)

ADDITIONAL CONTRACTOR REQUIREMENTS

The Contractor shall be experienced in maintaining commercial equipment of types and sizes similar to that listed in this bid, and to the degree included in these specifications.

Licenses, Registrations, Certifications, Permits, Fees, and Taxes

The Contractor must possess and keep valid and current at all times during the term of the contract all applicable licenses, registrations, certifications, and permits required to perform the work specified in these bid documents.  The Contractor shall bear the cost of securing all required licenses, registrations, certifications, and permits, and for the payment of all applicable fees and/or taxes.  No license, registration, certification, or permit shall be applied for in the name of, or on behalf of, the City of Myrtle Beach.  During the term of the contract, should any applicable contractor license, registration, certification, or permit expire or be suspended or revoked, notice must be given to the City within one (1) working day of the expiration, suspension, or revocation.  The City will reserve the right to, at any time during the term of the contract, request copies of all applicable licenses, registrations, certifications, permits, and/or receipts or other suitable documentation showing fees and taxes paid.

South Carolina Mechanical Contractor’s License

The successful Contractor must have a current and valid South Carolina Mechanical Contractor’s License with the following minimum classifications:  Air Conditioning and Refrigeration.

Technician Certification

The successful Contractor must have in their employ a qualified service technician to perform the specified work.  The technician shall be a fully trained and experienced Universal EPA Certified Service Technician having a minimum of ten (10) years verifiable experience in servicing and repairing of commercial equipment similar to the specified equipment.  Any specialized certification(s) must be included with the RFP package.

The City will reserve the right to, at any time during the term of the contract, request written documentation verifying the qualifications and experience of any service technician maintaining the specified equipment and the requested information must be submitted to the City within five (5) working days after the information is requested.  Qualifications shall include, but are not limited to, technical training, schools, and apprenticeships.

Statutes, Regulations, Standards, Codes, and Ordinances

In addition to those referenced elsewhere in these RFP documents, the Contractor shall, at all times, comply with all other applicable federal, state, country, municipal, and local statues, regulations, standards, codes, and ordinances while performing the work required under this contract.  The latest edition(s) or, when applicable, editions(s) adopted by the local authority having jurisdiction shall apply.  No plea of ignorance on the part of the Contractor shall, in any way, relieve the Contractor from responsibility for compliance with said statutes, regulations, standards, codes, and ordinances.

SPECIFICATIONS (continued)

Safety Data Sheets (SDS)

The Contractor must acquire and maintain up-to-date Safety Data Sheet(s) (SDS) for all applicable product(s) used by the Contractor to perform the work required under the contract.  The City shall have the right to, at any time during the term of the contract, request and receive copies of any, or all, applicable SDS sheet(s).  Requested SDS sheet(s) shall be provided at no charge to the City.  The City will reserve the right to reject any product it feels could be harmful to persons or property.

Recovery/Recycling Refrigerants

The Contractor shall have in place a comprehensive plan to ensure compliance with all applicable EPA regulations regarding the recover/recycling of refrigerants and shall be responsible for the proper recovery/recycling of all refrigerants related to this contract.  It shall also be the responsibility of the Contractor to maintain an accurate audit trail for the recovery/recycling of all refrigerants related to this contract.

Hazardous Materials

The Contractor shall be responsible for ensuring that any product(s) required during the term of the contract that is/are considered hazardous are properly marked, handled, packaged, labeled, shipped, transported, and/or disposed of in accordance with all applicable federal, state, county, municipal, and local statues, regulations, standards, codes, and ordinances then in effect, including, but not limited to the provisions of the Hazardous Materials Transportation Act.

Service Call Telephone Number

The Contractor must maintain at all times during the term of the contract and shall, upon award of the contract, furnish to the City a service call telephone number than can be reached seven (7) days a week for repair service.  It shall be the responsibility of the Contractor to notify the City any time the service call telephone number is changed, out of order, or disconnected.

Attire

All contractor employees shall wear company uniforms or other appropriate attire while performing the work required under this contract.  Shirts and shoes must be worn at all times while performing work for the City.

No Smoking Policy

A no smoking policy is in effect for all City property.  Smoking is not allowed at any time on City premises.

SPECIFICATIONS (continued)

BID PRICES

Bid prices shall remain firm for the entire term of the contract.

Maintenance Service Bid Prices

Maintenance service bid prices shall be the total cost per month (excluding only parts) to maintain all equipment specified under each facility.  The monthly cost shall include the cost for those services to be performed every six months and/or annually.  The cost for filters, filter media (if applicable) and oils/lubricants must be included in the bid prices for maintenance service and shall not be billed separately.

In addition to the cost for filters, filter media (if applicable) and oils/lubricants, all other applicable costs, including but not limited to, supplies, tools, equipment, labor, supervision, truck charges, mileage, travel time, per diem, fuel, fuel surcharges, hazardous material handling fees, environmental impact fees, and waste disposal fees must be included in the maintenance service bid prices.

No additional charges or incidental fees of any kind will be allowed.

Repair Service Bid Prices

Repair service bid prices shall be the hourly labor rate to perform routine and emergency repair service.  All applicable costs, including but not limited to, labor, truck charges, mileage, travel time, per diem, fuel, fuel surcharges, hazardous material handling fees, environmental impact fees, and waste disposal fees must be included in the hourly labor rate bid prices.  No additional charges or incidental fees of any kind will be allowed.

Cost for Parts

With the exception of filters, filter media (if applicable) and oils/lubricants required when performing maintenance service, parts required during the term of the contract shall be billed at cost to the Contractor plus the percentage of mark-up over cost established as a result of this RFP.  The City shall reserve the right to, at any time during the term of the contract, request copies of manufacturer/supplier’s invoices to substantiate the cost of parts to the Contractor.

Price Increase

Should the contract be renewed for an additional term, a price increase, if needed, for maintenance services only, may be considered at the beginning of the contract renewal period, however, any price increase requested may not exceed the percentage of price increase established as a result of this RFP.

SPECIFICATIONS (continued)

TERM OF CONTRACT

The term of the contract shall be for a period of five (5) years, with a base year and an option to renew for up to four (4) additional one-year periods.  Award will be based solely on the original term of the contract.  Upon successful completion of the original contract term, renewal of the contract may be considered provided both parties agree, the terms and conditions remain the same, and renewal is in the best interest of the City.  Should the contract be renewed, the renewal shall be documented by contract and/or purchase order.

INVOICING

Invoices shall be submitted to the City for payment upon satisfactory completion and acceptance by the City of each service.  Work performed for each facility must be invoiced separately and no invoice shall be submitted for payment prior to work being performed.  Invoices shall include:

- the blanket purchase order number

- service location and service date(s)

- list of equipment serviced, description of work performed

- cost for service, and when applicable, total number and cost of labor hours worked

- itemized list of parts replaced, unit cost of each, and total cost for service.

CHANGES IN SERVICE

During the term of the contract, the City shall have the right to order additions to, deletions from, or corrections, alterations, and modifications to the contract should the need arise.  Such changes shall in no way affect, vitiate or make void, this agreement, or any part thereof, except that which is necessarily affected by such changes.

In any case of neglect or refusal by the Contractor to perform any extra work authorized by the City, or to make satisfactory progress in the execution of the same, the City may employ any person or person to perform such work, and the Contractor shall in no way interfere with the person or person so employed.

EXCLUSIVITY

This contract shall be for the work specified, however, this agreement should not be considered exclusive.  The City will reserve the right to also obtain these services from other contractors when deemed necessary and determined to be in the best interest of the City.

SPECIFICATIONS (continued)

AWARD CRITERIA

The City of Myrtle Beach reserves the right to award all items on an all-or-none basis, or on an all-or-none per building basis, when such an award arrangement is in the best interest of the City.  Proposals will be examined promptly and award will be made at the earliest possible date.  Award shall be made to the responsible proposer(s) meeting the proposal requirements and having the lowest possible cost consistent with the quality and services needed for the performance of work.  The following criteria will be used in making this determination:

- Proposer possesses a current, valid South Carolina Mechanical Contractor’s License:  25%

- Past performance with similar or like services provided by the proposer

  - Experience with pool systems:  15%

  - Effectiveness of repairs:  10%

- Technician Certifications:  25%

Examples of technician certification include, but are not limited to:  experience only/no education, technical degree, North American Technical Excellence (NATE) certification, Universal EPA certification, certifications from brand name companies, etc.

- Price:  25%

Please include copies of South Carolina Mechanical Contractor’s License, along with any/all education/certifications of technicians that may be assigned to perform work in your proposal package.  In addition, please submit evidence of past performance showing both experience and effectiveness.

SPECIFICATIONS (continued)

Pepper Geddings Recreation Center Equipment Descriptions

3205 North Oak Street

City Rep:  Amanda Bowles (843-918-2286)

Dehumidifier System

Model Number:

Serial Number:

Outside Air Intake Filters					Return Air and Inside Filters

Quantity:							Quantity:

Size:								Size:

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

Furnace

Model Number:

Serial Number:

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

HVAC Unit

Model Number:

Serial Number:

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

SPECIFICATIONS (continued)

Mary C. Canty Recreation Center Equipment Descriptions

901 Canal Street

City Rep:  Amanda Bowles (843-918-2286)

Dehumidifier System

Model Number:

Serial Number:

Outside Air Intake Filters					Return Air and Inside Air Filters

Quantity:							Quantity:

Size:								Size

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

HVAC Unit

Model Number:

Serial Number:

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

SPECIFICATIONS (continued)

Mary C. Canty Locker Room Equipment Descriptions

901 Canal Street

City Rep:  Amanda Bowles (843-918-2286)

Dehumidifier System

Model Number:  ULRA Aire XT 155H

Serial Number:  A1588029

Outside Air Intake Filters					Return Air and Inside Air Filters

Quantity:							Quantity:

Size:								Size:

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

Dehumidifier System

Model Number:  ULRA Aire XT 155H

Serial Number:  A1588024

Outside Air Intake Filters					Return Air and Inside Air Filters

Quantity:							Quantity:

Size:								Size:

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

HVAC Unit

Model Number:  500ERV/ERV500

Serial Number:  420SF55088/0000701

Note any discrepancies or clarifications to the maintenance/repair specifications (attached additional typed page if necessary):  _______________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

Price Schedule - Filters

Furnish and install outside air intake filters (one time only):  Only one of the following types of outside air intake filters will be purchased and the City will determine which type is to be furnished and installed prior to award of contract.  All applicable costs, including (but not limited to) materials, supplies, parts, tools, equipment, labor, and supervision must be included in the bid prices.  No additional charges or incidental fees of any kind will be allowed.

| Item | Description | Qty. | Unit | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| OPTION A |  |  |  |  |  |
| 1A | Furnish and install metal filter frames with hog’s hair media for outside air intake at Pepper Geddings Recreation Center | 1 | job | $_______________ | $_______________ |
| 2A | Furnish and install metal filter frames with hog’s hair media for outside air intake at Mary C. Canty Recreation Center | 1 | job | $_______________ | $_______________ |
| OPTION B |  |  |  |  |  |
| 1B | Furnish and install washable metal screen filters for outside air intake at Pepper Geddings Recreation Center (price to include ticking spray) | 1 | job | $_______________ | $_______________ |
| 2B | Furnish and install washable metal screen filters for outside air intake at Mary C. Canty Recreation Center (price to include ticking spray) | 1 | job | $_______________ | $_______________ |
| Company Name: __________________________________________________________________ Authorized Signature: _____________________________________________________________ E-mail Address: ___________________________________________________________________ |  |  |  |  |  |

Price Schedule – Maintenance Service

Maintenance service prices shall be the total cost monthly (excluding only parts) to maintain the equipment specified in this RFP.  The cost for filters, filter media (if applicable) and oils/lubricants must be included in the prices for maintenance service and shall not be billed separately.

In addition to the cost for filters, filter media (if applicable), and oils/lubricants, all other applicable costs including (but not limited to) supplies, tools, equipment, labor, supervision, truck charges, per diem, fuel, fuel surcharges, hazardous material handling fees, environmental impact fees, and waste disposal fees must be included in the maintenance service prices.  No additional charges or incidental fees of any kind will be allowed.

| Item | Description | Qty. | Unit | Unit Price Per Month | Total Price |
| --- | --- | --- | --- | --- | --- |
| OPTION A |  |  |  |  |  |
| 1A | Maintenance service for Pepper Geddings Recreation Center with hog’s hair media filters installed for outside air intake | 12 | month | $_______________ | $_______________ |
| 2A | Maintenance service for Mary C. Canty Recreation Center with hog’s hair media filters installed for outside air intake | 12 | month | $_______________ | $_______________ |
| OPTION B |  |  |  |  |  |
| 1B | Maintenance service for Pepper Geddings Recreation Center with washable filters installed for outside air intake | 12 | month | $_______________ | $_______________ |
| 2B | Maintenance service for Mary C. Canty Recreation Center with washable filters installed for outside air intake | 12 | month | $_______________ | $_______________ |
| Company Name: __________________________________________________________________ Authorized Signature: _____________________________________________________________ E-mail Address: ___________________________________________________________________ |  |  |  |  |  |

Price Schedule – Maintenance Service

(continued)

Please note below a not-to-exceed percentage of price increase to be considered, if needed, should the contract be renewed for additional terms:

Second Year:  __________%  Applied to first year price(s)

Third Year:	__________%  Applied to second year price(s)

Fourth Year:	__________%  Applied to third year prices(s)

Fifth Year:	__________%  Applied to fourth year prices(s)

Company Name: __________________________________________________________________ Authorized Signature: _____________________________________________________________ E-mail Address: ___________________________________________________________________

Price Schedule – Repair Service

Repair service prices shall be the hourly labor rates to perform routine and emergency repair service.  All applicable costs, including (but not limited to) labor, truck charges, per diem, fuel, fuel surcharges, hazardous material handling fees, environmental impact fees, and waste disposal fees must be included in the hourly labor rate prices.  No additional charges or incidental fees of any kind will be allowed.

| Item | Description | Qty. | Unit | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 1 | Hourly labor rate for routine repair service, 7:00am – 5:00pm, Monday through Friday | 1 | hour | $_______________ | $_______________ |
| 2 | Hourly labor rate for emergency repair service, after hours, all day Saturday, all day Sunday, and all City holidays | 1 | hour | $_______________ | $_______________ |
| Company Name: ____________________________________________________________ Authorized Signature: ______________________________________________________ Email Address: ____________________________________________________________ |  |  |  |  |  |

Percentage of markup over cost for parts (if needed):  __________%

Please note below a not-to-exceed percentage of price increase to be considered, if needed, should the contract be renewed for additional terms:

Second Year:  __________%  Applied to first year price(s)

Third Year:	__________%  Applied to second year price(s)

Fourth Year:	__________%  Applied to third year prices(s)

Fifth Year:	__________%  Applied to fourth year prices(s)

ADDITIONAL TERMS AND CONDITIONS

- Include with your bid at least three (3) references of similar services provided by your company. Telephone number and person to contact must be included for proposal consideration (see award criteria.)

| 1) | __________________________________________________________________ |
| --- | --- |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |
| 2) | __________________________________________________________________ |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |
| 3) | __________________________________________________________________ |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |

- List any exceptions to specifications:

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

City of Myrtle Beach

INSURANCE REQUIREMENTS

PUBLIC LIABILITY AND PROPERTY DAMAGE

The Contractor shall purchase and thereafter maintain for the term of this agreement, and any subsequent extensions hereto, public liability insurance to protect Contractor from claims for bodily injury and/or property damage which may result from Contractor’s performance of this agreement. The policy shall provide a combined single limit of liability of $1,000,000 per occurrence for bodily injury and property damage with an aggregated limit of not less than $1,000,000.

AUTOMOBILE LIABILITY

The Contractor shall purchase and thereafter maintain for the term of this agreement and any subsequent extensions hereto, comprehensive automobile liability insurance to protect the Contractor from claims for bodily injury and property damage which may arise from Contractor’s use of motor vehicles in the performance of this agreement. The policy shall provide for a combined single limit of $1,000,000 per occurrence for bodily injury and property damage.

WORKERS’ COMPENSATION INSURANCE

Prior to beginning the work, the Contractor shall take out full compensation insurance for all persons which may be employed directly or indirectly in the performance of this agreement, coverage is to apply to all employees for statutory limits in compliance with the applicable state and federal laws. The policy must provide Employers Liability coverage in the amount of $500,000 each accident; $500,000 bodily injury by disease each employee and $500,000 bodily injury by disease policy limit and shall be maintained in full force and effect during the term and any subsequent extensions hereto.

EXCESS LIABILITY POLICY

At the option of the Contractor, the limits of the primary general liability, automobile liability and employer’s liability policies may be less than stipulated herein, with an excess policy providing the additional limits needed. This form of coverage must be approved by the City and will only be acceptable when both the primary and excess policies include the coverage and endorsements required herein.

POLICY ENDORSEMENTS

The following requirements shall apply to the policy(s) indicated below:

- General Liability and Automobile Liability

It is understood and agreed that the City of Myrtle Beach, its officials, agents and employees are recognized as additional insured under the policy and, as such, will be provided thirty (30) days written notice by mail of non-renewal, exhaustion of aggregate limit, modification of coverage or cancellation for any reason, and the company hereby agrees to provide such notice. Failure of the company to provide the required notice shall cause the coverage to continue in force for the benefit of the City, its officials, agents and employees until proper notification, as

INSURANCE REQUIREMENTS (continued)

required herein, is provided, the provisions of the policy or any Certificate of Insurance to the contrary notwithstanding.

- Workers’ Compensation

The cancellation provision is hereby amended to provide that the City of Myrtle Beach will be provided thirty (30) days written notice via mail in the event of coverage cancellation.

NOTIFICATION OF INSURANCE COMPANIES

It is the responsibility of the Contractor to notify all insurance companies to familiarize themselves with all the terms and conditions of this agreement. The insurance companies shall waive their right of notification by the City of any change or modification of this contract, or of decreased or increased work, or of the cancellation of this agreement or of any other acts by the City or its authorized employees or agents under the terms of this agreement. The waiver by the insurance companies shall in no way relieve them of their obligations under this agreement.

CERTIFICATES OF INSURANCE

Contractor shall file with the City a Certificate of Insurance, which shall be approved by the City prior to the inception of any work. Renewal certificates shall be sent to the City thirty (30) days prior to any expiration date.

INSURER LICENSING AND RATING

All insurance companies providing coverage to the City, shall be licensed to do business in the State and have an A.M. Best rating of “A-“ or better.

INSURANCE COVERAGE ADJUSTMENTS

In response to changing circumstance of loss exposures, the City reserves the right to modify the insurance coverage, limits of liability, policy endorsements and policy terms required in this contract. The City will provide written notice to the Contractor, which outlines such changes and allow Contractor a reasonable period of time in which to comply with the new requirements. However, in no event shall Contractor compliance period be longer than thirty (30) days.

COVERAGE CANCELLATION OR UNSATISFACTORY COVERAGE

If at any time any of the foregoing policies shall be or become unsatisfactory to the City, as to form or substance, or if a company issuing any such policy shall be or become unsatisfactory to the City, the Contractor shall, upon notice to that effect from the City, promptly obtain a new policy and submit the same for approval to the City. Upon failure of the Contractor to furnish, deliver and maintain the insurance coverage’s required herein, this agreement, at the sole discretion of the City, may be forthwith declared suspended, discontinued or terminated. Failure of the Contractor to take out and/or maintain any required insurance shall not relieve the Contractor from any liability under this agreement, nor shall the insurance requirements be construed to conflict with or otherwise limit the obligations of the Contractor concerning indemnification.

INSURANCE REQUIREMENTS (continued)

HOLD HARMLESS

Contractor agrees to protect, defend, indemnify and hold the City, its officers, employees and agents free and harmless from and against any and all losses, penalties, damages, settlements, cost, charges, professional fees or other expenses and liabilities of every kind and character arising out of, or relating to, any and all claims, liens, demands, obligations, actions, proceedings or causes of action of every kind in connection with or arising out of this agreement, and/or the performance hereof, that are due to the negligence of the Contractor, its officers, employees or agents. The Contractor further agrees to investigate, handle, respond to, provide defense for and defend the same at its sole expense and agrees to bear all other costs and expenses related thereto.

05/08/2012

INSURANCE REQUIREMENTS (continued)

### SAMPLE

| #### CERTIFICATE OF INSURANCE |  |  |  |  |  |  |  | CERTIFICATE NUMBER |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### PRODUCER Insurance Agent Name 4000 Insurance Pkwy Anytown, USA 99999 |  |  | THIS CERTIFICATE IS ISSUED AS A MATTER OF INFORMATION ONLY AND CONFERS NO RIGHTS UPON THE CERTIFICATE HOLDER OTHER THAN THOSE PROVIDED IN THE POLICY. THIS CERTIFICATE DOES NOT AMEND, EXTEND OR ALTER THE COVERAGE AFFORDED BY THE POLICIES DESCRIBED HEREIN. |  |  |  |  |  |  |
|  |  |  |  |  | ##### COMPANIES AFFORDING COVERAGE |  |  |  |  |
| ##### INSURED Bidding Firm’s Name 1000 Any Street Anytown, USA 99999 |  |  | ###### COMPANY A ABC INSURANCE COMPANY COMPANY B COMPANY C COMPANY D |  |  |  |  |  |  |
| COVERAGES-THIS CERTIFICATE SUPERCEDES AND REPLACES ANY PREVIOUSLY ISSUED CERTIFICATE FOR THE POLICY NOTED BELOW |  |  |  |  |  |  |  |  |  |
| This is to certify that policies of insurance described herein have been issued to the insured named herein for the policy indicated. Notwithstanding any requirement, term or condition of any contract or other document with respect to which the certificate may be issued or may pertain, the insurance afforded by the policies described herein is subject to all the terms, conditions and exclusions of such policies. Aggregate limits shown may have been reduced by paid claims. |  |  |  |  |  |  |  |  |  |
| CO LTR | TYPE OF INSURANCE | POLICY NUMBER |  | POLICY EFFECTIVE DATE (MM/DD/YY) |  | POLICY EXPIRATION DATE (MM/DD/YY) | LIMITS |  |  |
| A | General Liability X Commercial General Liability _ Claims Made X Occur _ Owners & Contractor’s Prot ________________ | XYZ1234 |  | 00/00/00 |  | 00/00/00 | General Aggregate Products-Comp/Op Agg Personal & Adv Injury Each Occurrence Fire Damage (any 1 fire) |  | $ 1,000,000 $ 1,000,000 $ 1,000,000 $ 1,000,000 $ 50,000 |
| A | Automobile Liability X Any Auto _ All Owned Autos _ Scheduled Autos X Hired Autos X Non-Owned Autos ________________ | XYZ1234 |  | 00/00/00 |  | 00/00/00 | Combined Single Limit Bodily Injury (Per person) Bodily Injury (Per accident) Property Damage |  | $ 1,000,000 $ $ $ |
|  | Garage Liability _ Any Auto ________________ |  |  | 00/00/00 |  | 00/00/00 | Auto Only-Ea Accident Other than auto only: Each Accident Aggregate |  | $ $ $ |
|  | Excess Liability _ Umbrella Form _ Other than Umbrella Form |  |  | 00/00/00 |  | 00/00/00 | Each Occurrence Aggregate |  | $ $ |
| A | Workers Compensation (and Employer’s Liability) The Proprietor/Partners Executive Officers Are: X Inc _ Excl | XYZ1234 |  | 00/00/00 |  | 00/00/00 | X WC Statutory Limits _ Other EL Each Accident EL Disease-Policy Ltd EL Disease-Ea Employee |  | $ 500,000 $ 500,000 $ 500,000 |
|  | Other |  |  |  |  |  |  |  |  |
| Description of Operations/Locations/Vehicles/Special Items: City of Myrtle Beach is named as additional insured with respect to General and Automobile Liability |  |  |  |  |  |  |  |  |  |
| CERTIFICATE HOLDER |  |  |  | CANCELLATION |  |  |  |  |  |
| City of Myrtle Beach Attn: Purchasing Division Drawer 2468 Myrtle Beach, SC 29578-2468 |  |  |  | Should any of the policies described herein be cancelled before the expiration date thereof, the insurer affording coverage will endeavor to mail 30 days written notice to the certificate holder named herein, but failure to mail such notice shall impose no obligation or liability of any kind upon the insurer affording coverage, its agents or representatives, or the issuer of this certificate. |  |  |  |  |  |
|  |  |  |  | ##### INSURANCE AGENT SIGNATURE |  |  |  |  |  |

PROPOSAL AND SIGNATURE DOCUMENT

RFP Number:  18-R0005

The undersigned, as bidder, declare that we have examined all bid documents contained herein and will contract, thereon, with the City of Myrtle Beach (hereinafter referred to as the “City”) and do everything necessary for the fulfillment of this contract.  We agree any addenda received are part of the bid documents.  (If no addenda have been received, please place a zero in the space provided.)

In addition, we propose to furnish the following services in strict conformance to the bid specifications and bid invitation issued by the City of Myrtle Beach for this bid.  Any exceptions are clearly noted as required.

We understand that any false statement made to meet any requirements may result in contract cancellation or initiation of action under federal or state laws, or both.

____________________________________________________________________________________

Offeror – Company Name

____________________________________________________________________________________

Mailing Address

____________________________________________________________________________________

Remittance Address (if different from mailing address)

____________________________________________________________________________________

Telephone Number										Fax Number

____________________________________________________________________________________

E-mail

____________________________________________________________________________________

Authorized Signature										Date

Addenda Numbers Received:  ___________________________________________________________

Printed Name:  _______________________________________________________________________

City Business License Number:  _________________________________________________________

South Carolina Sales Tax Registration Number:  ____________________________________________

If no SC Sales Tax Number, please give reason:  ____________________________________________

Federal Tax ID Number (FEIN):  ________________________________________________________

|  | CITY OF MYRTLE BEACH LOCAL VENDOR PREFERENCE TO QUALIFY FOR LOCAL PREFERENCE FORM MUST BE SUBMITTED WITH BID |
| --- | --- |
| First in Service |  |

APPLICATION OF ELIGIBILITY TO QUALIFY FOR LOCAL VENDOR PREFERENCE WITHIN THE DEFINED BOUNDARIES: MYRTLE BEACH CITY LIMITS, HORRY COUNTY, NESA AREA (NESA area is comprised of Horry, Georgetown, Williamsburg, Florence, Marion, Darlington, Dillon, Chesterfield, and Marlboro Counties).

| City of Myrtle Beach Business License: (To qualify for Local Vendor Preference vendor must have had a City of Myrtle Beach Business License a minimum of ninety (90) days prior to the request for bid/ proposal being made public) |  |  |
| --- | --- | --- |
| City of MB Business License Number: ______________ *NOT Horry County License Number | Date issued: ______________ |

Complete all areas below. Incomplete forms may be rejected.

| 1. | LEGAL NAME OF BUSINESS: |  |  | __________________________________________ |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mailing Address: |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |  |
|  | Physical Address: (To qualify vendor must have maintained a physical address and office as a principal place of business within the defined boundaries of the category sought for at least one (1) year, and during that time have had a majority of full-time employees, chief officers and managers regularly conducting work and business from this office.) |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |  |
| 2. | Year business was established in the City of Myrtle Beach / Horry County / NESA area: |  |  |  |  |  |  |  |  |  |  |
|  | Year: | ______________ |  |  |  |  | County: |  | ______________ |  |  |
|  |  |  |  |  | (Name of County) |  |  |  |  |  |  |
| ************************************************************************************ |  |  |  |  |  |  |  |  |  |  |  |  |
| Under penalty of perjury, the undersigned states that the foregoing statements are true and correct. The undersigned also acknowledges that any person, firm, corporation or entity intentionally submitting false information to the City in an attempt to qualify for local preference shall be prohibited from bidding on City of Myrtle Beach products and services for a period of one (1) year. |  |  |  |  |  |  |  |  |  |  |  |
| Authorized Signature: |  |  | ____________________________________ |  |  |  |  |  |  | Date: | ______________ |
| Printed Name & Title: |  |  | ____________________________________ |  |  |  |  |  |  | Phone: | ______________ |

LOCAL VENDOR PREFERENCE continued

| Bid Amount | Within City Limits | Within Horry County | Within NESA Area |
| --- | --- | --- | --- |
| Up to $5000.00 | 5% of Bid | 4% of Bid | 3% of Bid |
| $5001.00 to $10,000.00 | $250.00 plus 4% of amount between $5001.00 and $10,000.00 | $200.00 plus 3% of amount between $5001.00 and $10,000.00 | $150.00 plus 2% of amount between $5001.00 and $10,000.00 |
| $10,001.00 and up | $450.00 plus 3% of amount above $10,000.00 with the maxium being $2000.00, including the $450.00 | $400.00 plus 2% of amount above $10,000.00 with the maxium being $1800.00, including the $400.00 | $300.00 plus 1% of amount above $10,000.00 with the maxium being $1600.00, including the $300.00 |

If company/individual performs services on City property a Certificate of Insurance must be provided prior to commencement of work meeting requirements of the City.

The vendor must submit this copy of the Local Vendor Preference Certificate with their bid.

An eligible business shall maintain such status throughout the term of any contract with the City. Failure to maintain such status or to keep current on all fees and taxes owed the City shall be grounds to terminate the contract.