City of Myrtle Beach

Invitation for Bid

IFB 18-B0071

Kitchen Fire Suppression Maintenance

Issue Date:  November 21, 2017

First in Service

Issued By:

Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

Phone:  843-918-2170

www.cityofmyrtlebeach.com

City of Myrtle Beach Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

| INVITATION FOR BID |  |
| --- | --- |
| IFB #18-B0071 Kitchen Fire Suppression Maintenance |  |
| Buyer Contact: | Tina Causey Ph: (843) 918-2184 Email: tcausey@cityofmyrtlebeach.com |
| Mandatory Pre-Bid Conference: Attendance is required for bid consideration. | N/A |
| Opening Date & Time: | Tuesday, December 12, 2017 @ 2:00PM |
| Bid Opening Location: | City of Myrtle Beach/Purchasing Office 3231 Mr. Joe White Avenue Myrtle Beach, SC 29577 |

Please note the following required condition (if indicated by an X below):

_____ 	Bid for a service $20,000.00 or greater must be accompanied by a bidder’s bond in the amount of five

percent (5%) of the total dollar amount of the bid submitted, payable to the City of Myrtle Beach.

No bids will be accepted unless submitted on the forms furnished herein.  All pages of the bid must be in a sealed envelope and delivered in accordance with these instructions:

- The envelope must be marked with the name of bidder, bid number/name, and time/date of bid opening.

- Bid packages shall be delivered to the address listed above.  The City of Myrtle Beach is not responsible for late or misdirected mail.

If the above criteria are not met, your bid shall be rejected.  Bids will be opened and read publicly at the time and date specified above.

Bidders are advised that from the date of issue of this solicitation until award of the contract, no contact with City personnel related to this solicitation is permitted.  All communications/requests for clarification are to be directed to the Buyer listed above.

It is the intent and purpose of the City of Myrtle Beach that this Invitation for Bid promotes competitive bidding.  It shall be the Bidder’s responsibility to advise the Purchasing Division if any language, requirements, etc., or any combination thereof, inadvertently restricts or limits the requirements stated in this Invitation to Bid to a single source.  Such notification must be submitted in writing and must be received by the Purchasing Division no later than three (3) City of Myrtle Beach business days prior to the bid opening date.

Bidder to complete this section:

Name of Bidder:	________________________________________________________________________

Address:	______________________________________________________________________________

Phone Number:	________________________________________________________________________

E-mail:		______________________________________________________________________________

Please note:  Signature is required on page 20.

CITY OF MYRTLE BEACH – GENERAL INSTRUCTIONS

MUST BE SIGNED AS PART OF INVITATION FOR BID PACKAGE

1.0	SUMMARY

  - DOCUMENT INCLUDES:

2.0	Authority

2.01		Equal Weight and Force

2.02		Written Explanations

2.03		Disputes with Written Explanations

2.04		Written Addenda

3.0	Requirements for Written Bid Documents

3.01		Availability of Documents

3.02		Responsive Bids

3.03		Non-Responsive Bids

3.04		Document Completion

3.05		Contents of Bid Packet

3.06		Single Package Requirement

3.07		Bid Submission

3.08		Bid Delivery/Opening

3.09		Document Ownership

4.0	Full Examination

4.01		Thorough Investigation

4.02		Pre-Bid Meetings

4.03		Evidence of Examination

5.0	Pricing

5.01		Unit Pricing

5.02		Cash Discounts

5.03		Changes in Cost

5.04		Price Evaluation

6.0	Tax Information

6.01		Sales Tax/Federal Tax

6.02		Payment of Taxes

7.0	Material Assessment

7.01		Product Documentation

7.02		SDS

7.03		Evidence of Work/Product

7.04		Sample Submission

7.05		Sample Ownership

7.06		Furnished Items

7.07		Quality of Items

8.0	Changes in Specifications

8.01		Authority of Specifications

8.02		Equipment

8.03		Deviation from Specifications

8.04		Material Preference

8.05		Changes after Award

8.06		Equivalent Items

9.0	Modifications

9.01		Additional Work

9.02		Adjustments to Items/Work

10.0	Bond Requirements

10.01		Bid Bonds

10.02		Performance/Payment Bonds

11.0	Delivery

11.01		Warehouse Deliveries

11.02		Dates

11.03		Delivery Price

11.04		Documentation

11.05		Wrong Deliveries

12.0	Award Criteria/Timeline

12.01		Award Criteria

12.02		Contract Issuance

12.03		Commencement of Work

12.04		Contract Timeline

12.05		Notification

12.06		City Business License

13.0	Bidder Responsibilities

13.01		Duration of Bid

13.02		Transfer of Responsibilities

13.03		Drug-Free Workplace

13.04		Subcontractors

13.05		Coordination and Contact

13.06		Liquidated Damages

13.07		Force Majure

14.0	Indemnity Clause

14.01		Hold Harmless

14.02		Failure to Enforce

15.0	Federal and State Laws

15.01		Employment Regulations

15.02		Employment Discrimination

15.03		Compliance with Laws

16.0	Financial Accounting

16.01		Representation

16.02		Payment

17.0	Bid Rejection/Withdrawal

17.01		Reasons for Rejection

17.02		Best Interest of the City

17.03		Determination of Responsibility

17.04		Disqualification

17.05		Withdrawal Timeline

18.0	Protest Procedures/Timelines

18.01		Bid Specifications/Contract Terms

18.02		Intent to Award

19.0	City Reserved Rights

19.01		Reserved Right

19.02		Final Judgment

19.03		Clarification

19.04		Price Increase

19.05		Loss/Damage

19.06		Performance Failure

19.07		Termination for Convenience

19.08		Termination for Default

19.09		Correction of Minor Informalities

20.0	ADA Compliance

20.01		Contact Information

21.0	Signatures

21.01		Accuracy and Completeness

21.02		Non-Collusion

21.03		Compliance

  - DEFINITIONS:

- City of Myrtle Beach – herein referred to as “City.”

B.  IFB – Invitation for Bid

C.  Bidder – any vendor, proprietor, business, company, service provider, or corporation

who submits a bid to the City.

D.  Bid – the collection of documents that includes these general instructions, the scope

of work and/or specifications, a written offer, and signature page to be

used for consideration in negotiations and/or contract development.

E.  Addendum – a written change, addition, alteration, correction, or revision to a bid

document.

F.  Bond – provides financial assurance that the bid has been submitted in good faith, that

a bidder will enter into a contract at the amount bid, and will provide the

appropriate performance and payment bonds.

G.  Bid Bond – an insurance agreement, accompanied by a monetary commitment, by

which a third party accepts liability and guarantees that the bidder will not

withdraw from the bid, must be submitted with bid package if over

$20,000.00

H.  Performance Bond – guarantees execution of the terms of a contract, required for

work valued at $20,000.00 or more for construction and/or any type of

service, must be received within ten (10) calendar days from date/time of

notification of award.

I.  Payment Bond – covers payment of subcontractors, laborers, materials, and suppliers

associated with the project, required for work valued at $20,000.00 or

more for construction and/or any type of service, must be received within

ten (10) calendar days from date/time of notification of award.

2.0	AUTHORITY:

2.01	Equal Weight and Force.  The instructions herein contained are given for the purpose of

guidance in properly preparing an applicable bid.  These directions have equal weight and

force with the specifications and strict compliance is required with all of the provisions.

Unless otherwise stated in the special instructions of the bid, these general instructions

shall apply.

2.02	Written Explanations.  Only written information from the procurement manager or an

authorized representative of the purchasing division is binding; therefore no verbal

instructions or verbal information from any other source shall be binding on the City.

The City shall not be responsible for any other explanation or interpretation and the

decision of the procurement manager or an authorized representative of the purchasing

division shall be final and binding upon each Bidder.

2.03	Disputes with Written Explanations.  The written specifications are considered clear

and complete.  Failure of the Bidder to call attention in writing to any disputes,

definitions, discrepancies, inconsistencies or incompleteness before the opening of the

bid in the time and manner set forth herein is a waiver of right to do so upon opening of

the bids.  Clarifications requested by Bidders must be in writing not less than three (3)

days before date and time set for receipt of bids.

2.04	Written Addenda.  Should the procurement manager deem it necessary to alter bid

specifications, those alterations shall be made in the form of written addenda that shall be

posted on the City website, and may be advertised in the South Carolina Business

Opportunities (SCBO) online publication and the local newspaper.  The Bidder is

responsible for monitoring all of these sources and should not rely on a single source for

updates. These addenda shall then be considered as part of these specifications.  No

interpretations of the meaning of the bid specifications shall be made orally.

3.0	REQUIREMENTS FOR WRITTEN DOCUMENTS:

3.01	Availability of Documents.  Bid documents may be obtained through the City of Myrtle

Beach website (www.cityofmyrtlebeach.com), or in person at the City of Myrtle Beach

Purchasing Office, 3231 Mr. Joe White Avenue, Myrtle Beach, SC  29577, Monday

through Friday (excluding City holidays), from 8:00 AM to 5:00 PM.  Bid documents may

be mailed or sent via e-mail by vendor request only.

3.02	Responsive Bids.  The City of Myrtle Beach will review bids on a pass/fail basis to

determine whether the bid is “responsive” to this IFB.  A responsive bid will contain all

required documents and forms that are completed in their entirety.  Documents and forms

must be unaltered, legible, signed, sealed appropriately, and free from errors without

noted corrections.  The City reserves the right (at its sole discretion) to determine whether

a bid is responsive.

3.03	Non-Responsive Bids.  Bids that are incomplete, unsigned, improperly signed or sealed,

conditional, illegible, obscure, contain arithmetical errors, corrections without initials,

ambiguities, alterations, and/or irregularities of any kind, may be declared non-responsive.

3.04	Document Completion.  A bid and signature document is provided as part of the

solicitation.  This form must be used in submitting a bid and all pages of the bid

document must be completely filled out in blue ink and signed by the Bidder.  No bid

shall be accepted unless submitted on the forms furnished herein.  The format of the bid

documents shall not be altered in any way.  Written errors made on the bid documents

prior to submission must be corrected by marking through the entry in blue ink and

making the correct entry adjacent to the written error and initialed by the Bidder in blue

ink.

3.05	Contents of Bid Packet.  The general instructions, scope of work and/or specifications,

and the bid and signature document constitute the bid packet. By submitting a bid, the

Bidder is deemed to have accepted all of the terms and conditions set forth in the bid

packet documents.  Alternative bids shall not be considered.  All bid packet documents,

after completion by the Bidder, must be returned with the bid in the same order as

received by the Bidder.

3.06	Single Package Requirement.  Unless otherwise stated in the special instructions section

of this bid request, submit one complete bid package using the attached form(s), if

applicable, for bid pricing.

3.07	Bid Submission.  Each bid must be enclosed in a sealed envelope, clearly marked on the

outside with the company name/address in the upper left-hand corner and bid

number/name and time/date of opening in the lower left-hand corner.  This sealed

envelope must be delivered to the procurement buyer.  If the required information is not

clearly stated on the outside of the envelope, the bid is considered nonresponsive.  It is

the Bidder’s responsibility to ensure that the bid is delivered by the official opening date

and time.  Bids submitted after the date and time set for receipt shall be considered late,

regardless of the degree of lateness or the reason related thereto, including causes beyond

the control of the Bidder.  Late bids shall not be opened and will be returned to the

Bidder unopened.  The City of Myrtle Beach is not responsible for late or misdirected

mail.

3.08	Bid Delivery/Opening.  All bids must be sealed, marked and delivered in accordance with

these instructions to Purchasing Division, City of Myrtle Beach, 3231 Mr. Joe White

Avenue, Myrtle Beach, SC  29577.  Bids received prior to the advertised hour of opening

shall be securely kept sealed.  Bids shall be opened and read publicly at the time so

specified on the front cover sheet.

3.09	Document Ownership.  All documents, reports, bids, submittals, working papers or

other material submitted to the City from the Bidder shall become the sole and exclusive

property of the City, in the public domain, and are not the property of the Bidder.  The

Bidder shall not copyright, or cause to be copyrighted, any portion of any of said

documents submitted to the City as a result of this solicitation.

4.0	FULL EXAMINATION:

4.01	Thorough Investigation.  Bidders shall make all investigations necessary to thoroughly

inform themselves regarding plant and facilities for delivery of material and equipment

and/or service to be performed as required by the bid conditions.  No plea of ignorance

by the Bidder of conditions that exist or that may hereafter exist as a result of failure or

omission on the part of the Bidder to make the necessary examination and investigations,

or failure to fulfill in every detail the requirements of the contract documents, shall in no

way relieve the Bidder from any obligation in respect to the bid.

4.02	Pre-Bid Meetings.  When Bidders are required to make site visits or attend pre-bid

meetings, all expenses shall be paid for by the Bidder, unless previous written

arrangements are made with the City.  No bidder shall be admitted to a pre-bid meeting

after the specified start time, otherwise the bid shall be considered non-responsive.

4.03	Evidence of Examination.  Submission of a bid shall be considered as conclusive

evidence of the Bidder’s complete examination, understanding and acceptance of the

specifications.

5.0	PRICING:

5.01	Unit Pricing.  Unit pricing shall govern over extended prices unless otherwise stated in

the special instructions in this bid request.  All prices quoted should be firm.  In those

cases where a firm bid cannot be made, consideration shall still be given to all Bidders.

Also, maximum or ceiling prices should be quoted where possible when bid contains

non-firm prices.

5.02	Cash Discounts.  Cash discounts, if allowed, should be so stated on the bid form.  Prices

must, however, be based upon payment thirty (30) calendar days after delivery.

5.03	Changes in Cost.  If during the term of the contract entered into as a result of this bid,

the cost of material(s) is/are increased through no act on the part of the contractor other

than to comply with any prevailing rise in the market price(s) of material(s) used, it shall

be the contractor’s responsibility to notify the City of Myrtle Beach Purchasing Office in

writing of the price increase(s) and the effective date of the increase(s).  Price(s) shall be

increased only to the point of absorbing additional cost(s) of material(s) paid for by the

contractor.  At any time during the term of the contract, the City may request that the

contractor provide written documentation from the manufacturer/supplier of the

material(s) to substantiate price increase(s).  If during the term of the contract, the cost of

material(s) to the contractor is reduced, then the contractor shall reduce the contract

price(s) and notify the procurement buyer in writing.

5.04	Price Evaluation.  The City of Myrtle Beach shall evaluate the Bidder’s price proposal

for completeness, price reasonableness, price realism, and unbalanced pricing.  Price

reasonableness shall be established by competition and determined primarily by

comparison with other bids submitted.  Price realism shall be established by analysis of

the unit price submitted to determine whether the bid price reflects a clear understanding

of the requirements, are realistic for the work to be performed, and are consistent with the

methods of performance and materials described in the bid response.  Unbalanced pricing

exists when, despite an acceptable total evaluated price, the price of one or more contract

line items is significantly overstated or understated and poses an unacceptable risk to

the City.  The City may determine that a bid is unacceptable if the proposed price is

materially unbalanced between line items.

6.0	TAX INFORMATION:

6.01	Sales Tax/Federal Tax.  The City of Myrtle Beach pays South Carolina State Sales Tax.

The City is exempt from Federal Excise Tax and shall issue exemption certificates if

required.  All applicable taxes should be shown as separate line items unless otherwise

indicated.

6.02	Payment of Taxes.  The contractor agrees to pay all taxes and license fees of whatever

nature applicable to conduct business and furnish the City of Myrtle Beach, if requested,

with duplicate receipts or other satisfactory evidence showing the prompt payment of all

taxes and fees when referred to and showing that all licenses are in effect.

7.0	MATERIAL ASSESSMENT:

7.01	Product Documentation.  Bid shall include adequate brochures, latest printed

specification and advertising literature describing the product(s) offered in such a fashion

as to permit ready comparison with the specifications on an item-by-item basis where

applicable.

7.02	Safety Data Sheet (SDS).  If so requested in the bid documents, a completed SDS for the

item(s) indicated must be provided with the bid documents.  Failure to submit this form

upon request may result in rejection of bid.

7.03	Evidence of Work/Product.  All Bidders must be prepared to present suitable evidence

of similar work recently completed or goods supplied.  Products are to be brand name or

equal unless otherwise specified. If submitting an equal product, supporting documents

must be provided with bid.

7.04	Sample Submission.  When samples are required with a bid, they must be submitted

with the bid unless approved by the purchasing manager or purchasing manager’s

authorized representative.

7.05	Sample Ownership.  Samples submitted shall become the property of the City of Myrtle

Beach.  The entire cost of the sample(s) shall be paid for by the Bidder unless previous

written arrangements are made with the City.

7.06	Furnished Items.  Bidders are required to state exactly what they intend to furnish;

otherwise, they shall be required to furnish the items as specified.

7.07	Quality of Items.  Bidders shall submit, with their bid, data necessary to evaluate and

determine the quality of the item(s) they are bidding.  Unless otherwise specified, the

Bidder shall unconditionally guarantee the items and workmanship being bid.  If any

defects or signs of deterioration are noted which, in the City’s opinion, are due to faulty

workmanship or material, the Bidder, upon notification and at the expense of the Bidder,

shall replace the items to the complete satisfaction of the City.  Upon the Bidder’s failure

to replace items, the City may return the rejected items to the Bidder at the Bidder’s risk

and expense, or the City may dispose of them as its own property.

8.0	CHANGES IN SPECIFICATIONS:

8.01	Authority of Specifications.  It shall be understood that in all cases the terms and

conditions, as detailed in the specifications, shall supersede terms and conditions, as

detailed in the general instructions.  No verbal agreement or conversation with any

officer, agent, or employee of the City shall affect or modify any of the terms and

conditions.

8.02	Equipment.  If this bid is for the purchase of equipment, the Bidder guarantees that the

equipment offered is standard new equipment, latest model or regular stock product, with

parts regularly used for the type of equipment offered; also that no attachment or part has

been substituted or applied contrary to the manufacturer’s recommendations and standard

practices.

8.03	Deviation from Specifications.  Any deviation from specifications must be noted in

detail and submitted in writing with this bid.  Complete specifications should be attached

for any substitutions offered, or when amplifications are desirable or necessary.  The

absence of a specification deviation statement and accompanying specifications shall

hold the Bidder strictly accountable to the specifications as written herein.

8.04	Material Preference.  The specifications, as listed herein, represent our preference in

material; however, we are fully cognizant that no two pieces of comparable material are

identical and/or same in size, function, and operation; and some of the specifications will

not completely coincide with ours as listed.  Please list your exceptions and explanations

separately. It is not our intent to write specifications for any project on which only one

proponent can submit a bid.

8.05	Changes after Award.  Any changes in specifications, after the purchase order/contract

has been awarded, must be with the written consent of the purchasing division; otherwise,

the responsibility for such changes shall be with the Bidder.

8.06	Equivalent Items.  For items identified in this bid as “brand name or equal,” the

Bidder’s offer must indicate each product that is being offered as an “equal” product by

providing the following information:

A.  A description reflecting the characteristics and level of quality that will satisfy

the salient physical, functional, or performance characteristics of “equal”

products specified in the bid

B.  A clear identification of the item by brand name and make/model number (if

any)

C.  Descriptive literature such as illustrations, drawings, photographs, or a clear

reference to previously furnished descriptive data or information that is

readily available to the purchasing buyer

D.  A clear description of any modifications the Bidder plans to make in a product

so that it conforms to the bid requirements

Compliance verification is performed by the City purchasing buyer and their requestor(s).

The purchasing buyer is required to evaluate “equal” products on the basis of information

furnished by the Bidder, or identified in the bid.  The buyer is not responsible for

locating, obtaining, or researching any information that is not provided.  A Bidder’s

product shall not be considered as an “equal” product if there is an inadequate description

of how the “equal” product meets the salient characteristics specified in the bid.

9.0	MODIFICATIONS:

9.01	Additional Work.  The bid shall not contain any unauthorized additions.  No additional

work shall be allowed or paid for unless such extra or additional work is ordered in

writing by the purchasing division and with the price for such established and agreed

upon before such extras are delivered or work is performed.

9.02	Adjustments to Items/Work.  The City of Myrtle Beach shall have the right, without

invalidating the contract, to make additions to or deductions from the items or work

covered by the specifications.  In case such deductions or additions are made, an

equitable price adjustment shall be made between the City and the contractor.  Any such

adjustments in price shall be made in writing.

10.0	BOND REQUIREMENTS:

10.01	Bid Bonds.  If required, Bidder shall supply a bid bond of 5% of the total bid amount to

be submitted with the bid package.  Bonds are required if the contract work is valued at

$20,000.00 or more for construction and/or any type of service related requirement.

10.02	Performance/Payment Bonds.  The successful Bidder at its own cost and expense shall

furnish, if required, a valid performance and payment bond (payable to the City of Myrtle

Beach.) The bond shall be in the full amount of this agreement conditioned on the full

and faithful performance of the work under this agreement in accordance with the

specifications and contract documents.  Bonds are required if the contract work is valued

at $20,000.00 or more for construction and/or any type of service related requirement.

The performance and payment bonds shall be executed by the contractor and a bonding

company authorized to do business in the State of South Carolina and approved by the

State of South Carolina to issue such performance and payment bonds.  Bonds must be

received within ten (10) calendar days from the date and time of notification of award.

Only the forms provided by the City for the performance and payment bonds shall be

accepted.

11.0	DELIVERY:

11.01	Warehouse Deliveries.  Unless otherwise stated in the special instructions section of this

bid request, deliveries shall be accepted during the hours between 8:00 AM and 4:00 PM

Monday through Friday, excluding City holidays.

11.02	Dates.  The delivery date as stated in the bid shall be the time required to deliver the

complete item(s) after the receipt of the order or award of the contract.  Where multiple

items appear on a bid request, the Bidder shall, unless otherwise stated by the City, show

delivery date for each item separately.  If only a single delivery date is shown, it shall be

assumed to mean that all items included in the bid can and will be delivered on or before

the specified date. The Bidder certifies that the delivery shall be completed in the time the

Bidder states, starting at the time the order is placed, provided that the time between the

bid opening and the placing of the order does not exceed the number of days stipulated in

the bid.  The right is reserved to reject any bid on which the delivery time indicated is

considered sufficient to delay the operation for which the commodity is intended.

Successful Bidder(s) shall be responsible for making any and all claims against carriers

for missing or damaged items.

11.03	Delivery Price.  Bid prices are to be Delivered Price (FOB Destination).  Bid prices must

include all delivery costs, including but not limited to, loading and unloading cost(s),

transportation charge(s) and fuel surcharge(s).  The City of Myrtle Beach shall not be

responsible for any demurrage charge(s).

11.04	Documentation.  Invoice(s), certificates of origin, warranties and guarantees must be

submitted at the time of delivery of the item(s).

11.05	Wrong Deliveries.  In the event that materials, supplies, etc. are delivered which do not

comply with specifications and have not been approved by the purchasing division, the

contractor, upon notification, shall immediately remove from the premises any such

materials, supplies, etc. and replace them with materials, supplies, etc. in full accordance

with the specifications.

12.0	AWARD CRITERIA/TIMELINE:

12.01	Award Criteria.  For service and supply-related requirements, the award shall be made

within the time specified to the responsible Bidder meeting the specifications and having

the lowest possible cost consistent with the quality and service needed for effective use.

The following criteria may also be used in making this determination:

A.  Superior quality and specification adherence

B.  Adequate maintenance and service

C.  Delivery and/or completion time

D.  Guarantees and warranties

E.  Company’s reputation and financial status

F.  Past experience and cost with similar or like equipment or service

G.  Anticipated future cost and experience

H.  Performance of proponent’s equipment by other agencies, plants, and firms

Evaluation factors, if required, shall be stated in either a percent basis or a numerical

format.

12.02	Contract Issuance.  The award of a contract is accomplished by executing a written

agreement that incorporates the entire bid, Bidder’s response, clarifications, addenda, and

additions.  All such materials constitute the contract documents.  The Bidder agrees to

accept the contract terms unless substantive changes are made without the approval of the

Bidder.  Bidder shall not add any provisions reserving the right to accept or reject an

award.  The procurement office is the sole point of contact for the issuance of the

contract.

12.03	Commencement of Work.  Upon execution and delivery of the contract and insurance

certificates, the Bidder shall be notified to proceed with the work of the contract.  The

work of the contract shall be commenced within one (1) City business day following such

notification, or as otherwise specified in the Notice to Proceed.  The performance period

shall be from date of issuance of Notice to Proceed through _____________.  Contract

prices shall remain firm for the duration of the contract period.  The City of Myrtle Beach

reserves the right to adjust the performance period to meet the best interests of the City.

Any such adjustment will be made in writing through the Purchasing Office.

12.04	Contract Timeline.  In the event the successful Bidder fails or refuses to execute a

formal written contract with the City of Myrtle Beach in form and content acceptable to

the City, within ten (10) City business days after notice of acceptance of the bid, the bid

may be revoked, and all obligations of the City in connection with the bid may be

canceled.

12.05	Notification.  Bid tabulations shall be available on-line at

www.cityofmyrtlebeach.com/purchasing.html. Winning Bidder shall be notified five (5)

City business days after bid tabulations are posted.

12.06	City Business License.  The successful Bidder must obtain a City of Myrtle Beach

business license in order to conduct business within our city.  A business license is not

required to submit a bid; however, any bidder that receives an award under this bid shall

be required to obtain a City business license before work can begin.  For further

information on obtaining a city business license, contact the City Business License Office

at 843-918-1200.

13.0	BIDDER RESPONSIBILITIES:

13.01	Duration of Bid.  Bid prices, terms and conditions shall be firm for a period of at least

one hundred twenty (120) calendar days from the deadline for receipt of submittal, or

until such time as established in the bid.  The successful bid shall not be subject to future

price escalation or changes of terms if accepted during the one hundred twenty (120) day

period, or the specified bid time.  Price decreases or changes in terms by others after the

acceptance of a bid shall not be considered.

13.02	Transfer of Responsibilities.  The contractor shall not assign or otherwise transfer any

of its responsibilities or obligations under the contract to any other person or entity

without prior written consent of the City.

13.03	Drug-Free Workplace.  In accordance with the provisions of the Drug-Free Workplace

Act, the City of Myrtle Beach shall promote a drug-free workplace.  Illegal drugs or

narcotics in the workplace are strictly prohibited.  The manufacture, possession, use,

and/or distribution of a controlled substance of any kind while working on City property

is subject to disciplinary action up to and including immediate discharge.  As such,

Bidders are required to insure that a drug-free workplace is provided in the performance

of any City contracts.  By submitting a bid, Bidder certifies that, if awarded the contract,

they and their subcontractors shall comply with the City’s Drug-Free Workplace Policy.

The failure of any Bidder to uphold and enforce this policy is subject to termination of

contract.

13.04	Subcontractors.  The contractor shall be wholly responsible for the performance of all

subcontractors and for their acts and omissions, and those of persons either directly or

indirectly employed by the contractor, and the fact that subcontractors are subject to the

approval of the City of Myrtle Beach shall not affect the contractor’s responsibility in this

regard.  The Bidder shall bind every subcontractor to all terms and conditions anywhere

contained in the contract documents as far as applicable to the work of such subcontractor

so that the subcontractor assumes toward the contractor and toward the work all the

obligations and responsibilities that the contract assumes toward the City as to the

performance of the subcontractor’s portion of the work.

13.05	Coordination and Contact.  The selected Bidder shall be required to assume

responsibility for coordination, engineering, delivery, installation, and maintenance of all

equipment, software and services offered in their bid, whether they are the manufacturer

or producer of them.  Bidder shall not assign, transfer, convey, sublet, or otherwise

dispose of the contract or their right, title, or interest therein without prior written consent

of the City.  Further, the City of Myrtle Beach shall consider the selected Bidder to be the

sole point of contact with regard to contractual matters, including payment of any and all

charges resulting from the lease or purchase of the entire service equipment and software

configuration, when applicable.  Only service and equipment offered by Bidders who

have installed similar systems of comparable size shall be considered.  All service and

equipment offered shall be in current standard production and of the latest design.

13.06	Liquidated Damages.  If the Bidder fails to deliver the supplies or perform the services

within the time specified in the contract, the Bidder shall, in place of actual damages, pay

to the City of Myrtle Beach liquidated damages of $__________ per calendar day of

delay.  If the City terminates the contract, in whole or in part, the contractor is liable for

liquidated damages accruing until the City reasonably obtains delivery or performance of

similar supplies or services from an alternate bidder.  These liquidated damages are in

addition to excess costs of repurchase due to contract termination.  The Bidder shall not

be charged with liquidated damages when the delay in delivery or performance is

documented to be beyond the control and without the fault or negligence of the Bidder.

13.07	Force Majure.  The Bidder shall not be held responsible for failure to perform the

responsibilities imposed by this bid due to legal strikes, fires, riots, rebellions, and acts of

God beyond the control of the Bidder, unless otherwise specified in the bid.

14.0	INDEMNITY CLAUSE:

14.01	Hold Harmless.  The contractor agrees to indemnify and save harmless the City of

Myrtle Beach, its officers, representatives, departments, agencies, employees, and agents,

from all claims, loss, damage, injury, fines, penalties, demands, actions, suits, and

liabilities arising from the contractor’s own fault or negligence or through the negligence

or fault of the manufacturer of goods supplied by the contractor.  This obligation shall

extend to and include, all litigation costs, court costs, and reasonable attorney fees

incurred by the City in response to such claims, provided it is ultimately determined that

such claims result from the contractor’s or manufacturer’s fault or negligence.

14.02.  Failure to Enforce.  Failure by the City at any time to enforce the provisions of the bid

shall not be construed as a waiver of any provisions.  The failure to enforce shall not

affect the validity of any part of the bid.

15.0	FEDERAL AND STATE LAWS:

15.01	Employment Regulations.  Bidders shall comply with all local, state, and federal

directives, orders, and laws as applicable to this bid and subsequent contract(s)

including, but not limited to Equal Employment Opportunity (EEO), in compliance with

executive Order 11246, Minority Business Enterprise (MBE), and Occupational Safety

and Health Act (OSHA), as applicable to this contract and Immigration Bill H4400 which

states that every contractor doing business with the City of Myrtle Beach for the physical

performance of services with the total value of the contract to be performed in a twelve-

month period exceeding fifteen thousand dollars ($15,000.00) must agree to the

following:

- Register and participate in the federal work authorization program to verify

the employment authorization of all new employees; and require

agreement from its sub-contractors to do the same; or

B.  To employ only workers who:

1.  Possess a valid South Carolina Driver’s License or ID issued by the

South Carolina Department of Motor Vehicles; or

2.  Are eligible to obtain a South Carolina Driver’s License or ID card in

that they meet the requirements; or

3.  Possess a valid Driver’s License or ID card from another state where

the requirements are at least as strict as those in South Carolina.

15.02	Employment Discrimination.  During the performance of this bid, the Bidder agrees not

to discriminate against any employee or applicant for employment because of race,

religion, color, sex, orientation, age, disability, or national origin; however, some

conditions may be a bona fide occupational qualification reasonably necessary for the

completion of this bid.  Furthermore, the Bidder agrees that this non-discriminatory

agreement shall be incorporated by the Bidder in all contracts entered into with suppliers,

subcontractors, and all labor organizations furnishing skilled, unskilled, and craft union

skilled labor, or who may perform any such labor or services.

15.03	Compliance with Laws.  The Bidder shall, in the performance of work under this bid,

fully comply with all applicable federal, state, county, or municipal laws, rules,

regulations, or ordinances, and shall hold the City harmless from any liability resulting

from failure of such compliance.

16.0	FINANCIAL ACCOUNTING:

16.01	Representation.  The selected Bidder shall assign a competent account representative

acceptable to the City of Myrtle Beach who shall represent the Bidder in providing

contracted services to the City.  The account representative shall maintain accurate and

detailed records, correspondence, and accounts relating all parts of the bid.  Records shall

be kept in accordance with sound, generally accepted accounting principles.  The City

shall have the right to audit all records pertaining to the costs incurred under this bid.  If

the account representative is removed by the Bidder, the new representative must be

acceptable to the City.

16.02	Payment.  Inspection and acceptance of the material, goods, and/or service by an

authorized representative of the City shall be required prior to any payment.  After

acceptance by the City, payments shall be made to the contractor within thirty (30)

calendar days of receipt of invoice.

17.0	BID REJECTION/DISQUALIFICATION/WITHDRAWAL:

17.01	Reasons for Rejection.  The City of Myrtle Beach may reject a bid if:

A.  The Bidder misstates or conceals any material fact in the bid; or if,

B.  The bid does not strictly conform to the law or requirements of the bid; or if,

C. The bid is conditional, except that the Bidder may qualify his/her bid for

acceptance by the City on an “all or none” basis, or a “low item” basis.  An

“all or none” basis bid must include all items upon which bids are invited.

17.02	Best Interest of City of Myrtle Beach.  The City may, however, reject all bids

whenever it is deemed in the best interest of the City to do so, and may reject any part of a

bid unless the bid has been qualified as provided in statement.  The City may also waive

any minor informalities or irregularities in any bid.

17.03	Determination of Responsibility.  The City may make such investigation as it deems

necessary to determine the ability of a Bidder to furnish the required goods/services, and

the Bidder shall furnish to the City any requested information and data for this purpose at

the Bidder’s expense.  Information requested may include, but not be limited to:  financial

statements, credit ratings, criminal histories, references, records of past performance,

and/or on-site inspections.  The City reserves the right to reject any Bidder if the evidence

fails to satisfy the City that such Bidder is properly qualified to carry out the terms of this

bid.

17.04	Disqualification.  Any of the following factors may be considered just cause to

disqualify a bid without further consideration:  evidence of either direct or indirect

collusion among bidders in regard to the amount, terms, or conditions of the bid; attempts

to improperly influence any member of the evaluation team; evidence of bidder’s

inability to successfully complete required responsibilities and obligations of the bid;

existence of any lawsuit, unresolved contractual claim, or dispute between the bidder and

the City; and/or default under any previous agreement with the City that resulted in the

termination of the agreement.

17.05	Withdrawal Timeline.  Bids may be withdrawn on a written request, received from

Bidders prior to the bid closing date and time.  Negligence on the part of the Bidder in

preparing the bid creates no right for withdrawal of the bid after the bid has been opened.

No modifications, clarifications, or explanations of any bids shall be allowed after the date

and time of closing.

18.0	PROTESTS:

18.01	Procedures/Timelines.  Protest of Bid Specifications and/or Contract Terms:

- Specifications and contract terms shall be made available for inspection and

copying.  Unless a different deadline is specified in the IFB, protests of the bid

specifications or contract terms shall be presented to the City in writing within

five (5) City of Myrtle Beach business days prior to bid closing.

- Such protest or request for change shall include the reasons for protest or

request, and any proposed changes to specifications or terms.

- Envelopes containing protests of specifications shall be marked and mailed, or

hand delivered within five (5) city of Myrtle Beach business days to the

procurement buyer.

- No protest against award because of the content of bid specifications or

contract terms shall be considered after the deadline established for submitting

such protest in paragraph A above.

- Submission of a bid without the timely submission of protest of specifications

or contract terms is deemed a waiver to the right to protest specifications or

contract terms.

- A decision by the procurement buyer shall be given in writing in each of such

cases at least one (1) City of Myrtle Beach business day before the time set for

the opening of bids.  A copy of the decision may be obtained at the

procurement manager’s office.

- If, in the judgment of the procurement manager, the previously mentioned

inquiry requires explanation or interpretation, any such explanation or

interpretation of said plans, specifications, or other contract documents shall

be made by written addendum duly issued with copies mailed or delivered to

each person or firm receiving a set of contract documents.

18.02	Procedures/Timelines.  Intent to Award:

A.  The written purchase order shall constitute a final decision of the City of

Myrtle Beach to award the contract if no written protest is filed with the City

within five (5) City of Myrtle Beach business days of the posting of the bid

tab.  If a protest is timely filed, the purchase order is a final decision of the

City only upon issuance of a written decision denying the protest and

affirming the award.

B.  Purchasing buyer shall notify winning Bidder five (5) City days after bid tab is

posted on the City website.  It is the responsibility of the Bidder to check the

website.  Any actual Bidder who is adversely affected or aggrieved by the

award of the contract to another Bidder on the same solicitation shall have

five (5) City business days after the posting of bid tab to submit to the City a

written protest of the award.  The written protest shall specify the grounds

upon which the protest is based.  The City shall not entertain a protest

submitted after the time period established in this rule or such different period

as may be provided in the City’s request for bids.

C.  Bidders must submit written protests of the intent to award to the procurement

manager within five (5) business days.  The written protest must include name

and contact information of the protestor, solicitation, title and number, the

grounds upon which the protest is based, and relief expected.

19.0	CITY RESERVED RIGHTS:

19.01	Reserved Rights.  The City of Myrtle Beach expressly reserves the following rights:

A.  To reject any and/or all irregularities in the bids submitted

B.  To reject any and all bids, or parts thereof, as deemed in the best interest of the

City.

C.  To base awards due with regard on quality of services, experiences,

compliance with specifications, and other such factors as may be

necessary in the circumstances.

D.  To make the award to any Bidder who, in the opinion of senior management,

is in the best interest of the City.

E.  To make award based on negotiations conducted in accordance with this

solicitation or on the basis of a best and final offer by the Bidder.

F.  Only the evaluation factors specified in this solicitation shall be used as a basis

for award.

19.02	Final Judgment.  If any doubt or difference of opinion arises between the City of Myrtle

Beach and the Bidder as to the interpretation of this request for bid, the decision of the

City shall be final and binding upon all parties.

19.03	Clarification.  The City of Myrtle Beach reserves the right to obtain clarification on any

point in the Bidder’s bid. The failure of the Bidder to make additional information

available could result in the rejection of the response.  Such clarification might involve

the delivery of demonstration equipment to the City for evaluation purposes.  Such

hardware shall be provided at no cost to the City.  The City is not obliged to evaluate any

or all products.

19.04	Price Increase.  The City of Myrtle Beach reserves the right to accept or reject any price

increase(s) and to cancel any and all item(s) under the contract for which price increase(s)

is/are considered unacceptable.

19.05	Loss/Damage.  The City of Myrtle Beach shall not be responsible for the loss or damage

of any items during the IFB process.

19.06	Performance Failure.  In the event that the Bidder fails to perform any material

obligations, the City of Myrtle Beach reserves the right to give the Bidder written cure

notice of such failure.  The Bidder shall then have five (5) calendar days to resolve the

failure. If the failure is not resolved within five (5) calendar days, the City reserves the

right to withhold all money that is due and payable to the Bidder.  Such a remedy is in

addition to other remedies that might be available to the City. Moreover, the City reserves

the right to terminate the contract if the Bidder exceeds the five (5) calendar days of non-

performance without the approval of the purchasing manager.

19.07	Termination for Convenience.  The City of Myrtle Beach reserves the right to terminate

the contract with the Contractor when it is in the best interest of the City.  If the contract

is so terminated, the City shall provide the Contractor with thirty (30) calendar days

written notice and shall compensate the Contractor for all necessary and reasonable direct

costs of performing the services actually accomplished as of the date of termination.  No

other costs shall be allowed for a termination for convenience.  No damages shall be

allowed for a termination of convenience.

19.08	Termination for Default.  The performance of work under this bid may be terminated

by the City in whole, or in part, upon non-performance, violation of contract terms,

delivery failure, bankruptcy or insolvency, or whenever the City determines that

termination is in the City’s best interest.  Any such termination shall be communicated by

a written notice of default, delivered to the Bidder, at least fifteen calendar (15) days

before the date of termination, specifying the extent to which performance of the work is

terminated, and the date upon which such termination becomes effective.  The City of

Myrtle Beach shall be entitled to recover all fees, costs, claims, or damages incurred as a

result of the Contractor’s breach of this Agreement, including reasonable attorney’s fees

and costs of legal action instituted by the City to collect such fees, costs, claims, or

damages.

19.09	Correction of Minor Informalities.  Prior to the notice of award to any bidder, the City

of Myrtle Beach may elect to waive minor informalities or allow the bidder to correct

them.  Minor informalities are matters of form rather than substance.  They are

insignificant mistakes that can be waived or corrected without prejudice to the other

bidders and have little or no effect on price, quantity, quality, delivery, or contractual

conditions.  If minor informalities or bid mistakes are noted, the bidder shall have no

more than five (5) City business days to make necessary corrections.  In the event that

corrections are not acceptable or not received, the City may reject the bid.

20.0	ADA COMPLIANCE:

20.01	Contact Information.  Questions concerning the bid requirements or specifications

should be directed in writing to the procurement buyer shown on the front page of this

bid package.  If you need disability-related accommodations, please contact (843) 918-

2170.

21.0	SIGNATURES:

21.01	Accuracy and Completeness.  The authorized signer of the bid shall represent and

warrant that they have been sufficiently informed in all matters relating to the specified

products; that they have checked their bid for errors and omissions; that the prices stated

in their bid are correct and as intended are a complete and correct statement of prices.

21.02	Non-Collusion.  The authorized signer of the bid certifies that the bid is made without

collusion or fraud, and that they have not offered or received any kickbacks or

inducements from any other bidder, supplier, manufacturer, or subcontractor in

connection with their bid.  Furthermore, the authorized signer certifies that they have not

conferred on any public employee having official responsibility for this procurement

transaction any payment, loan, subscription, advance, deposit of money, services, or

anything of more than nominal value, present or promised, unless consideration of

substantially equal or greater value was exchanged.  Prior compensated consulting shall

not preclude a Bidder from making a bid.

21.03	Compliance.  By signature below the Bidder affirms that they have examined,

understands and accepts all instructions, specifications and conditions, and shall provide

for appropriate insurance, deposits, and performance bonds if required, and shall comply

fully with specifications as attached for the agreed contract, especially where materials

and work are involved, and that any and all registration requirements where required for

Bidders as set forth in law are met.

____________________________________________________________________________________

Signature of Bidder									Date of Signing

____________________________________________________________________________________

Print Name of Bidder

If more convenient, tabulations are available for pick-up after final award. No bid tabulations will be faxed.

SCOPE OF WORK

INTENT

It is the intent of this bid to establish a term contract to service and maintain Kitchen Fire Suppression Systems Maintenance located at City of Myrtle Beach facilities listed elsewhere in these specifications.

These specifications shall establish the minimum acceptable standards for servicing and maintaining of the Kitchen Fire Suppression Systems. The successful Contractor will be required to inspect, test and clean each system at the frequency specified for that system. The Contractor will also be responsible for performing routine/emergency repair service on an “as needed” basis for all specified equipment.

The successful Contractor shall be responsible for providing all parts, materials, supplies, tools, equipment, labor, supervision and transportation necessary to perform the specified services.

SITE VISITS

Site visits are not mandatory but are recommended to ensure that the bidder fully understands the scope of work involved and the type and condition of the equipment to be maintained.

Listed under each City facility is the manufacturer/model and serial number for each system to be serviced, however, the City does not guarantee that the information provided is completely accurate nor represents the entire system. It shall be the responsibility of each bidder to verify the information provided.

Also listed under each facility is the name and telephone number of the contact person for that facility. Site visits may be scheduled by contacting the appropriate contact person for each facility.

No plea of ignorance by the bidder of conditions that exist or that may hereafter exist as a result of failure or omission on the part of the bidder to make the necessary examination and investigations, or failure to fulfill in every detail the requirements of the contract will be accepted as a basis for varying the requirements of the City or the compensation to the contractor.

TERM OF CONTRACT

The term of the contract shall be for a period of one (1) year effective upon notification of award. Upon successful completion of the contract, an option to renew for four (4) additional one (1) year periods will be available provided both parties agree and each renewal is documented by contract and/or Purchase Order.

BID PRICES

Bid prices shall be all-inclusive with the exception of the cost for replacement parts. Bid prices must include all other costs, as applicable, including, but not limited to, supplies, materials, equipment, labor, supervision, travel time, mileage, per diem, fuel costs, energy surcharge(s), hazardous material handling charges, environmental impact fee(s) and solid waste excise fee(s). No service charges or other incidental expenses will be allowed.

The cost of replacement parts and applicable sales tax for replacement parts shall be the only costs excluded from the bid prices.

PRICE INCREASES

Bid prices shall remain firm for the base year of the contract. An across the board price increase will be allowed at the beginning of each contract renewal period should the contract be renewed, however, the price increase shall not exceed the percentage of increase established as a result of this bid.

LICENSES, PERMITS, REGISTRATIONS AND CERTIFICATIONS

The Contractor and all contractor employees must possess and keep current and valid at all times, during the term of this contract, all applicable licenses, permits, registrations, certifications, etc. required to perform the specified services.

Upon award of the contract, the successful Contractor shall have or must obtain a valid and current City of Myrtle Beach Business License prior to conducting any work under the contract. For questions regarding a business license, contact the City of Myrtle Beach Business License Division at 843-918-1200.

The successful Contractor must possess a valid and current “Class D” Fire Equipment Dealers License issued by the South Carolina Department of Labor, License and Regulation (LLR)-Office of the SC State Fire Marshall and shall employ as a minimum two (2) fully trained employees that possess valid and current “Class D” permits issued by the SC LLR-Office of the SC State Fire Marshal. Also, all other individuals that will perform services under this contract must possess valid and current permits issued by the SC LLR-Office of the State Fire Marshall and the specific types of work performed by these individuals must be limited to the class of permit held by the individuals

No licenses, permits, registrations or certifications shall be applied for in the name of, or on behalf of, the City of Myrtle Beach.

The Contractor shall bear the cost of securing all required licenses, permits, registrations and certifications and for the payment of any/all applicable fees and/or taxes required to perform the services under this contract.

After award, should any applicable Contractor/contractor employee license, permit, registration or certification be suspended or revoked, notice must be given to the City within five (5) working days after the suspension or revocation takes effect.

The City reserves the right to, at any time during the term of this contract, request copies of all applicable licenses, permits, registrations, certifications, etc.

STATUTES, STANDARDS, CODES AND ORDINANCES

The Contractor and all contractor employees shall, at all times, while performing the services required under this contract, comply with all applicable federal, state, county, municipal and local statutes, regulations, standards, codes and ordinances. The latest edition(s) or, when applicable, edition(s) as adopted by the local authority having jurisdiction shall apply.

It shall be the responsibility of the successful Contractor and all contractor employees to remain fully informed of all existing and future federal, state, county, municipal and local statutes, regulations, standards, codes and ordinances applicable to the services to be performed under this contract.

PAYMENT OF FINES AND PENALTIES

The Contractor shall pay all fines and/or penalties assessed the City by any law organization or entity having jurisdiction for the Contractor’s violations of applicable statutes, regulations, standards, codes, ordinances and/or orders arising in connection with the Contractor’s performance of services under the contract.

DRUG FREE WORKPLACE

The Contractor agrees to maintain a drug free workplace throughout the entire term of the contract or the contract shall be subject to cancellation.

A “drug free workplace” means a site for the performance of work done in connection with a specific contract of an entity at which employees of the entity are prohibited from engaging in the unlawful manufacture, distribution, dispensation, possession or use of a controlled substance.

ATTIRE

All contractor employees shall wear company uniforms or other appropriate attire while performing the services required under this contract. Shirts and shoes shall be worn at all times while performing work for the City.

SERVICE CALL TELEPHONE NUMBER

The successful contractor must maintain at all times during the term of this contract, and shall upon award of the contract, furnish to each facility specified, a service call telephone number that can be reached for repair service. It shall be the contractor’s responsibility to notify each City facility if/when the service call telephone number is changed, out of order, temporarily disconnected, etc.

INVOICING

Services performed for each facility shall be invoiced separately and invoices shall be submitted for payment upon satisfactory completion of each service. No invoices shall be submitted prior to services being performed.

No additional work will be allowed or paid for unless such work is ordered in writing by the City of Myrtle Beach Purchasing Office and the price for such established and agreed upon before such work is performed.

All invoices must be itemized and shall include the blanket purchase order number, service location, list of services performed, cost for each service, total number of labor hours and cost of labor hours (when applicable) and an itemized list of parts replaced and unit cost for each part (when applicable).

Invoices shall be submitted to:

City of Myrtle Beach

Finance Department – Accounts Payable

PO Box 2468

Myrtle Beach, SC 29578

EXCLUSIVITY

This contract shall be for the services specified, however, this agreement should not be considered exclusive. The City reserves the right to also obtain these services from other contractors when deemed necessary and determined to be in the best interest of the City.

ADDITIONS/DELETIONS TO/FROM CONTRACT

During the term of this contract, the City shall have the right to request the addition/deletion of locations and equipment to/from the contract if/when the need arises. Such additions/deletions shall in no way affect, vitiate or make void the contract or any part thereof, except that which is necessarily affected by such additions/deletions.

The cost for added equipment shall be at the prices established as a result of this bid for similar equipment or shall be determined through negotiation between the City and Contractor when prices have not been established for the type of equipment to be added.

The hourly labor rate for repair service and percentage over cost for parts shall be at the prices and percentage established as a result of this bid.

If/when equipment is deleted from the contract, the Contractor shall be paid any outstanding balance(s) for services performed on the deleted equipment that has/have been completed and accepted as satisfactory by an authorized representative of the City.

In any case of neglect or refusal by the Contractor to perform any extra work which may be authorized by the City or to make satisfactory progress in the execution of the same, the City may employ any person or persons to perform such work and the Contractor shall in no way interfere with the person or persons so employed.

CITY FACILITIES

DOUG SHAW STADIUM – 3205 North Oak Street, Myrtle Beach, SC

POC:  Kevin Morris – 843-918-2287

| Mfg: Peachtree Distribution Inc. Model: 606048 Serial Number: 91557 |  |
| --- | --- |

NED DONKLE COMPLEX

POC: Kevin Morris – 843-918-2287

Mfg: Econ-Air

Model: 48246X

Serial Number: 340595

GRAND PARK SPORTS COMPLEX

POC: Jody Davidson – 843-945-0679

Two (2) Auto Fryers and one (1) auto griddle

Fields #4 - #7: One hood unit fryer for each field

REQUIRED WORK

Upon award of the contract, the Contractor shall contact each City facility listed in these specifications to determine when inspections, testing and cleanings are due for the kitchen fire suppression system(s) located at each facility. The Contractor shall be responsible for scheduling and performing, when due, the inspections, testing and cleaning of each system.

The Contractor shall service and maintain all kitchen fire suppression systems in accordance with the manufacturer’s recommended procedures, these bid specifications and the terms and conditions stated herein.

Should any system require twelve (12) year maintenance during the term of this contract, it shall be the responsibility of the Contractor to schedule and perform the twelve (12) year maintenance service when due.

The Contractor shall also perform routine and emergency repairs on an “as needed” basis.

INSPECTIONS AND TESTING

All kitchen fire suppression systems specified require two (2) inspections and testing per year.

Inspections and testing shall include, but is not limited to, the following (as applicable):

1.   Check for and identify any changes in the hazard area that may affect the performance and/or reliability of the system.

2.   Check date of manufacture to determine if twelve (12) year maintenance service is required or was performed when required.

3.   Examine both suppression agent and actuation cylinder shells and components for damage, corrosion, repairs or other physical conditions that might impair their functioning properly. Examine valve assemblies to ensure they are operating properly. Ensure pressure gauges are operating properly and match recommended operating pressures. Check cylinders to ensure that they are filled and charged to capacity and recharge if needed.

4.   Inspect and test all actuation components, including remote manual pull stations, mechanical/electrical devices, detectors and actuators for proper operation.

5.   Check gas/electrical shutoff functions to ensure they are operating properly.

6.   Check system components for cleanliness.

7.   Check all nozzles to ensure that they are properly aimed, free of blockage and proper

blow-off caps are intact.

8.   Inspect fusible links/automatic sprinkler heads/other types of detection devices and

clean/replace when needed in accordance with manufacturer recommendations.

9.   Inspect piping and conduit to ensure it was installed according to manufacturer’s specifications, is      not obstructed and is securely bracketed.

10.   Ensure tamper seals are intact.

11.   Ensure proper type of portable fire extinguisher is available, is easily accessible and has

been properly serviced.

12.   Record all required information on a durable service tag and securely affix tag to system.

Upon completion of each inspection and testing, a written inspection report shall be completed and shall contain a detailed description of the actual work performed. The report shall also fully explain any deficiencies noted and recommended actions to be taken in accordance with recognized procedures for care and maintenance. The report shall clearly identify the deficient system and the location of the system. An authorized City representative shall sign the inspection report and a copy of the report shall be provided to the City representative.

The Contractor shall also mail a copy of the inspection report to:

City of Myrtle Beach Fire Marshall

PO Box 2468

Myrtle Beach, SC 29588.

CLEANING

All kitchen fire suppression systems shall be cleaned once a year. Cleaning of each system shall include the exterior of the system, hoods, backsplashes, grease removal devices, filters, fans, interior of all exhaust system ductwork, interior of all exhaust removal fans/blowers and all other appurtenances. All parts shall be cleaned to bare metal to completely remove all solidified, semi solidified or liquid cooking by-products. No flammable solvents or other flammable cleaning aids shall be used in the cleaning process. Cleaning chemicals shall not be applied on fusible links, other detection devices or the automatic extinguishing system. Parts shall not be coated with powder or other substance upon completion of cleaning and hoods shall be polished upon completion of cleaning.

Upon completion of the cleaning process, exhaust fans/blowers shall be restarted, all access panels/doors and cover plates utilized during the cleaning process shall be replaced and fastened, dampers and diffusers shall be positioned for proper exhaust air flow and all electrical switches and system components shall be returned to an operable state.

Upon completion of the system cleaning, the immediate work area shall be properly cleaned, any debris resulting from the cleaning process shall be removed and properly disposed of and the kitchen/concession areas shall be left ready for use by the staff.

Upon completion of cleaning, a certificate indicating date of cleaning, name of servicing company and name of individual performing the work shall be completed along with a written report identifying any inaccessible area(s) or any other area(s) that was/were not cleaned. Both the certificate and written report shall be provided to the City facility point of contact person.

REPAIR SERVICE

The Contractor shall perform routine/emergency repairs on an “as needed” basis at all specified facilities.

Repairs may not exceed five thousand dollars ($5000.00) per job. Repairs expected to exceed $5000.00 per job shall be bid separately from this contract.

Time charged for all repairs shall begin upon arrival and beginning of work at the job site and shall end upon completion of work and departure from the job site.

Work required that does not constitute an emergency, but should be completed as soon as possible to eliminate inconvenience to occupants shall be defined as a routine repair. Work required that poses an immediate safety hazard, reduces operational effectiveness, or may result in damage to the facility shall be defined as an emergency repair.

The Contractor shall contact a City facility requesting routine repair service within twenty-four (24) hours after receiving notification of the need for repair. Unless instructed otherwise by an authorized City representative, routine repairs shall be completed during normal business hours as soon as possible after notification of the need for repair services. Normal business hours shall be defined as 8:00 am – 5:00 pm, Monday – Friday, excluding City holidays.

The Contractor shall immediately contact a City facility requesting emergency repair service and unless otherwise instructed by City personnel, shall respond on-site within two (2) hours after receiving notification of the need for repair. The City shall bear the sole responsibility in determining what constitutes an emergency and the Contractor shall respond on-site upon the City’s request.

When emergency repairs are completed during normal business hours as previously defined, the repairs shall be billed at the routine repair service hourly labor rate, unless the two (2) hour on-site response time was required and met, in which case the emergency repair service hourly labor rate will apply.

Prior to performing a repair, the contractor shall provide the City with the estimated cost, to include both labor cost and cost for part(s), to complete the repair. After receiving authorization from the City, the contractor shall proceed with the work. The City shall not be responsible for the cost of any completed repair(s) that has/have not been approved in advance by the City.

The City may, at the City’s option, request a written quote for any needed repair prior to approving the repair. When requested, the written quote shall be provided no later than two (2) working days from date of request. The quote shall include: 1) full description of work to be performed, 2) total number of labor hours to complete the work, 3) itemized list of required parts and unit cost of each, 4) total cost to complete the work. It shall be the contractor’s responsibility to ensure that the contractor has all information necessary to prepare as accurate a quote as possible. Upon authorization to complete the work when a written quote has been provided, actual cost of the work and/or parts shall not exceed the quoted price without prior approval of an authorized City representative.

Upon completion of each repair, a written service report shall be completed and shall contain a detailed description of the actual work performed, an itemized list of any worn, damaged or defective parts replaced and total number of labor hours worked. An authorized City representative shall sign the service report and a copy of the report shall be provided to the City representative.

At any time the contractor consistently fails to respond to service calls within the allotted response time, the City may consider the contractor in default and the contract shall be subject to cancellation. Consistent failure is defined as not responding within the allotted response time at any or all facilities on two out of four consecutive occurrences.

PARTS

The Contractor shall maintain or have immediate access to commonly used replacement parts to ensure that all work can be completed in a timely manner. The City understands that the Contractor may not supply all parts required for all work to be performed, however, the Contractor must commit to providing all effort necessary in obtaining needed parts in an expeditious manner.

All replacement parts used shall be new and shall be original equipment manufacturer (OEM) parts or approved equals. An approved equal shall meet or exceed OEM specifications for the part being replaced. Any owner’s manuals, instructions, or documentation supplied with parts shall be provided to the City upon completion of installation.

All parts shall be, when applicable, Underwriters Laboratory (UL) listed and comply with all UL standards in cases where UL has published lists and standards for the part provided and the application for which its use has been assigned.

Upon request, damaged/defective parts replaced shall be returned to the City for its inspection. Parts returned for the City’s inspection shall be labeled identifying the part.

All parts sold to the City must be itemized on the invoice showing the actual cost of the part to the Contractor plus the percentage of mark up over cost for each part. Manufacturer/supplier invoices indicating the actual cost of parts to the Contractor may be requested by the City at any time to substantiate invoice prices. The cost for parts and labor for each completed repair shall be submitted on the same invoice.

PARTS WARRANTY

The warranty period for parts furnished shall be for the manufacturer’s standard warranty period. The warranty period shall commence upon date of acceptance by the City. The Contractor shall provide to the City any written manufacturer warranty documents upon completion of the installation.

SPECIAL WORK REQUIREMENTS

The Contractor shall coordinate the working hours with each City facility and the working hours are to be approved by the City facility. Once work begins, work will be continuous, conducted daily and not delayed for any Contractor reason(s).

The Contractor shall furnish the proper types of tools, equipment, materials and supplies required while performing the services under this contract.  All materials incorporated in the permanent work shall be new and both workmanship and materials shall be the best of quality.

The Contractor shall guarantee all work performed under this contract against any defects in workmanship and shall satisfactorily correct at no cost to the City any such defect that becomes apparent within a period of one (1) year after completion of work. The warranty period shall commence upon date of acceptance by the City.

Access to building(s) must be maintained at all times. Work shall be completed in such a manner as to minimize disruption to the normal operation of the building’s occupants.

The Contractor shall be totally responsible for the safety of and associated hazards/liabilities of the work to be conducted. Sound safety practices must be adhered to. All safety equipment shall meet or exceed all OSHA standards for safety.

The Contractor shall take proper measures to protect adjacent or adjoining property that might be injured and/or damaged by any process of the work to be done. In case of injury or damage, the Contractor shall restore at it’s own expense, and to the satisfaction of the City, the injured or damaged property to a condition similar or equal to that existing before such injury or damage was done.

The Contractor shall provide any and all barricades and lights for the work or portion of the work within which operations are being conducted. All operations and stockpiles of material and/or stored equipment shall be adequately barricaded and lighted.

Upon completion of the work, the Contractor shall clean and remove from the job site all trash, debris, materials, supplies and equipment associated with the work being performed. The entire work area shall be cleaned to a normal level or “first class” condition as judged by the City. Disposal of all waste shall be performed in accordance with all applicable federal, state and local statutes, regulations, standards, codes and ordinances.

AWARD

Award will be based on lowest price.

INVOICING

Invoicing shall be submitted upon completion of shipment.  All invoices must reference the purchase order number, quantity, unit price and extended price of item purchased.

| Invoices shall be submitted to: | City of Myrtle Beach Finance Department/Accounts Payable PO Box 2468 Myrtle Beach, SC 29578-2468 |
| --- | --- |

QUESTIONS:

Questions regarding this IFB should be directed to the Department of Purchasing, Tina Causey by email: tcausey@cityofmyrtlebeach.com. All questions must be submitted in writing; telephonic inquiries will not be considered.

PRICE SCHEDULE

Bid prices shall include all applicable costs including, but not limited to, materials, supplies, tools, equipment, labor, supervision, transportation, travel time, per diem, documentation, licenses, fees and taxes. No additional charges of any kind will be allowed.

Please state below a not-to-percentage of price increase to be applied across the board if needed, should the contract be renewed for additional term(s):

Inspection and Testing of Kitchen Fire Suppression System

| Description | Unit | Price Per Inspection | Extended Price (Annually) |
| --- | --- | --- | --- |
| Doug Shaw Concession | Twice Yearly | $_____________ x 2 | $_____________ |
| Ned Donkle Concession | Twice Yearly | $_____________ x 2 | $_____________ |
| Grand Park Complex | Twice Yearly | $_____________ x 2 | $_____________ |

Cleaning of Kitchen Fire Suppression System

| Description | Unit | Price Per Inspection |
| --- | --- | --- |
| Doug Shaw Concession | Annually | $_____________ |
| Ned Donkle Concession | Annually | $_____________ |
| Grand Park Complex | Annually | $_____________ |

Maintenance on Kitchen Fire Suppression Systems (if required)

| Description | Unit | Price Per Maintenance |
| --- | --- | --- |
| Doug Shaw Concession | As needed per call | $_____________ |
| Ned Donkle Concession | As needed per call | $_____________ |
| Grand Park Complex | As needed per call | $_____________ |

Should any system require twelve (12) year maintenance during the term of this contract, it shall be the responsibility of the Contractor to schedule and perform the twelve (12) year maintenance service when due.

| Description | Qty | Unit | Price Per 12 Year Maintenance |
| --- | --- | --- | --- |
| Doug Shaw Concession | 1 | each | $______________ |
| Ned Donkle Concession | 1 | each | $______________ |
| Grand Park Complex | 1 | Eacg | $______________ |

Repair Service								Hourly Labor Rate

Routine Repair Service						$____________/hr

Emergency Repair Service						$____________/hr

Please indicate percentage over cost to be charged for parts:		$_____________

2nd Year: _____%  (to be applied to original bid prices)

3rd Year: _____%  (to be applied to second year prices)

4th Year: _____%  (to be applied to third year prices)

5th Year: _____%  (to be applied to fourth year prices)

AUTHORIZED SIGNATURE: __________________________________________________

COMPANY NAME: ___________________________________________________________

ADDITIONAL TERMS AND CONDITIONS

- Include with your bid at least three (3) references of similar products provided by your company. Telephone number and person to contact must be included for bid consideration.

| 1) | __________________________________________________________________ |
| --- | --- |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |
| 2) | __________________________________________________________________ |
|  | __________________________________________________________________ |

| 3) | __________________________________________________________________ |
| --- | --- |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |

- List any exceptions to specifications:

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

BID AND SIGNATURE DOCUMENT

Bid Number: 18-B0071

The undersigned, as bidder, declare that we have examined all bid documents contained herein and will contract, thereon, with the City of Myrtle Beach (hereinafter referred to as the "City")

to do everything necessary for the fulfillment of this contract. We agree any addenda received are part of the bid documents. (If no addenda has been received, please place a zero in the space provided.)

In addition, we propose to furnish the following services in strict conformance to the bid specifications and bid invitation issued by the City of Myrtle Beach for this bid. Any exceptions are clearly noted as required.

We understand that any false statements made to meet any requirements may result in contract cancellation or initiation of action under Federal or State laws or both.

| _________________________________ Bidder-Company Name |  |  | _________________________________ Addenda Numbers Received |
| --- | --- | --- | --- |
| _________________________________ City Business License Number |  |  | _________________________________ Telephone Number |
| _________________________________ Authorized Signature |  |  | _________________________________ Fax Number |
| _________________________________ Printed Name |  |  | _________________________________ Email |
| South Carolina Sales Tax Registration No.: ___________________________________________ |  |  |  |
| If SC Sales Tax No. not supplied, please state reason: ___________________________________ |  |  |  |
| Federal Tax ID No. (FEIN): _______________________________________________________ |  |  |  |
| _________________________________ Mailing Address________________________ _________________________________ City, State, Zip Code |  |  | ____________________ Date____________________________ |

|  | CITY OF MYRTLE BEACH LOCAL VENDOR PREFERENCE TO QUALIFY FOR LOCAL PREFERENCE FORM MUST BE SUBMITTED WITH BID |
| --- | --- |
| First in Service |  |

APPLICATION OF ELIGIBILITY TO QUALIFY FOR LOCAL VENDOR PREFERENCE WITHIN THE DEFINED BOUNDARIES: MYRTLE BEACH CITY LIMITS, HORRY COUNTY, NESA AREA (NESA area is comprised of Horry, Georgetown, Williamsburg, Florence, Marion, Darlington, Dillon, Chesterfield, and Marlboro Counties).

| City of Myrtle Beach Business License: (To qualify for Local Vendor Preference vendor must have had a City of Myrtle Beach Business License a minimum of ninety (90) days prior to the request for bid/ proposal being made public) |  |  |
| --- | --- | --- |
| City of MB Business License Number: ______________ *NOT Horry County License Number | Date issued: ______________ |

Complete all areas below. Incomplete forms may be rejected.

| 1. | LEGAL NAME OF BUSINESS: |  |  | __________________________________________ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mailing Address: |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |
|  | Physical Address: (To qualify vendor must have maintained a physical address and office as a principal place of business within the defined boundaries of the category sought for at least one (1) year, and during that time have had a majority of full-time employees, chief officers and managers regularly conducting work and business from this office.) |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |
| 2. | Year business was established in the City of Myrtle Beach / Horry County / NESA area: |  |  |  |  |  |  |  |  |  |
|  | Year: | ______________ |  |  |  |  | County: | ______________ |  |  |
|  |  |  |  |  | (Name of County) |  |  |  |  |  |
| ************************************************************************************ |  |  |  |  |  |  |  |  |  |  |  |
| Under penalty of perjury, the undersigned states that the foregoing statements are true and correct. The undersigned also acknowledges that any person, firm, corporation or entity intentionally submitting false information to the City in an attempt to qualify for local preference shall be prohibited from bidding on City of Myrtle Beach products and services for a period of one (1) year. |  |  |  |  |  |  |  |  |  |  |
| Authorized Signature: |  |  | ____________________________________ |  |  |  |  |  | Date: | ______________ |
| Printed Name & Title: |  |  | ____________________________________ |  |  |  |  |  | Phone: | ______________ |

LOCAL VENDOR PREFERENCE continued

| Bid Amount | Within City Limits | Within Horry County | Within NESA Area |
| --- | --- | --- | --- |
| Up to $5000.00 | 5% of Bid | 4% of Bid | 3% of Bid |
| $5001.00 to $10,000.00 | $250.00 plus 4% of amount between $5001.00 and $10,000.00 | $200.00 plus 3% of amount between $5001.00 and $10,000.00 | $150.00 plus 2% of amount between $5001.00 and $10,000.00 |
| $10,001.00 and up | $450.00 plus 3% of amount above $10,000.00 with the maxium being $2000.00, including the $450.00 | $400.00 plus 2% of amount above $10,000.00 with the maxium being $1800.00, including the $400.00 | $300.00 plus 1% of amount above $10,000.00 with the maxium being $1600.00, including the $300.00 |

If company/individual performs services on City property a Certificate of Insurance must be provided prior to commencement of work meeting requirements of the City.

The vendor must submit this copy of the Local Vendor Preference Certificate with their bid.

An eligible business shall maintain such status throughout the term of any contract with the City. Failure to maintain such status or to keep current on all fees and taxes owed the City shall be grounds to terminate the contract.