{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["1920-36VS"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"1920-36VS","index":0,"n_rows":32,"n_cols":6,"rows_kept":32}
[" "]
["Line Item","LOCATION","ADDRESS","SYSTEM","MONTHLY INSPECTION UNIT PRICE","ANNUAL PM UNIT PRICE"]
[1,"Academy for Technology & Academics","5639 Hwy. 701     Conway, SC 29526","Closed chilled water loop with two (2) 150 ton air cooled chillers, 25% ethylene glycol solution; 12 ice storage tanks, 12 air handling systems, 7-58 tons "]
[2,"Conway Middle","1104 Elm Street   Conway, SC 29526","Closed loop for water source heat pumps, 79 heat pumps, 245 ton cooling tower;  Open loop cooling tower with plate frame heat exchanger\n"]
[3,"Conway Hgih","2301 Church Street Conway, SC 29526","Closed heating water loop with boiler, 30 year old system, heating season operation only"]
[4,"Forestbrook Elementary","4000 Panther Pky.  Myrtle Beach, SC 29579","Closed loop for water source heat pumps, 75 heat pumps, 300 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[5,"Green Sea Floyds High","4990 Tulip Grove Rd  Green Sea, SC 29545","Closed loop for water source heat pumps, 89 heat pumps, 600 ton cooling tower;  10,000 gallon thermal storage water tank;  Open loop cooling tower with heat exchanger\n"]
[6,"Loris High","301 Loris Lions Rd  Loris, SC 29569","Closed loop for water source heat pumps, 112 heat pumps, Closed loop for water source heat pumps, 112 heat pumps, 700 ton cooling tower;   10,000 gallon thermal storage water tank   Open loop cooling tower with heat exchanger"]
[7,"Midland Elementary","3011 Nichols Hwy. Galivants Ferry, SC 29544","300 Ton Cooling Tower, Closed loop for water source heat pumps"]
[8,"Myrtle Beach Elementary","950 Seahawk Way     Myrtle Beach, SC 29577","BAC 300 Ton Cooling Tower, Closed loop for water source heat pumps"]
[9,"Myrtle Beach Middle","3101 North Oak St.    Myrtle Beach, SC 29577","Recold 125 Ton Cooling Tower, Closed loop for water source heat pumps"]
[10,"Myrtle Beach High","3302 Robert Grissom Pkwy.  Myrtle Beach, SC 29577","Closed loop for water source heat pumps, 18 heat pumps, 55 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[11,"Myrtle Beach Intermediate","3301 Oak Street,  Myrtle Beach, SC  29577","Closed loop for water source heat pumps, 18 heat pumps, 55 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[12,"Ocean Drive Elementary (formerly North Myrtle Beach Primary)","901 11th Ave. N. , North Myrtle Beach, SC 29582","Closed loop for water source heat pumps, 27 heat pumps, 100 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[13,"Socastee Elementary","4223 Socastee Blvd. Myrtle Beach, SC 29588","Recold 125 Ton Cooling Tower, Closed loop for water source heat pumps"]
[14,"Socastee Middle","151 Esso Rd.  Myrtle Beach, SC 29588","Recold 125 Ton Cooling Tower, Closed loop for water source heat pumps"]
[15,"Socasee High","4900 Socasteee Blvd.,  Myrtle Beach, SC 29588","A: Closed loop for chilled water, 300 ton cooling tower;  Open loop cooling tower with heat exchanger\nB: Closed loop for chilled water, 70 ton air cooled chiller, no tower\n"]
[16,"South Conway Elementary","3001 Fourth Ave. Conway, SC 29526","Closed loop for water source heat pumps, 21 heat pumps, 75 ton cooling tower; Open loop cooling tower with heat exchanger\n\n"]
[17,"St. James Elementary","9711 St. James Rd.  Myrtle Beach, SC 29588"," Closed loop for water source heat pumps, 30 heat pumps, 100 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[18,"St James Intermediate","9641 Scipio Lane      Myrtle Beach, SC 29588","Recold 125 Ton Cooling Tower, Closed loop for water source heat pumps"]
[19,"St. James Middle","9775 St. James Rd.  Myrtle Beach, SC 29588","Closed loop for water source heat pumps, 75 heat pumps, 240 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[20,"St. James High","10800 Hwy. 707  Murrells Inlet, SC29576","Closed loop for water source heat pumps, 120 heat pumps, 690 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[21,"Ten Oaks Middle","150 Revolutionary Way  Myrtle Beach,SC 29479        ","Recold 125 Ton Cooling Tower, Closed loop for water source heat pumps"]
[22,"Waccamaw Elementary","251 Claridy Road   Conway, SC29526","Tower A: Closed loop for water source heat pumps, 40 heat pumps, 150 ton cooling tower;  Open loop cooling tower with heat exchanger  Tower B: Closed loop for water source heat pumps, 20 heat pumps, 100 ton cooling tower; Open loop cooling tower with heat exchanger\n"]
[23,"Waterway Elementary  (formerly North Myrtle Beach Intermediate)","700 Sandridge Road Little River, SC 29566","Closed loop for water source heat pumps, 65 heat pumps, 230 ton cooling tower;  10,000 gallon thermal storage water tan;  Open loop cooling tower with heat exchanger\n\n"]
[24,"Whittemore Park Middle","1808 Rhue Stree  Conway, SC29527","Closed loop for water source heat pumps, 50 heat pumps, 175 ton cooling tower;  Open loop cooling tower with heat exchanger\n"]
[]
[{"$nulls":3},"TOTAL MONTHLY INSPECTION UNIT PRICE x 12 months",{"$f":"SUM(E3:E26)*12","v":{"v":0,"d":"$0.00"}}]
[]
[{"$nulls":3},"TOTAL  ANNUAL PM ",{"$f":"SUM(F3:F26)","v":{"v":0,"d":"$0.00"}}]
[]
[{"$nulls":3},"GRAND TOTAL , Enter this total bid amount on page 32",{"$f":"SUM(E28:E30)","v":{"v":0,"d":"$0.00"}}]