Daphne Utilities

Request for Bid

Hauling and disposal

of municipal sludge

RFB 23-01

Bid Specifications

The scope of work shall consist of the removal and disposal of municipal sludge generated by Daphne Utilities’ Water Reclamation Facility, 29280 N. Main Street, Daphne, Alabama 36526. Contractor shall remove and dispose of sludge via 40 cubic yard dump trailers sealed to prevent leakage during transport. The trucks will transport the waste to a mutually agreed upon ADEM approved disposal site. One trailer must be always on site and available for accumulating sludge. Trailers shall be cleaned before returning to the Water Reclamation Facility. Contractor shall provide all labor and equipment for removal and transporting. An ADEM compliant spill plan must be provided to Daphne Utilities.

The contractor shall accommodate “on call” and scheduled pick up service. Daphne Utilities will normally provide at least 24 hours’ notice for “on call” pick ups unless the Department Manager deems emergency pickups necessary. In the case of an emergency pick up, contractor must be on site to make disposal on the same day as the request made for pick up. The estimated frequency of transporting from the Water Reclamation Facility ranges from three (3) to six (6) loads per week. Our load is defined as a 40 cubic yard trailer dump.  An increase in frequency may be required if deemed necessary by the Department Manager. Daphne Utilities reserves the right to purchase varying quantities based on actual need.

Solid waste disposal sites must be registered with and permitted by ADEM and U.S. EPA 40 CFR Part 503 Sewage Sludge Use and Disposal regulations applicable to their facility. The disposal site must be capable of accepting 10,000 tons of sludge annually.

Contractor must supply Daphne Utilities with a weight receipt for each load delivered. On a monthly basis, the contractor will provide a monthly invoice with the following information:  each load listed by date, manifest number, tonnage, facility ticket number and price. Change orders shall be mutually agreed upon and authorized in writing by the Department Manager. Any defects in the work performed must be corrected before the project is eligible for payment. Defects may include but are not limited to lack of required paperwork, insufficient equipment, improper disposal method and unapproved disposal site.  Payment terms shall be net 30 days.

Daphne Utilities

Request for Bid

Hauling and disposal

of municipal sludge

RFB 23-01

Bid Form

Price per Ton (including all fees)

$ ____________________

Hauling and disposal of municipal sludge

I have read and understood the terms and conditions and the bid specifications of this bid.  I have provided or will provide at the appropriate time, all documentation required.  Omission of any required documentation may result in the bid being deemed unresponsive by Daphne Utilities.

Under penalty of perjury, bidder certifies that this bid has been arrived at by the bidder independently and has been submitted without collusion with any other vendor of materials or services for the type described in this invitation to bid.

Submitted by: __________________________________________________________			Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone

___________________________________________

Point of contact email