Addendum #1

Date: November 8, 2022

Rockwood School District – RFP No. RFP1022GSSUVE

Uthoff Valley Elementary – Gym Sound System Replacement

The Request for Proposals (RFP) for the above-named project is amended as noted in this Addendum. This Addendum consists of questions and Rockwood School District’s responses.

1. What the maximum SPL that the system should be able to produce?  The system should be able to produce 90-95 dB

2. What is a minimum warranty period for the equipment? Minimum of a 3-year warranty period

3. Does the system include power protection? Yes, the proposed system should include  power protection.

4. Does all wiring need to be in conduit or can it be exposed? The wiring on the ceiling can be exposed, but everything else should be in conduit.

5. Could the system be DSP based and not have a mixer? Yes, this will be considered.

End of Addendum #1