{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":26,"n_cols":6,"rows_kept":26,"merged":[[0,0,0,5],[7,2,8,2],[7,3,8,3],[7,4,8,4],[7,5,8,5],[15,1,15,4],[16,1,16,5],[20,1,20,4]]}
["BID SCHEDULE - 20343 - BETHUNE POINT WATER RECLAMATION FACILITY GENERATOR REPLACEMENT"]
["Ref. No.","Description","Unit of Measure (UOM)","Estimated Quanty (Est Qty)","Unit Price","Extended Price"]
[1,"Mobilization, Demobilization, and General Requirements (Max 5% of Items 2-12)","LS",1,null,{"$f":"E3*D3","v":0}]
[2,"As-Built Drawings","LS",1,null,{"$f":"E4*D4","v":0}]
[3,"Erosion Control (Silt Fence)","LF",170,null,{"$f":"E5*D5","v":0}]
[4,"Demolition","LS",1,null,{"$f":"E6*D6","v":0}]
[5,"New Generator, Enclosure, and Accessories","EA",2,null,0]
[6,"Concrete Foundations ","LS",1,null,0]
[null,"(Pile Cap/Foundation, Thickened Slab @ 14 Piles, Stair Slabs @ 2 Locations, Generator Slabs @ 2 Locations, Electrical Equipment)"]
[7,"Auger Cast Concrete Piles and Reinforcing Steel ","LF",420,null,0]
[8,"Access Platform, Stairs and Railing","LS",1,null,0]
[9,"Equipment Installation","LS",1,null,0]
[10,"Testing of Electrical Equipment","LS",1,null,0]
[11,"Florida Power Allowance","LS",1,50000,{"$f":"E14*D14","v":{"v":50000,"d":"$50,000.00"}}]
[12,"Switchgear Modification and Coordination with ABB Allowance (Addendum 8)","LS",1,70000,{"v":70000,"d":"$70,000.00"}]
[null,"BASE BID SUBTOTAL",{"$nulls":3},{"$f":"SUM(F3:F15)","v":{"v":120000,"d":"$120,000.00"}}]
[null,"LS=LUMP SUM, LF=LINEAR FOOT, EA=EACH"]
[]
[null,"Deductive Alternate:"]
["5A","New Generator, Enclosure, and Accessories (Sound Attenuating Enclosure with < 80 dB noise reduction)","EA",1,null,{"$f":"E20*D20","v":0}]
[null,"GRAND TOTAL*",{"$nulls":3},{"$f":"+F16-F20","v":{"v":120000,"d":"$120,000.00"}}]
[]
["*","The lowest price will include the deductive alternate  as part of their overall Bid."]
[]
[null,"This form must be submitted in pdf formin order to be found responsive.  This is a protected "]
[null,"spreadsheet.  By entering the unit price the extended prices and total will be calculated."]