| Lisa Lane, Purchasing Agent 200 N Castle Hgts Ave Lebanon, TN 37087 Phone: 615-443-2802 Fax: 615-443-2849 lisa@lebanontn.org |  |
| --- | --- |

CONTRACT SPECIFICATIONS FOR:

Sodium Hypochlorite Building Piping Replacement and Repairs at the Water Treatment Plant

REQUEST FOR PROPOSALS:  RFP #0323-CORZAN2023

CONTACT:	City of Lebanon Purchasing Office

Lisa Lane, Purchasing Agent

200 N Castle Heights Ave

Lebanon, TN  37087

(615) 443-2802

DATE ISSUED: February 6th, 2023

DUE DATE: March 2nd, 2023, 2:00 PM

Please note:  If documents were downloaded from the City of Lebanon website, bidder is responsible for obtaining any addenda either through updates on the website or by contacting he Purchasing Agent listed above.

CITY OF LEBANON, TENNESSEE

DETAILED SPECIFICATIONS FOR

Sodium Hypochlorite Building Piping Replacement and Repairs at the Water Treatment Plant

RFP #032023-CORZAN2023

_______________________________________________________________________________________

*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for the replacement and/or repairs of all sodium hypochlorite piping, in accordance with the specifications and bidding instructions set forth in this Request for Proposal. Proposals will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 2:00 p.m. local time, March 2nd, 2023, at which time they will be opened and read aloud.

Please identify as a sealed proposal with the following information on the envelope:

“RFP #032023-CORZAN2023”.

Any questions regarding this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes and models, please remember, “Any Approved Equal”.  However, if a service other than specified in the bid, it is the vendors responsibility to prove to the City of Lebanon that said service is equal to or exceeds the quality of the specifications listed for services provided.

The City of Lebanon is an equal opportunity entity and does not discriminate based on age, race, sex, national origin, religion, or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids in Pursuant to Title VI of the Civil Rights Act of 1964.  All vendors must be incompliance with all City Codes and current with all City fees and taxes to be considered as a responsive bidder or participant in this process.

SCOPE AND CLASSIFICATION

The purpose of this proposal is to provide information for the replacement and/or repairs to all the sodium hypochlorite building chemical piping, connections, and valves for pumps, feed lines, vent stacks and generation units with Corzan CPVC.  The bid will need to include an explanation of the work and job requirements, that meet the specifications listed in this proposal.  The work covered in these specifications consists of installation, labor, equipment, removal and disposal of existing units, and materials to perform all operations that will completely replace and/or repair the existing piping.  The sodium hypochlorite building chemical piping replacements in this Request for Proposal, herein after referred to as RFP, shall be of the following types either “equal to “or “better than”.

LOCATION

City of Lebanon Water Plant

7 Gilmore Hill Road

Lebanon, Tennessee 37087

SPECIFICATIONS

Replacement and/or repairs of the existing sodium hypochlorite building piping at the City of Lebanon Water Treatment Plant.

Building piping requirements:

- Only use Corzan brand CPVC, schedule 80 piping

- Must show proof of installation training approved by Corzan

- Only use Corzan approved fusion and/or welding methods or threaded as necessitated by the installation

All installation materials, including but not limited to, flanges, gaskets, and thread sealants that are approved for direct contact with sodium hypochlorite.  Corzan CPVC schedule 40 piping or valves may be substituted on a case-by-case basis, based on availability of schedule 80 piping, but must be approved by Plant Manager, City of Lebanon Water Treatment Plant.  The preference is a complete CPVC schedule 80 replacement.

All bidders must do a site visit with Water Treatment Plant staff to see the installation and discuss the installation schedule before bidding.  The winning bidder must coordinate with the Water Treatment Plant Manager for an installation schedule, as downtime must be kept to a minimum and must provide a minimum 5-year warranty against leaks at all joints and permanent connections.  Bidders may receive replacement piping for generation units directly from the sodium hypochlorite generator manufacturer if desired in lieu of replumbing the generation units themselves.

Bids must include the following:

- New gauges, valves, connectors, clamps and supports

- Disposal of all replaced piping and equipment

- New softener resin tanks, headers, resin, and their installation; softener system must be approved by the sodium hypochlorite generator manufacturer.

PROPOSAL SUBMISSION

To be considered, Proposers must submit a complete response to this RFP.  Proposals must be signed by an official authorized to bind the Proposer to its provisions.  Proposals must include a statement as to the period during which the proposal remains valid but for purposes of this RFP, the period must be at least ninety (90) days.

Two (2) copies of the proposal package shall be enclosed in a sealed envelope plainly identified in the upper left-hand corner with the company’s name and address and in the lower left-hand corner.

The City reserves the right to reject, any and all proposals and to waive information, irregularities, and technicalities in the process.  The City may negotiate separately with any source in any manner necessary to arrive at a contract agreement that is in the best interest of the city.

Proposals may be hand-delivered or mailed to the above address by the date and time specified.  It is the responsibility of the Proposer to deliver the RFP.  Proposals dispatched, but not received by the City Purchasing Department by proposal closing time, will be returned, after receipt, unopened to the prospective Proposer.  Verbal or emailed quotes will not be accepted at any time.

COST CERTIFICATION

The undersigned hereby certifies that I have read all items of the RFP and fully understand the requirements listed herein.  I further certify that I am an authorized agent of the offering firm and may be held liable for any or all remedies that may become due to the City of Lebanon.

NOTICE TO PROPOSERS

To be considered, prospective consultants are required to submit all requested information including pricing detail.  Pricing should include all costs related to the cost of the equipment, installation, hardware, labor, materials, removal, and disposal, etc., for the sodium hypochlorite building piping replacement and repairs.

The total project cost is a major factor in the decision process, but not the only consideration.  Other decision factors are the consultant’s identification and understanding of the City’s requirements.

Questions and Additional Information:

For clarification or additional information, contact the Purchasing Department (615) 443-2802 or via email to lisa@lebanontn.org.  You may also contact J.C. York, Plant Manager (615) 444-0485.

GENERAL CONDITIONS

Hold Harmless

Consultant shall protect, indemnify, and hold the City harmless from and against any damage, cost, or liability for any injuries to person or property arising from acts or omissions of the consultant, his employees, agents, or sub-contractors, howsoever caused.  The successful proposer agrees that they will function as an independent contractor and agrees to indemnify and hold harmless the City of Lebanon, its Council Members, employees, officers, and agents from, any and all claims or demands that may arise out of or relate to its duties contracted for pursuant to goods and/or service.

Response Preparation Costs

The City will not pay any costs incurred by any vendor in the proposal preparation, printing, demonstration, or negotiations process.  All costs shall be the responsibility of the proposing consultants.

Acceptance of Proposal Content

Proposals to be valid for a minimum period of ninety (90) days from date of receipt by the City.

Addenda

Any change to this RFP will be brought forward in the form of a written addendum from the Purchasing Department and will be provided to all known interested parties.  No oral interpretations or communication will affect or change in any way the information contained herein.

Rights and Options of the City of Lebanon:

The City reserves the following rights and options:

- Determine those proposers who are most qualified

- Reject any or all proposals for any reason, at its sole discretion.

Proposal Evaluation

City of Lebanon’s staff will review the proposals submitted and make a recommendation to the City Council.  It is expected that the selected vendor will begin work shortly after an agreement is executed.  The final deliverables will be due on a mutually agreed upon schedule.  The basis for the evaluation of proposals received includes, but is not limited to, cost, delivery, capability of company, etc.

Contract Award

The contract award, if made, shall be to the lowest, best, and most responsive proposal that, is considered to be in the City’s best interest.  Anticipated award will be after recommendation approval by the Lebanon City Council.

PRICING SHEET

Removal and disposal of all replaced piping and equipment, Corzan brand CPVC schedule 80 piping, installation, any electrical work required, labor, equipment, and all materials needed to complete the installation of the sodium hypochlorite building piping at the City of Lebanon Water Treatment Plant.

Total cost for completion of work $_____________________________

Total Bid $____________________________

______________________________________________________________________

Company Name and Authorized Representative

______________________________________________________________________

Address, Contact Phone Number

__________________________________________

Email Address

GUARANTEE:

In the event the awarded vendor does not perform any or all parts of the agreement to the satisfaction of the City of Lebanon, the vendor will be given a 30-day written notice of cancelation.

SIGNATURE PAGE

Signature for Contract with:  ________________________________________________________

Building Piping Replacement/Repair Company

(must have installation training by Corzan)

Recommend:					Contractor:

____________________________________             _____________________________________

Commissioner of Finance

Title _________________________________

Approved as to Form & Legality:

____________________________________

City Attorney

Sworn to & subscribed to before being a Notary Public, this day of ____________________,

2023.  By ______________________________, of Contractor and duly authorized to execute

this instrument on the Contractors behalf.

_________________________________________

Notary Public

_________________________________________

My Commission Expires

Executed By:

_________________________________________

Mayor, City of Lebanon