City of Lebanon

Request for Proposal

RFP # 19-BALLPARK LIGHTING 08/9
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for ballpark lighting, in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:30 a.m. local time, August 9, 2019, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “BALLPARK LIGHTING RFP #19-BALLPARK LIGHTING 8/9”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids.

1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning ballpark lighting.

1.2 Classification:  The ballpark lighting specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

MATERIAL SPECIFICATIONS

· 8-PIC-2” 90 degree galvanized elbows

· 8-EPVC-Female Adapters 2” PVC

· 20 ft-RPVC Schedule 80 2” 10ft. PVC Conduit

· 20 ft-GRC-2” Galvanized Steel Conduit 10ft.

· 2-THM 1465 2” Capped Bushing

· 20-THM B1400HS 10EG Channel 13/16” galvanized HSLOT

· 1-Panel for ballfields per these specifications:

· 400 Amp Main Breaker
· 480/277 42K AIC SE Rated

· Must be Square D Type NF with the following breakers:

· Quantity 4-3 pole 20A 42K AIC

· Quantity 10-3 pole 30A 42K AIC

·        Disconnects:  Quantity 12-NEMA 4X 
· 480V-3 pole stainless steel.

· Square D H362DS

· 750ft.-#166427 SOO-SOOW-10/4 Black 250R

· Misc. Material-Small items needed to complete project (Add $1,500.00 into quote)
· 36-LTF-FLSR060ID Fuse CL-RK5 60A 600V TD IND
· 4-ARLI 445 2 insulated bushing nmt.

· 4-ARLI 406 2 locknut stl.

· 4-THM HA206 2 bushed NIP D/C Rigid/IMC

· 1-UNMA 24248BRTSCNK 24X24X8 3R Screw CVR Box NO K

· 150ft.-THHN SS THHN 4 Green 19STR CU 500R

· 600ft.-THHN SS THHN 3/0 Black 19STR CU 1000R

LAMP  (We will purchase either of the fixtures (LED or Sportliter)
· 40-Hubbell HBL-SLS1500H-158-L Floodlight MH 1500W QUADV Grey
·       1-SLS5 Reflector
·       1-SLS1500 Ballast Kit & Lamp Included

·       1-Lens
·       1-Bracket to make Slipfitter Mount

ALTERNATE
· 40-#ALL510T3G34K 350W Type III 4000K Dark Bronze Fixtures
·         1-Bracket-To make Slipfitter mount AL-SFD
FLOODLIGHT SPECIFICATIONS:  (Per Above Manufacturer’s Part Number
HOUSING

Die cast aluminum housing.  Isolated ballast compartment. Stainless steel lens ring.  Silicone gasketing.  Filtered optics; Built-In lamp support. Mounting hardware to be included. Isolated wiring chamber (Maximum 90º input cord.)  Hubbell Gard treated hardware. Lektrocote polyester powder paint finish (gray).  Horizontal and vertical aiming indicators.  Aiming sights ordered separately.  2.8 EPA.  Fast Aim system for re-lamping.  Thermal shock, impact resistant tempered glass lens.  Stainless steel hinge and latches.  Environmental spill/glare control optional.  Remote ballast system.  UL listed and CSA certificated for wet locations. 40ºC ambient operation.
MISCELLANEOUS ITEMS
· Wattage/Source:  1500H/1500w MH
· Ballast Type:  1-HPF regulated, peak lead auto, CWA, auto regulated
· Beam Distribution:  3 NEMA Type 3
· Voltage:  8-Quad Tap (120, 208, 240, 277V)
AL AREA LIGHT GENERATION 3

· Large fixture with a lumen output between: 14,460 to 50,350 lumens. The versatile luminaire has different mounting options, photocell and motion sensors for efficiency and greater energy savings.  

· Series Number:  ALL510T3G34K

· 350Watt

· 49,904 Lumens 510

· Type III fixture

· 4000K CCT

· All Area Light Large

· G3 Generation

· Voltage:  Blank-120/277V

· Finish:  Dark Bronze

· Mount:  AL-SFD=Slipfitter Mount
PRICING:

QUANTITY
DESCRIPTION

UNIT COST

TOTAL
36 

Fuses CL-RK5 60 Amp
$_____________
$_____________

750 ft.

SOOW 10/4 Black

$_____________
$_____________

1

Panel 



$_____________
$_____________
12

Disconnects


$_____________
$_____________

20

10EG Chnl 13/16 Galv.
$_____________
$_____________

2

THM 1465 2” Bushing
$_____________
$_____________

20ft.

2” Galv. Steel Conduit
$_____________
$_____________

20ft.

Sch 80 10ft. PVC Conduit
$_____________
$_____________

8

Female Adpt. 2” PVC
$_____________
$_____________

8

2” 90 Degree Galv. Elbows
$_____________
$_____________

4

445 2 Insul. Bush. NMT
$_____________
$_____________

4

406 2 Locknut STL

$_____________
$_____________

4

THM BushHD NIP D/C 
$_____________
$_____________

1

24x24x8 3R Screw CVR Box$_____________
$_____________

150ft.

THHN SS 4-Green CU
$_____________
$_____________

600ft.

THHN SS 3/0 Black CU
$_____________
$_____________

1

Miscellaneous Material
$___1,500.00___
$__1,500.00____

40

SLS SportsLiter Fixtures with reflector, bracket, lens, bulb & ballast







$_____________
$_____________

40

AL Area Light Generation w/bracket (Alternate)






$______________
$_____________

Note:  The fixtures will be either the HP or the LED lighting.  The part numbers are for comparison only.  If different than the specifications, please include model numbers, part numbers and cut sheets for each item.



Total

$________________________

Price all items delivered to our location or a local distributor for pickup.
This bid may be awarded per item or total bid.  This will be the discretion of the Purchasing Agent and Department Head.  Availability of items will also be considered in awarding this bid.
3. WARRANTY 

Bidders shall state the warranty period on the bid pricing form.  

4. DELIVERY

The vendor must state their estimated time of delivery/pickup.  
5. EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

6. BID PRICE

TOTAL BID $_______________________

     
6.2    Delivery  _____________________

Company Name and Authorized Representative

______________________________________________________________

Address and Contact Phone Number

PAGE  
5

