Daphne Utilities

Request for Bid

Hauling and Disposal

of Class A Biosolids

RFB 21-06

Bid Specifications

The scope of work shall consist of the removal and disposal of biosolids generated by Daphne Utilities at the Water Reclamation Facility, 29280 N. Main Street, Daphne, Alabama 36526. Contractor shall remove and dispose of dewatered biosolids via 40 cubic yard dump trailers sealed to prevent leakage during transport. The trucks will transport the waste to a mutually agreed upon ADEM approved disposal site. One trailer must be always on site and available for accumulating biosolids. Trailers shall be cleaned before returning to the Water Reclamation Facility. Contractor shall agree to provide all labor and equipment for removal and transporting.

The contractor must comply with all record keeping and reporting requirements and the development and implementation of nutrient management plans and operations plans, which include the documentation and use of appropriate best management practices for minimizing vectors and birds, odors and fugitive dust, spills, and time in transit. Contractor shall provide Daphne Utilities with documentation of such, as defined by Beneficial Use of By-Product Materials for Land Application of By-products Materials, ADEM Admin Code chapter 335-13-16 and in accordance with all state and federal laws and requirements. Class A and Class B must be land applied. Contractor must dispose of biosolids not meeting Class A or Class B standards in a landfill permitted for use by Daphne Utilities.

The contractor shall accommodate “on call” and scheduled pick up service. Daphne Utilities will normally provide at least 24 hours’ notice for “on call” pick ups unless the Department Manager deems emergency pickups necessary. In the case of an emergency pick up, contractor must be on site to make disposal on the same day as the request made for pick up. The estimated frequency of transporting from the Water Reclamation Facility ranges from three (3) to six (6) loads per week.  An increase in frequency may be required if deemed necessary by the Department Manager. Daphne Utilities reserves the right to purchase more or fewer loads based on actual need.

Change orders shall be mutually agreed upon and based upon written authorization from the Department Manager. Any defects in the work performed must be corrected before the project is eligible for payment. Defects may include but are not limited to lack of required paperwork, insufficient equipment, improper disposal method and unapproved disposal site.  Payment terms shall be net 30 days.

Daphne Utilities

Request for Bid

Hauling and Disposal

of Biosolids

RFB 21-06

Bid Form

$ _________________

Per 40 cu yd trailer (includes all costs)

Hauling and Disposal of Biosolids for

Daphne Utilities (including all fees, taxes, etc)

per 40 cu yd trailer:

I have read and understood the terms and conditions and the bid specifications of this bid.  I have provided or will provide at the appropriate time, all documentation required.  Omission of any required documentation may result in the bid being deemed unresponsive by Daphne Utilities.

Under penalty of perjury, bidder certifies that this bid has been arrived at by the bidder independently and has been submitted without collusion with any other vendor of materials or services for the type described in this invitation to bid.

Submitted by: __________________________________________________________			Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone

___________________________________________

Point of contact email