REQUEST FOR PROPOSAL

FOR CONCRETE HEADWALL CONSTRUCTION AND PRECAST BOX CULVERY INSTALLATION

PIERCE COUNTY ROAD DEPARTMENT

June 10, 2022

- INTRODUCTION: Pierce County Board of Commissioners is requesting written proposals from highly qualified construction firms to provide drainage improvements as described below:

  - Cathleen Drive

    - Reset existing pipes to proper depth and angles within the drainage channel

    - Construct a minimum 8’ x 35’ x 1’ head wall with a minimum 2’ x 2’ x 35’ footer.

  - Mill Branch Road

    - Remove existing drainage

    - Replace with a precast double 4’ x 4’ x 30’ with precast wingwalls and parapet and a poured in place apron

  - Any fill dirt needed shall be provided, with at least one-week advance notice, by the owner

  - Site visits can be arranged prior to the bid submission by contacting Bruce Carter, Road Superintendent (912) 449-2030 or via email roadmanager@piercecountyga.gov

- It is the Pierce County Board of Commissioner’s intention to employ a highly qualified and experienced construction company to conduct the work listed above. Respondents shall provide a minimum of five references, three of which must be within the State of Georgia, where similar projects have been successfully completed within the previous 24 months of the application date.

- All proposals shall be accompanied by a Bid Bond in favor of Pierce County in the amount of at least five percent (5%) of the lump sum bid for the complete work: such Bid Bond representing that the Bidder, if awarded a Contract, will promptly enter into a Contract and furnish Performance Bond and Payment Bonds as provided by the law and approved by the Attorney for Pierce County.  Performance Bond shall be equal to 100 Percent (100%) of the contract amount and Payment Bond shall be equal to 100 percent (100%) of the Contract amount.

The Bid Bond shall be forfeited to Pierce County, Georgia as liquidated damages if the Bidder fails to execute the Contract and provide Performance and Payment Bonds within (10) days after being notified that he has been awarded the Contract.

All work on the project must be completed within 90 consecutive calendar days of date work begins.

- PROPOSAL INSTRUCTIONS AND GENERAL INFORMATION:

  - Proposal Submissions: Submit 5 copies of a written proposal no later than: June 30, 2022 at 10:30 AM to:

Pierce County Board of Commissioners

Anslee Swetman, Purchasing Agent

312 Nichols Street, Suite 5

Blackshear, GA 31516

Proposals must be responsive to the requirements and questions of the Request for Proposal.

  - Reservations: Pierce County Board of Commissioners reserves the right to reject any and all proposals, to negotiate changes in the scope of work or service to be provided, and to otherwise waive any technicalities, or informalities.

  - Method of Selection: Proposals will be reviewed by the Pierce County Board of Commissioners’ designated committee and a ranking of firms will be recommended to the Board by the County Manager. Upon acceptance of the recommendation, presentations may be entertained or a selection made from the submittal process. This will be at the Board’s discretion. Please respond by including, but not limiting your response to, the following:

    - Company name, location and length of time in business

    - Insurance carrier and applicable coverage

    - Name of Bond Company with appropriate letter from Bonding Agent to support capability of bonding this project and rating

    - Qualifications of staff to be utilized on this project with names, resumes, length of time with firm and previous clients served

    - Proposed staff’s specific experience with Park & Recreation lighting and facilities construction/renovation, specifically as the experience applies to baseball fields

    - Name of five (5) previous clients with phone numbers and contact person

    - Description of Firm’s previous experience, to include budget, time schedule, change orders, final cost, etc.

Requests for information shall be in writing. There shall be no calls or visits to any Pierce County officials or staff after this advertisement. If such firms attempt to contact and county personnel or elected or appointed officials either in person or on behalf of a firm, they may be disqualified from the selection process. Refer all requests to Pierce County Board of Commissioners, Attention: Anslee Swetman, Purchasing Agent (Purchasing@piercecountyga.gov). All requests will be responded to in writing to all interested firms.