{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["custom_export"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"custom_export","index":0,"n_rows":87,"n_cols":14,"rows_kept":87}
["Reference #","Facility Name","Facility Type","Facility Contact","GL For Testing","Service Address","Device","Manufacturer","Model #","Serial #","Size","LastTestDate","Protection Type","Location"]
["982CDE09F","ABM-RAMP WASH","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W-RMP","RPBP","Ames","5000 SS",null,4,null,"Fire Protection System","Fire Protection- in meter room"]
["982CDE09F","ABM-RAMP WASH","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W-RMP","RPBP","COMBRACO","40202A2","AA441",0.75,"2017-03-01","Fire Protection Bypass","Fire Protection - Meter Bypass"]
["982CDE09F","ABM-RAMP WASH","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W-RMP","DCV","Ames","5000SS","5FL 0820",0,"2021-05-25","Fire Protection System","Lower Level Mech Room (APTR) Fire Protection"]
["982CDE09F","ABM-RAMP WASH","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W-RMP","RPBP","Watts",919,"n/a",2.5,"2021-05-25","Isolation","Lower Level Mech Room (APTR)"]
["982CDE09F","ABM-RAMP WASH","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W-RMP","RPBP","Wilkins","975XL","404 2002",2,"2021-05-25","Isolation","Mech Room - Parking Ramp Kellogg Arena Irrigation (APTR)"]
["858D24749","AMPCO--OFFICE","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W","RPBP","Watts",909,"N/A",2.5,"2019-09-16","Isolation","2.5 water service in closet in parking ramp"]
["858D24749","AMPCO--OFFICE","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W","RPDA","Ames","5000 SS","5FL0829",4,null,"Fire Protection System","Fire Protection"]
["858D24749","AMPCO--OFFICE","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","80 MICHIGAN AVE W","RPDA","CONB","- N/A -","AA441",0.75,null,"Fire Protection Bypass","Fire Protection bypass"]
["934B5CF3C","AMPCO-PARKING RAMP","Municipality Owned","Leslie Hoffman/John Hart","Invoice AMPCO for testing","40 HAMBLIN AVE","RPBP","Wilkins","975XL2",4042002,2,"2021-05-25","Containment","Containment at Meter"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPDA","Wilkins",375,"L-05628",4,"2020-08-31","Fire Protection System","Fire Protection System DPW Public Service Building.  Device located at East end of big truck barn."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPDA","Wilkins","975 XL","W066974",0.75,"2020-08-31","Fire Protection Bypass","Fleet Services Fire protection bypass located in Parts Stockroom."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPBP","Febco","825 Y","A246576",1.5,"2021-06-08","Lawn Sprinkler System","Lawn Sprinkler System- north side"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPBP","Wilkins","975 XL","W066970",0.75,"2021-06-10","Treated Boiler","Treated Boiler"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPBP","Febco","825 Y","HO-8926",2,"2020-08-31","Water Softener","Feed to water Softener for truck wash located in NW corner of truck barn.  Bring ladder.  "]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPBP","Wilkins","975 XL",1421622,0.75,"2021-06-08","Fire Protection Bypass","Fire Protection Meter Bypass- truck garage "]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPBP","Wilkins","- N/A -","M01104",6,"2019-08-05","Fire Protection System","Fire Protection located in Fleet Parts Room."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPBP","Febco","825 Y","H03220",0.75,"2021-06-08","Treated Boiler","Treated Boiler- up stairs in maintenance garage"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Steve Siemen","641.27.9330.931.050","150 S Kendall","RPBP","Febco","825 Y","H07174",0.75,"2020-08-31",null,"Public Service Building BOILER MAKEUP ON MEZZANINE.  Bring ladder.  Device is 10'in air. - Added per tester"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","PVB","Febco",765,"H000254",2,"2016-07-07","Lawn Sprinkler System","Lawn Sprinkler System - NE Corner of Michigan and United way "]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","RPBP","Febco"," 825Y","A45586",2,"2021-06-08",null,"Irrigation for area West of BC River on North side of W Michigan Ave, behind BC Math and Science Center (171 W Michigan Ave).  Device is located inside Glockenspiel Tower."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","RPBP","Wilkins"," 375XL","B023885",2,"2021-06-09",null,"Irrigation for Friendship Park.  Device located in frost box on North side of State St, approximately 40 yards West of Friendship Park\" Rock at NW corner of Capital and State St.  \""]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","RPBP","Apollo"," RPLF4A",657366,1.5,"2021-06-09",null,"Irrigation for Monument Park- Division @ Michigan.  Device located near the NW corner of the park near the Sojourner Truth monument."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","RPBP","Febco"," 825Y","J77962",1,"2021-06-09",null,"Irrigation for North side of C Block of E Michigan Ave.  Device located in frost box in parking lot East of 40 E Michigan."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.7190.801.311","150 S Kendall","RPBP","Febco"," 825Y","J069094",1,"2021-06-09",null,"Wave Square waterfall feed.  Located on the SE corner of Michigan and McCamly in maintenance building."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","PVB","FEBCO",765,5537,2,"2021-06-09",null,"Irrigation for the area around 44 McCamly St (Clara's on the River) Device located on East side of McCamly St approximately 20 yards North of the BC River."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","PVB","FEBCO",765,"n/a",2,"2021-06-09",null,"Irrigation device located behind old Shranks Cafeteria on A Block along Jackson St.  Roughly 20 yards behind 87-89 W. Michigan."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Todd Everson","101.22.4560.801.310","150 S Kendall","PVB","Wilkins"," 720A","W684578",2,"2021-06-09",null,"Irrigation for McCamly Park.  Device located on East-Central side of park near Gould St.  "]
[882855532,"CITY OF BC-CO BROWN","Municipality Owned","Todd Everson","101.16.7050.9891.931.050","1392 CAPITAL AVE NE","PVB","Wilkins","720-A",364949,2,"2021-05-25","Lawn Sprinkler System","Irrigation around C.O. Brown Stadium.  Device located West of main entrance into stadium, inside fenced off cage."]
[882855532,"CITY OF BC-CO BROWN","Municipality Owned","Todd Everson","101.16.7050.9891.931.050","1392 CAPITAL AVE NE","PVB","Wilkins","720-A",364934,2,"2021-05-25","Lawn Sprinkler System","Irrigation around C.O. Brown Stadium.  Device located West of main entrance, in fenced in cage."]
["A5C442B26","CITY OF BC-CONVIS COMPLEX","Municipality Owned","Todd Everson","101.16.7050.9891.931.050","BAILEY PK-CONVIS","RPBP","Febco",860,9606121314,4,"2019-08-19","Lawn Sprinkler System","Lawn Sprinkler System in outfield, behind left center field of Field B of Convis Complex."]
["A9A780EF5","CITY OF BC-FLANNERY","Municipality Owned","Todd Everson","101.16.7050.9891.931.050","BAILEY PK-FLANNERY","RPBP","Watts",909,167098,4,"2021-05-20","Lawn Sprinkler System","Irrigation for Flannery Complex.  Device located behind left field of Terry Newton\" field.\""]
["0087635FB","CITY OF BC-MORRISON","Municipality Owned","Todd Everson","101.16.7050.9891.931.050","BAILEY PK-MORRISON","PVB","FEBCO",765,"AA1389",2,"2021-05-17","Lawn Sprinkler System","Lawn Sprinkler System next to stairs"]
["E6814E103","CITY OF BC-NICHOLS","Municipality Owned","Todd Everson","101.16.7050.9891.931.050","BAILEY PK-NICHOLS","PVB","Wilkins","720A","T002822",2,"2021-05-19","Lawn Sprinkler System","Lawn Sprinkler System"]
["37982DA20","City of Battle Creek Claude Evans Park","Municipality Owned","Todd Everson","101.22.4560.801.310","320 WASHINGTON AVE N","PVB","Apollo","PVB4A",362511,1.5,"2021-05-19","Lawn Sprinkler System","Lawn Sprinkler System"]
["10773D0E0","City of Battle Creek Fire Station #1","Municipality Owned","Michele Hughley","101.13.3380.931.050","197 MICHIGAN AVE E","RPBP","Febco","825 Y","J028831",0.75,"2021-05-18","Treated Boiler","Treated Boiler"]
["10773D0E0","City of Battle Creek Fire Station #1","Municipality Owned","Michele Hughley","101.13.3380.931.050","197 MICHIGAN AVE E","RPBP","Wilkins Zurn","975XL",2622341,1,"2021-05-18",null,"This device is located at Fire Station 6.  2401 Capital Ave SW.  Device is located on apparatus floor, on the east wall."]
["F831218F9","City of Battle Creek Fire Station #4","Municipality Owned","Michele Hughley","101.13.3380.931.050","8 20TH ST S","RPBP","Watts",919,33777,0.75,"2021-05-18","Treated Boiler","Treated Boiler"]
["95F6BEA7E","City of Battle Creek Full Blast","Municipality Owned","Duska Brumm","101.16.7170.931.050","35 HAMBLIN AVE","RPDA","Ames","5000SS","5EL1411",6,"2021-05-18","Fire Protection System","Fire Protection"]
["95F6BEA7E","City of Battle Creek Full Blast","Municipality Owned","Duska Brumm","101.16.7170.931.050","35 HAMBLIN AVE","RPDA","CONB","- N/A -","00550D",0.75,"2021-05-18","Fire Protection Bypass","Bypass on fire system"]
["72450ECE1","City of Battle Creek City Hall","Municipality Owned","Katie Norton","101.18.2630.801.310","10 DIVISION ST N","DCV","Colt",200,604,6,"2021-05-21","Fire Protection System","Fire protection system"]
["72450ECE1","City of Battle Creek City Hall","Municipality Owned","Katie Norton","101.18.2630.801.310","10 DIVISION ST N","RPBP","Watts","909 QT",531142,1,"2021-05-21","Treated Boiler","Treated Boiler in basement"]
["4E4878BF4","City of Battle Creek Police Department","Municipality Owned","Katie Norton/Shawna Allen","101.14.3210.931.050","34 Division ST N","PVB","Watts","LF800M4",42038,1,"2018-06-28",null,"mech room isolation - Added per tester"]
["4E4878BF4","City of Battle Creek Police Department","Municipality Owned","Katie Norton/Shawna Allen","101.14.3210.931.050","34 Division ST N","RPBP","Apollo","RPLF4A ",68238,4,"2021-05-20",null,"mech room main water - Added per tester"]
["4E4878BF4","City of Battle Creek Police Department","Municipality Owned","Katie Norton/Shawna Allen","101.14.3210.931.050","34 Division ST N","RPBP","Apollo","RPLF4A ",882025,1,"2021-05-20",null,"mech room make up water - Added per tester"]
["4E4878BF4","City of Battle Creek Police Department","Municipality Owned","Katie Norton/Shawna Allen","101.14.3210.931.050","34 Division ST N","PVB","Watts","LF800M4",29828,1,"2021-05-20",null,"forensic lab in ceiling - Added per tester"]
["4E4878BF4","City of Battle Creek Police Department","Municipality Owned","Katie Norton/Shawna Allen","101.14.3210.931.050","34 Division ST N","RPBP","Febco","825 Y","J030151",0,"2021-05-20","Lawn Sprinkler System","Lawn Sprinkler System"]
["4E4878BF4","City of Battle Creek Police Department","Municipality Owned","Katie Norton/Shawna Allen","101.14.3210.931.050","34 Division ST N","DCV","Colt",200,"RI2222",0,"2021-05-20","Fire Protection System","Fire Protection - 300bf"]
["4E4878BF4","City of Battle Creek Police Department","Municipality Owned","Katie Norton/Shawna Allen","101.14.3210.931.050","34 Division ST N","DCV","Ames","2000B-M3",49058,0,"2021-05-20","Fire Protection System","Fire Protection Bypass"]
["7D7DEC837","City of Battle Creek - pump station 2","Municipality Owned","Chris Pratt","590.24.5640.931.050","124 Edgebrook","RPBP","Watts","'009",18795,1.5,"2021-06-01","Containment","Containment- at meter"]
["4B1E6F84D","City of Battle Creek Lift Station","Municipality Owned","Chris Pratt","590.24.5640.931.050","202 24TH ST S","RPBP","Febco","825 Y","Hose 03000",1.5,"2021-05-27","Containment","Containment at Meter"]
["CCE78518F","City of Battle Creek Lift Station","Municipality Owned","Chris Pratt","590.24.5640.931.050","1970 CAPITAL AVE SW","RPBP","Febco","825 Y","H03525",1.5,"2021-05-27","Containment","Containment at Meter"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts",909,627475,8,"2021-05-27","Containment","Containment at Meter- in pit at gate. Accepted by local authority AHJ"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts",909,216853,4,"2021-07-09","Containment","Containment at Meter bypass- in meter pit. Accepted by local authority AHJ"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Wilkins","975-XL",1206058,0.75,"2021-05-27","Isolation","Operations building - supply to sodium bisulphate"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts","009 M3 QT",254123,0.75,"2021-05-27","Isolation","Operations building - next to Janitor's Closet"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts",909,11558,3,"2021-05-27","Isolation","Device located on office side of Headworks building"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts","919QT",61840,0.75,"2021-05-27","Isolation","1ST FLOOR SHB"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts",957,"MB - 0960",6,"2021-05-27","Containment","Basement of sludge disposal building"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts",9,295054,2,"2021-09-02","Containment","Basement of sludge disposal building"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts",9,35626,3,"2021-05-27","Isolation","Odor control building"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Febco","825 Y","J-023999",2,"2021-05-27",null,"SLUDGE DISPOSAL BASEMENT IN FRONT OF FREIGHT ELEVATOR - Added per tester"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","RPBP","Watts","LF009M3QT",42459,1,"2021-05-27",null,"ADMIN BLDG BOILER MAKEUP - Added per tester"]
["11CBF7A5B","City of Battle Creek Waste Water Treatment Plant","Municipality Owned","Rodney Clifton/Chris Pratt","590.24.5640.931.050","2000 RIVER RD W","PVB","Apollo","PVB4A","A-45387",1,"2021-05-27",null,"Recirc building ***APTR on 8/25/20***"]
["D878FB8B1","CITY OF BC-INTRMDL FACILITY","Municipality Owned","Shannon Wedl/Mallory Avis","587.21.2650.931.050","119 MCCAMLY ST S","RPBP","Apollo","RP4A",351644,1,"2021-05-25","Lawn Sprinkler System","Lawn Sprinkler System in mechanical room"]
["5E919CFC3","CITY OF BC-TRANSIT","Municipality Owned","Shannon Wedl/Mallory Avis","588.21.5940.931.050","20 CASS ST S","RPBP","Watts","919 QT","N/A",0.75,null,"Isolation","In drivethru carwash, on North wall, for chemical feed."]
["5E919CFC3","CITY OF BC-TRANSIT","Municipality Owned","Shannon Wedl/Mallory Avis","588.21.5940.931.050","20 CASS ST S","RPBP","- N/A -","- N/A -",null,2.5,null,"Isolation","Car wash on South wall.  Bring ladder."]
["5E919CFC3","CITY OF BC-TRANSIT","Municipality Owned","Shannon Wedl/Mallory Avis","588.21.5940.931.050","20 CASS ST S","RPBP","Ames","4000 SS","4KK1260",4,null,"Fire Protection System","Fire Protection in parking garage 6 water service\""]
["5E919CFC3","CITY OF BC-TRANSIT","Municipality Owned","Shannon Wedl/Mallory Avis","588.21.5940.931.050","20 CASS ST S","RPBP","Watts"," 009M2QT",98792,0.75,"2021-05-24",null,"In Mechanic's garage.  In SE corner of shop, behind parts washer."]
["4F2632232","Kellogg Arena","Municipality Owned","Ben Randels","Invoice CCDC for testing","36 HAMBLIN AVE","DCV","Colt",200,"FF0818",6,null,"Fire Protection System","Fire protection system - water service 8\",5/24/2021\""]
["4F2632232","Kellogg Arena","Municipality Owned","Ben Randels","Invoice CCDC for testing","36 HAMBLIN AVE","RPBP","Watts","009 QT",281758,0.5,"2021-05-04","Ice Maker","Ice Maker in stand  # 5"]
["B08604A4E","Verona Pumping Station","Municipality Owned","Bob Koehn","591.23.5710.931.050","250 Brigden","RPBP","Febco","825 Y",49919,0.75,"2021-05-04","Untreated Boiler","Untreated Boiler in rim building.  NW area of building."]
["B08604A4E","Verona Pumping Station","Municipality Owned","Bob Koehn","591.23.5710.931.050","250 Brigden","RPBP","Wilkins",375,"L84487",3,"2021-05-19","Fire Protection System","Service water for chemical treatment.  Located in basement of Pumping Station."]
["C8DE8FB34","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.311","151 S Kendall","RPBP","Watts","LF919",39303,2,"2023-05-01","Isolation","Hydrant Meter."]
["C8DE8FB35","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.312","152 S Kendall","RPBP","Watts","LF920",38953,2,"2023-05-01","Isolation","Hydrant Meter."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins"," 375XL","B195359",2,"2023-05-01","Isolation","Hydrant Meter.  Meter Shop"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins"," 375XL","B149935",2,"2023-05-01","Isolation","Hydrant Meter.  Meter Shop."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins"," 375XL","B299973",2,"2023-05-01","Isolation","Hydrant Meter.  Meter Shop"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Febco"," 825Y","H06470",2,"2023-05-01","Isolation","Hydrant Meter."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins"," 375XL","B379873",2,"2023-05-01","Isolation","Hydrant Meter.  Meter Shop."]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins","375XL","A244409",2,"2023-05-01","Isolation","Hydrant Meter"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins","375XL","A244411",2,"2023-05-01","Isolation","Hydrant Meter"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins","375XL","W286806",2,"2023-05-01","Isolation","Hydrant Meter"]
["C8DE8FB33","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.310","150 S Kendall","RPBP","Wilkins","375XL","W286807",2,"2023-05-01","Isolation","Hydrant Meter"]
["C8DE8FB34","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.311","151 S Kendall","RPBP","Wilkins","375XL","B377889",2,"2023-05-01","Isolation","Hydrant Meter"]
["C8DE8FB35","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.312","152 S Kendall","RPBP","Wilkins","375XL","B149935",2,"2023-05-01","Isolation","Hydrant Meter"]
["C8DE8FB36","City of Battle Creek Department of Public Works","Municipality Owned","Ivan Scovel","591.23.5630.801.313","153 S Kendall","RPBP","Zenner",null,23930614,2,"new 06/2023","Isolation","Hydrant Meter"]