{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Schedule A"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Schedule A","index":0,"n_rows":111,"n_cols":11,"rows_kept":111,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,10],[3,0,3,10],[4,1,4,3],[4,4,4,10],[5,0,5,5],[5,6,5,10],[6,0,6,5],[6,6,6,10],[7,0,7,10],[8,0,8,1],[9,0,10,1],[9,2,10,2],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,0,14,1],[15,0,15,1],[16,0,16,1],[17,0,17,1],[18,0,18,1],[19,0,19,1],[20,0,20,1],[21,0,21,1],[22,0,22,1],[23,0,23,1],[24,0,24,1],[25,0,25,1],[26,0,29,1],[26,2,29,2],[30,0,30,1],[31,0,31,1],[32,0,32,1],[33,0,33,1],[34,0,36,1],[34,2,36,2],[37,0,37,1],[38,0,38,1],[39,0,39,1],[40,0,40,1],[41,0,41,1],[42,0,42,1],[43,0,43,1],[44,0,44,1],[45,0,45,1],[46,0,46,1],[47,0,47,5],[47,6,47,10],[48,0,48,10],[49,0,49,5],[49,6,49,10],[50,0,50,5],[50,6,50,10],[51,1,51,5],[51,7,51,10],[52,1,52,5],[52,7,52,10],[53,1,53,5],[53,7,53,10],[54,0,54,1],[54,2,54,5],[54,7,54,10],[55,0,55,1],[55,2,55,5],[55,7,55,10],[56,0,56,1],[56,2,56,5],[56,7,56,10],[57,0,57,5],[57,6,57,10],[58,1,58,10],[59,0,59,5],[59,6,59,10],[60,0,60,5],[60,7,60,10],[61,1,61,5],[61,7,61,10],[62,1,62,5],[62,7,62,10],[63,1,63,5],[63,7,63,10],[64,1,64,5],[64,7,64,10],[65,1,65,5],[65,7,65,10],[66,1,66,5],[66,7,66,10],[67,1,67,5],[67,7,67,10],[68,1,68,5],[68,7,68,10],[69,1,69,5],[69,7,69,10],[70,0,70,5],[70,6,70,10],[71,0,71,5],[71,6,71,10],[72,0,72,5],[72,6,72,10],[73,2,73,3],[73,5,73,6],[73,7,73,10],[74,2,74,3],[74,5,74,6],[74,7,74,10],[75,2,75,3],[75,5,75,6],[75,7,75,10],[76,2,76,3],[76,5,76,6],[76,7,76,10],[77,2,77,3],[77,5,77,6],[77,7,77,10],[78,2,78,3],[78,5,78,6],[78,7,78,10],[79,0,79,10],[80,2,80,3],[80,5,80,6],[80,7,80,10],[81,2,81,3],[81,5,81,6],[81,7,81,10],[82,2,82,3],[82,5,82,6],[82,7,82,10],[83,2,83,3],[83,5,83,6],[83,7,83,10],[84,2,84,3],[84,5,84,6],[84,7,84,10],[85,2,85,3],[85,5,85,6],[85,7,85,10],[86,0,86,10],[87,2,87,3],[87,5,87,6],[87,7,87,10],[88,2,88,3],[88,5,88,6],[88,7,88,10],[89,2,89,3],[89,5,89,6],[89,7,89,10],[90,2,90,3],[90,5,90,6],[90,7,90,10],[91,2,91,3],[91,5,91,6],[91,7,91,10],[92,2,92,3],[92,5,92,6],[92,7,92,10],[93,0,93,5],[93,6,93,10],[94,0,94,5],[94,6,94,10],[95,0,95,5],[95,6,95,10],[96,6,96,10],[97,6,97,10],[98,0,98,5],[98,6,98,10],[99,0,99,9],[100,0,100,5],[100,7,100,10],[101,2,101,9],[102,2,102,9],[103,2,103,9],[104,2,104,9],[105,2,105,9],[106,2,106,9],[107,2,107,9],[108,0,108,6],[108,7,108,10],[109,0,109,1],[109,2,109,3],[109,5,109,7],[110,0,110,1],[110,2,110,3],[110,5,110,7]],"flags":["formulas_cached_only"]}
["Commercial Kitchen Exhaust System Cleaning and Maintenance"]
["RFP0220FACKEC"]
["Schedule A"]
[]
["Vendor:"]
[{"$nulls":6},"Annual Cleaning and Maintenance Fees Per Kitchen Exhaust System"]
["Instructions: Complete all yellow fields",{"$nulls":5},"(Work to be performed during normal school hours, 7:00 am - 4:00 pm)"]
[]
["Buildings and Addresses",null,"# of Systems","Make","Model","Location","Summer 2020","Summer 2021","Summer 2022","Summer 2023\n(optional renewal)","Summer 2024\n(optional renewal)"]
["Babler Elementary School\n1955 Shepard Road\nWildwood, MO 63038-1431",null,2,"Seco-Air","SA-081-2","Kitchen"]
[{"$nulls":3},"Seco-Air","200SA-WH","Kitchen"]
["Ballwin Elementary School\n400 Jefferson Avenue\nBallwin, MO 63021-4925",null,1,"Greenheck","GO-10.00-S","Kitchen"]
["Blevins Elementary School\n25 East North Street\nEureka, MO 63025-1206",null,1,"CaptiveAire","5724NFR","Kitchen"]
["Bowles Elementary School\n501 Bowles Avenue\nFenton, MO 63026-3820",null,1,"Greenheck","GHFU-10-5","Kitchen"]
["Center for Creative Learning (CCL)\n265 Old State Road\nEllisville, MO 63021-5912",null,1,"CaptiveAire","6030-ND-2","Kitchen"]
["Chesterfield Elementary School\n17700 Wild Horse Creek Road\nChesterfield, MO 63005-3799",null,1,"Muckler Industries","P-57FP-156","Kitchen"]
["Crestview Middle School\n16025 Clayton Road\nEllisville, MO 63011-2162",null,1,"CaptiveAire","5724NFP","Kitchen"]
["Early Childhood Center, Eureka\n442 West Fourth Street\nEureka, MO 63025-1804",null,1,"Greenheck","GXSSW-7-5","Kitchen"]
["Ellisville Elementary School\n1425 Froesel Drive\nEllisville, MO 63011-2132",null,1,"CaptiveAire","6024ND-2","Kitchen"]
["Eureka Elementary School\n5350 Rockwood Arbor Drive\nEureka, MO 63025",null,1,"Halton","KVE","Kitchen"]
["Eureka High School\n4525 Highway 109\nEureka, MO 63025-1248",null,1,"K-Tech","HVC96/3X-120-Q","Kitchen"]
["Fairway Elementary School\n480 Old Fairway Drive\nWildwood, MO 63040-1569",null,1,"CaptiveAire","5724-ND","Kitchen"]
["Geggie Elementary School\n430 Bald Hill Road\nEureka, MO 63025-2043",null,1,"Greenheck","GXSW-7-7.5-5","Kitchen"]
["Green Pines Elementary\n16543 Green Pines Drive\nWildwood, MO 63011-1869",null,1,"X-L Equipment","96660MF-GG","Kitchen"]
["Kehrs Mill Elementary School\n2650 Kehrs Mill Road\nChesterfield, MO 63017-7322",null,1,"X-L Equipment","NH1-W-4.6130-C","Kitchen"]
["Kellison Elementary School\n1626 Hawkins Road\nFenton, MO 63026-2600",null,1,"Greenheck","GXSW-6-5","Kitchen"]
["Lafayette High School\n17050 Clayton Road\nWildwood, MO 63011-1794",null,4,"X-L Equipment","NH1-W-4.6170","Kitchen"]
[{"$nulls":3},"X-L Equipment","NH1-W-4.6170","Kitchen"]
[{"$nulls":3},"X-L Equipment","W-4.0150","Kitchen"]
[{"$nulls":3},"Greenheck","GHEW-14.00-2","FACS Room"]
["LaSalle Springs Middle School\n3300 Highway 109\nWildwood, MO 63038-2201",null,1,"CaptiveAire","CA-NXLBBFI","Kitchen"]
["Marquette High School\n2351 Clarkson Road\nChesterfield, MO 63017-7122",null,1,"CaptiveAire","6024R","Kitchen"]
["Pond Elementary School\n17200 Manchester Road\nWildwood, MO 63040-1000",null,1,"Greenheck","GHSW-8.25-P","Kitchen"]
["Ridge Meadows Elementary School\n777 Ridge Road\nEllisville, MO 63021-5956",null,1,"X-L Equipment","TPP1-W.401130(4)","Kitchen"]
["Rockwood South Middle School\n1628 Hawkins Road\nFenton, MO 63026-2629",null,3,"Cambridge Engineering","NHI-W-46230 (U) #3438","Kitchen"]
[{"$nulls":3},"Cambridge Engineering","NHI-W-46230 (U) #3438","Kitchen"]
[{"$nulls":3},"Challenger","HVC9655.25/38188Q","Snack Kitchen"]
["Rockwood Summit High School\n1780 Hawkins Road\nFenton, MO 63026-2650",null,1,"Aerolator Systems","ACI","Kitchen"]
["Rockwood Valley Middle School\n1220 Babler Park Drive\nWildwood, MO 63038-1359",null,1,"X-L Equipment","SCI-1-10.6130 (C)","Kitchen"]
["Selvidge Middle School\n235 New Ballwin Road\nBallwin, MO 63021-4799",null,1,"Greenheck","GXEW-800-S","Kitchen"]
["Stanton Elementary School\n1430 Flora Del Drive\nFenton, MO 63026-3213",null,1,"Greenheck","GXSW-7-5","Kitchen"]
["Uthoff Valley Elementary School\n1600 Uthoff Drive\nFenton, MO 63026-2322",null,1,"X-L Equipment","NH1-2-46130CUJ","Kitchen"]
["Westridge Elementary School\n908 Crestland Drive\nBallwin, MO 63011-3110",null,1,"GreaseMaster","GSW-1","Kitchen"]
["Wild Horse Elementary School\n16695 Wild Horse Creek Road\nChesterfield, MO 63005-1627",null,1,"CaptiveAire","5724 NFR","Kitchen"]
["Wildwood Middle School\n17401 Manchester Road\nWildwood, MO 63038-1906",null,1,"Aerolator Systems","ARW","Kitchen"]
["Woerther Elementary School\n314 New Ballwin Road\nBallwin, MO 63021-6199",null,1,"CaptiveAire","6024/ND","Kitchen"]
["System Totals",null,37,{"$nulls":3},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"}]
[]
["While it is the District's intent to provide accurate information, please note that there may be discrepancies between the number and description of kitchen exhaust systems included in Schedule A and the actual kitchen exhaust systems in the buildings. As building additions and/or renovations are completed and buildings added, additional kitchen exhaust systems will require cleaning and maintenance and will need to be added to the list. Kitchen exhaust systems should be verified by the Contractor and/or Contractor's Certified Exhaust System Inspector (CESI) during the initial cleaning and each subsequent cleaning."]
[]
["Unit Prices"]
["A.","Hourly rate for work outside the scope of annual cleaning and maintenance:",{"$nulls":5},"per hour"]
["B.","Hourly rate for repair work, if required, outside the scope of annual cleaning and maintenance:",{"$nulls":5},"per hour"]
["C.","Additional Charges not already noted herein:",{"$nulls":5},"Further explanation, if required:"]
[]
[]
[]
[]
[null,"Please note that cleaning and maintenance fees, repairs costs, and time and materials labor rates will remain in effect for the entire contract term."]
[]
["Vendor Certification ",{"$nulls":5},"Yes/No"]
["A.","Does the Contractor have three (3) or more years of commercial kitchen exhaust system cleaning experience?"]
["B.","Is the Contractor currently certified by the International Kitchen Exhaust Cleaning Association (IKECA)?"]
["C.","Are all Contractor's technicians trained and either a Certified Exhaust Cleaning Technician (CECT) or Certified Exhaust Cleaning Specialist (CECS)?"]
["D.","Can Contractor provide at least one crew member who is a Certified Exhaust System Inspector (CESI)?"]
["E.","Will Contractor be able to provide evidence of the minimum amounts of required insurance as outlined in the RFP?"]
["F.","Does the Contractor have a business phone number that is answered live during the weekday hours of 7:30 am through 5:00 pm?"]
["G.","Does the Contactor have an after hours telephone number for a 24-hour per day emergency service?"]
["H.","Has Contractor included a list of reference (in section below)?"]
["I.","Does Contractor agree to comply with all other specifications and requirements included in the RFP?"]
[]
["References - Must provide a minimum of five (5) references"]
[]
[null,"Company Name:",null,null,"Company Name:"]
[null,"Contact:",null,null,"Contact:"]
[null,"Address:",null,null,"Address:"]
[]
[null,"Phone Number:",null,null,"Phone Number:"]
[null,"Email:",null,null,"Email:"]
[]
[null,"Company Name:",null,null,"Company Name:"]
[null,"Contact:",null,null,"Contact:"]
[null,"Address:",null,null,"Address:"]
[]
[null,"Phone Number:",null,null,"Phone Number:"]
[null,"Email:",null,null,"Email:"]
[]
[null,"Company Name:",null,null,"Company Name:"]
[null,"Contact:",null,null,"Contact:"]
[null,"Address:",null,null,"Address:"]
[]
[null,"Phone Number:",null,null,"Phone Number:"]
[null,"Email:",null,null,"Email:"]
[]
["Addenda - Acknowledge below receipt of Addenda issued, if any"]
[]
[null,"Addendum Number",null,"dated"]
[null,"Addendum Number",null,"dated"]
[]
["The undersigned certifies that the bid prices contained in this proposal have been carefully checked and are submitted as correct and final. The undersigned certifies that he/she has the authority to submit a bona fide bid for said firm."]
[]
[null,"Firm Name:"]
[null,"Address:"]
[null,"Contact:"]
[null,"Title:"]
[null,"Phone:"]
[null,"Fax:"]
[null,"Email:"]
[]
[]
[null,null,"Printed Name",null,null,"Signature of Officer",{"$nulls":3},"Date"]