Addendum #1

Date: October 7, 2022

Rockwood School District – RFP No. 0922SRSI

Stage Rigging System Inspections

The Request for Proposals (RFP) for the above-named project is amended as noted in this Addendum. This Addendum consists of questions and Rockwood School District’s responses.

Eureka High School

1. What is the grid height? Grid height is approximately 48'.

2. How does one access the grid? There are two ladders that take you to the hatch that access the grid.

3. Are the loft blocks mounted on the grid, or hanging above the grid? The loft blocks are hanging from the steel above the grid.

4. Single or double purchase (counterweight systems)? Single-purchase

5. Who was the original installer or manufacturer of the system? Unknown

6. Where is the location of the locking rail (counterweight systems)? Mid-system height on stage right

7. What is the number of statically (dead) hung items? None

8. What is the type of fire safety curtain? There may be a deluge system, but unknown for sure. There is definitely no fire curtain

9. When was the last time fire safety curtain was tested (closed via its emergency closing method) No curtain to test.

10. What is the date of last known ANSI E1.47 compliant inspection? June 10, 2021

11. Any known issues with the systems? Some minor recent repairs were conducted per previous inspections. No known problems at this time.

12. What is the standard line-set schedule for the system? We have a combination of soft goods including (3) travelers, borders, legs, scrim, and cyc, empty battens, and (4) electrics.

Lafayette High School

13. What is the grid height? There is no grid. Ceiling height is approximately 36'.

14. How does one access the grid? There is no grid. Previous inspections have made use of a towable 50' articulating boom lift to inspect system while adhering to floor ratings for weight capacity.

15. Are the loft blocks mounted on the grid, or hanging above the grid? The loft blocks are hanging from the steel, there is no grid.

16. Single or double purchase (counterweight systems)? This is a motorized system.

17. Original installer or manufacturer of system (if known)? Unknown

18. What is the location of locking rail (counterweight systems)? N/A. The controller for the system is located on the SL wall of the stage.

19. Number of statically (dead) hung items? (1) Main drape, (1) mid-traveler, (2) sets of legs, (1) projection screen

20. Type of fire safety curtain? There may be a deluge system, but unknown for sure. There is definitely no fire curtain.

21. Last time fire safety curtain was tested (closed via its emergency closing method)? No curtain to test.

22. Date of last known ANSI E1.47 compliant inspection? June 10, 2021

23. Any known issues with the systems? Some minor recent repairs were conducted per previous inspections. No known problems at this time.

24. Standard line-set schedule for the system? We have a combination of soft goods including (3) travelers, borders, legs, scrim, and cyc, empty battens, and (4) electrics. There are also (3) motorized light ladders on each side of the stage.

Marquette High School

25. What is the grid height? There is no grid. Ceiling height is approximately 49'.

26. How does one access the grid? There is no grid. Previous inspections have made use of a towable 50' articulating boom lift to inspect system while adhering to floor ratings for weight capacity.

27. Are the loft blocks mounted on the grid, or hanging above the grid? The loft blocks are hanging from the steel...there is no grid.

28. Single or double purchase (counterweight systems)? Single-purchase

29. Original installer or manufacturer of system (if known)? Unknown by me

30. Location of locking rail (counterweight systems)? Floor level stage right

31. Number of statically (dead) hung items? There is (1) motorized projection screen.

32. Type of fire safety curtain? There may be a deluge system, but unknown for sure. There is definitely no fire curtain.

33. Last time fire safety curtain was tested (closed via its emergency closing method)? No curtain to test.

34. Date of last known ANSI E1.47 compliant inspection? June 11, 2021

35. Any known issues with the systems? We have some lift lines that appear to be crossed over each other between loft blocks/idler pulleys.

36. Standard line-set schedule for the system? We have a combination of soft goods including (3) travelers, borders, legs, scrim, and cyc, empty battens, and (4) electrics.

Rockwood Summit High School

37. What is the grid height? There is no grid. Ceiling height is approximately 49'.

38. How does one access the grid? There is no grid. Previous inspections have made use of a towable 50' articulating boom lift to inspect system while adhering to floor ratings for weight capacity.

39. Are the loft blocks mounted on the grid, or hanging above the grid? The loft blocks are hanging from the steel, there is no grid.

40. Single or double purchase (counterweight systems)? Single-purchase

41. Original installer or manufacturer of system (if known)? Unknown

42. Location of locking rail (counterweight systems)? Floor level on stage left

43. Number of statically (dead) hung items? None

44. Type of fire safety curtain? There may be a deluge system, but unknown for sure. There is definitely no fire curtain.

45. Last time fire safety curtain was tested (closed via its emergency closing method)? No curtain to test.

46. Date of last known ANSI E1.47 compliant inspection? June 10, 2021

47. Any known issues with the systems? Some minor recent repairs were conducted per previous inspections. No known problems at this time.

48. Standard line-set schedule for the system? We have a combination of soft goods including (3) travelers, borders, legs, scrim, and cyc, empty battens, (1) projection screen and (4) electrics.

End of Addendum #1