Daphne Utilities

Request for Bid

Water and Wastewater

Treatment Chemicals

RFB 20-03

Bid Specifications

The scope of work shall consist of supplying the specified water treatment chemicals to Daphne Utilities at specified locations with the Daphne Utilities service area. Daphne Utilities will provide access to the delivery sites. Vendor shall deliver the products to the specified location and unload products at no additional costs. Locations are as follows:

| Location Address | CL2 cylinder 150 lb. | HFS Hydrofluoro-silicic Acid | Lime hydrated 50 lb. bag | Hexameta-phosphate | 15% Sodium Hypochlorite 275 gal tote | Sulfur Dioxide gas cylinder |
| --- | --- | --- | --- | --- | --- | --- |
| Water Treatment Plant #1 1611 Sixth Street Daphne | X | X | X | X |  |  |
| Central Water Treatment Plant 8201 Well Rd Daphne | X | X | X | X |  |  |
| Water Treatment Plant #6 104 Worchester Dr Daphne | X | X | X | X |  |  |
| Water Treatment Plant #7 303 Larosa Circle W Daphne | X | X | X | X |  |  |
| Trojan Wtr Treatment Plant 28340 CR 13 Daphne |  |  |  |  | X |  |
| Olde Towne Wtr Treatment Plant 1608 Sixth Street Daphne |  | X | X |  |  |  |
| Water Reclamation Facility 29280 N Main Street Daphne | X |  | X |  | X | X |

It is the intent of Daphne Utilities to award this contract based on unit prices and upon the individual low bid for each of the chemicals, provided the products are of an acceptable quality and delivery can be made in an acceptable manner. Vendors who might only supply one chemical are encouraged to bid.

All prices must include delivery and set in place at point of storage. Daphne Utilities will not be responsible for assisting with unloading or placing products in storage place. Vendor must accommodate certain days of delivery requested by each department. Delivery are to be made during normal working hours of facilities. Goods and services must be delivered within five (5) working days from date of order placement. Emergency orders must be delivered within 48 hours of order placement.

Delivered items will not be considered “accepted” until an authorized agent of Daphne Utilities has determined they fully comply with the specifications. All materials shall be made available for inspection by Daphne Utilities at the point of destination before receiving approval to offload the material. Any items not compliant will be returned for a full credit at no expense to Daphne Utilities.

The vendor must comply with standard record keeping and reporting requirements. Payment will be made by Daphne Utilities after the goods and services have been received, accepted, and properly invoiced with the purchase order number.  Any defects in the work performed or product delivered must be corrected before invoices are eligible for payment. Payment terms shall be net 30 days.

Daphne Utilities

Request for Bid

Water and Wastewater

Treatment Chemicals

RFB 20-03

Bid Form

Chlorine – 150 lb cylinder	$_________/lb

Sulfur Dioxide Gas – 150 lb cylinder	$_________/lb

Lime-common hydrated 50 lb bag	$_______/bag

Sodium Hexametaphosphate (NaPo3) 50 lb bag	$_________/lb

Hydrofluosilicic Acid )HFS) 23% solution 15 gallon drum	$_________/lb

Hypochlorite solution 8, UN1791, PGIII corrosive 12.5%

liquid bleach 275 gallon drum	$________/gal

Sodium bicarbonate 50 lb bag	$________/bag

I have read and understood the terms and conditions and the bid specifications of this bid.  I also understand, and have provided or will provide at the appropriate time, all documentation required.  Omission of any required documentation may result in the bid being deemed unresponsive by Daphne Utilities.

Submitted by: __________________________________________________________			Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone

___________________________________________

Point of contact email