Daphne Utilities

CNG Station

RFB 21-04

Bid Specifications

The scope of work shall consist of supplying and installing a CNG station to Daphne Utilities at 8301 Well Road in Daphne Alabama. Equipment may be reconditioned but must be up to date and meet NFPA 52 code standards. CNG refueling station and all materials used shall meet the following specifications:

CNG Compressor:

- 2-5 psi inlet pressure

- Max pressure 3600 psi @ 70 degrees Fahrenheit

- 28 SCFM flow rate

Storage:

- 20 cylinder cascade of 3600 psi CNG tanks (certified)

- Set up for 3-stage high-pressure fast-fill dispensing

Delivery, Installation (high pressure tubing, connectors, Emergency Shutdown Switches (ESDs)), Startup, and training:

- Complete refueling station

Warranty:  1 year parts and labor

Spare Parts Availability:  Manufactured and shipped in USA

Service Dealer Availability in event of equipment failure:  2 hours

The vendor must comply with standard record keeping and reporting requirements. Payment will be made by Daphne Utilities after the goods and services have been received, accepted, and properly invoiced with the purchase order number.  Any defects in the work performed or product delivered must be corrected before invoices are eligible for payment. Payment terms shall be net 30 days.

Daphne Utilities

CNG Station

RFB 21-04

Bid Form

CNG Compressor (per above specifications)	$___________

Storage (per above specifications)	$___________

Delivery, installation, start up and training	$___________

Warranty 1 year parts and labor	$___________

Total Cost  $___________

I have read and understood the terms and conditions and the bid specifications of this bid.  I also understand, and have provided or will provide at the appropriate time, all documentation required.  Omission of any required documentation may result in the bid being deemed unresponsive by Daphne Utilities.

Submitted by: __________________________________________________________			        Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone

___________________________________________

Point of contact email