City of Myrtle Beach

Invitation for Bid

IFB 17-B0078

Preventative Maintenance of Lift Equipment

Issue Date:  June 13, 2017

First in Service

Issued By:

Ann Sowers

Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

Phone:  843-918-2170

www.cityofmyrtlebeach.com

City of Myrtle Beach Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

| INVITATION FOR BID |  |
| --- | --- |
| IFB # 17-B0078 Preventative Maintenance of Lift Equipment |  |
| Buyer Contact: | Ann Sowers (843) 918-2172 asowers@cityofmyrtlebeach.com |
| Mandatory Pre-Bid Conference: Attendance is required for bid consideration. | N/A |
| Opening Date & Time: | June 27, 2017 at 2:00PM |
| Bid Opening Location: | City of Myrtle Beach 3231 Mr. Joe White Avenue Myrtle Beach, SC 29577 |

Please note the following required condition (if indicated by an X below):

_____ 	Bid for a service $20,000.00 or greater must be accompanied by a bidder’s bond in the amount of five

percent (5%) of the total dollar amount of the bid submitted, payable to the City of Myrtle Beach.

No bids will be accepted unless submitted on the forms furnished herein.  All pages of the bid must be in a sealed envelope and delivered in accordance with these instructions:

- The envelope must be marked with the name of bidder, bid number/name, and time/date of bid opening.

- Bid packages shall be delivered to the address listed above.  The City of Myrtle Beach is not responsible for late or misdirected mail.

If the above criteria are not met, your bid shall be rejected.  Bids will be opened and read publicly at the time and date specified above.

Bidders are advised that from the date of issue of this solicitation until award of the contract, no contact with City personnel related to this solicitation is permitted.  All communications/requests for clarification are to be directed to the Buyer listed above.

It is the intent and purpose of the City of Myrtle Beach that this Invitation for Bid promotes competitive bidding.  It shall be the Bidder’s responsibility to advise the Purchasing Division if any language, requirements, etc., or any combination thereof, inadvertently restricts or limits the requirements stated in this Invitation to Bid to a single source.  Such notification must be submitted in writing and must be received by the Purchasing Division no later than three (3) City of Myrtle Beach business days prior to the bid opening date.

Bidder to complete this section:

Name of Bidder:	________________________________________________________________________

Address:	______________________________________________________________________________

Phone Number:	________________________________________________________________________

E-mail:		______________________________________________________________________________

Please note:  Signature is required on page 16.

CITY OF MYRTLE BEACH – GENERAL INSTRUCTIONS

MUST BE SIGNED AS PART OF INVITATION FOR BID PACKAGE

1.0	SUMMARY

  - DOCUMENT INCLUDES:

2.0	Authority

2.01		Equal Weight and Force

2.02		Written Explanations

2.03		Disputes with Written Explanations

2.04		Written Addenda

3.0	Requirements for Written Bid Documents

3.01		Availability of Documents

3.02		Non-Responsive Bids

3.03		Document Completion

3.04		Contents of Bid Packet

3.05		Single Package Requirement

3.06		Bid Submission

3.07		Bid Delivery/Opening

3.08		Document Ownership

4.0	Full Examination

4.01		Thorough Investigation

4.02		Pre-Bid Meetings

4.03		Evidence of Examination

5.0	Pricing

5.01		Unit Pricing

5.02		Cash Discounts

5.03		Changes in Cost

6.0	Tax Information

6.01		Sales Tax/Federal Tax

6.02		Payment of Taxes

7.0	Material Assessment

7.01		Product Documentation

7.02		MSDS

7.03		Evidence of Work/Product

7.04		Sample Submission

7.05		Sample Ownership

7.06		Furnished Items

7.07		Quality of Items

8.0	Changes in Specifications

8.01		Authority of Specifications

8.02		Equipment

8.03		Deviation from Specifications

8.04		Material Preference

8.05		Changes after Award

8.06		Equivalent Items

9.0	Modifications

9.01		Additional Work

9.02		Adjustments to Items/Work

10.0	Bond Requirements

10.01		Bid/Performance/Payment Bonds

11.0	Delivery

11.01		Warehouse Deliveries

11.02		Dates

11.03		Delivery Price

11.04		Documentation

11.05		Wrong Deliveries

12.0	Award Criteria/Timeline

12.01		Award Criteria

12.02		Contract Issuance

12.03		Contract Timeline

12.04		Notification

13.0	Bidder Responsibilities

13.01		Duration of Bid

13.02		Transfer of Responsibilities

13.03		Subcontractors

13.04		Coordination and Contact

13.05		Liquidated Damages

14.0	Indemnity Clause

14.01		Hold Harmless

15.0	Federal and State Laws

15.01		Employment Regulations

16.0	Financial Accounting

16.01		Representation

16.02		Payment

17.0	Bid Rejection/Withdrawal

17.01		Reasons for Rejection

17.02		Best Interest

17.03		Withdrawal Timeline

18.0	Protest Procedures/Timelines

18.01		Bid Specifications/Contract Terms

18.02		Intent to Award

19.0	City Reserved Rights

19.01		Reserved Right

19.02		Final Judgment

19.03		Clarification

19.04		Price Increase

19.05		Loss/Damage

19.06		Performance Failure

19.07		Negotiation

20.0	ADA Compliance

20.01		Contact Information

21.0	Signatures

21.01		Accuracy and Completeness

21.02		Compliance

  - DEFINITIONS:

- City of Myrtle Beach – herein referred to as “City.”

B.  IFB – Invitation for Bid

C.  Bidder – any vendor, proprietor, business, company, service provider, or

corporation who submits a bid to the City.

D.  Bid – the collection of documents that includes these general instructions, the

scope of work and/or specifications, a written offer, and signature

page to be used for consideration in negotiations and/or contract

development.

E.  Addendum – a written change, addition, alteration, correction, or revision to a

bid document.

F.  Bond – provides financial assurance that the bid has been submitted in good

faith, that a bidder will enter into a contract at the amount bid, and

will provide the appropriate performance and payment bonds.

G.  Bid Bond – an insurance agreement, accompanied by a monetary commitment,

by which a third party accepts liability and guarantees that the bidder

will not withdraw from the bid.

H.  Performance Bond – guarantees execution of the terms of a contract.

I.  Payment Bond – covers payment of subcontractors, laborers, and materials

suppliers associated with the project.

2.0	AUTHORITY:

2.01	Equal Weight and Force.  The instructions herein contained are given for the

purpose of guidance in properly preparing an applicable bid.  These directions

have equal weight and force with the specifications and strict compliance is

required with all of the provisions.  Unless otherwise stated in the special

instructions of the bid, these general instructions will apply.

2.02	Written Explanations.  Only written information from the procurement manager

or an authorized representative of the purchasing division is binding; therefore no

verbal instructions or verbal information from any other source will be binding on

the City.  The City will not be responsible for any other explanation or interpretation

and the decision of the procurement manager or an authorized representative of the

purchasing division shall be final and binding upon each Bidder.

2.03	Disputes with Written Explanations.  The written specifications are considered

clear and complete.  Failure of the Bidder to call attention in writing to any disputes,

definitions, discrepancies, inconsistencies or incompleteness before the opening of

the bid in the time and manner set forth herein is a waiver of right to do so upon

opening of the bids.  Clarifications requested by Bidders must be in writing not less

than three (3) City of Myrtle Beach business days before date and time set for

receipt of bids.

2.04	Written Addenda.  Should the procurement manager deem it necessary to alter bid

specifications, those alterations will be made in the form of written addenda that

will be posted on the City website.  The Bidder is responsible for monitoring the

website. These addenda shall then be considered as part of these specifications.

3.0	REQUIREMENTS FOR WRITTEN DOCUMENTS:

3.01	Availability of Documents.  Bid documents shall be obtained through the City of

Myrtle Beach website (www.cityofmyrtlebeach.com), or in person at the City of

Myrtle Beach Purchasing Office, 3231 Mr. Joe White Avenue, Myrtle Beach, SC

29577, Monday through Friday (excluding City holidays), from 8:00 AM to 5:00

PM.  Bid documents may be mailed or sent via e-mail by vendor request only.

3.02	Non-Responsive Bids.  Bids that are incomplete, unsigned, improperly signed or

sealed, conditional, illegible, obscure, contain arithmetical errors, erasures without

initials, alterations or irregularities of any kind, shall be declared non-responsive.

3.03	Document Completion.  Bid and signature document are provided as part of the

solicitation.  This form must be used in submitting a bid and all pages of the bid

document must be completely filled out and signed by the Bidder.  No bids will be

accepted unless submitted on the forms furnished herein.  Erasures or corrections

made on the bid documents prior to submission must be initialed by the Bidder.

3.04	Contents of Bid Packet.  The general instructions, scope of work and/or

specifications, and the bid and signature document constitute the bid packet. By

submitting a bid, the Bidder is deemed to have accepted all of the terms and

conditions set forth in the bid packet documents.  All bid packet documents, after

completion by the Bidder, must be returned with the bid in the same order as

received by the Bidder.

3.05	Single Package Requirement.  Unless otherwise stated in the special instructions

section of this bid request, submit one complete bid package using the attached

form(s), if applicable, for bid pricing.

3.06	Bid Submission.  Each bid must be enclosed in a sealed envelope, clearly marked

on the outside with information as stated on the cover page and delivered to the

procurement buyer.  If the required information is not clearly stated on the outside

of the envelope, the bid is considered non-responsive.  Bids submitted after the date

and time set for receipt will be returned to the Bidder unopened and shall be

considered non-responsive.

3.07	Bid Delivery/Opening.  All bids must be sealed, marked and delivered in

accordance with these instructions to Purchasing Division, City of Myrtle Beach,

3231 Mr. Joe White Avenue, Myrtle Beach, SC  29577.  Bids will be opened and

read publicly at the time so specified on the front cover sheet.

3.08	Document Ownership.  All documents, reports, bids, submittals, working

papers or other material submitted to the City from the Bidder shall become the

sole and exclusive property of the City, in the public domain, and are not the

property of the Bidder.  The Bidder shall not copyright, or cause to be copyrighted,

any portion of any of said documents submitted to the City as a result of this

solicitation.

4.0	FULL EXAMINATION:

4.01	Thorough Investigation.  Bidders shall make all investigations necessary to

thoroughly inform themselves regarding plant and facilities for delivery of material

and equipment and/or service to be performed as required by the bid conditions.

No plea of ignorance by the Bidder of conditions that exist or that may hereafter

exist as a result of failure or omission on the part of the Bidder to make the

necessary examination and investigations, or failure to fulfill in every detail the

requirements of the contract documents, will be accepted as a basis for varying the

requirements of the City or the compensation.

4.02	Pre-Bid Meetings.  When Bidders are required to make site visits or attend

pre-bid meetings, all expenses shall be paid for by the Bidder, unless previous

written arrangements are made with the City. No bidder will be admitted to a pre-

bid meeting after the specified start time, otherwise the bid will be considered non-

responsive.

4.03	Evidence of Examination.  Submission of a bid will be considered as

conclusive evidence of the Bidder’s complete examination, understanding, and

acceptance of the specifications.

5.0	PRICING:

5.01	Unit Pricing.  Unit pricing will govern over extended prices unless otherwise stated

in special instructions in this bid request.  All prices quoted should be firm.  In those

cases where a firm bid cannot be made, consideration will still be given to all

Bidders.  Also, maximum or ceiling prices should be quoted where possible when

bid contain non-firm prices.

5.02	Cash Discounts.  Cash discounts, if allowed, should be so stated on the bid form.

Prices must, however, be based upon payment thirty (30) calendar days after

delivery.

5.03	Changes in Cost.  If during the term of the contract entered into as a result of this

bid, the cost of material(s) is/are increased through no act on the part of the

contractor other than to comply with any prevailing rise in the market price(s) of

material(s) used, it shall be the contractor’s responsibility to notify the City of

Myrtle Beach Purchasing Office in writing of the price increase(s) and the effective

date of the increase(s).  Price(s) shall be increased only to the point of absorbing

additional cost(s) of material(s) paid for by the contractor.  At any time during the

term of the contract, the City may request that the contractor provide written

documentation from the manufacturer/supplier of the material(s) to substantiate

price increase(s).  If during the term of the contract, the cost of material(s) to the

contractor is reduced, then the contractor shall reduce the contract price(s) and

notify the procurement buyer in writing.

6.0	TAX INFORMATION:

6.01	Sales Tax/Federal Tax.  The City of Myrtle Beach pays South Carolina State Sales

Tax. The City is exempt from Federal Excise Tax and will issue exemption

certificates if required.  All applicable taxes should be shown as separate line items

unless otherwise indicated.

6.02	Payment of Taxes.  The contractor agrees to pay all taxes and license fees of

whatever nature applicable to conduct business and furnish the City of Myrtle

Beach, if requested, with duplicate receipts or other satisfactory evidence showing

the prompt payment of all taxes and fees when referred to and showing that all

licenses are in effect.

7.0	MATERIAL ASSESSMENT:

7.01	Product Documentation.  Bid shall include adequate brochures, latest printed

specification and advertising literature describing the product(s) offered in such a

fashion as to permit ready comparison with the specifications on an item-by-item

basis where applicable.

7.02	Materials Data Safety Sheet (MSDS).  If so requested in the bid documents, a

completed MSDS for the item(s) indicated must be provided with the bid

documents.  Failure to submit this form upon request shall result in rejection of

bid.

7.03	Evidence of Work/Product.  All Bidders must be prepared to present suitable

evidence of similar work recently completed or goods supplied.  Products are to be

brand name or equal unless otherwise specified. If submitting an equal product,

supporting documents must be provided with bid.

7.04	Sample Submission.  When samples are required with a bid, they must be

submitted with the bid unless approved by the purchasing manager or purchasing

manager’s authorized representative, or the bid shall be considered non-responsive.

7.05	Sample Ownership.  Samples submitted will become the property of the City of

Myrtle Beach.  The entire cost of the sample(s) shall be paid for by the Bidder

unless previous written arrangements are made with the City.

7.06	Furnished Items.  Bidders are required to state exactly what they intend to furnish;

otherwise, they shall be required to furnish the items as specified.

7.07	Quality of Items.  Bidders will submit, with their bid, data necessary to evaluate

and determine the quality of the item(s) they are bidding.

8.0	CHANGES IN SPECIFICATIONS:

8.01	Authority of Specifications.  It shall be understood that in all cases the terms and

conditions, as detailed in the specifications, shall supersede terms and conditions,

as detailed in the general instructions.

8.02	Equipment.  If this bid is for the purchase of equipment, the Bidder guarantees that

the equipment offered is standard new equipment, latest model or regular stock

product, with parts regularly used for the type of equipment offered; also that no

attachment or part has been substituted or applied contrary to the manufacturer’s

recommendations and standard practices.

8.03	Deviation from Specifications.  Any deviation from specifications must be noted

in detail and submitted in writing with this bid.  Complete specifications should be

attached for any substitutions offered, or when amplifications are desirable or

necessary.  The absence of a specification deviation statement and accompanying

specifications will hold the Bidder strictly accountable to the specifications as

written herein.

8.04	Material Preference.  The specifications, as listed herein, represent our preference

in material; however, we are fully cognizant that no two pieces of comparable

material are identical and/or same in size, function, and operation; and some of the

specifications will not completely coincide with ours as listed.  Please list your

exceptions and explanations separately. It is not our intent to write specifications

for any project on which only one proponent can submit a bid.

8.05	Changes after Award.  Any changes in specifications, after the purchase

order/contract has been awarded, must be with the written consent of the purchasing

division; otherwise, the responsibility for such changes shall be with the Bidder.

8.06	Equivalent Items.  When brand names or trade names and model numbers

followed by the words "or equivalent" or "or other approved equal" are used, it is

for the quality, style and features of those brands and models.  Bids on equivalent

items of substantially the same quality, style and features are then invited.

However, to receive consideration, such equivalent bids must be accompanied by

sufficient descriptive literature and/or specifications to clearly identify the units and

provide for competitive evaluation with the brands or models.

9.0	MODIFICATIONS:

9.01	Additional Work.  No extras or additional work will be allowed or paid for unless

such extras or additional work are/is ordered in writing by the purchasing division

and with the price for such established and agreed upon before such extras are

delivered or work is performed.

9.02	Adjustments to Items/Work.  The City of Myrtle Beach shall have the right,

without invalidating the contract, to make additions to or deductions from the items

or work covered by the specifications.  In case such deductions or additions are

made, an equitable price adjustment shall be made between the City and the

contractor.  Any such adjustments in price shall be made in writing.

10.0	BOND REQUIREMENTS:

10.01	Bid/Performance/Payment Bonds.  If required, Bidder shall supply a bid bond of

5% of the total bid amount.  The successful Bidder at its own cost and expense shall

furnish, if required, a valid performance and payment bond (payable to the City of

Myrtle Beach) in the full amount of this agreement conditioned on the full and

faithful performance of the work under this agreement in accordance with the

specifications and contract documents.  Bonds are required if the contract work is

valued at $20,000.00 or more for construction and/or any type of service related

requirement. The performance and payment bonds shall be executed by the

contractor and a bonding company authorized to do business in the State of South

Carolina and approved by the State of South Carolina to issue such performance

and payment bonds.  Only the forms provided by the City for the performance and

payment bonds will be accepted.

11.0	DELIVERY:

11.01	Warehouse Deliveries.  Unless otherwise stated in the special instructions section

of this bid request, deliveries will be accepted during the hours between 8:00 AM

and 4:00 PM Monday through Friday, excluding City holidays.

11.02	Dates.  The delivery date as stated in the bid shall be the time required to deliver

the complete item(s) after the receipt of the order or award of the contract.  Where

multiple items appear on a bid request, the Bidder shall, unless otherwise stated by

the City, show delivery date for each item separately.  If only a single delivery date

is shown, it will be assumed to mean that all items included in the bid can and will

be delivered on or before the specified date. The Bidder certifies that the delivery

will be completed in the time the Bidder states, starting at the time the order is

placed, provided that the time between the bid opening and the placing of the order

does not exceed the number of days stipulated in the bid.  The right is reserved to

reject any bid on which the delivery time indicated is considered sufficient to delay

the operation for which the commodity is intended.  Successful Bidder will be

responsible for making any and all claims against carriers for missing or damaged

items.

11.03	Delivery Price.  Bid prices are to be Delivered Price (FOB Destination).  Bid

prices must include all delivery costs, including but not limited to, loading and

unloading cost(s), transportation charge(s) and fuel surcharge(s).  The City of

Myrtle Beach will not be responsible for any demurrage charge(s).

11.04	Documentation.  Invoice(s), certificates of origin, warranties and guarantees must

be submitted at the time of delivery of the item(s).

11.05	Wrong Deliveries.  In the event that materials, supplies, etc. are delivered which

do not comply with specifications and have not been approved by the purchasing

division, the contractor, upon notification, shall immediately remove from the

premises any such materials, supplies, etc. and replace them with materials,

supplies, etc. in full accordance with the specifications.

12.0	AWARD CRITERIA/TIMELINE:

12.01	Award Criteria.  The award will be made within the time specified to the

responsible Bidder meeting the specifications and having the lowest possible cost

consistent with the quality and service needed for effective use.  The following

criteria will be used in making this determination:

A.  Superior quality and specification adherence

B.  Adequate maintenance and service

C.  Delivery and/or completion time

D.  Guarantees and warranties

E.  Company’s reputation and financial status

F.  Past experience and cost with similar or like equipment or service

G.  Anticipated future cost and experience

H.  Performance of proponent’s equipment by other agencies, plants, and

firms

Evaluation factors, if required, shall be stated in either a percent basis or a

numerical format.

12.02	Contract Issuance.  The award of a contract is accomplished by executing a

written agreement that incorporates the entire bid, Bidder’s response, clarifications,

addenda, and additions.  All such materials constitute the contract documents.  The

Bidder agrees to accept the contract terms unless substantive changes are made

without the approval of the Bidder.  The procurement office is the sole point of

contact for the issuance of the contract.

12.03	Contract Timeline.  In the event the successful Bidder fails or refuses to execute

a formal written contract with the City of Myrtle Beach in form and content

acceptable to the City, within ten (10) City business days after notice of acceptance

of the bid, the bid shall be revoked, and all obligations of the City in connection

with the bid shall be canceled.

12.04	Notification.  Bid tabulations will be available on-line at

www.cityofmyrtlebeach.com/purchasing.html. Winning Bidder will be notified

five (5) City business days after bid tabulations are posted.

13.0	BIDDER RESPONSIBILITIES:

13.01	Duration of Bid.  Bid prices, terms and conditions shall be firm for a period of at

least one hundred twenty (120) calendar days from the deadline for receipt of

submittal, or until such time as established in the bid.  The successful bid shall not

be subject to future price escalation or changes of terms if accepted during the one

hundred twenty (120) day period, or the specified bid time.  Price decreases or

changes in terms by others after the acceptance of a bid will not be considered.

13.02	Transfer of Responsibilities.  The contractor shall not assign or otherwise transfer

any of its responsibilities or obligations under the contract to any other person or

entity without prior written consent of the City.

13.03	Subcontractors.  The contractor shall be wholly responsible for the performance

of all subcontractors and for their acts and omissions, and those of persons either

directly or indirectly employed by the contractor, and the fact that subcontractors

are subject to the approval of the City of Myrtle Beach shall not affect the

contractor’s responsibility in this regard.  The Bidder shall bind every subcontractor

to all terms and conditions anywhere contained in the contract documents as far as

applicable to the work of such subcontractor so that the subcontractor assumes

toward the contractor and toward the work all the obligations and responsibilities

that the contract assumes toward the City as to the performance of the

subcontractor’s portion of the work.

13.04	Coordination and Contact.  The selected Bidder will be required to assume

responsibility for coordination, engineering, delivery, installation, and maintenance

of all equipment, software and services offered in their bid, whether they are the

manufacturer or producer of them.  Further, the City of Myrtle Beach will consider

the selected Bidder to be the sole point of contact with regard to contractual matters,

including payment of any and all charges resulting from the lease or purchase of

the entire service equipment and software configuration, when applicable.  Only

service and equipment offered by Bidders who have installed similar systems of

comparable size will be considered.  All service and equipment offered will be in

current standard production and of the latest design.

13.05	Liquidated Damages.  If the Bidder fails to deliver the supplies or perform the

services within the time specified in the contract, the Bidder shall, in place of

actual damages, pay to the City of Myrtle Beach liquidated damages of

$__________ per calendar day of delay.  If the City terminates the contract, in

whole or in part, the contractor is liable for liquidated damages accruing until the

City reasonably obtains delivery or performance of similar supplies or services

from an alternate bidder.  These liquidated damages are in addition to excess

costs of repurchase due to contract termination.  The Bidder will not be charged

with liquidated damages when the delay in delivery or performance is

documented to be beyond the control and without the fault or negligence of the

Bidder.

14.0	INDEMNITY CLAUSE:

14.01	Hold Harmless.  The contractor agrees to indemnify and save harmless the City of

Myrtle Beach, its representatives, employees and agents, from all claims, demands,

actions, suits and liabilities arising from the contractor’s own fault or negligence or

through the negligence or fault of the manufacturer of goods supplied by the

contractor.  This obligation shall extend to and include, all litigation costs and

reasonable attorney fees incurred by the City in response to such claims, demands,

actions or liabilities, provided it is ultimately determined that such claims result

from the contractor’s or manufacturer’s fault or negligence.

15.0	FEDERAL AND STATE LAWS:

15.01	Employment Regulations.  Bidders shall comply with all local, state, and federal

directives, orders, and laws as applicable to this bid and subsequent contract(s)

including, but not limited to Equal Employment Opportunity (EEO), in compliance

with executive Order 11246, Minority Business Enterprise (MBE), and

Occupational Safety and Health Act (OSHA), as applicable to this contract and

Immigration Bill H4400 which states that every contractor doing business with the

City of Myrtle Beach for the physical performance of services with the total value

of the contract to be performed in a twelve month period exceeding fifteen thousand

dollars ($15,000.00) must agree to the following:

- Register and participate in the federal work authorization program to

verify the employment authorization of all new employees; and require

agreement from its sub-contractors to do the same; or

B.  To employ only workers who:

1.  Possess a valid South Carolina Driver’s License or ID issued by

the South Carolina Department of Motor Vehicles;

2.  Are eligible to obtain a South Carolina Driver’s License or ID

card in that they meet the requirements.

3.  Possess a valid Driver’s License or ID card from another state

where the requirements are at least as strict as those in South

Carolina.

16.0	FINANCIAL ACCOUNTING:

16.01	Representation.  The selected Bidder shall assign a competent account

representative acceptable to the City of Myrtle Beach who will represent the

Bidder in providing contracted services to the City.  If the account representative

is removed by the Bidder, the new representative must be acceptable to the City.

16.02	Payment.  Payments shall be made to the contractor within thirty (30) calendar

days of receipt of invoice after inspection by and acceptance of the material, goods

and/or service by an authorized representative of the City.

17.0	BID REJECTION/WITHDRAWAL:

17.01	Reasons for Rejection.  The City of Myrtle Beach shall reject a bid if:

A.  The Bidder misstates or conceals any material fact in the bid; or if,

B.  The bid does not strictly conform to the law or requirements of the bid;

or if,

C.  The bid is conditional, except that the Bidder may qualify his/her bid for

acceptance by the City on an “all or none” basis, or a “low item”

basis.  An “all or none” basis bid must include all items upon which

bids are invited.

17.02	Best Interest of City of Myrtle Beach.  The City may, however, reject all bids

whenever it is deemed in the best interest of the City to do so, and may reject any

part of a bid unless the bid has been qualified as provided in statement.

17.03	Withdrawal Timeline.  Bids may be withdrawn on a written request, received

from Bidders prior to the bid closing date and time.  Negligence on the part of the

Bidder in preparing the bid creates no right for withdrawal of the bid after the bid

has been opened.  No modifications, clarifications, or explanations of any bids will

be allowed after the date and time of closing.

18.0	PROTESTS:

18.01	Procedures/Timelines.  Protest of Bid Specifications and/or Contract Terms:

- Specifications and contract terms shall be made available for inspection

and copying.  Unless a different deadline is specified in the IFB,

protests of the bid specifications or contract terms shall be presented to

the City in writing within five (5) City of Myrtle Beach business days

prior to bid closing.

- Such protest or request for change shall include the reasons for protest

or request, and any proposed changes to specifications or terms.

- Envelopes containing protests of specifications shall be marked and

mailed, or hand delivered within five (5) city of Myrtle Beach business

days to the procurement buyer.

- No protest against award because of the content of bid specifications or

contract terms shall be considered after the deadline established for

submitting such protest in paragraph A above.

- Submission of a bid without the timely submission of protest of

specifications or contract terms is deemed a waiver to the right to protest

specifications or contract terms.

- A decision by the procurement buyer shall be given in writing in each

of such cases at least one (1) City of Myrtle Beach business day before

the time set for the opening of bids.  A copy of the decision may be

obtained at the procurement manager’s office.

- If, in the judgment of the procurement manager, the previously

mentioned inquiry requires explanation or interpretation, any such

explanation or interpretation of said plans, specifications, or other

contract documents will be made by written addendum duly issued with

copies mailed or delivered to each person or firm receiving a set of

contract documents.

18.02	Procedures/Timelines.  Intent to Award:

A.  The written purchase order shall constitute a final decision of the City

of Myrtle Beach to award the contract if no written protest is filed with

the City within five (5) City of Myrtle Beach business days of the

posting of the bid tab.  If a protest is timely filed, the purchase order is

a final decision of the City only upon issuance of a written decision

denying the protest and affirming the award.

B.  Purchasing buyer shall notify winning Bidder five (5) City days after

bid tab is posted on the City website.  It is the responsibility of the

Bidder to check the website.  Any actual Bidder who is adversely

affected or aggrieved by the award of the contract to another Bidder on

the same solicitation shall have five (5) City business days after the

posting of bid tab to submit to the City a written protest of the award.

The written protest shall specify the grounds upon which the protest is

based.  The city shall not entertain a protest submitted after the time

period established in this rule or such different period as may be

provided in the City’s request for bids.

C.  Bidders must submit written protests of the intent to award to the

procurement manager within five (5) business days.  The written protest

must include name and contact information of the protestor, solicitation

title and number, the grounds upon which the protest is based, and relief

expected.

19.0	CITY RESERVED RIGHTS:

19.01	Reserved Rights.  The City of Myrtle Beach expressly reserves the following

rights:

A.  To reject any and/or all irregularities in the bids submitted

B.  To reject any and all bids, or parts thereof, as deemed in the best interest

of the City.

C.  To base awards due with regard on quality of services, experiences,

compliance with specifications, and other such factors as may be

necessary in the circumstances.

D.  To make the award to any Bidder who, in the opinion of senior

management, is in the best interest of the City.

19.02	Final Judgment.  If any doubt or difference of opinion arises between the City of

Myrtle Beach and the Bidder as to the interpretation of this request for bid, the

decision of the City will be final and binding upon all parties.

19.03	Clarification.  The City of Myrtle Beach reserves the right to obtain clarification

on any point in the Bidder’s bid. The failure of the Bidder to make additional

information available could result in the rejection of the response.  Such

clarification might involve the delivery of demonstration equipment to the City for

evaluation purposes.  Such hardware will be provided at no cost to the City.  The

City is not obliged to evaluate any or all products.

19.04	Price Increase.  The City of Myrtle Beach reserves the right to accept or reject any

price increase(s) and to cancel any and all item(s) under the contract for which price

increase(s) is/are considered unacceptable.

19.05	Loss/Damage.  The City of Myrtle Beach will not be responsible for the loss or

damage of any items during the IFB process.

19.06	Performance Failure.  In the event that the Bidder fails to perform any material

obligations, the City of Myrtle Beach reserves the right to give the Bidder written

cure notice of such failure.  The Bidder will then have five (5) calendar days to

resolve the failure. If the failure is not resolved within five (5) calendar days, the

City reserves the right to withhold all money that is due and payable to the Bidder.

Such a remedy is in addition to other remedies that might be available to the City.

Moreover, the City reserves the right to terminate the contract if the Bidder exceeds

the five (5) calendar days of non-performance without the approval of the purchasing manager.

19.07	Negotiation.  After determining the lowest responsive Bidder(s), but prior to the

notice of award to any bidder, the City of Myrtle Beach may elect to open

negotiations with the selected responsive and responsible Bidder(s) in an effort to

improve the bid for a period of five (5) days.  In these negotiations, the City

may address scope of work, unit pricing, or any other contractual requirements

fairly contained within the bid documents.  In the event that the apparent

responsive and responsible low Bidder(s) should decline to negotiate, or should

negotiations commence but fail, the City shall reject any or all bids.

20.0	ADA COMPLIANCE:

20.01	Contact Information.  Questions concerning the bid requirements or

specifications should be directed in writing to the procurement buyer shown on the

front page of this bid package.  If you need disability-related accommodations,

please contact (843) 918-2170.

21.0	SIGNATURES:

21.01	Accuracy and Completeness.  The authorized signer of the bid shall represent and

warrant that they have been sufficiently informed in all matters relating to the

specified products; that they have checked their bid for errors and omissions; that

the prices stated in their bid are correct and as intended are a complete and correct

statement of prices.

21.02	Compliance.  By Signature below the Bidder affirms that they have examined,

understands and accepts all instructions, specifications and conditions, and will

provide for appropriate insurance, deposits, and performance bonds if required, and

will comply fully with specifications as attached for the agreed contract, especially

where materials and work are involved, and that any and all registration

requirements where required for Bidders as set forth in law are met.

_____________________________________________________________________________

Signature of Bidder								Date of Signing

______________________________________________________________________________

Print Name of Bidder

If more convenient, tabulations are available for pick-up after final award.  No bid tabulations will be faxed.

Evaluation

- Bid Evaluation

This section identifies how the City of Myrtle Beach, herein called City, Purchasing Division will evaluate IFB submissions.

  - Overview.  City will evaluate bids for this IFB as described below.

- Bidder responsiveness, specification, price factors, and responsibility, will be evaluated based on the process described herein.

- Bidders whose bids are determined to be non-responsive will be rejected and will be notified of the reasons for this rejection.

- City reserves the right to:  (1) Waive any informality; (2) Reject any or all bids, or portions thereof; (3) Accept any portion of the items bid unless the bidder stipulates all or nothing in their bid; (4) Cancel an IFB and re-solicit bids.

- City will use the following process and evaluation criteria for an award of a Purchase Order and/or Contract:

    - Step 1:  Responsiveness.

    - Step 2:  Specification Evaluation.

    - Step 3:  Pricing Evaluation.

    - Step 4:  Responsibility Analysis.

  - Responsiveness (Step 1).  City will review bids – on a pass/fail basis – to determine whether the bid is ‘responsive’ to this IFB.  This means that the City will review each bid to determine whether the bid is complete – i.e., does the bid include each of the required bid submittals, are the submittals complete, signed, legible.  The City reserves the right – in its sole discretion – to determine whether a bid is responsive.

  - Specifications Evaluation (Step 2).  City will utilize a stakeholder committee to evaluate each bid to ensure that each bidder’s product or service meets the specifications on a pass/fail basis.  The City reserves the right to request additional information or perform tests and measurements before selecting the Apparent Successful Bidder (“ASB”).  A bidder’s failure to provide requested information to the City within two (2) City business days may result in disqualification.

  - Bid Pricing Evaluation (Step 3).  City will evaluate bid prices for completeness, price reasonableness, price realism, and unbalanced pricing.  Bidders must indicate a unit price for each line item on the price schedule to be considered for award.  Price reasonableness will be established by competition and determined primarily by comparison with other offers submitted.  Price realism will be established by analysis of the unit price submitted to determine whether the estimated proposed price reflects a clear understanding of the requirements, are realistic for the work to be performed, and are consistent with the methods of performance and materials described in the bid.  Unbalanced pricing exists when, despite an acceptable total evaluated price, the price of one or more contract line items is significantly overstated or understated and poses an unacceptable risk to the City.  The City may determine that a bid is unacceptable if the proposed price is materially unbalanced between line items.  The Bidder offering the total lowest price for all items combined will be considered for award.

- Responsibility Analysis (Step 4).  For responsive bids, City will make reasonable inquiry to determine the responsibility of any bidder.  Determination of responsibility will be made on a pass/fail basis.

- Financial Information:  City may request financial statements, credit ratings, references, record of past performance, clarification of their bid, on-site inspection of bidder's or subcontractor's facilities, or other information as necessary.  Failure to respond to these requests may result in a bid being rejected as non-responsive.

- References:  City reserves the right to use references to confirm satisfactory customer service, performance, satisfaction with service/product, knowledge of products/service/industry, and timeliness.  Any negative or unsatisfactory reference can be reason for rejecting a bidder as non-responsible.

SPECIFICATIONS

INTENT

It is the intent of this IFB to establish a term contract for Routine Maintenance Service to be performed on the Lift Equipment, Floor Scrubber/Sweeper Equipment, and Loading Dock Levelers specified elsewhere in these bid documents.

Repairs of the specified equipment with a cost of less than five thousand dollars ($5,000.00) per job will also be included in the contract and shall be performed on an “as needed” basis.  Repairs/replacements expected to exceed five thousand dollars ($5000.00) per job shall be bid separately by the City.

City facilities not included in the contract that have a need for repair service for equipment similar to that specified in these IFB documents may also utilize the contract using the repair service bid prices and percentage over cost for parts prices established as a result of this IFB.

The successful contractor shall provide all materials, supplies, parts, tools, equipment, labor, supervision, transportation, and all other items necessary to perform the work required under this contract.

SITE VISITS

It shall be the responsibility of bidders to make all examinations and investigations necessary to thoroughly inform themselves regarding the work to be performed as required by the conditions set forth in this IFB, and to obtain any/all information needed to satisfactorily perform the required work.

The City recommends that bidders schedule a site visit to each facility listed in these specifications and inspect all equipment to be covered under the contract to ensure that the bidder fully understands the work involved, and the types and conditions of the equipment to be maintained.  Site visits shall be performed at no cost to the City.

Site visits may be scheduled by contacting the City representative listed for each building.

No plea of ignorance by a bidder of conditions that exist or that may hereafter exist as a result of failure or omission on the part of the bidder to make the necessary examinations and investigations, or the failure to fulfill in every detail the requirements of the contract will be accepted as a basis for varying the requirements of the City, or for compensation to the successful bidder.

WORK REQUIREMENTS

The specifications included herein shall establish the minimum acceptable standards for the maintenance and repair of the equipment to be covered under this contract.

The Contractor shall ensure that all equipment remains in fully operable and safe condition.  Work shall include performing maintenance service at the frequencies specified and performing repair service on an “as needed” basis.

The Contractor shall be responsible for scheduling and performing maintenance service when due on all equipment.

All equipment shall be serviced and maintained in accordance with the applicable manufacturer’s recommended procedures, these IFB specifications, and the terms and conditions stated herein.

SPECIFICATIONS continued

WORK HOURS

The Contractor shall coordinate all working hours with the City and the work hours must be approved by the City.  Once work begins, the work shall be conducted in a timely and continuous manner until complete, and shall not be delayed for any contractor reason(s).

Working hours shall be defined as follows:

Normal Working Hours – 7:00am through 5:00pm, Monday through Friday, excluding City

holidays

Emergency Working Hours – Weekday hours after 5:00pm, all day Saturday, all day Sunday,

and all City holidays

All work shall be accomplished during normal working hours with the following exceptions:

1)  Emergency repairs that cannot be completed during normal working hours

2)  Other work performed outside normal working hours approved in advance by the City

MAINTENANCE SERVICE

Maintenance service shall be performed quarterly on all lift equipment and scrubber/sweeper equipment and semi-annually on the loading dock levelers.

Upon award of the contract, the successful Contractor shall contact the City representative for each facility listed to schedule and perform maintenance on any equip0ment due for service and shall schedule and perform maintenance when due on all other equipment.

Maintenance service shall include, but not be limited to, the following (as applicable):

LIFT EQUIPMENT – Quarterly Maintenance

Visual Inspection and Operational Checks

- Check for fluid leaks, unusual exhaust smoke, unusual noises/vibrations

- Inspect carriage rollers, carriage slider blocks, lift chains, mast chains, mast retainers, mast anchors, forks and fork locks, for wear cracks, and proper operation.  Check for proper mast sequencing.

- Check neutral starting switch, steering mechanism, shift lever, directional control lever, clutch pedal, accelerator pedal, inching control pedal, brakes, brake pedal, parking brake and linkage for proper orientation.

- Inspect tires for wear and correct tire pressure.  Inspect wheels and wheel cylinders.

- Inspect overhead guard/load backrest and seat condition.

- Check safety devices, instrument gauges, horns, and lights for proper operation.

Fluid Levels

- Check steering, hydraulic, coolant, and transmission systems, master brake cylinder, drive axle, planetaries, and differential for proper oil/fluid levels and fill accordingly or replace when needed.

Lubrication

- Lubricate steering axle, tilt cylinder pivot eye and mast mounting, chains, carriage, and attachments.

SPECIFICATIONS continued

- Check, adjust, and lubricate linkage on clutch pedal, accelerator pedal, inching pedal, hydrostatic direction pedal, brakes, parking brake, hydraulic control valve hinges, lift and tilt control hinges, and side panel hinges.

Engine/Cooling System

- Check engine oil and filter and change as needed.

- Check and clean/replace air filter as needed.  Inspect hoses and clamps.  Clean air filter canister.

- Check fuel lines for leaks.  Check fuel filter(s) and clean/replace as needed.

- Clean and check PCV valve.

- Check condition of radiator, hoses, and clamps.  Tighten clamps as needed.  Flush system as needed.

- Check condition of all other hoses, condition and tension of all belts, and adjust/tighten/replace as needed.

- Check engine exhaust pipe and muffler.

- Perform analyzer test on engine no load rpm, engine maximum no load rpm, engine maximum load rpm, engine stall rpm, ignition dwell degree, cranking voltage, and charging voltage.

Fuel System

- Check carburetor low and high idle, low idle vacuum.

- Check fuel hoses for proper condition

- Check fuel lock-off and clean water trap.

- Check LP system for leaks.

Electrical System

- Check electrical wiring for condition and proper connection.

- Check condition and gap of spark plugs.

- Check condition of distributor contacts, rotor cap, and cam.

- Check condition of and clean battery connectors and terminals.  Check battery cable connections.  Check battery electrolyte level and fill accordingly.

- Check panel power connections, contractor tips, potentiometer/control handle, and seat switch/deadman pedal.

- Check contractor assembly and all switches for proper operation.

Hydraulic System

- Inspect and check hydraulic tank, lift cylinder, tilt cylinder, lines, connections, control valve, attachment links, and attachment cylinders for leaks, proper condition and operation.  Check and clean hydraulic filter(s) when needed.  Replace filters when due.

Test Drive

- Test drive equipment to ensure that all components are in proper working order and that equipment is braking properly.

FLOOR SCRUBBER/SWEEPER EQUIPMENT – Quarterly Maintenance

Engine

- Check engine oil level and add oil if needed.  Drain and replace oil and oil filter when due.  Check for oil leaks.

- Check engine timing and engine speed at idle and full speed.

- Check condition of timing belt.  Replace belt when due.

- Check engine valve tappet clearance – intake/exhaust.

- Check color of exhaust smoke.

SPECIFICATIONS continued

- Check engine and V belts and adjust tension if needed.

- Clean and re-gap or replace spark plugs when required.

- Check condition of distributor cap, rotor, and points.  Replace when needed.

- Check operation of throttle, choke, and fan.

Air/Cooling System

- Check air filter element and indicator.  Replace air filter when due.

- Check air cleaner connections.

- Check carburetor and adjust if needed.

- Check cooling system reservoir/radiator coolant levels and add coolant when needed.  Flush systems and add new coolant when due.

- Clean core exterior of radiator and hydraulic cooler fins free of dust/debris.

- Check condition of radiator hoses and clamps and tighten loose clamps.  Replace worn/damaged hoses and clamps as needed.

- Check for coolant leaks.

Electrical System

- Check relay panel fuses and relays, engine harness fuses and relays, and circuit breakers.  Replace blown fuses and reset tripped breakers.

- Check limit and indicator switches.

- Check motor amp draws – brush, vacuum fan, propel, brushes on electrical motor, etc.

Hydraulics

- Check hydraulic fluid level and fill if needed.  Drain and replace hydraulic fluid when due.

- Check hydraulic filter restriction indicator.

- Replace filler cap, fluid filter, and strainer outlet when required.

- Check condition of hydraulic hoses and hose connections for wear and damage.  Replace as required.

- Check for hydraulic leaks.

Fuel System

- Check LP tank, tank mounting brackets, and fuel hoses.

- Drain and replace oil in LPG electronic pressure regulator when due.

- Check LPG/gas fuel filter, fuel strainer, and water trap.  Replace fuel filter when due.

- Check to ensure lock-off is wired correctly.

- Check for fuel smells, leaks, and frost at connection.

Battery

- Check condition of battery compartment and exterior of battery.

- Check battery posts and cable connections for corrosion/loose connections.  Clean and tighten connections if needed.

- Check battery levels and fill to proper levels if needed.

- Test battery voltage and charging system output.

Hopper

- Check operation of hopper heights – RTR point and RTR lights and adjust if needed.

- Lubricate hopper lift arm bearing, lift cylinder pivot pins, and door pivots.  Clean and lubricate lift arm latch and latch stop when required.

- Lubricate chains and torque tubes when required.

- Check cables and hydraulic hoses on hopper and hopper lift arms for proper operation and leaks.

- Check dust filter for debris or damage.  Clean or replace as needed.

SPECIFICATIONS continued

- Clean hopper debris screen and hose.

- Check fusible link, fire door, and thermos sensor for proper operation.

Sweeper/Scrubber Systems

- Check operation of filter shaker system.

- Check operation of vacuum directional control and condition of all vacuum hoses.

- Check condition of solution and recovery tanks.

- Check operation of water distribution system including soap basket, water spreader tube, spray pattern, water and solution pumps, hoses, shut-off valve, vacuum shut off float, solution filter, flow filter, and spray deflectors inside recover tank.  Clean and adjust as required.

- Check operation of water pickup hoses to squeegee and debris trough to ensure that hoses are clear of debris.

- Check operation of steering gear box and lubricate steering cylinder bearing.

- Lubricate CV joints and kingpins.

- Check condition of impeller and fan bearings/jack shaft and lubricate if required.

- Check conveyor height and elevator springs and adjust if needed.

- Check hydraulic cleaning coil and clean if needed.

- Check condition, tension, and alignment of all belts and adjust as needed.

- Check condition, tension, and alignment of all chains and adjust and lubricate as needed.

- Check condition of front wheel support bearings and squeegee caster bearings and lubricate when required.

- Check speed of brush drive, vacuum, shaker and propelling motors, propelling and accessory pumps, control valves, and cylinders.  Check for leaks/debris around shafts.

Brushes/Squeegee Blades

- Check operation of main brush/scrub head mechanisms and adjust height if needed.

- Check condition of main/scrub brushes.  Remove and clean free of tangled wire, string, etc.  Check for uneven wear and adjust brush pattern if required.  Replace worn/damaged brush(es) as needed.

- Grease scrub head pivot and brush idler plug.

- Check and clean brush drive motor shaft.

- Check operation of side brush assembly, lifting cable, pulleys, hydraulic hoses and motor.  Clean motor shaft.

- Check condition of side brush(es) – Remove and clean free of tangled wire, string, etc.  Check for uneven wear and adjust brush pattern(s) if required.  Replace worn/damaged brush(es) as needed.

- Check condition of debris deflection lap and debris trough.  Clean trough as needed.

- Check operation of squeegee mechanism.

- Check leveling and deflection of rear squeegee blade and adjust as needed.

- Check all squeegee blades for wear and damage.  Rotate or replace worn/damaged blades as required.

Skirts/Seals/Filters

- Check condition of dust skirts, skid plates, recycle flap, hopper lips and seals, conveyor lips and blades, inlet and vacuum duct seal, vacuum wand assembly, and debris deflector.  Replace worn/damaged parts as needed.

- Check condition of filter shaker system filters.  Replace filters as needed.

- Check condition of filter gasket and filter hold-down bolts.  Replace worn/damaged gaskets and missing bolts as needed.

SPECIFICATIONS continued

- Check solution and recovery tank seals for wear and damage.  Clean or replace as needed.

- Clean solution and recovery tank filters/screens.  Clean or replace as required.

Safety Equipment

- Test operation of all lights, including warning lights.

- Test operation of all instrument panel gauges and hour meter.

- Inspect and test operation of gas pedal, safety arm/head lock, machine creep, and drive belt guards.

- Test operation of key switch, steering lock, horn, backup alarm, seatbelts, and all other applicable safety devices.

- Test operation of speed limiter, stabilizer log, static chain, and kill/seat switches.

Brakes and Tires

- Check foot brake pedal, connecting cables, and mechanical brakes for proper operation and adjust as required.

- Check parking brake pedal and parking brake for proper operation and adjust as required.

- Torque front wheel nuts and propelling motor shaft nut when needed.

- Check condition of all tires for wear and damage.  Replace as needed.

LOADING DOCK LEVELERS – Semiannual Maintenance

- Check all safety devices.

- Check condition of control box, conduit, wiring, and ramp control/hold-down assembly.

- Inspect push-in bar and push-out plate assemblies for damage.

- Inspect safety leg system and return spring operation.

- Check springs for elongation and adjust spring tension as needed.

- Check for presence and proper setting of all snap rings and clips on axles and rollers.

- Check rollers, pins, and bushings for signs of wear such as flat spots, missing gasteners, or dislodged bearing material.

- Inspect hydraulic cylinders and linkage.

- Inspect weather seal and dock bumpers.

- Check all welds, including the top plate understructure for fatigue and failure.

- Clean all debris from the pit, rear hinge area, and lip hinge.

- Adjust and lubricate appropriate components.

- Test operation of unit to ensure that the unit is working properly and there are no unusual noises or vibrations.

The contractor shall immediately notify the City of any worn, damaged, broken, or defective part(s) needing replacement and/or repair(s) that are identified during the maintenance service and

shall replace the required part(s)/make the needed repair(s) only after receiving prior authorization to do so from the City.

Upon completion of each maintenance service, a written service report shall be completed and must include:

- The service date, service location, name of technician performing the work

- List of equipment serviced and detailed description of the work performed

- Repair(s) completed (when applicable)

- Total number of labor hours worked

- An itemized list of worn, damaged, broken, or defective parts replaced

SPECIFICATIONS continued

The report shall also describe in detail any additional work needed or recommended that was not completed during the maintenance service.  An authorized City representative shall sign the report and a copy of the report shall be provided to the City within five (5) working days after completion of the work.

SPECIAL WORK REQUIREMENTS

All tools and equipment used while performing the required work shall be appropriate for the task being performed, shall be in proper working order and, when applicable, properly calibrated.  City facilities shall not be used to clean contractor tools/equipment.

All work shall be completed in a professional manner according to industry standards.  The Contractor shall guarantee all work performed under the contract against any defects in workmanship.  All materials incorporated in the maintenance and repair work shall be new, and both materials and workmanship shall be the best of quality.

The Contractor shall be totally responsible for the safety of the job site and all associated hazards/liabilities of the work to be conducted.  Sound safety practices must be adhered to at all times.

The Contractor shall remove from the job site daily all trash and debris associated with the work being performed and shall properly dispose of all waste.  Upon completion of all work, the Contractor shall remove from the job site any remaining trash/debris and all materials, supplies, tools, and equipment associated with the work performed and the entire work area shall be cleaned to a normal or “first class” condition as judged by the City.

WARRANTY

### The warranty period for any materials furnished shall be for the manufacturer’s standard warranty period.  The Contractor shall provide to the City any written manufacturer warranty documents upon completion of the work/repair(s).

##### INVOICING

Work performed at each building must be invoiced separately.  Invoices shall be submitted for payment upon satisfactory completion and acceptance by the City as documented by signed

copies of the written report.  No invoice shall be submitted for payment prior to work being performed.

Invoices shall include the blanket purchase order number, service location, service date(s), description of work performed and total cost for service.

| Invoices shall be submitted to: | City of Myrtle Beach Finance Department – Accounts Payable PO Box 2468 Myrtle Beach, SC 29578-2468 |
| --- | --- |

SPECIFICATIONS continued

# ADDITIONAL CONTRACTOR REQUIREMENTS

Attire

All contractor employees shall wear company uniforms or other appropriate attire while performing the work required under this contract.  Shirts, shoes, and necessary safety gear must be worn at all times while performing work for the City.

Licenses, Registrations, Certifications, Permits, Fees, and Taxes

The Contractor must possess (or obtain and keep) all valid and current applicable licenses, registrations, certifications, and permits required to perform the work required under this contract at all times during the term of the contract.  The Contractor shall bear the cost of securing all required licenses, registrations, certifications, and permits, and for the payment of all applicable fees and/or taxes.  No license, registration, certification, or permit shall be applied for in the name of, or on behalf of, the City of Myrtle Beach.

During the term of the contract, should any applicable contractor license, registration, certification or permit expire, or be suspended or revoked, notice must be given to the City within one (1) working day of the expiration, suspension, or revocation.

The City will reserve the right at any time during the term of the contract to request copies of all applicable licenses, registrations, certifications, permits and/or receipts, or other suitable documentation, showing fees and taxes paid.

Statutes, Regulations, Standards, Codes, and Ordinances

In addition to those referenced elsewhere in these IFB documents, the Contractor shall comply with all other applicable federal, state, county, municipal, and local statutes, regulations, standards, codes, and ordinances at all times while performing the work required under this contract.  The latest edition(s) adopted by the local authority having jurisdiction shall apply.

No plea of ignorance on the part of the Contractor shall, in any way, relieve the Contractor from responsibility for compliance with said statutes, regulations, standards, codes, and ordinances.

Safety Data Sheets (SDS)

The Contractor must acquire and maintain up-to-date Safety Data Sheet(s) (SDS) for any/all applicable products used by the Contractor to perform the work required under this contract.

The City shall have the right at any time during the term of the contract to request and receive a copy of, any or all applicable SDS sheet(s).  Requested SDS sheet(s) shall be provided at no charge to the City.

The City will retain the right to reject any product it feels could be harmful to persons/animals, property, or the environment.

### TERM OF CONTRACT

The term of the contract shall be a period of five (5) years with a base year plus an option to renew for four (4) additional two (1) year periods.

SPECIFICATIONS continued

Award will be based solely on the original term of the contract.  Renewal of the contract may be considered upon successful completion of the original contract term, provided that both parties agree, that the terms and conditions remain the same, and that renewal is in the best interest of the City.

Should the contract be renewed, the renewal shall be documented by contract and/or purchase order.

PRICE INCREASES

Bid prices shall remain firm for the entire term of the contract. Price increase(s), if needed, may be considered at the beginning of the renewal term, should the contract be renewed.  However, any price increase requested may not exceed the percentage of price increase established as a result of this bid.

CHANGES IN SERVICE

During the term of the contract, the City shall have the right to order additions to, deletions from, or corrections, alterations, and modifications to the contract should the need arise.  Such changes shall in no way affect, vitiate, or make void this agreement, or any part thereof, except that which is necessarily affected by such changes.

Changes involving an increase or decrease in the amount of work to be performed, cost of the work, time permitted for the work, or inconsistencies with the bid specifications shall be authorized when mutually agreed upon by the City and Contractor.

In any case of neglect or refusal by the Contractor to perform any extra work authorized by the City, or to make satisfactory progress in the execution of the same, the City may employ any person or persons to perform such work and the Contractor shall in no way interfere with the person or persons so employed.

TERMINATION OF CONTRACT

At any time during the term of the contract, either party shall have the right to terminate the contract by providing to the other party written notice a minimum of thirty (30) days prior to the termination date.

BASIS OF AWARD

Sellers understand that the City of Myrtle Beach ranks all bids by price; however, pursuant to applicable terms and conditions of this bid, buyers may use criteria other than price to evaluate offers.  Accordingly, please note that the award will be made to the responsible seller whose bid conforms to the solicitation that is most advantageous to the buyer on basis of price, technical capability, and delivery.  No partial bids allowed.  Bid will be awarded on an “all or none” basis.

Price Schedule

The City of Myrtle Beach would like to obtain the following for various City buildings with these minimum specifications.  Price to include all costs except repair parts.  Oil/lubricants and filters to be included in price for maintenance service.  Price includes all labor, travel time, mileage, fuel costs, fuel surcharges, environmental, hazardous material handling and disposal fees, and all other fees as applicable.

| Item # | Description | Qty. | Unit | Unit Bid Price Per Quarter | Total Unit Price Per Year |
| --- | --- | --- | --- | --- | --- |
| 1. | Preventative Maintenance – Convention Center 2101North Oak Street POC: Bobby Marks (843-918-1245) Randy Richardson (843-918-1244) - Caterpillar Forklift Serial #AT83F90036 - LP Gas Model #GCX30E, Serial #GX230E-0058-9370F for parts and labor | 1 | Quarter | $__________ | $___________ |
| 2. | Preventative Maintenance – Convention Center 2101North Oak Street POC: Bobby Marks (843-918-1245) Randy Richardson (843-918-1244) - Komatsu Forklift, LP Gas, Model #FG15ST-16, Serial #653249A | 1 | Quarter | $__________ | $___________ |
| 3. | Preventative Maintenance – Convention Center 2101North Oak Street POC: Bobby Marks (843-918-1245) Randy Richardson (843-918-1244) - Genie Scissor Lift, Electric, Model #GS3246, Serial #GS46-47409 | 1 | Quarter | $__________ | $___________ |
| 4. | Preventative Maintenance – Convention Center 2101North Oak Street POC: Bobby Marks (843-918-1245) Randy Richardson (843-918-1244) - Jig Highlift, Electric, Model #E600J, Serial #0300173307 | 1 | Quarter | $__________ | $___________ |
| Company Name: _________________________________________________________ Authorized Signature: ___________________________________________________ Email Address: _________________________________________________________ |  |  |  |  |  |
| Item # | Description | Qty. | Unit | Unit Bid Price Per Quarter | Total Unit Price Per Year |
| 5. | Preventative Maintenance – City Services Building 921North Oak Street POC: Wanda Bodine (843-918-1188) - Toyota Forklift, Electric, Model #7FBCU18, Serial #61080 | 1 | Quarter | $__________ | $___________ |
| 6. | Preventative Maintenance – Construction Services/Building Maintenance 974 Crabtree Lane POC: Emily Hardee (843-918-1063) - Genie Scissor Lift, Electric, Model #GS2632, Serial #GS3210A-95743 | 1 | Quarter | $__________ | $___________ |
| 7. | Preventative Maintenance – Pepper Geddings Recreation Center 3205 North Oak Street POC: Kevin Morris (843-918-2287) - Nobles Speed Scrubber, Model #SS-17-20, Serial #900288-80000-640 | 1 | Quarter | $__________ | $___________ |
| 8. | Preventative Maintenance - Mary C. Canty Recreation Center 901 Canal Street POC: Doc Moore (843-918-1475) - Nobles Speed Scrubber, Model #SS-17-20, Serial #900288-80000-631 | 1 | Quarter | $__________ | $___________ |
| 9. | Preventative Maintenance – Crabtree Gym 1004 Crabtree Lane POC: Rob Cardella (843-918-2359) - Minuteman Walk-Behind Scrubber, Model #E17, Serial #140800001 | 1 | Quarter | $__________ | $___________ |
| 10. | Preventative Maintenance – Base Recreation Center 800 Grabreski Lane POC: Dustin Jordan (843-918-2380) - Viper Speed Scrubber, Model #Fang20HD, Serial #001898 | 1 | Quarter | $__________ | $___________ |
| Company Name: _________________________________________________________ Authorized Signature: ___________________________________________________ Email Address: _________________________________________________________ |  |  |  |  |  |

In addition, the City of Myrtle Beach would like to obtain the following for our Convention Center with these minimum specifications.  Price to include all costs except repair parts.  Oil/lubricants and filters to be included in price for maintenance service.  Price includes all labor, travel time, mileage, fuel costs, fuel surcharges, environmental, hazardous material handling and disposal fees, and all other fees as applicable.

| Item # | Description | Qty. | Unit | Unit Bid Price Per Job | Total Unit Price Per Year |
| --- | --- | --- | --- | --- | --- |
| 11. | Preventative Maintenance – Convention Center 2101North Oak Street POC: Bobby Marks (843-918-1245) Randy Richardson (843-918-1244) - Loading Dock Levelers – four (4) each | 2 (one every six months) | Job | $__________ | $___________ |

12.  Hourly Labor Rate for Repair Service (if requested):			$__________/Hour

13.  Hourly Labor Rate for Emergency Repairs (if requested):			$__________/Hour

(Evening Hours, All Day Saturday, All Day Sunday, City Holidays)

Please note below a not-to-exceed percentage of price increase to be considered, if needed, should the contract be renewed for additional terms:

Second Year:  __________%  Applied to first year price(s)

Third Year:	__________%  Applied to second year price(s)

Fourth Year:	__________%  Applied to third year prices(s)

Fifth Year:	__________%  Applied to fourth year prices(s)

Company Name:	____________________________________________________________

Authorized Signature:	______________________________________________________

Email Address:	____________________________________________________________

ADDITIONAL TERMS AND CONDITIONS

- Include with your bid at least three (3) references of similar products provided by your company. Telephone number and person to contact must be included for bid consideration.

| 1) | __________________________________________________________________ |
| --- | --- |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |
| 2) | __________________________________________________________________ |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |
| 3) | __________________________________________________________________ |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |

- List any exceptions to specifications:

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

City of Myrtle Beach

INSURANCE REQUIREMENTS

PUBLIC LIABILITY AND PROPERTY DAMAGE

The Contractor shall purchase and thereafter maintain for the term of this agreement, and any subsequent extensions hereto, public liability insurance to protect Contractor from claims for bodily injury and/or property damage which may result from Contractor’s performance of this agreement. The policy shall provide a combined single limit of liability of $1,000,000 per occurrence for bodily injury and property damage with an aggregated limit of not less than $1,000,000.

AUTOMOBILE LIABILITY

The Contractor shall purchase and thereafter maintain for the term of this agreement and any subsequent extensions hereto, comprehensive automobile liability insurance to protect the Contractor from claims for bodily injury and property damage which may arise from Contractor’s use of motor vehicles in the performance of this agreement. The policy shall provide for a combined single limit of $1,000,000 per occurrence for bodily injury and property damage.

WORKERS’ COMPENSATION INSURANCE

Prior to beginning the work, the Contractor shall take out full compensation insurance for all persons which may be employed directly or indirectly in the performance of this agreement, coverage is to apply to all employees for statutory limits in compliance with the applicable state and federal laws. The policy must provide Employers Liability coverage in the amount of $500,000 each accident; $500,000 bodily injury by disease each employee and $500,000 bodily injury by disease policy limit and shall be maintained in full force and effect during the term and any subsequent extensions hereto.

EXCESS LIABILITY POLICY

At the option of the Contractor, the limits of the primary general liability, automobile liability and employer’s liability policies may be less than stipulated herein, with an excess policy providing the additional limits needed. This form of coverage must be approved by the City and will only be acceptable when both the primary and excess policies include the coverage and endorsements required herein.

POLICY ENDORSEMENTS

The following requirements shall apply to the policy(s) indicated below:

- General Liability and Automobile Liability

It is understood and agreed that the City of Myrtle Beach, its officials, agents and employees are recognized as additional insured under the policy and, as such, will be provided thirty (30) days written notice by mail of non-renewal, exhaustion of aggregate limit, modification of coverage or cancellation for any reason, and the company hereby agrees to provide such notice. Failure of the company to provide the required notice shall cause the coverage to continue in force for the benefit of the City, its officials, agents and employees until proper notification, as required herein, is provided, the provisions of the policy or any Certificate of Insurance to the contrary notwithstanding.

- Workers’ Compensation

The cancellation provision is hereby amended to provide that the City of Myrtle Beach will be provided thirty (30) days written notice via mail in the event of coverage cancellation.

NOTIFICATION OF INSURANCE COMPANIES

It is the responsibility of the Contractor to notify all insurance companies to familiarize themselves with all the terms and conditions of this agreement. The insurance companies shall waive their right of notification by the City of any change or modification of this contract, or of decreased or increased work,

### INSURANCE REQUIREMENTS continued

or of the cancellation of this agreement or of any other acts by the City or its authorized employees or agents under the terms of this agreement. The waiver by the insurance companies shall in no way relieve them of their obligations under this agreement.

CERTIFICATES OF INSURANCE

Contractor shall file with the City a Certificate of Insurance, which shall be approved by the City prior to the inception of any work. Renewal certificates shall be sent to the City thirty (30) days prior to any expiration date.

INSURER LICENSING AND RATING

All insurance companies providing coverage to the City, shall be licensed to do business in the State and have an A.M. Best rating of “A-“ or better.

INSURANCE COVERAGE ADJUSTMENTS

In response to changing circumstance of loss exposures, the City reserves the right to modify the insurance coverage, limits of liability, policy endorsements and policy terms required in this contract. The City will provide written notice to the Contractor, which outlines such changes and allow Contractor a reasonable period of time in which to comply with the new requirements. However, in no event shall Contractor compliance period be longer than thirty (30) days.

COVERAGE CANCELLATION OR UNSATISFACTORY COVERAGE

If at any time any of the foregoing policies shall be or become unsatisfactory to the City, as to form or substance, or if a company issuing any such policy shall be or become unsatisfactory to the City, the Contractor shall, upon notice to that effect from the City, promptly obtain a new policy and submit the same for approval to the City. Upon failure of the Contractor to furnish, deliver and maintain the insurance coverage’s required herein, this agreement, at the sole discretion of the City, may be forthwith declared suspended, discontinued or terminated. Failure of the Contractor to take out and/or maintain any required insurance shall not relieve the Contractor from any liability under this agreement, nor shall the insurance requirements be construed to conflict with or otherwise limit the obligations of the Contractor concerning indemnification.

HOLD HARMLESS

Contractor agrees to protect, defend, indemnify and hold the City, its officers, employees and agents free and harmless from and against any and all losses, penalties, damages, settlements, cost, charges, professional fees or other expenses and liabilities of every kind and character arising out of, or relating to, any and all claims, liens, demands, obligations, actions, proceedings or causes of action of every kind in connection with or arising out of this agreement, and/or the performance hereof, that are due to the negligence of the Contractor, its officers, employees or agents. The Contractor further agrees to investigate, handle, respond to, provide defense for and defend the same at its sole expense and agrees to bear all other costs and expenses related thereto.

05/08/2012

INSURANCE REQUIREMENTS continued

### SAMPLE

| #### CERTIFICATE OF INSURANCE |  |  |  |  |  |  |  | CERTIFICATE NUMBER |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### PRODUCER Insurance Agent Name 4000 Insurance Pkwy Anytown, USA 99999 |  |  | THIS CERTIFICATE IS ISSUED AS A MATTER OF INFORMATION ONLY AND CONFERS NO RIGHTS UPON THE CERTIFICATE HOLDER OTHER THAN THOSE PROVIDED IN THE POLICY. THIS CERTIFICATE DOES NOT AMEND, EXTEND OR ALTER THE COVERAGE AFFORDED BY THE POLICIES DESCRIBED HEREIN. |  |  |  |  |  |  |
|  |  |  |  |  | ##### COMPANIES AFFORDING COVERAGE |  |  |  |  |
| ##### INSURED Bidding Firm’s Name 1000 Any Street Anytown, USA 99999 |  |  | ###### COMPANY A ABC INSURANCE COMPANY COMPANY B COMPANY C COMPANY D |  |  |  |  |  |  |
| COVERAGES-THIS CERTIFICATE SUPERCEDES AND REPLACES ANY PREVIOUSLY ISSUED CERTIFICATE FOR THE POLICY NOTED BELOW |  |  |  |  |  |  |  |  |  |
| This is to certify that policies of insurance described herein have been issued to the insured named herein for the policy indicated. Notwithstanding any requirement, term or condition of any contract or other document with respect to which the certificate may be issued or may pertain, the insurance afforded by the policies described herein is subject to all the terms, conditions and exclusions of such policies. Aggregate limits shown may have been reduced by paid claims. |  |  |  |  |  |  |  |  |  |
| CO LTR | TYPE OF INSURANCE | POLICY NUMBER |  | POLICY EFFECTIVE DATE (MM/DD/YY) |  | POLICY EXPIRATION DATE (MM/DD/YY) | LIMITS |  |  |
| A | General Liability X Commercial General Liability _ Claims Made X Occur _ Owners & Contractor’s Prot ________________ | XYZ1234 |  | 00/00/00 |  | 00/00/00 | General Aggregate Products-Comp/Op Agg Personal & Adv Injury Each Occurrence Fire Damage (any 1 fire) |  | $ 1,000,000 $ 1,000,000 $ 1,000,000 $ 1,000,000 $ 50,000 |
| A | Automobile Liability X Any Auto _ All Owned Autos _ Scheduled Autos X Hired Autos X Non-Owned Autos ________________ | XYZ1234 |  | 00/00/00 |  | 00/00/00 | Combined Single Limit Bodily Injury (Per person) Bodily Injury (Per accident) Property Damage |  | $ 1,000,000 $ $ $ |
|  | Garage Liability _ Any Auto ________________ |  |  | 00/00/00 |  | 00/00/00 | Auto Only-Ea Accident Other than auto only: Each Accident Aggregate |  | $ $ $ |
|  | Excess Liability _ Umbrella Form _ Other than Umbrella Form |  |  | 00/00/00 |  | 00/00/00 | Each Occurrence Aggregate |  | $ $ |
| A | Workers Compensation (and Employer’s Liability) The Proprietor/Partners Executive Officers Are: X Inc _ Excl | XYZ1234 |  | 00/00/00 |  | 00/00/00 | X WC Statutory Limits _ Other EL Each Accident EL Disease-Policy Ltd EL Disease-Ea Employee |  | $ 500,000 $ 500,000 $ 500,000 |
|  | Other |  |  |  |  |  |  |  |  |
| Description of Operations/Locations/Vehicles/Special Items: City of Myrtle Beach is named as additional insured with respect to General and Automobile Liability |  |  |  |  |  |  |  |  |  |
| CERTIFICATE HOLDER |  |  |  | CANCELLATION |  |  |  |  |  |
| City of Myrtle Beach Attn: Purchasing Division Drawer 2468 Myrtle Beach, SC 29578-2468 |  |  |  | Should any of the policies described herein be cancelled before the expiration date thereof, the insurer affording coverage will endeavor to mail 30 days written notice to the certificate holder named herein, but failure to mail such notice shall impose no obligation or liability of any kind upon the insurer affording coverage, its agents or representatives, or the issuer of this certificate. |  |  |  |  |  |
|  |  |  |  | ##### INSURANCE AGENT SIGNATURE |  |  |  |  |  |

BID AND SIGNATURE DOCUMENT

Bid Number: 17-B0078

The undersigned, as bidder, declare that we have examined all bid documents contained herein and will contract, thereon, with the City of Myrtle Beach (hereinafter referred to as the "City")

to do everything necessary for the fulfillment of this contract. We agree any addenda received are part of the bid documents. (If no addenda has been received, please place a zero in the space provided.)

In addition, we propose to furnish the following services in strict conformance to the bid specifications and bid invitation issued by the City of Myrtle Beach for this bid. Any exceptions are clearly noted as required.

We understand that any false statements made to meet any requirements may result in contract cancellation or initiation of action under Federal or State laws or both.

| _________________________________ Bidder-Company Name |  |  | _________________________________ Addenda Numbers Received |
| --- | --- | --- | --- |
| _________________________________ City Business License Number |  |  | _________________________________ Telephone Number |
| _________________________________ Authorized Signature |  |  | _________________________________ Fax Number |
| _________________________________ Printed Name |  |  | _________________________________ Email |
| South Carolina Sales Tax Registration No.: ___________________________________________ |  |  |  |
| If SC Sales Tax No. not supplied, please state reason: ___________________________________ |  |  |  |
| Federal Tax ID No. (FEIN): _______________________________________________________ |  |  |  |
| _________________________________ Mailing Address |  |  | ____________________ Date |
| _________________________________ City, State, Zip |  |  |
| _________________________________ Remittance Address (If different from mailing address) |  |  |  |  |
| _________________________________ City, State, Zip |  |  |  |  |

|  | CITY OF MYRTLE BEACH LOCAL VENDOR PREFERENCE TO QUALIFY FOR LOCAL PREFERENCE FORM MUST BE SUBMITTED WITH BID |
| --- | --- |
| First in Service |  |

APPLICATION OF ELIGIBILITY TO QUALIFY FOR LOCAL VENDOR PREFERENCE WITHIN THE DEFINED BOUNDARIES: MYRTLE BEACH CITY LIMITS, HORRY COUNTY, NESA AREA (NESA area is comprised of Horry, Georgetown, Williamsburg, Florence, Marion, Darlington, Dillon, Chesterfield, and Marlboro Counties).

| City of Myrtle Beach Business License: (To qualify for Local Vendor Preference vendor must have had a City of Myrtle Beach Business License a minimum of ninety (90) days prior to the request for bid/ proposal being made public) |  |  |
| --- | --- | --- |
| City of MB Business License Number: ______________ *NOT Horry County License Number | Date issued: ______________ |

Complete all areas below. Incomplete forms may be rejected.

| 1. | LEGAL NAME OF BUSINESS: |  |  | __________________________________________ |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mailing Address: |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |  |
|  | Physical Address: (To qualify vendor must have maintained a physical address and office as a principal place of business within the defined boundaries of the category sought for at least one (1) year, and during that time have had a majority of full-time employees, chief officers and managers regularly conducting work and business from this office.) |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |  |
| 2. | Year business was established in the City of Myrtle Beach / Horry County / NESA area: |  |  |  |  |  |  |  |  |  |  |
|  | Year: | ______________ |  |  |  |  | County: |  | ______________ |  |  |
|  |  |  |  |  | (Name of County) |  |  |  |  |  |  |
| ************************************************************************************ |  |  |  |  |  |  |  |  |  |  |  |  |
| Under penalty of perjury, the undersigned states that the foregoing statements are true and correct. The undersigned also acknowledges that any person, firm, corporation or entity intentionally submitting false information to the City in an attempt to qualify for local preference shall be prohibited from bidding on City of Myrtle Beach products and services for a period of one (1) year. |  |  |  |  |  |  |  |  |  |  |  |
| Authorized Signature: |  |  | ____________________________________ |  |  |  |  |  |  | Date: | ______________ |
| Printed Name & Title: |  |  | ____________________________________ |  |  |  |  |  |  | Phone: | ______________ |

LOCAL VENDOR PREFERENCE continued

| Bid Amount | Within City Limits | Within Horry County | Within NESA Area |
| --- | --- | --- | --- |
| Up to $5000.00 | 5% of Bid | 4% of Bid | 3% of Bid |
| $5001.00 to $10,000.00 | $250.00 plus 4% of amount between $5001.00 and $10,000.00 | $200.00 plus 3% of amount between $5001.00 and $10,000.00 | $150.00 plus 2% of amount between $5001.00 and $10,000.00 |
| $10,001.00 and up | $450.00 plus 3% of amount above $10,000.00 with the maxium being $2000.00, including the $450.00 | $400.00 plus 2% of amount above $10,000.00 with the maxium being $1800.00, including the $400.00 | $300.00 plus 1% of amount above $10,000.00 with the maxium being $1600.00, including the $300.00 |

If company/individual performs services on City property a Certificate of Insurance must be provided prior to commencement of work meeting requirements of the City.

The vendor must submit this copy of the Local Vendor Preference Certificate with their bid.

An eligible business shall maintain such status throughout the term of any contract with the City. Failure to maintain such status or to keep current on all fees and taxes owed the City shall be grounds to terminate the contract.