SCOPE OF WORK

Waste Services Department

Fire System and Security Alarm Inspections, Maintenance and Monitoring

Programs Div. FY 21-22.02

September 3, 2021 through September 15, 2021

Vendors,

It's that time of year to request bids for fire system and security alarm inspections, maintenance and monitoring at the Perdido Landfill and Palafox Transfer Station for the Escambia Co. Waste Services Dept. for FY 21-22 (10/1/21 - 9/30/22).  We need to address the following:

Perdido Landfill

Fire System Inspection Bid Items

- Sprinkler System at HHW

- Fire Pump

- Fire Alarm Control Panel (Pump House and HHW)

- Hydrant Testing

- Backflow Preventer Testing

- HHW Dry Chemical System

- Admin and Garage Detection Systems

- Hourly rate for non-inspection repair and maintenance service calls

Fire and Security Monitoring

- Monitor Fire System Panel

- Monitor Security Alarm Accounts:

- Admin Bldg.

- Operations Garage

- Scale House

- Warehouse

Palafox Transfer Station (PTS)

Fire System Inspection Bid Items

- Sprinkler System

- Control Room (Riser, Air Compressor, etc.)

- Fire Alarm Control Panel

- Hydrant Testing

- Backflow Preventer Testing

- Hourly rate for non-inspection repair and maintenance service calls

Fire and Security Monitoring

- Monitor Fire System Panel

- Monitor Security Alarm Account at Scale House

Please contact Jim Howes at jhowes@myescambia.com for questions concerning this bid.