CRA HOUSING REPAIR

ESCAMBIA COUNTY

	OWNER:
	CRA
	
	JOB #:
	CRA-1209-11-4-22

	ADDRESS:
	1209 W. Bobe St
	
	DATE PREPARED:
	12-05-2022

	
	Pensacola, Florida 325
	
	OPENING DATE:
	12-05-2022

	PHONE: 
	
	
	CLOSING DATE:
	12-16-2022

	
	
	
	CLOSING TIME:
	17:00 p.m.


I/(we) certify that I/(we) have carefully examined the CRA Repair Specifications and Contractor Requirements related to the above referenced job, as furnished by Escambia County, and I/(we) have also examined the site on which the proposed work is to be performed. On the basis of these examinations, I (we) propose to furnish all materials, tools, machinery and labor necessary to complete the work in a professional, workmanship manner and to complete the work at the prices listed.

	$
	
	

	TOTAL JOB COST
	
	CONTRACTOR’S SIGNATURE

	
	
	
	

	
	
	
	TITLE

	
	
	
	

	BID OPENING DATE:
	
	
	FIRM

	 FORMCHECKBOX 
 ACCEPTED
	 FORMCHECKBOX 
 REJECTED
	
	

	
	
	
	FIRM PHONE NUMBER

	
	
	
	

	BID COMMITTEE REPRESENTATIVE
	
	


REQUIRED PERMITS AND INSPECTIONS                                                                             
All measurements are for reference only and should be confirmed by the bidder

Mandatory on Site Pre-Bid Conference: Friday, December 9, 2022 at 9:00 a.m.
INSTRUCTIONS TO BIDDERS
Complete and submit COVER SHEET AND ALL NUMBERED PAGES OF SPECIFICATIONS with signature of Contractor, bid price, and itemized pricing. Bid submissions will be accepted online via Vendor Registry. NO hand delivered, email or fax submissions will be accepted. All bids must be received by the published deadline.
The bids will be opened by the Bid Committee and bid will be awarded to the lowest most responsive and responsible bidder for the total cost of the Project. Bids $25,000 or over must be approved by the Board of County Commissioners prior to award of contract. This bid opening will be held December 19 , 2022 at 9:30 p.m. at 221 Palafox Place, Suite 320 Pensacola, FL 32502. All interested members of the public are invited to attend. Should the total cost of the Project exceed available funds, itemized pricing may be used for negotiation of the individual components of the Project or specific components may be deleted to maintain budgetary restrictions. 
Labor, overhead, permits, insurance, and profit must be included into each itemized price and not listed as a separate itemized price or listed under “miscellaneous.” Non-compliance will result in rejection of bid.

All repair work performed must be inspected (rough and final) and conform to County Ordinances, State Laws, and Florida Building Code.

The Contractor is responsible for proper reattachment/hook-up of any/all of the following that apply: appliances, existing coaxial cable, telephone and interface, electric, water, and sewage.

PAYMENT SCHEDULE

Payment will be lump sum at project completion for bids $15,000.00 and under.  For bids over $15,000.00, contractor will be eligible for a 40% draw once all required permit applications are in place and 50% of the work is completed as determined by the itemized costs for the job.

The Contractor will be eligible for Final Payment after the following conditions have been fulfilled:


Completion of Write-Up



Inspection/Sign-off by Building Inspections and/or Health Department



Acceptance by the Homeowner (Homeowner’s Release & Warranty) 



Warranty Paper provided to the Homeowner 



Premises free from all construction debris



Submission of RRP Checklist Form (if applicable) & Contractor’s Final Affidavit


Original Invoice from Contractor
                       Surety’s Consent to Final Payment (if applicable)
COMPLETION DATE

There is a One hundred twenty (120) day time limit on each rehabilitation job. For every day worked in excess of the One hundred twenty day contract period, liquidated damages of SEVENTY-FIVE DOLLAR ($75.00) per day will be assessed.

ESCAMBIA COUNTY COMMUNITY REDEVELOPMENT AGENCY
HOUSING REPAIR PROGRAMS

CONTRACTOR REQUIREMENTS

If your firm is awarded the bid for housing repair ,the following items must be current and on file in order to issue a Purchase Order. 


*Current W9 (less than one year old).

*County Vendor Information sheet (less than one year old).

*Worker’s Compensation as required by State Law OR exemption form.


*Commercial General Liability ($1,000,000 coverage) listing Escambia County as 
Certificate Holder and additional insured. 

*Automobile Liability ($1,000,000 coverage) listing Escambia County as Certificate 
Holder and additional insured. 

GL and Auto Liability Certificates must state the following under the Additional Interest: 

Escambia County

C/O Neighborhood & Human Services
221 Palafox Place 

Suite 320
Pensacola, FL 32502-5844
All correspondence should be directed to Community Redevelopment Agency, 221 Palafox Place, Suite 320, Pensacola, FL 32502 for review.






*For jobs valued at $25,000 or higher, 100% Performance and Payment Bonds will be required. Performance and Payment Bond format will be provided. 

Contractor will be responsible for the recording of all bonds with Pam Childers, Clerk of The Circuit Court of Escambia County Florida.
Refer to BCC Office of Purchasing Risk Management Guidelines Procedure No: PP-180 (Performance and Payment Bonds) and PP-185 (Risk Management Guidelines) for further details. [http://www.myescambia.com/business/purchasing-policies-and-procedures]
Additionally, Neighborhood Enterprise Division will maintain the following info in the Contractor’s file:


*Contractor may not be federally debarred from participating in programs as per 
www.sam.gov 

*State registered or State Certified Contractor License

*Escambia County Competency Board License

*Escambia County Business/Occupational License 

*EPA RRP Renovator and Firm Certifications

Firms bidding on Lead Based Paint Abatement jobs must also submit proof of Lead Abatement firm certification.    

All information must be current at time of award. IF INFORMATION CANNOT BE PRODUCED IN A TIMELY MANNER, THE COUNTY RESERVES THE RIGHT TO AWARD THE BID TO THE NEXT MOST RESPONSIVE BIDDER.
CRA Housing Repair Specifications
1209 W. Bobe Street 
                                                                                                    Pensacola, FL 
PAGE 1
PROJECT SCOPE OVERVIEW:
Rehabilitation of a single-family residence to make homes safe and sanitary within the provisions of federal and state laws, county ordinances and the CRA repair program. Rehabilitation of the home will include the following tasks as outlined below. If additional tasks beyond those included in the bid are discovered, then additional funds may be allocated for additional tasks pending written approval from the county. There is no federal funding on this project. 

*The Homeowner will have the following sample choices, where applicable:
1. Shingles Color -1 choice

2. Interior Trim, Semi-Gloss Latex-1 choice

3. Interior Walls, Eggshell Latex-1 choice

4. Vinyl floor color-1 choice
ROOFING:
Remove existing roof covering to the decking and replace any deteriorated or damaged decking with like, kind and quality of existing materials. Repair or replace any damaged roof framing to include rafter tails, rafters, and barge rafters. Refasten and certify decking attachment as per Escambia County Building Code. Install a peel and stick underlayment water barrier as per Escambia County Building Code. Replace existing drip edge with new metal drip edge. Install 30-year shingle roof on main roof as per manufacturer’s specifications. Install a self-adhering modified bitumen roof system to any low sloped areas as per Escambia County Building Code. Install new slant-back vents. Replace gas vent caps and flashing as required. Replace all boots with new lead or EPDM and metal boots. Install new shingle over ridge vent as per Escambia County Building Code. Budget 200 square feet of decking replacement. Trim any trees over hanging roof to clear roof by approximately 10’ and remove all debris from site.
Roof total $____________ 

EXTERIOR REPAIRS:

Replace the rotten wood around the fascia and Soffit. Install vinyl siding over the gable ends of home. Install new metal soffit vents. Add a new 3’x3’ concrete pad outside of the side door. Paint the exterior and interior of the home per CRA’s color selection.
Exterior total $_________________
MECHANICAL: 

Install new hvac system, including the condenser and handler as per Escambia County code. The existing ductwork is said to be in good working condition, inspect and confirm. Return air grill is to be removable filter type with filter installed. New register vents will also be needed. This unit must meet state energy efficiency rating guidelines. Install a new digital thermostat control. Mechanical Contractor to provide CRA with a Manual J to support unit size installed. This unit is currently a heater only system and may be able to be retro-fitted with a cooling system.
Mechanical total $______________

CRA HOUSING REPAIR SPECIFICATIONS
1209 W. Bobe Street

Pensacola, FL

Page 2

ELECTRICAL:                                                                                                                
Inspect the electrical wiring and confirm that it to the national electrical code as per Escambia County Electrical Inspection Department. This may require additional switches and outlets to be added if existing space does not meet code requirements. All smoke detectors shall be hardwired with battery back-up as required per Escambia County Code. All damaged receptacles, switches and cover plates shall be new devices. All existing and new appliances will have new pigtails installed to match new receptacles. All fixtures shall be LED or have led light bulbs installed. Repair drywall damage from rewiring. New ceiling fans will be required, a separate switch is required to operate the fan and light kit at all locations where are fans installed. Install two new flood lights to each opposing corners of the home. Install a new doorbell with a new button at entry.  

Electrical total $_______________

PLUMBING:
Replace fresh water supply lines going to fixtures and appliances, also to include two ¼ turn sill cocks on exterior of home as required as per Escambia County Code. Main supply line from meter to house is to be replaced if required with 160 psi PVC pipe. Install new washer box as per Escambia County Code. Install new ice maker line and box if needed as per Escambia County Code. Install a new kitchen sink and faucet. Install new vanity sink with faucets with pop up drains. Install new shower/tub faucet with valve. Install a new tub and shower liner in bathroom. Install a new comfort height toilet with a new seat in bathroom. Install a new floor flange if needed. Install a new mirror, towel bar, a shower rod and new toilet paper holder. Install all new ¼ turn brass valves on fixtures as required per Escambia County Code. Install new braided supply lines to toilet, vanity, and kitchen sink. Install a new 40-gallon electric hot water heater.                                                                                                                          

Plumbing total $_____________

WINDOWS:
Replace the existing (12) windows with new single-hung vinyl windows. These units are to be complete with trims, impact ratings, screens and low-e glass.
Windows total $_____________

EXTERIOR DOORS:
Replace front and side entry door units with hurricane rated metal clad insulated 6 panel door units with thresholds, weather stripping, trim, caulk and painted. Entry doors are to have a peep holes. Install new dead bolts and lock sets that are keyed alike on all new exterior door units.  

Exterior doors total $_____________

FLOORING:

Remove all of the existing flooring and install a LVP on a floating membrane. Install wood base and shoe molding or 1/4 round.

Flooring total $__________________
CRA HOUSING REPAIR SPECIFICATIONS
1209 W. Bobe Street

Pensacola, FL

Page 3

CABINETRY:
We will be keeping the cabinets in kitchen and bathroom. Please clean and paint the interior and exterior of these cabinets, leaving the drawers boxes unfinished. Install approximately 18 linear feet of new standard grade post formed countertop with an incorporated back splash and cap all ends in the kitchen and bathroom. CRA is to be selecting the color. Install new knobs and pulls on new cabinets with CRA selecting the style. 
Cabinetry total $_______________
INTERIOR DOORS:

Remove existing damaged door unit with matching 6 panel doors. Reinstall the closet doors and replace any that are found to be damaged. Finish new doors to match existing doors as close as possible. Raise the header to the laundry room and reframe, adding a new door. Install new door hardware matching the new exterior doors.

Interior door total $__________________
INTERIOR WALLS and CEILINGS:                                                                                                                       

Repair all drywall surfaces that are damaged and due to code up-grades and existing surfaces that are damaged or incomplete. Repaired areas are to match as close as possible to existing with; drywall, tape, mud, texture and paint.

Interior wall and ceiling repairs total $______________

TOTAL REHABILITATION COST: $_______________________




                            (TO FRONT COVER)

