Introduction
The Escambia County Waste Services Department (ECWSD) is seeking costs for rental of an evaporation system.  ECWSD is seeking to perform an up to 3-month pilot study in which the evaporator will be utilized in a stormwater pond located at Perdido Landfill.
Scope of Work
ECWSD is seeking a land-based skid or trailer evaporator system complete with PLC control systems.  Control systems should be able to manage both pump and evaporator start up in addition to monitoring wind direction, wind high speed shut down, wind low speed start-up, loss of pressure, data logging as well as runtime totalizers.  The evaporator unit should also be able to easily adjust direction and angle in order to optimize plume control and evaporation efficiency.  There is no power supply in the area of the stormwater pond; therefore, ECWSD will be responsible for renting a generator based on the specs provided by the selected evaporator rental company.
ECWSD goal is to select and rent an evaporator unit capable of up to 45,000 gallons per day at a pump rate of at least 150 gallons per minute, understanding that evaporation rates will vary based on weather conditions.  Any maintenance or replacement parts above and beyond the normal daily operation should be included during the up to 3-month rental.



