Pre-Bid Meeting 23-007

Questions & Answers

- How many CPU’s per console?  5 – three 24” over two 34” monitors

- Option pricing on:

  - Optional environmental heating

  - Monitor mounting system

  - KVM – mouse & mics

  - Grounding on work stations

  - Removal of old furniture.

  - Case work for printer storage

  - Table/island optional file storage under table

- Do you want height adjustment?  Yes, electronic push button height adjustable (dual surface height adjustable), no chairs included in bid

- Do you want the PC’s enclosed?  Yes, with accessibility for maintenance/technician

- Environmental controls?   Yes, cooling & task lighting (Option: heating)

- Monitor mounting system?  We currently purchased a mounting system that we will use but will entertain as an option

- Do you want sound barrier?  Yes, fabric & acoustical materials

- Do you want cable management?  Yes, extension cables to monitors

- Use KVM for PC’s mouse and mics?  Please add as an option

- Storage?  Would like storage for purse/lunch, need cabinet and a drawer, needs to lock

- Any filing capabilities?  Needs a filing drawer

- Grounding on work stations?  Optional

- Changing over to new furniture?  Will need 3 stations working at all times, we will start and shift operators as furniture is set-up.  No new flooring is going in, assembly will need to be outside of the space as much as possible.  Coordinate with Georgia Two way for movement of wiring.

- Removal of old?  Please make an option, we are unsure at this time how we will handle.

- Communal storage?  Optional – case work for printer storage.

- Include – table/island with optional storage (seated height)