Request for Bid – Fairview Muletown Restroom Renovation

Solicitation # 444-0119-15

January 4, 2019

Introduction

Sealed bids, subject to the specifications and conditions contained herein and attached hereto, will be received in the City Manager’s Office, City Hall, until, but no later than 2:00 P.M.CST , January  28, 2018, and then publicly opened and read aloud for Restroom Renovation.

If you are an individual with a disability and require a reasonable accommodation or have additional questions regarding this invitation, please notify the Assistant Finance Director, Danny King at (931) 560-1580.

No bid may be withdrawn after the scheduled closing time for receipt of bids for sixty (60) calendar days.

If you are an individual with a disability and require a reasonable accommodation or have additional questions regarding this invitation, please notify the Assistant Finance Director, Danny King at (931) 560-1576.

Bid Instructions

- The bid sheet as supplied herein must be signed by an individual with the authority to bind the firm.

- The bid must be accompanied by a signed Iran Divestment Statement

- All documents shall be returned to Purchasing Agent, City Manager’s Office, City Hall, 700 North Garden St., Columbia, TN 38401.

- Bidders are requested register as a vendor using a link to Vendor Registry found on the City’s website under the Finance Department/Purchasing page. Bidders may also request a printed vendor application by calling 931-560-1576.

Bid Envelope

Bid envelopes shall conform to the requirements of TCA 62-6-119 whereby the following information shall appear on the outside of the bid envelope if the bid amount equals or exceeds $25,000.00.:

# Project title. Fairview Renovations

Bidder's name and address.

Bidder's Tennessee Contractor’s  License Number.

Bidder's License Expiration Date.

Bidder's License Classification.

Time is of the essence and any proposal received after the announced time and date for submittal, whether by mail or otherwise, will be rejected. The time of receipt shall be determined by the City Manager’s Office. Proposers are responsible for ensuring that their proposals are stamped by City Manager’s Office personnel before the deadline indicated. Late proposals received will be so noted in the file and the proposal will be returned unopened. Faxed or e-mailed proposals will not be accepted.

Nothing herein is intended to exclude any responsible vendor, his product or service or in any way restrain or restrict competition. On the contrary, all responsible vendors are encouraged to offer a proposal. The City of Columbia is compliant with Title VI of the 1964 Civil Rights Act and as a result does not discriminate on the grounds of race, color or national origin nor does it excluded from participation in, or denies the benefit of any program or activity receiving federal financial assistance.

All costs of preparing and delivering a proposal shall be the responsibility of the bidder.

Scope of the Project:

The restroom / concession facility known as Muletown baseball requires renovation and modifications to comply with current ADA standards. The work will be limited to the men’s and women’s restroom portion of the building. Nothing is being done to the concession area of the building. All work shall be consistent with general industry standards as to workmanship and in accordance with specifications as contained herein.

2. GENERAL CONDITIONS

1.	Acceptance of Bids: The City of Columbia reserves the right to reject any and all bids, to waive any informal technicalities or defects, the scope and nature of which it shall be the sole judge, in any bid, insofar as such technicality or defects do not legally, materially or substantially change such bid. The said City, unless otherwise specified by the bidder, reserves the right to accept any item on bid.

If the bidder fails to state the time within which a bid must be accepted, it is understood and agreed that said City shall have ninety (90) days from bid 	opening date in which to accept bid.

- Error in Bid: In case of error in the extension prices in the bid, the unit price governs. No bid shall be altered, amended or withdraw, unless the acceptance date has expired, after the opening date of bids. Negligence on the part of the bidder in preparing the bid confers no right for withdrawal of the bid after it has been opened.

- Discount Period: Time in connection with discount offered will be computed from   the date of delivery, or from the date correct invoices are received, whichever date is later. Discount other than “Time Discounts” shall be shown on the face of the proposal sheet under “Terms”.

- Sample of Materials: Samples of items, when requested, must be furnished free of expense to the City, at the time bids are opened or later if such are called for after the bids have been opened, and if such samples are not destroyed in the process of sampling, they will be returned at the bidder’s expense.

- Signatures on Bids: Each bid must contain the full name and business address of the bidder. Any person signing a proposal sheet for himself or as agent, employee or officer of another must show his title and, if requested by the City shall furnish proof of his authority to make such proposal.

- Alternate Bids: Alternate bids will be considered proving such items that appear on such bids meet specifications. Where equivalent items are bid upon, said City reserves the sole right in determining whether they meet specifications.

- Proposal Sheets: Bidders shall use the proposal sheets furnished by the City. Failure to submit this sheet as required shall render the proposal invalid. Proposal sheets must contain prices on per unit and aggregate basis and the total amount of the bid must be stated on the proposal sheet.

- Federal or State Sales, Excise or Use Tax: Every bid shall separately state and set forth, therein the amount of any and all Federal and State sales, excise or use taxes included in the bid prices. If any such taxes are included in the prices bid, the City reserves the right in making the award to deduct any amount of such taxes thereof. Where labor is required, the bidder shall state separately the amount of labor and materials.

- Delivery: The number of calendar days in which delivery will be made after contract is executed and purchase order placed shall be stated in the bid. When the bidder states no time delivery, it is understood and agreed that delivery is to be made within fifteen (15) days after receipt of order, unless otherwise stated in the specifications.

- Compliance: Contractor shall abide by all federal, state and local laws and statues and obtain all permits required in number seventeen (17) of these conditions.

- Specifications: It is understood that reference to attached specifications shall be sufficient to make the terms of such specifications binding on the contractor. In some instances, the name of the manufacturer, a special brand, or make of an item is used in describing the item or items desired; but this does not restrict the bidder to that manufacturer or specific article, this means being used simply to indicate the character or quality of the article or service desired; but the articles or service on which the proposal are submitted must be equal to that specified, and a statement to that effect shall be made a part of the proposal. Where conflict occurs between the requirement or the General Conditions and the specifications, the requirements of the specifications will govern.

- Inspection: Final inspection and acceptance or rejection will be made at the time of delivery, but all products and workmanship shall be subject to inspection and test at all times and places. The right is reserved to reject articles that contain defective material and workmanship. Rejected materials shall be removed by and at the expense of the contractor promptly after notification of rejection. The City shall not be obligated to pay the full price for any items that do not meet specifications; however, payment may be made at a proper reduction in price.

- Bid Opening: Bids may be mailed or delivered to the Administrative Secretary in the City Manager’s Office of the City of Columbia, Tennessee. All bids will be opened and publicly read at a time specified on the Proposal Sheet. Bids received after the specified time for opening, as shown on the invitation to bid, will not be accepted.

- Cancellation: The City reserves the right to cancel an accepted bid or contract in whole or in part due to nonperformance or defective products.

- Permit Requirements: Successful bidder will be responsible for securing any necessary permits for complying with all required inspections whether local state or federal.

- Multi-Year Contracts: The City reserves the right to enter into multi –year contracts and further has the right to terminate multi year contracts due to non-appropriation of funds.

- Financial Statements: Financial statements will be submitted upon request.

- Term of Payment: Payment will be made in full after the satisfactory receipt of goods, materials, supplies, and equipment. Payment will be made in full upon satisfactory completion of all contractual services, public improvements and/or construction. Executed contracts must specifically state if there is any partial payment or other deviation from this method of payment.

- Complaints – Vendors

Vendors shall have the right to present a complaint, dispute or grievance concerning unfair treatment, contracts, deliveries, payments, restrictions, and other incidents. The following steps are intended to provide uniform procedures for a vendor to express a problem and obtain remedy.

  - Step One  - Vendor must file a grievance with the Purchasing Agent no later than seven (7) calendar days after the occurrence of the dispute or incident. The complaint must be in writing and include all supporting data and desired solution or remedy. The Purchasing Agent will forward a copy of  the complaint with the user department who shall  provide a written reply within thirty (30) days to the Purchasing Agent who will review the response and if agreement forward the decision to the vendor.

  - Step Two – If the vendor is not satisfied with the Purchasing Agent’s response, the vendor may appeal in writing to the City Manager within 10 day from the date of the Purchasing Agent’s response, who shall with the advice of the Purchasing Agent and/or City Attorney, make a written determination to all parties involved. The City Manager’s decision shall be final.

General Requirements and Specifications:

Men’s Restroom

Demolition

- Remove all existing fixtures, stall partitions , lighting fixtures

Painting

- Walls and Ceiling

  - Proper cleaning and preparation

  - Sherwin Williams Pro Industrial Pre-Catalyzed Water Based Epoxy or equivalent – Color to match existing walls

- Floor with

  - Proper cleaning and preparation

- Sherwin Williams Pro Industrial Pre-Catalyzed Water Based Epoxy or equivalent – Color to match existing floor

- Doors with

  - Proper cleaning and preparation

  - Sherwin Williams Pro Industrial Pre-Catalyzed Water Based Epoxy or equivalent-  Color to match building exterior trim Fill all holes in wall , sand and paint to match wall

Lighting

- Flush Mount Led of Similar Length

Lavatory

- Furnish & Install 2 ADA compliant ceramic Lavatories & ADA Compliant Faucets

  - 17 “ projection from wall

  - 29” from floor to bottom of sink basin

  - Commercial grade chrome lever handle faucets

Toilets

- One white ADA Compliant ceramic toilet Stall – 60 “ wide x 48” deep

- ADA Complaint toilet – seat height 17-19 “ above floor , installed with center line of toilet 16-18” from side wall. flush lever to open side of stall

- ADA grab bar mounted behind toilet and on nearest side wall – 34-38” above the floor , 1 ¼” -1 ½” in diameter, stainless steel

Urinal

- One white ceramic urinal centered on open wall between ADA stall and wall

Exterior Door

- Paint both sides of door to match existing trim paint on exterior of facility

- Install commercial door closure on interior of the door.

- Install new push plate on exterior of the door

- Install new door handle on interior of the door

Women’s Restroom

Demolition

- Remove all existing fixtures, stall partitions , lighting fixtures and exterior door

Painting

- Walls and Ceiling

  - Proper cleaning and preparation

  - Sherwin Williams Pro Industrial Pre-Catalyzed Water Based Epoxy or equivalent – Color to match existing walls

- Floor

  - Proper cleaning and preparation

- Sherwin Williams Pro Industrial Pre-Catalyzed Water Based Epoxy or equivalent – Color to match existing floor

- Doors

  - Proper cleaning and preparation

  - Sherwin Williams Pro Industrial Pre-Catalyzed Water Based Epoxy or equivalent-  Color to match building exterior trim

- Fill all holes in wall , sand and paint to match wall

Lighting

1. Flush mount Led of similar length and size

Lavatory

- Furnish & Install 2 ADA compliant ceramic Lavatories & ADA Compliant Faucets

    - 17 “ projection from wall

    - 29” from floor to bottom of sink basin

    - Commercial grade chrome lever handle faucets

Toilets

- One white ADA Compliant ceramic toilet – seat height 17-19 “ above floor , installed with center line of toilet 16-18” from side wall. flush lever to open side of stall

- ADA Stall – 60 “ wide x 48” deep

- Non ADA Complaint toilet - seat height 17-19 “ above floor

- Non ADA Stall – 36 “ x 48”

- ADA grab bar mounted behind toilets and on nearest side wall – 34-38” above the floor , 1 ¼” -1 ½” in diameter, stainless steel

Exterior Door

- One Commercial grade flush steel exterior door painted on both sides of door to match existing trim paint on exterior of facility.

a.Sherwin Williams Pro Industrial Pre-Catalyzed Water Based Epoxy or   equivalent-  Color to match building exterior trim

- Install commercial door closure on interior of the door.

- Install new push plate on exterior of the door

- Install new door handle on interior of the door

Facility Access and Timeline:

Contractor shall have unrestricted access to the facility and shall have all work completed within 45 days.

Cleanup and Safety

Contractor shall be responsible for cleanup and removal of all construction and demolition debris.

Insurance

The awarded vendor shall purchase and maintain in force, at his own expense, such insurance as will protect him and the City from claims which may arise out of or result from the Vendor’s execution of the work, whether such execution be by himself, his employees, agents, subcontractors, or by anyone for whose acts any of them may be liable. The insurance coverage shall be such as to fully protect the Owner, the City and the general public from any and all claims for injury and damage resulting by any actions on the part of the vendor or his forces as enumerated above. The vendor shall furnish, if requested, a copy of an original Certificate of Insurance, naming City of Columbia as an additional insured. Should any of the policies be cancelled before the expiration date, the issuing company will mail 30 days written notice to the certificate holder. The vendor shall furnish insurance in satisfactory limits, and on forms and of companies that are acceptable to the City of Columbia and shall require and show evidence of insurance coverage on behalf of any subcontractors (if applicable), before entering into any agreement to sublet any part of the work to be done as a result of awarding this bid.

The following insurance requirements are the minimum that will be acceptable:

1. Worker’s Compensation Insurance – State statutory limits.

2. Commercial General Liability - Including products and completed operations coverage and contractual liability on the amount of $1,000,000 CSL (combined single limit).

3. Automobile Insurance - Commercial Automobile Liability including owned, non-owned and hired car in the amount of $1,000,000 CSL.

Payment

Payment shall be made in full upon successful completion and inspection of all work.

City of Columbia – Invitation to Bid  - Fairview Muletown Restroom Renovation

Solicitation # 444-0119-15

Lump sum bid for labor and material  $__________________________________________

- Have you inspected the work site?  Yes ___ No ____

- Can you furnish proof of insurance as required ? Yes ____  No _____

- Are you able to perform the all services as required? Yes ___ No____

If No , please explain on separately attached sheet.

In compliance with this Invitation to Bid for Fairview Muletown Restroom Renovation and subject to all conditions thereof, the undersigned offers and agrees to furnish any or all items and/or services upon which prices are quoted, at the price quoted as specified. My signature certifies that the accompanying bid is not the result of or affected by, any act of collusion with another person or company engaged in the same line of business or commerce, or any act of fraud punishable under the Laws of the State of Tennessee or the United States. Furthermore, I understand that fraudulent and collusive bidding is a crime and can result in fines, prison sentences, and civil damage awards. I hereby certify that I am authorized to sign this bid for the bidder.

Vendor: _________________________________________________________

Signature: _______________________________________________________

Date: __________________________   Phone: ___________________________

IRAN DIVESTMENT ACT DISCLOSURE

# Invitation to Bid – Fairview Muletown Restroom Renovation

# Solicitation # 444-0119-15

By submission of this bid, I certifies, under penalty of perjury, that to the best of its knowledge and belief that the bidder nor any subcontractors have engaged in an investment activity in Iran and that the bidder nor any subcontractor is on a list of firms identified by the State of Tennessee pursuant to Tennessee Code Annotated § 12-12-106 as of the date of submission of this bid as having engaged in investment activities in Iran.

Vendor Name:  _______________________________________________________________________

Vendor Signature: ____________________________________________________________________

Date: ______________________