ADDENDUM NO 01

APRIL 10, 2019

ISSUED BY	ISSUED FOR

Henderson Engineers, Inc.	Platte County R-3 School District

8345 Lenexa Dr.	998 Platte Falls Road

Lenexa, KS 66214	Platte City, MO 64079

NOTICE TO ALL BIDDERS FOR THE

Wilson Aud. Upgrades – Ph. 1 Project Location

You are instructed to read and to note the following described changes, corrections, clarifications, omissions, deletions, additions, approvals, and statements pertinent to the Contract Bid and Construction Documents.

This addendum is part of the Contract Bid and Construction Documents and shall govern in the performance of the Work.

### SPECIFICATIONS

- Notice to Bidders

  - Revised the description of work to match the scope of the project.

- Instructions to Bidders

  - Revised the substantial completion date.

Notice to Bidders

The Platte County R-3 School District wishes to obtain bids for the first phase of AV upgrades for Wilson Auditorium.

The Platte County R-3 School District will receive sealed proposals from Bidders until Thursday, May 2, 2019, at 2 p.m., at which time, the bids received will be opened. The Platte County R-3 School District reserves the right to reject any or all bids and to waive informalities or irregularities in bids.

Each sealed bid shall contain Bid Proposal, e-Verify and Bidders Qualification; forms for each are attached to this RFP.

##### Bids shall be in sealed envelopes labeled:

##### Platte County R-3 School District Wilson Auditorium AV Upgrades – Phase 1

##### Mr. Jay Harris Executive Director of Operations Platte County R-3 School District

##### 998 Platte Falls Road Platte City, MO 64079

Bids received after the time and date above specified shall be returned, unopened, to the Bidder.

Any questions related to this RFP or bid requirements, please contact: Mr. Jay Harris

816.858.5420

harrisj@platteco.k12.mo.us

Instructions to Bidders

PROPOSALS:  All proposals must be made on the forms provided herein. All proposals must be legibly written. No alterations in proposals or in the printed forms will be acceptable unless each alteration is signed by the Bidder. No alterations or physical changes shall be made by anyone, in any bid, after its submission by the Bidder.

SIGNATURE OF BIDDERS: Each Bidder shall sign a proposal, using the customary name under which the Bidder does business, utilizing the customary signatures of an authorized representative, and providing a full business address, including identity of any registered or local agent.

WITHDRAWAL OF BID: A Bidder may withdraw its proposal at any time prior to the expiration of the time and date during which proposals may be submitted, by written request submitted by the Bidder to the Platte County R-3 School District. A Bidder may correct any mistakes in its bid by submitting a written request to the Platte County R-3 School District, provided the written request is made and the bid is corrected and resubmitted prior to the expiration of the time and date during which proposals may be submitted.

BID PROPOSAL INSTRUCTIONS: A Bidder shall submit a completed Bid Proposal Form. Each project is identified on the Bid Proposal Form.

INSURANCE: Contractor shall provide certificates of insurance and renewals thereof on standard ACORD forms. This inclusion shall not make the Platte County R-3 School District a partner or joint venture with the Contractor in its operations hereunder. The School District shall be notified by receipt of written notice from the insurer at least thirty (30) days prior to material modification or cancellation of any policy listed in the certificate.

Contractor will provide the School District with proof of liability insurance in the minimum amount of $1,000,000.00 listing Platte County R-3 Schools as additionally insured.

Contractors will also provide proof of Worker’s Compensation insurance in the minimum amount of $500,000.00 listing Platte County R-3 Schools as additionally insured.

EXCEPTIONS: The bidder shall furnish a statement on company letterhead giving a complete description of any exception to the terms, conditions, and specifications. Failure to furnish the statement will mean that the bidder agrees to meet all requirements of the Request for Proposal.

RESPONSIBILITY OF CONTRACTOR: The Contractor shall furnish all labor, transportation, tools, equipment, machinery, and all suitable appliances, requisite for execution of this agreement and shall be solely answerable for the same and for the safe, proper, and lawful construction, maintenance, and use thereof. Contractor shall be solely answerable for all damage to any Platte County R-3 School District property, to other contractors or other employees of the School District, to the neighboring premises, or to

any private or personal property, due to improper, illegal, or negligent conduct of itself or its subcontractors, employees, or agents in and about said work, or in the execution of the work covered by this agreement, or any extra work undertaken as herein provided.

Contractor shall not assign this agreement. The agreement will be terminated in the event the contractor sells the business. The School District reserves the right to continue with the new owner or select another contractor.

RELATIONS WITH OTHER CONTRACTORS: The Contractor shall cooperate with all other contractors who may be performing work on behalf of the School District, and workers who may be employed by the School District, on any work in the vicinity of the work to be done under this agreement, and the Contractor shall so conduct its operations as to interfere to the least possible extent with the work of such contractors or workers.

PROTECTION OF PUBLIC AND PRIVATE PROPERTY: The Contractor shall assume full responsibility for the protection of all public and private property, structures, sewers, and utilities, both above and below ground, along, beneath, above, across or near the site or sites of the work being performed under this agreement, or which are in any manner affected by the prosecution of the work or the transportation of men or materials in connection therewith.

COMPLIANCE WITH O.S.H.A. REGULATIONS: The Contractor shall comply with all regulations of the Occupational Safety and Health Administration (OSHA) and hold the School District and its representatives harmless from all actions resulting from the Contractor’s failure to comply with said regulations, orders and citations.

VERBAL STATEMENTS NOT BINDING: It is understood and agreed that the written terms and provisions of this agreement shall supersede all prior verbal statements of any and every official and/or other representative of the School District, and such statements shall not be effective or be construed as entering into, or forming a part of, or altering in any way whatsoever, the written agreement.

PAYMENTS:  Payment shall be made to the Contractor upon completion of the work.

COMPLETION: The Platte County R-3 School District wishes to have this AV work done by Monday, August 2, 2019.

TERMINATION: Platte County R-3 School District reserves the right to terminate the agreement without notice for just cause which may include but not limited to some of the following: unauthorized staff of the contractor ( sex offenders, convicted felons, etc.); weapons on school property; inappropriate behavior with students or staff; use of alcohol, tobacco or drugs on school property; use of unauthorized sub-contractors or 1099 employees; use of illegal alien employees; lapse of insurance coverage; failure to complete work as specified; poor quality of work; damage to school district property; etc.

Platte County R-3 School District Wilson Auditorium AV Upgrades – Phase 1 Request for Proposal (RFP)

April 4, 2019

THIS PAGE LEFT BLANK INTENTIONALLY

# Table of Contents

Table of Contents	3

Notice to Bidders	4

Instructions to Bidders	5 - 6

Prevailing Wage Determination 008100	2 pages

EXHIBT A – PROPOSAL FORM	3 pages

EXHIBIT B – E-VERIFY FORM	1 page EXHIBIT C - STATEMENT OF BIDDERS QUALIFICATIONS	2 pages EXHIBIT D – AV PLANS	5 pages

EXHIBIT E – AV STANDARDS	4 pages

EXHIBIT E –SPECIFICATIONS	35 pages

APPENDIX A – PROJECT PHASES	2 pages

# Notice to Bidders

The Platte County R-3 School District wishes to obtain bids for the removal and replacement of existing house and theatrical lighting and theatrical dimming system as shown on the attached drawings.

The Platte County R-3 School District will receive sealed proposals from Bidders until Thursday, May 2, 2019, at 2 p.m., at which time, the bids received will be opened. The Platte County R-3 School District reserves the right to reject any or all bids and to waive informalities or irregularities in bids.

Each sealed bid shall contain Bid Proposal, e-Verify and Bidders Qualification; forms for each are attached to this RFP.

##### Bids shall be in sealed envelopes labeled:

##### Platte County R-3 School District Wilson Auditorium AV Upgrades – Phase 1

##### Mr. Jay Harris Executive Director of Operations Platte County R-3 School District

##### 998 Platte Falls Road Platte City, MO 64079

Bids received after the time and date above specified shall be returned, unopened, to the Bidder.

Any questions related to this RFP or bid requirements, please contact: Mr. Jay Harris

816.858.5420

harrisj@platteco.k12.mo.us

# Instructions to Bidders

PROPOSALS:  All proposals must be made on the forms provided herein. All proposals must be legibly written. No alterations in proposals or in the printed forms will be acceptable unless each alteration is signed by the Bidder. No alterations or physical changes shall be made by anyone, in any bid, after its submission by the Bidder.

SIGNATURE OF BIDDERS: Each Bidder shall sign a proposal, using the customary name under which the Bidder does business, utilizing the customary signatures of an authorized representative, and providing a full business address, including identity of any registered or local agent.

WITHDRAWAL OF BID: A Bidder may withdraw its proposal at any time prior to the expiration of the time and date during which proposals may be submitted, by written request submitted by the Bidder to the Platte County R-3 School District. A Bidder may correct any mistakes in its bid by submitting a written request to the Platte County R-3 School District, provided the written request is made and the bid is corrected and resubmitted prior to the expiration of the time and date during which proposals may be submitted.

BID PROPOSAL INSTRUCTIONS: A Bidder shall submit a completed Bid Proposal Form. Each project is identified on the Bid Proposal Form.

INSURANCE: Contractor shall provide certificates of insurance and renewals thereof on standard ACORD forms. This inclusion shall not make the Platte County R-3 School District a partner or joint venture with the Contractor in its operations hereunder. The School District shall be notified by receipt of written notice from the insurer at least thirty (30) days prior to material modification or cancellation of any policy listed in the certificate.

Contractor will provide the School District with proof of liability insurance in the minimum amount of $1,000,000.00 listing Platte County R-3 Schools as additionally insured.

Contractors will also provide proof of Worker’s Compensation insurance in the minimum

amount of $500,000.00 listing Platte County R-3 Schools as additionally insured.

EXCEPTIONS: The bidder shall furnish a statement on company letterhead giving a complete description of any exception to the terms, conditions, and specifications. Failure to furnish the statement will mean that the bidder agrees to meet all requirements of the Request for Proposal.

RESPONSIBILITY OF CONTRACTOR: The Contractor shall furnish all labor, transportation, tools, equipment, machinery, and all suitable appliances, requisite for execution of this agreement and shall be solely answerable for the same and for the safe, proper, and lawful construction, maintenance, and use thereof. Contractor shall be solely answerable for all damage to any Platte County R-3 School District property, to other contractors or other employees of the School District, to the neighboring premises, or to

any private or personal property, due to improper, illegal, or negligent conduct of itself or its subcontractors, employees, or agents in and about said work, or in the execution of the work covered by this agreement, or any extra work undertaken as herein provided.

Contractor shall not assign this agreement. The agreement will be terminated in the event the contractor sells the business. The School District reserves the right to continue with the new owner or select another contractor.

RELATIONS WITH OTHER CONTRACTORS: The Contractor shall cooperate with all other contractors who may be performing work on behalf of the School District, and workers who may be employed by the School District, on any work in the vicinity of the work to be done under this agreement, and the Contractor shall so conduct its operations as to interfere to the least possible extent with the work of such contractors or workers.

PROTECTION OF PUBLIC AND PRIVATE PROPERTY: The Contractor shall assume full responsibility for the protection of all public and private property, structures, sewers, and utilities, both above and below ground, along, beneath, above, across or near the site or sites of the work being performed under this agreement, or which are in any manner affected by the prosecution of the work or the transportation of men or materials in connection therewith.

COMPLIANCE WITH O.S.H.A. REGULATIONS: The Contractor shall comply with all regulations of the Occupational Safety and Health Administration (OSHA) and hold the School District and its representatives harmless from all actions resulting from the Contractor’s failure to comply with said regulations, orders and citations.

VERBAL STATEMENTS NOT BINDING: It is understood and agreed that the written terms and provisions of this agreement shall supersede all prior verbal statements of any and every official and/or other representative of the School District, and such statements shall not be effective or be construed as entering into, or forming a part of, or altering in any way whatsoever, the written agreement.

PAYMENTS:  Payment shall be made to the Contractor upon completion of the work.

COMPLETION: The Platte County R-3 School District wishes to have this lighting work done by Monday, August 6, 2018.

TERMINATION: Platte County R-3 School District reserves the right to terminate the agreement without notice for just cause which may include but not limited to some of the following: unauthorized staff of the contractor ( sex offenders, convicted felons, etc.); weapons on school property; inappropriate behavior with students or staff; use of alcohol, tobacco or drugs on school property; use of unauthorized sub-contractors or 1099 employees; use of illegal alien employees; lapse of insurance coverage; failure to complete work as specified; poor quality of work; damage to school district property; etc.

##### SECTION 008100 PREVAILING WAGE DETERMINATION

##### PART 1 - GENERAL

  - This Project is contracted under the requirements of Missouri Prevailing Wage Law. This Section includes general information and forms for convenience. Detailed requirements, information, forms, and assistance may be obtained by contacting the following:

    - Missouri Department of Labor and Industrial Relations Division of Labor Standards

Prevailing Wage Section PO Box 449

Jefferson City, MO 65102-0449 Phone: 573-751-3403

Fax: 573-751-3721

Email:  prevailingwage@labor.mo.gov Website: www.labor.mo.gov/ls/prevailingwage

  - Prevailing Hourly Rate of Wages: Not less than the prevailing hourly rate of wages, as set out in the wage order attached, must be paid to all workers performing work under this Contract.

    - Contractor shall forfeit a penalty to the contracting public body of $100 per day (or portion of a day) for each worker that is paid less than the prevailing rate for any work done under this Contract by the Contractor or by any Subcontractor.

    - Submit certified copies of Contractor’s and subcontractor’s payrolls to contracting public body on a weekly basis.

  - Safety Training Program: All on-site employees, including those of Contractor and subcontractors, are required to complete the ten-hour safety training program required under Section 292.675 RSMo, if they have not previously completed the program and have documentation of having done so.

    - Contractor shall forfeit a penalty to the contracting public body of $2500 plus an additional $100 for each employee, including those of subcontractors, for each calendar day, or portion thereof, such employee is employed without the required training.

  - Construction Transient Employers: Every transient employer, as defined in section 285.230 RSMo, must post in a prominent and easily accessible place at the site, a clearly legible copy of the notices listed below.  Any transient employer failing to comply with these requirements shall, under section

285.234 RSMo, be liable for a penalty of $500 per day until notices are posted as required by the statute:

- The notice of registration for employer withholding issued to such transient employer by the director of revenue.

- Proof of coverage for workers’ compensation insurance or self-insurance signed by transient employer and verified by the Department of Revenue through records of the Division of Workers’ Compensation.

- The notice of registration for unemployment insurance to such transient employer by the Division of Employment Security.

  - Posting of Wage Rates: While work under this Contract is being performed, a legible list of all prevailing wage rates must remain posted in a prominent and easily accessible location at the site by the Contractor and each subcontractor on the project. Such notice shall remain posted during the full time that any worker is employed on the project.

  - Project Notification - Contractor Information Notification: Before performing any Work, submit a completed PW-2 Form “Prevailing Wage Project Notification - Contractor Information Notification,”

available at www.labor.mo.gov/ls/prevailingwage under “Forms,” to The Division of Labor Standards (DLS).

  - Project Completion Notification – Affidavit of Compliance: Before final payment will be made, the Contractor shall file a fully executed affidavit, PW-4 Form “Affidavit – Compliance with the Prevailing Wage Law”, available at www.labor.mo.gov/ls/prevailingwage under “Forms,” to The Division of Labor Standards (DLS).

  - Monthly Applications for Payment: Pursuant to prevailing wage laws, an Affidavit of Compliance (Form PW-4) must be filed with the District before payment will be approved. The District will withhold and retain any amounts due as a result of any violation of the prevailing wage law prior to making payment with any contractor.  Include Affidavit of Compliance with each application for payment.

##### PART 2 - PRODUCTS (NOT APPLICABLE)

##### PART 3 - EXECUTION (NOT APPLICABLE)

##### END OF SECTION 008100

PROPOSAL FORM – EXHIBIT ‘A’

##### Bid to:	Place of Bid Opening:

Platte County R-3 School District	Platte County R-3 School District Attn:  Mr. Jay Harris

998 Platte Falls Rd	998 Platte Falls Rd

Platte City, MO 64079	Platte County, MO 64079

##### Bid for:	Date and Time for Receipt of Bids:

Wilson Auditorium AV Upgrades – Phase 1	Thursday, May 2, 2019 at 2:00 p.m. (Local Time) Platte City, MO 64079

We, the undersigned Bidder, hereby submit our Proposal on the General Contract for the Platte County R-3 School District – Wilson Auditorium AV Upgrades – Phase 1, which includes; all electrical work listed below.

Name of

Bidder:	 Address of Bidder:

Telephone Number: 		Fax Number:

- THE SITE AND THE DOCUMENTS

We have carefully examined the site and all conditions affecting the work. We have carefully examined the following documents:

We the undersigned, having examined the Contract Documents listed below and the site of the proposed Work and being familiar with all conditions affecting the construction of the Project, here by propose and agree to provide and furnish all labor, material, equipment, supervision and other items necessary to perform and complete, in a workmanlike manner, all Work required by the contract Documents, at the prices stated below. Stated sums include fees, insurance, payroll taxes, and all other charges applicable to materials, appliances, labor and all charges that may be levied.  This Bid excludes sales tax.

  - Prevailing Wage Determination

  - E-Verify

  - Technical Specifications

  - Drawings

In the following proposal, the amounts shall be shown in both words and figures. In case of discrepancy between the word and the figures, the words shall govern. Owner intends to award the Contract to a single Bidder.

- THE AMOUNT OF THE BASE BID

We propose to furnish all materials and labor for the Wilson Auditorium Upgrades – Phase 1 called for by the above Documents for the Base Bid work for the total sum of:

Dollars and Cents

($	).

- CHANGES IN THE WORK

Changes in the Work shall be as established in the Contract Documents. The following fees shall be used for Lump Sum pricing and actual cost pricing of additions and deletions to that work included in the Bid, namely:

Overhead & Profit Not to Exceed

| A. To Contractor for work performed by his/her own forces. | 10% |
| --- | --- |
| B. To Contractor for work performed by other than his/her own forces. | 5% |
| C. To Subcontractor for work performed by his/her own forces. | 10% |
| D. To Subcontractor for work performed by other than his/her own forces. | 5% |

- COMPLETION OF THE WORK

If we are notified of the acceptance of the Base Bid of this Proposal within thirty (30) days after the above date, we agree to execute a Contract for the above Work, for the above stated compensation and agree to guarantee the Substantial Completion and completion of all punch list work as listed hereinafter:

Substantial Completion Date:	8/2/2019

The Undersigned hereby agrees to commence work under the Contract within seven (7) days after the date of a

“Notice to Proceed”, unless otherwise stipulated in that notice.

- PERFORMANCE BOND AND PAYMENT BOND

We, the undersigned, agree to furnish to the Owner a Performance Bond and Payment Bond in the amount of 100 percent of the Contract Sum. Form of the Bond shall be AIA Document A312 from the American Institute of Architects, as modified by Owner.

- ACKNOWLEDGEMENT AND SEAL

We, the undersigned, acknowledge and agree that the Owner reserves the right to waive any informalities in any Bid and to reject any or all Bids.

The undersigned Bidder, on behalf of itself and all sub-bidders, releases the Owner, Architect, and other Bidders from any claim arising out of or relating to the acceptance, non-acceptance, or rejection of the undersigned’s or any other Bidder’s Bid, including without limitation, Bids of it’s sub-bidders on this Project.

NOTE: If the Contractor is a Corporation, Proposal must be signed by an authorized officer, showing his/her title.

Corporate Seal (Below)

Yours very truly, FIRM

ADDRESS

TELEPHONE:		 FAX:				 BY:				 TITLE:			 STATE OF INCORPORATION:

FIN 	or SSN

Notary Seal (Below)

Notary Public

Subscribed and sworn to before me within and for STATE OF  	 COUNTY OF

On this 	Day of 	, 20 	 My Commission Expires:

##### END OF PROPOSAL FORM

## STATE OF MISSOURI COUNTY OF     PLATTE

AFFIDAVIT

## Before me, the undersigned authority, personally appeared

## , who, being by me duly sworn, deposed as follows:

## My name is 	, I am of sound mind, capable of making this

## affidavit, and personally acquainted with the facts herein stated:

## I am an officer/agent of 	(company name)	and have the authority to make these affirmations.

## (company name)	has enrolled and participates in a federal work authorization program with respect to the employees working in connection with

## (company name’s)	contract with the Platte County School District. Such participation is confirmed by the following documentation attached hereto: 	(list documentation provided by company)	.

## (company name)	does not knowingly employ any person who is an unauthorized alien in connection with the contracted services for the 	School District.

## Affiant

## In witness whereof I have hereunto subscribed by name and affixed my official seal this

## day of 	, 20 	. (Seal)

## Notary Public

## My Commission Expires:

EXHIBIT ‘C’

##### STATEMENT OF BIDDER’S QUALIFICATIONS

Each bidder for the work included in the specifications and bid documents shall submit with their bid the data requested in the following information. This data must be included in and made a part of each bid document and be contained in the sealed envelope. Failure to comply with this instruction may be regarded as justification for rejecting the contractor’s bid.

Name of Bidder:

Business Address:

When Organized:

Date Incorporated:

Number of years engaged in conducting business under present firm name:

If you have operated business under a different name, please give name and location.

Have you ever failed to complete any work awarded to your company? If so, where and why?

Have you ever defaulted on a contract?  If so, where and why?

List any school district, government entity or tax-based organizations you work for currently, or have worked for in the past three (3) years. Please include name of organization, point of contact and contact information.

Name, address and telephone number of at least three references who are familiar with the job performance of your company on similar size jobs:

Reference 1:

Reference 2:

Reference 3:

8345 LENEXA DRIVE, SUITE 300 LENEXA, KS 66214

TEL 913.742.5000    FAX 913.742.5001

| GENERAL NOTES | CONDUIT/CIRCUIT GROUP DIVISIONS |  |  |  |  |  |  |  |  |  |  | PLAN LEGEND | LABEL LEGEND |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPECIFICATION REFERENCES: | GROUP | DESCRIPTIONS |  |  |  | LEVEL |  |  |  | BANDWIDTH |  | BOX AND PLAN SYMBOLS | A ASSORTED |
| 1. REFER TO DIVISION 27 SPECIFICATION SECTION "AUDIO-VIDEO SYSTEMS" AND RELATED DOCUMENTS AND SECTIONS FOR PRODUCT INFORMATION AND ADDITIONAL REQUIREMENTS. | A | CONTROL CIRCUITS DATA CIRCUITS FIBER CIRCUITS |  |  |  | 0-28 VOLT INTO <50 kOHMS 2 VOLT PEAK-TO-PEAK INTO 100 OHMS |  |  |  | 0 Hz TO 250 MHz 0 Hz TO 500 MHz |  | X## WALL BOX. "X" INDICATES FUNCTION OF BOX (REFER TO BOX LABEL LEGEND). "##" INDICATES BOX DESIGNATION. X## FLOOR BOX. SIMILAR TO ABOVE. X## POKE THRU. SIMILAR TO ABOVE. AV CEILING MOUNTED BOX. SIMILAR TO ABOVE. X## FLUSH MOUNTED CEILING LOUDSPEAKER. "S##" S DESIGNATOR INDICATES LOUDSPEAKER S## IDENTIFICATION INFORMATION. PENDANT MOUNTED LOUDSPEAKER. "S##" S DESIGNATOR INDICATES LOUDSPEAKER S## IDENTIFICATION INFORMATION. M CEILING MOUNTED MICROPHONE. SIMILAR TO X## ABOVE. NO BACK BOX. C CEILING MOUNTED CAMERA. SIMILAR TO ABOVE. X## NO BACK BOX. | - BROADCAST - CONTROL - DSS SATELLITE - EXISTING |
| 2. CATEGORY AND FIBER CABLING SHALL BE INSTALLED, TERMINATED, AND TESTED PER DIVISION 27 SECTION "TELECOMMUNICATIONS REQUIREMENTS FOR AUDIO-VIDEO SYSTEMS". | L | LINE LEVEL AUDIO CIRCUITS |  |  |  | -30dBU TO +24dBu |  |  |  | 20 Hz TO 20kHz |  |  | - FUTURE / BY OTHERS - GAME CLOCK - JUNCTION / PULL BOX - CAMERA |
|  | M | MICROPHONE LEVEL AUDIO CIRCUITS |  |  |  | BELOW -30dBu |  |  |  | 20 Hz TO 20kHz |  |  |  |
|  | P | PRODUCTION INTERCOM COMMUNICATION CIRCUITS |  |  |  | -30dBU TO +24dBu |  |  |  | 20 Hz TO 20kHz |  |  |  |
|  | S | SPEAKER LEVEL AUDIO CIRCUITS INCLUDING BOTH LOW IMPEDANCE AND HIGH IMPEDANCE (70 VOLT) TYPES |  |  |  | GREATER THAN +24dBu |  |  |  | 20 Hz TO 20kHz |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | L LINE-LEVEL AUDIO |
| GENERAL PATHWAY NOTES: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | M MICROPHONE-LEVEL AUDIO P PRODUCTION INTERCOM - EQUIPMENT RACK - LOUDSPEAKER-LEVEL AUDIO T TELEVISION DISTRIBUTION - VIDEO - WIRELESS / RF |
| 1. ALL BUILDING INFRASTRUCTURE, CONDUIT, AND PATHWAYS INCLUDING BUT NOT LIMITED TO CONDUIT, RACEWAYS, CABLE TRAYS, PEDESTALS, BACK BOXES, JUNCTION BOXES, FLOOR BOXES, DOORS, LIDS, AND COVERS ARE PER DIVISION 27 SECTION "COMMON WORK RESULTS FOR COMMUNICATIONS" UNLESS OTHERWISE NOTED WITHIN THIS DRAWING SERIES SET. | V | VIDEO CIRCUITS |  |  |  | 1 VOLT PEAK-TO-PEAK INTO 75 OHMS |  |  |  | 0 Hz TO 250 MHz |  |  |  |
|  | W | RF LEVEL CIRCUITS INCLUDING WIRELESS MICROPHONE, ANTENNA CABLE, SATELLITE, ASSISTED LISTENING SYSTEM, AND TV DISTRIBUTION |  |  |  | GREATER THAN +24dBu |  |  |  | 5 MHz TO 3GHz |  |  |  |
|  | CONDUIT ROUTING AND SEPARATION |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. REFER TO "CONDUIT ROUTING AND SEPARATION" ON THIS SHEET FOR CONDUIT SPACING INFORMATION. |  |  |  |  |  |  |  |  |  |  |  |  | DS DIGITAL SIGNAGE DV DIRECT VIEW LED |
|  | BOTH EMT |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. PROVIDE CONTINUOUS UNOBSTRUCTED CABLE PATH FOR ENTIRE LENGTH OF CABLE RUN. EXPOSED CABLING MAY REQUIRE CONDUIT TRANSITION(S) TO ACHIEVE A COMPLETE PATHWAY. |  |  |  |  |  |  |  |  |  |  |  |  | FP FLAT PANEL DISPLAY LS LOUDSPEAKER PR PROJECTOR PS PROJECTION SCREEN |
|  | EMT |  | RIGID |  |  | M | L, P | W | S |  | V |  |  |
|  | M |  | - |  |  | ADJACENT | 6" | 12" | 12" |  | 12" |  |  |
|  | L, P |  | - |  |  | 6" | ADJACENT | 12" | 12" |  | 6" |  |  |
| 4. COORDINATE ANY CONFLICTS WITH APPROPRIATE DISCIPLINES. |  |  |  |  |  |  |  |  |  |  |  |  | TV TELEVISION VW VIDEO WALL |
|  | W |  | - |  |  | 12" | 12" | ADJACENT | ADJACENT |  | 6" |  |  |
|  | S |  | - |  |  | 12" | 12" | ADJACENT | ADJACENT |  | 6" |  |  |
| 5. REFER TO LIFE SAFETY PLANS FOR LOCATION OF FIRE- AND SMOKE-RATED |  |  |  |  |  |  |  |  |  |  |  | TYPICAL BOX SYMBOLS |  |
|  | V |  | - |  |  | 12" | 6" | 6" | 6" |  | ADJACENT |  | LABEL STANDARD |
| WALLS AND FLOORS. PROVIDE LISTED FIRESTOPPING SYSTEMS FOR |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | POWER CONDUIT UNDER 60A |  | - |  |  | 24" | 24" | 24" | 24" |  | 24" | WALL BOX. "YY" INDICATES TYPE. REFER TO TYPICAL YY BOX SCHEDULE FOR ADDITIONAL INFORMATION AND AS INDICATED ON PLANS AND KEY NOTES. YY-F# FLOOR BOX. CEILING BOX. SIMILAR TO ABOVE. "YY" YY INDICATES SYMBOL TYPE. "-F#" INDICATES UNIQUE IDENTIFIER. NOTE: BLANK CELLS ON TYPICAL BOX SCHEDULE INDICATE INFORMATION PROVIDED ELSEWHERE. |  |
| PENETRATIONS PER DIVISION 27 SPECIFICATION SECTION "COMMON WORK |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | POWER CONDUIT 60A |  | - |  |  | 36" | 36" | 36" | 36" |  | 36" |  |  |
| RESULTS FOR COMMUNICATIONS". |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | POWER CONDUIT 120A |  | - |  |  | 48" | 48" | 48" | 48" |  | 48" |  | J:Q1738:01 DEVICE TYPE LABEL PLAN LOCATION UNIQUE IDENTIFIER |
| BOX SCHEDULE NOTES: | POWER CONDUIT 240A |  | - |  |  | RIGID | RIGID | RIGID | RIGID |  | RIGID |  |  |
| - VERIFY QUANTITIES, LOCATIONS, AND MOUNTING WITH PLAN, DETAIL, AND EQUIPMENT VIEW DRAWINGS. - ALL BOXES SHOWN IN SCHEDULE ARE PER DIVISION 27 SECTION "COMMON WORK RESULTS FOR COMMUNICATIONS" UNLESS OTHERWISE NOTED WITHIN THIS DRAWING SERIES SET. - FIELD VERIFY MOUNTING CONDITIONS AND BOX SIZE PRIOR TO INSTALLATION. - WALL MOUNTED BOXES SHOWN AT SWITCH OR CONVENIENCE OUTLET HEIGHT SHALL MATCH MOUNTING HEIGHT OF ADJACENT BOXES ON WALL UNLESS OTHERWISE NOTED. - WALL MOUNTED TERMINATION GANG BOXES SHALL BE MOUNTED 18" A.F.F. TO CENTER OF DEVICE UNLESS OTHERWISE NOTED. - WALL MOUNTED TERMINATION NEMA AND MANUFACTURER SPECIFIC BOXES SHALL BE MOUNTED 16" A.F.F. TO BOTTOM OF DEVICE UNLESS OTHERWISE NOTED. - SURFACE MOUNTED BOXES SHALL BE PAINTED TO MATCH SURROUNDING FINISH. - COORDINATE ANY CONFLICTS WITH APPROPRIATE DISCIPLINES. | POWER CONDUIT 400A |  | - |  |  | RIGID | RIGID | RIGID | RIGID |  | RIGID |  |  |
|  | POWER IN RIGID |  |  |  |  |  |  |  |  |  |  |  |  |
|  | EMT |  | RIGID |  |  | M | L, P | W | S |  | V |  |  |
|  | M |  | - |  |  | ADJACENT | 6" | 12" | 12" |  | 12" |  |  |
|  | L, P |  | - |  |  | 6" | ADJACENT | 12" | 12" |  | 6" | CONDUIT LEGEND |  |
|  | W |  | - |  |  | 12" | 12" | ADJACENT | ADJACENT |  | 6" |  |  |
|  | S |  | - |  |  | 12" | 12" | ADJACENT | ADJACENT |  | 6" | # INDICATES ASSORTED SIGNALS ONLY. "#" SPECIFIES A SIZE OF CONDUIT. # INDICATES LINE LEVEL SIGNALS ONLY. "#" SPECIFIES L SIZE OF CONDUIT. # INDICATES MICROPHONE LEVEL SIGNALS ONLY. "#" M SPECIFIES SIZE OF CONDUIT. # INDICATES PRODUCTION INTERCOM LEVEL SIGNALS P ONLY. "#" SPECIFIES SIZE OF CONDUIT. # INDICATES LOUDSPEAKER LEVEL SIGNALS ONLY. "#" S SPECIFIES SIZE OF CONDUIT. # INDICATES VIDEO SIGNALS ONLY. V "#" SPECIFIES SIZE OF CONDUIT. # INDICATES WIRELESS/RF SIGNALS ONLY. "#" W SPECIFIES SIZE OF CONDUIT. .75 0.75" CONDUIT. X INDICATES SIGNAL TYPE, SEE ABOVE. X 1.0 1" CONDUIT. X INDICATES SIGNAL TYPE, SEE ABOVE. X 1.2 1.25" CONDUIT. X INDICATES SIGNAL TYPE, SEE ABOVE. X 1.5 1.5" CONDUIT. X INDICATES SIGNAL TYPE, SEE ABOVE. X 2.0 2" CONDUIT. X INDICATES SIGNAL TYPE, SEE ABOVE. X 2.5 2.5" CONDUIT. X INDICATES SIGNAL TYPE, SEE ABOVE. X 3.0 3" CONDUIT. X INDICATES SIGNAL TYPE, SEE ABOVE. X CONDUIT PATH. X## CONDUIT PATH CONTINUES ON TO DESTINATION AS INDICATED. CONDUIT STUB TO ACCESSIBLE PORTION OF CEILING. BUSH CONDUIT ENDS. CONDUIT STUB TO BELOW RAISED FLOOR IF PRESENT, OTHERWISE BELOW FLOOR SLAB. BUSH CONDUIT ENDS. CONDUIT IN/UNDER FLOOR/GROUND CONSTRUCTION EXPOSED CABLE PATH. NO CONDUIT. CABLE TRAY. SIZE AS INDICATED ON PLANS. |  |
|  | V |  | - |  |  | 12" | 6" | 6" | 6" |  | ADJACENT |  |  |
|  | - |  | POWER CONDUIT UNDER 60A |  |  | 4" | 4" | 4" | 4" |  | 4" |  |  |
|  | - |  | POWER CONDUIT 60A |  |  | 8" | 8" | 8" | 8" |  | 8" |  |  |
|  | - |  | POWER CONDUIT 120A |  |  | 12" | 12" | 12" | 12" |  | 12" |  |  |
|  | - |  | POWER CONDUIT 240A |  |  | 24" | 24" | 24" | 24" |  | 24" |  |  |
|  | - |  | POWER CONDUIT 400A |  |  | 48" | 48" | 48" | 48" |  | 48" |  |  |
|  | BOTH IN RIGID |  |  |  |  |  |  |  |  |  |  |  |  |
|  | EMT |  | RIGID |  |  | M | L, P | W | S |  | V |  |  |
|  | - |  | M |  |  | ADJACENT | ADJACENT | ADJACENT | ADJACENT |  | ADJACENT |  |  |
|  | - |  | L, P |  |  | ADJACENT | ADJACENT | ADJACENT | ADJACENT |  | ADJACENT |  |  |
|  | - |  | W |  |  | ADJACENT | ADJACENT | ADJACENT | ADJACENT |  | ADJACENT |  |  |
|  | - |  | S |  |  | ADJACENT | ADJACENT | ADJACENT | ADJACENT |  | ADJACENT |  |  |
|  | - |  | V |  |  | ADJACENT | ADJACENT | ADJACENT | ADJACENT |  | ADJACENT |  |  |
| GENERAL PANEL AND PLATE NOTES: | - |  | POWER CONDUIT UNDER 60A |  |  | 1" | 1" | 1" | 1" |  | 1" |  |  |
|  | - |  | POWER CONDUIT 60A |  |  | 2" | 2" | 2" | 2" |  | 2" |  |  |
| - CUSTOM TERMINATION COVER PANELS AND PLATES SHALL BE PROVIDED PER SPECIFICATION SECTION "AUDIO-VIDEO SYSTEMS" REQUIREMENTS AND SHALL BE SIZED TO APPROPRIATELY SELF-TRIM THEIR CORRESPONDING BACK BOX. - ALL PANELS AND PLATES SHALL BE 1/8" THICK (MINIMUM) BLACK ANODIZED ALUMINUM WITH ENGRAVED OR LASER ETCHED LETTERING OF A CONTRASTING COLOR. DEFAULT ENGRAVED TEXT COLOR SHALL BE WHITE. UTILIZE 3/16" UPPER CASE LETTERING, SANS-SERIF FONT. VERIFY PLATE COLOR WITH ARCHITECT. - REINFORCE PLATE AND/OR INCREASE PLATE THICKNESS TO MINIMIZE DEFLECTION. - UTILIZE COUNTERSUNK SCREW HEADS. SCREWS HEADS SHALL MATCH PLATE COLOR. - ANY PANEL AND PLATE DETAILS OR INFORMATION RELATED TO TERMINATION PLATING CONTAINED IN THIS SET ARE INCLUDED FOR COMMUNICATION OF FABRICATION REQUIREMENTS AND ARE FOR CONCEPT ONLY. LAYOUTS DO NOT REFLECT SPECIFIC REQUIREMENTS FOR THIS PROJECT UNLESS SPECIFICALLY STATED AS SUCH. VERIFY SIZES OF ALL COMPONENTS AND BOXES PRIOR TO SUBMITTAL OF SHOP DRAWINGS. - FIELD VERIFY THE SIZE OF ALL COMPONENTS AND BOXES PRIOR TO INSTALLATION. MODIFY PLATE SIZES IN THE CASE OF ALTERATIONS TO FIELD CONDITIONS. - REFER TO SPECIFICATIONS FOR SUBMITTAL AND ADDITIONAL PANEL AND PLATE REQUIREMENTS. | - |  | POWER CONDUIT 120A |  |  | 4" | 4" | 4" | 4" |  | 4" |  |  |
|  | - |  | POWER CONDUIT 240A |  |  | 8" | 8" | 8" | 8" |  | 8" |  |  |
|  | - |  | POWER CONDUIT 400A |  |  | 16" | 16" | 16" | 16" |  | 16" |  |  |
|  | PLAN BOX & CONDUIT EXAMPLE |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | "JUNCTION BOX" IN PLAN LOCATION "Q1738". REFERENCE BOX SCHEDULE. |  |  | CONDUIT FROM BOX "A..." HOMERUNS TO INDICATED LOCATION. |  |  |  |  |  |  |  |  |
|  |  | CONDUIT BETWEEN "A..." AND "J...". |  |  | J:Q1738:01 ONE (1) 2" CONDUIT SPECIFIED |  |  |  |  |  |  |  |  |
|  |  | ONE (1) 0.75" CONDUIT SPECIFED FOR LINE LEVEL SIGNALS ONLY. |  |  | M:Q1738:01 FOR MICROPHONE LEVEL SIGNALS ONLY. TERMINATES AT BOX "M...". |  |  |  |  |  |  |  |  |
|  |  | ASSORTED FLOOR BOX IN PLAN LOCATION "Q1738". NUMBER "01". REFERENCE BOX SCHEDULE. |  | .75 L A:Q1738:02 | 2.0 MULTIPLE CONDUITS. ONE (1) M 1.25" CONDUIT SPECIFIED FOR LOUDSPEAKER LEVEL SIGNALS ONLY, TWO (2) 0.75" CONDUIT SPECIFIED FOR LINE LEVEL |  |  |  |  |  |  |  |  |
|  |  | CONDUIT FROM BOX "A..." HOMRUNS TO INDICTED LOCATION. |  | .75 | SIGNALS ONLY, AND ONE (1) 1.00" 1.2 .75 .75 1.0 CONDUIT SPECIFIED FOR VIDEO S L L V SIGNALS ONLY. |  |  |  |  |  |  |  |  |
|  |  | ONE (1) 0.75" CONDUIT |  | M |  |  |  |  |  |  |  |  |  |
|  |  | SPECIFIED FOR MICROPHONE |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LEVEL SIGNALS ONLY. |  | TRAY |  |  |  |  |  |  |  |  |  |
| CABLE TERMINATION NOTES: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | TRAY DESINATION. TERMINATE |  |  |  |  |  |  |  |  |  |  |  |
| 1. ALL AUDIO TERMINATIONS SHOULD COMPLY WITH RANE CORPORATION RANENOTE 110 REFERENCE FOR SOUND SYSTEM INTERCONNECTION. WWW.RANE.COM/NOTE110.HTML |  | CONDUIT AT TRAY DIVIDER LOCATION INDICATED FOR USE WITH CONDUIT GROUP DIVISION. |  |  | CONDUIT FROM BOX "A..." STUB TO ABOVE ACCESSABLE CEILING. |  |  |  |  |  |  |  |  |
|  | NOTE: FOR TYPICAL BOXES, REFER TO TYPICAL BOX SCHEDULE FOR ADDITIONAL INSTRUCTIONS. FOLLOW CONDUIT REQUIREMENTS AS LISTED IN SCHEDULE AND ANY ADDITIONAL NOTES AS INDICATED ON PLANS. |  |  |  |  |  |  |  |  |  |  |  |  |
| EQUIPMENT RACK NOTES: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. REFER TO SPECIFICATIONS FOR RACK LAYOUT SUBMITTAL REQUIREMENTS. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. ANY RACK LAYOUTS OR INFORMATION RELATED TO EQUIPMENT RACKING |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONTAINED IN THIS SET ARE FOR CONCEPT ONLY. VERIFY RACK LAYOUT FOR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EQUIPMENT FURNISHED PRIOR TO SUBMITTAL OF SHOP DRAWINGS. REVISE AS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| REQUIRED FOR ALTERNATES ACCEPTED OR REJECTED. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. IF THERE ARE DIFFERENCES IN EQUIPMENT RACKING INFORMATION TO THAT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SHOWN ON THE SIGNAL FLOW DIAGRAMS, SIGNAL FLOWS SHALL TAKE |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PRECEDENCE. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | REFER TO BOX SCHEDULE FOR ADDITIONAL INFORMATION. |  |
| LOUDSPEAKER INSTALLATION NOTES: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - ANY STRUCTURAL DETAILS, STRUCTURAL MEMBER TYPES, SIZES, AND ATTACHMENT METHODS CONTAINED IN THIS SET ARE SHOWN FOR CONCEPT ONLY. FINAL DESIGN, INCLUDING DOCUMENTATION STAMPED BY STRUCTURAL ENGINEER (PROVIDED AS PORTION OF SHOP DRAWING REQUIREMENTS), SHALL BE MADE BY THE CONTRACTOR AND SHALL BE VERIFIED BY THE OWNER AND AV CONSULTANT. - REFER TO SPECIFICATIONS FOR ALL MOUNTING, INSTALLATION, ACCESS, AND SHOP DRAWING REQUIREMENTS. - EXPOSED LOUDSPEAKER CIRCUITS UTILIZING STRUCTURAL STEEL PATHWAYS SHALL BE ROUTED HIGH WITHIN TRUSS SPACE OR WHERE OTHERWISE PROTECTED FROM DAMAGE. ROUTING SHALL MINIMIZE CIRCUIT LENGTH BETWEEN LOUDSPEAKER AND EQUIPMENT RACK WHERE FEASIBLE. NEATLY BUNDLE CIRCUITS AND FASTEN SECURELY TO STRUCTURE TO ENSURE PROPER SUPPORT AND PROTECTION. TO MINIMIZE DAMAGE FROM TEMPORARY RIGGING ACTIVITIES ASSOCIATED WITH SPECIAL EVENT SUPPORT, AVOID ROUTING CIRCUITS IN AREAS PRONE TO THIS USE, I.E. BOTTOM CHORDS OF TRUSSES. AVOID CONTACT OR CONFLICT WITH OTHER BUILDING ELEMENTS SUCH AS LIGHTING FIXTURES & BALLASTS, DUCTS, RIGGING, AND SHARP EDGES. CABLE COLOR SHALL MATCH SURROUNDING ELEMENTS. |  |  |  |  |  |  |  |  |  |  |  |  |  |

WWW.HENDERSONENGINEERS.COM

1950001098

MO. CORPORATE NUMBER: E-556D EXPIRES 12/31/20

LICENSE #

TA001

AUDIO-VIDEO LEGEND

| AUDIO-VIDEO SYMBOLS |  |  | NOTE: THIS IS A MASTER LEGEND AND NOT ALL SYMBOLS, ABBREVIATIONS, ETC. ARE NECESSARILY USED ON THE DRAWINGS. |  |  |  |  | WIRE TYPE AND ABBREVIATIONS |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AUDIO |  |  | VIDEO |  |  | DATA |  | (NOTE 1) | ABBREVIATION DEFINITION OR SIGNAL TYPES | WIRE TYPE | (NOTE 2) |
|  |  |  |  |  |  |  |  | AB | AUDIO TRANSPORT OVER MANUF. PROPRIETARY (NON-IP) PROTO. - REQ. STP | CAT6 STP | 90m |
| SIGNAL FLOW | PANEL/PLATE | DESCRIPTION | SIGNAL FLOW | PANEL/PLATE | DESCRIPTION | SIGNAL FLOW PANEL/PLATE | DESCRIPTION | AEC | ACOUSTIC ECHO CANCELING SIGNAL | - |  |
|  |  |  |  |  |  |  |  | AES | DIGITAL AUDIO OVER AES FORMAT - BALANCED | 22 AWG | 100m |
|  | PUSH |  |  |  |  | ST FIBER PANEL MOUNT |  |  | UNBALANCED | RG-6 | 1000m |
| F3 F3 |  | FEMALE 3-PIN XLR PANEL MOUNT CONNECTOR |  |  |  | CONNECTOR |  | AN | AUDIO TRANSPORT OVER IP STANDARD PROTOCOL REQUIRING STP | CAT6 STP | 90m |
|  |  |  |  |  | BNC PANEL MOUNT |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | CC | RELAY OR CONTACT CLOSURE CONTROL SIGNAL | 22 AWG |  |
|  |  |  |  |  | CONNECTOR |  | ST FIBER CABLE MOUNT |  |  |  |  |
|  |  |  |  |  |  |  |  | Com | CONTROL SIGNAL (RS232, RS422, RS485) | 22 AWG |  |
|  |  |  |  |  |  | CONNECTOR |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | LOW CAPACITANCE CONTROL CABLE FOR LONG RUNS | (NOTE 3) |  |
| M3 M3 |  | MALE 3-PIN XLR PANEL MOUNT CONNECTOR |  |  | CABLE END BNC CONNECTOR |  | LC FIBER PANEL MOUNT | Ctl | CONTROL SIGNAL OVER MANUF. PROPRIETARY PROTOCOL | (NOTE 3) |  |
|  |  |  |  |  |  | CONNECTOR |  | D | DVI VIDEO SIGNAL | PREMADE | 25' |
|  |  |  |  |  |  |  | LC FIBER CABLE MOUNT | DM | DIGITAL MEDIA AUDIO/VIDEO/CONTROL SIGNAL | CAT6 STP | 90m |
|  | PUSH |  |  |  |  |  |  | DP | DISPLAY PORT SIGNAL | PREMADE | 3m |
|  |  |  |  |  | 75 OHM BNC TERMINATOR | CONNECTOR |  |  |  |  |  |
| C3 C3 |  | FEMALE COMBO 3-PIN XLR AND 1/4" PANEL MOUNT CONNECTOR |  |  |  |  |  | FW | FIREWIRE IEEE 1394 | PREMADE | 4.5m |
|  |  |  |  |  |  | HYBRID FIBER PANEL MOUNT |  | GPIO | GPI/GPO/GPIO - GENERAL PURPOSE INPUT AND/OR OUTPUT | (NOTE 4) |  |
|  |  |  |  |  | RGBHV HD-15 PANEL MOUNT | CONNECTOR |  | H | HDMI VIDEO/AUDIO SIGNAL | (NOTE 3) |  |
|  | PUSH |  |  |  |  |  |  | HDSDI | HD-SDI PER SMPTE 292M | RG-59 | 300' |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  |  | HYBRID FIBER CABLE MOUNT |  |  |  | RG-6 | 370' |
| F4 F4 |  | FEMALE 4-PIN XLR PANEL MOUNT CONNECTOR |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | RG-11 | 580' |
|  |  |  |  |  | RGBHV HD-15 CABLE MOUNT CONNECTOR | PUSH | CONNECTOR |  |  |  |  |
|  |  |  |  |  |  |  |  | IC | INTERCOM (PRODUCTION) | 22 AWG |  |
|  |  |  |  |  |  | UTP PANEL MOUNT |  | IR | INFRARED CONTROL SIGNAL | PREMADE |  |
|  |  |  |  |  |  |  |  | I/O | VARIABLE VOLTAGE CONTROL SIGNAL | 22 AWG |  |
|  |  |  |  |  | DVI PANEL MOUNT | CONNECTOR |  |  |  |  |  |
| M4 M4 |  | MALE 4-PIN XLR PANEL MOUNT CONNECTOR |  |  |  |  |  | L | LINE LEVEL AUDIO SIGNAL | 22 AWG |  |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | LAN | ETHERNET | CAT6 | 90m |
|  |  |  |  |  |  | UTP CABLE MOUNT |  |  |  |  |  |
|  |  |  |  |  |  |  |  | LS | LOUDSPEAKER LEVEL AUDIO SIGNAL 2/4/8/16OHM | (NOTE 4) |  |
|  | PUSH |  |  |  | DVI CABLE MOUNT | CONNECTOR |  |  |  |  |  |
|  |  |  |  |  |  |  |  | LS70 | LOUDSPEAKER LEVEL AUDIO SIGNAL 70V | (NOTE 4) |  |
| F5 F5 |  | FEMALE 5-PIN XLR PANEL MOUNT CONNECTOR |  |  | CONNECTOR | CAT 5e | RJ-45 STANDARD PANEL MOUNT | M | MICROPHONE LEVEL AUDIO SIGNAL | 22 AWG |  |
|  |  |  |  |  |  |  |  | MADI | MADI SIGNAL PROTOCAL | RG-6 | 100m |
|  |  |  |  |  |  | CONNECTOR |  |  |  |  |  |
|  |  |  |  |  | HDMI PANEL MOUNT |  |  |  |  | SMF | 40km |
|  |  |  |  |  | CONNECTOR |  | RJ-45 STANDARD CABLE MOUNT | MIDI MMF | MIDI CONTROL SIGNAL MULTI-MODE FIBER | PREMADE (NOTE 3) |  |
| M5 M5 |  | MALE 5-PIN XLR PANEL MOUNT CONNECTOR |  |  |  | CONNECTOR |  |  |  |  |  |
|  |  |  |  |  | HDMI CABLE MOUNT | RJ-11 |  | Mono | MONO AUDIO SIGNAL | 22 AWG |  |
|  |  |  |  |  |  |  |  | Phone | TELEPHONE SIGNAL | CAT3 |  |
|  |  |  |  |  | CONNECTOR | RJ-11 PANEL MOUNT |  |  |  |  |  |
|  |  | FEMALE XLR CABLE MOUNT |  |  | DISPLAYPORT PANEL MOUNT | CONNECTOR |  | R | RGBHV VIDEO SIGNAL | PREMADE | 25' |
|  |  |  |  |  |  |  |  | Ref | REFERENCE/SYNC/BLACK - BLACK BURST OR TRI-LEVEL SYNCHRONIZATION | RG-59 |  |
| F3 |  | CONNECTOR (NUMBER BELOW SYMBOL |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | CONNECTOR | RJ-11 CABLE MOUNT |  | RF | RADIO FREQUENCY | RG-58 | IN RACK |
|  |  |  |  |  |  | CONNECTOR |  |  | RF WIRELESS MIC ANTENNA (-5dB @ 800MHz NO AMP) | RG-8X | 40' |
| F3 |  | INDICATES NUMBER OF PINS) |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | DISPLAYPORT CABLE MOUNT CONNECTOR | NOTE: REFER TO DIVISION 27 SECTION "TELECOMMUNICATIONS REQUIREMENTS FOR AUDIO-VIDEO SYSTEMS" FOR ADDITIONAL |  |  | RF WIRELESS MIC ANTENNA (-5dB @ 800MHz NO AMP) | RG-213 | 65' |
|  |  | MALE XLR CABLE MOUNT |  |  |  |  |  |  | RF WIRELESS MIC ANTENNA (-5dB @ 800MHz NO AMP) | RG-8/U | 120' |
| M3 M3 |  | CONNECTOR (NUMBER BELOW SYMBOL INDICATES NUMBER OF PINS) |  |  |  |  |  | SAT IF | SATELLITE INTERMEDIATE FREQUENCY SIGNAL (TYPICALLY L-BAND) | RG-59 | IN RACK |
|  |  |  |  |  |  | INFORMATION |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | RG-6 | DROP |
|  |  |  |  |  | F-STYLE RF PANEL MOUNT | AUDIO-VIDEO |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | RG-11 | DISTRO |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | SDI | SERIAL DIGITAL INTERFACE PER SMPTE 259M | PREMADE | 950' |
|  |  | 1/4" 3-CONDUCTOR PANEL |  |  |  | SIGNAL FLOW PANEL/PLATE | DESCRIPTION |  |  | RG-6 | 1150' |
|  |  |  |  |  | F-STYLE RF CABLE MOUNT |  |  |  |  |  |  |
|  |  | MOUNT CONNECTOR |  |  |  |  |  |  |  | RG-11 | 1850' |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | SMF | SINGLE-MODE FIBER | (NOTE 3) | 2.5Km |
|  |  |  |  |  |  |  | FEMALE RCA PANEL MOUNT |  |  |  |  |
|  |  |  |  |  |  |  |  | SPDIF | DIGITAL AUDIO OVER S/PDIF | PREMADE | 10m |
|  |  | 1/4" 3-CONDUCTOR CABLE |  |  |  | CONNECTOR |  |  |  |  |  |
|  |  |  |  |  |  |  |  | St | STEREO AUDIO SIGNAL | PREMADE | 5m |
|  |  |  |  |  | VIDEO PATCH PANEL JACK |  |  |  |  |  |  |
|  |  | MOUNT CONNECTOR |  |  |  |  |  |  |  | 22 AWG |  |
|  |  |  |  |  |  |  | MALE RCA CABLE MOUNT | TLY | TALLY | 24 AWG |  |
|  |  | 1/8" 3-CONDUCTOR MINI PANEL |  |  |  | CONNECTOR |  |  |  |  |  |
|  |  |  |  |  |  |  |  | TB | THUNDERBOLT SIGNAL | PREMADE | 3m |
|  |  |  |  |  | TRIAX MALE |  |  | TC | TIMECODE | RG-59 |  |
|  |  | MOUNT CONNECTOR |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | TIE LINES | MICROPHONE LEVEL | 22 AWG |  |
|  |  |  | M |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | LINE LEVEL | 22 AWG |  |
|  |  | 1/8" 3-CONDUCTOR MINI CABLE |  |  |  | FEMALE PANEL MOUNT |  |  | LOUDSPEAKER LEVEL | (NOTE 4) |  |
|  |  |  |  |  |  | MULTIPIN CONNECTOR |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | VIDEO | (NOTE 4) |  |
|  |  | MOUNT CONNECTOR |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | TRIAX FEMALE |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | TPA | AUDIO SIGNAL OVER TWISTED PAIR | CAT6 | 90m |
|  |  |  | F |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | TPC | CONTROL SIGNAL OVER TWISTED PAIR | CAT6 | 90m |
|  |  | SPEAKON JACK, |  |  |  | FEMALE CABLE MOUNT |  |  |  |  |  |
|  |  |  |  |  |  |  |  | TPT | TELEVISION SIGNAL OVER TWISTED PAIR | CAT6 | 90m |
| 4 |  | 2-CONDUCTOR BLANK, 4-CONDUCTOR SHOWN |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | MULTIPIN CONNECTOR |  |  |  |  |  |
|  |  |  |  |  |  |  |  | TPV | VIDEO SIGNAL OVER TWISTED PAIR | CAT6 | 90m |
|  |  |  | M |  | SMPTE 304 MALE |  |  | TRIAX | TRIAX VIDEO CAMERA CABLE | RG-59/U | IN ROOM |
|  |  | SPEAKON PLUG, SIMILAR |  |  |  |  |  |  |  | RG-11/U | 2950' |
|  |  |  |  |  |  | MALE CABLE MOUNT MULTIPIN |  | TV | CABLE TELEVISION DISTRIBUTION SIGNAL | RG-59 | IN RACK |
| 4 |  | TO ABOVE |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | CONNECTOR |  |  |  | RG-6 | DROP |
|  |  |  |  |  | SMPTE 304 FEMALE |  |  |  |  | RG-11 | DISTRO |
|  |  |  | F |  |  | PATCH JACK PLUG |  |  |  | 1/2" HARDLINE | TRUNK |
|  |  | MALE DT12 PANEL MOUNT |  |  |  |  |  | USB | UNIVERSAL SERIAL BUS SIGNAL | PREMADE |  |
|  |  | CONNECTOR |  |  |  |  |  | USB1 | USB VERSION 1.0 | PREMADE | 5m |
|  |  |  |  |  |  |  |  | USB2 | USB VERSION 2.0 | PREMADE | 5m |
|  |  |  | CONTROL |  |  | DEVICES AND CONNECTIONS |  | USB3 | USB VERSION 3.0 | PREMADE | 5m |
|  |  | FEMALE DT12 PANEL MOUNT |  |  |  | SIGNAL FLOW A1 700 | DESCRIPTION CONNECTION TO CHASSIS GROUND RUBBER JACKETED EXTENSION CABLE PARALLEL CONNECTION OR CHANGE IN WIRE TYPE ANTENNA PATCH POINT. CONNECT TO PATCH PANEL PER SPECIFICATION REQUIREMENTS CONNECTION BUBBLE UPPER DESIGNATION REFERS TO CONNECTION LABEL. LOWER DESIGNATION REFERS TO THE SHEET NUMBER ON WHICH THE CONNECTION IS CONTINUED. EQUIPMENT / TERMINATIONS WITHIN A COMMON LOCATION AS LABELED. ALTERNATE OUTLINE | V | COMPOSITE VIDEO SIGNAL | RG-59 | 750' |
|  |  | CONNECTOR | SIGNAL FLOW | PANEL/PLATE | DESCRIPTION |  |  |  |  | RG-6 | 900' |
|  |  |  |  |  |  |  |  |  |  | RG-11 | 1200' |
|  |  |  |  |  | COM (DB-9) PANEL MOUNT |  |  | Y | COMPONENT VIDEO SIGNAL | RG-59 | 125' |
|  |  |  |  |  |  |  |  |  |  | RG-6 | 200' |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  | COM (DB-9) CABLE MOUNT |  |  | 3GSDI | 3G-SDI PER SMPTE 424M | RG-59 | 200' |
|  |  |  |  |  |  |  |  |  |  | RG-6 | 250' |
|  |  |  |  |  |  |  |  |  |  | RG-11 | 390' |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 6GSDI | 6G-SDI | (NOTE 4) |  |
|  |  |  |  |  |  |  |  | * | DENOTES PORTION OF ITEM |  |  |
|  |  |  |  |  | IR EMITTER |  |  | NOTES | COMPLY WITH ALL MANUFACTURER REQUIREMENTS. |  |  |
|  |  |  |  |  |  |  |  | 1 | SIGNAL FLOW SIGNAL TYPE ABBREVIATION. |  |  |
|  |  |  |  |  |  |  |  | 2 | CABLE DISTANCE LIMITATION. CONTACT CONSULTANT FOR CONDITIONS OUTSIDE PARAMETERS. |  |  |
|  |  |  |  |  | USB TYPE A PANEL MOUNT |  |  | 3 | REFER TO SPECIFICATION FOR WIRE TYPE. |  |  |
|  |  |  |  |  |  |  |  | 4 | REFER TO SIGNAL FLOWS FOR WIRE TYPE. |  |  |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | SIGNAL FLOW BLOCK LEGEND |  |  |  |
|  |  |  |  |  | USB TYPE A CABLE MOUNT |  |  |  |  |  |  |
|  |  |  |  |  | CONNECTOR |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | Block Description SPECIFICATION REFERENCE |  |  |  |
|  |  |  |  |  | USB TYPE B PANEL MOUNT |  |  | DEVICE IDENTIFICATION AND LABEL |  |  |  |
|  |  |  |  |  | CONNECTOR |  |  | Y/S/V 1 Y/S/V 1/2 |  |  |  |
|  |  |  |  |  |  |  |  | M/L 1 St 1 |  |  |  |
|  |  |  |  |  | USB TYPE B CABLE MOUNT CONNECTOR |  |  | Y/S/V 2 Y/S/V 3 SIGNAL TYPE (TYPICAL) SEE WIRE TYPE AND ABBREVIATIONS SCHEDULE |  |  |  |
|  |  |  |  |  |  |  |  | M/L 2 St 2 |  |  |  |
|  |  |  |  |  | USB TYPE C PANEL MOUNT |  |  | R/Y 3 R/Y/S/V 4 |  |  |  |
|  |  |  |  |  | CONNECTOR |  |  | St 1 St 3 |  |  |  |
|  |  |  |  |  |  |  |  | R/Y 4 DM 5 |  |  |  |
|  |  |  |  |  | USB TYPE C CABLE MOUNT CONNECTOR |  |  | St 2 DM 6 |  |  |  |
|  |  |  |  |  |  |  |  | R/Y 5 DM 7 |  |  |  |
|  |  |  |  |  |  |  |  | St 3 Cont Net |  |  |  |
|  |  |  |  |  |  |  |  | DM 1 LS L |  |  |  |
|  |  |  |  |  |  |  |  | DM 2 LS R |  |  |  |
|  |  |  |  |  |  |  |  | USB Com A |  |  |  |
|  |  |  |  |  |  |  |  | IR In Com B |  |  |  |
|  |  |  |  |  |  |  |  | IO IR A |  |  |  |
|  |  |  |  |  |  |  |  | IO IR B |  |  |  |
|  |  |  |  |  |  |  |  | LAN CC 1 |  |  |  |
|  |  |  |  |  |  |  |  | CC 2 |  |  |  |
|  |  |  |  |  |  |  |  | Product Name/Model# PRODUCT REFLECTING BASIS OF DESIGN |  |  |  |
| NOTE: PANEL & PLATE CONNECTORS ARE NOT SHOWN TO SCALE. |  |  |  |  |  |  |  |  |  |  |  |

8345 LENEXA DRIVE, SUITE 300 LENEXA, KS 66214

TEL 913.742.5000    FAX 913.742.5001

WWW.HENDERSONENGINEERS.COM

1950001098

RJ45

MO. CORPORATE NUMBER: E-556D EXPIRES 12/31/20

VARIES PER DEVICE

LICENSE #

TA002

AUDIO-VIDEO  SYMBOLS

"

4

1	ALLOWABLE CONNECTOR AREA (TYPICAL)

| STANDARD SPACING - RACK PANEL (1RU) |  |  | 1 |  |
| --- | --- | --- | --- | --- |

8

4

11"

11"

3

"

1

4"	16

"

3

4

GEN

- T R U D A S

8345 LENEXA DRIVE, SUITE 300 LENEXA, KS 66214

TEL 913.742.5000    FAX 913.742.5001

WWW.HENDERSONENGINEERS.COM

"

1

4

1"

1

"

4

1

"

4

1"

- D R

C

MO.

1950001098

CORPORATE NUMBER: EXPIRES 12/31/20

E-556D

4"	2

2

- D L

- R P

STANDARD LAYOUT - RACK PANEL  (2RU)

4

11"

"

3

8

STANDARD SPACING - NEMA 7X7 (6X6 FLUSH BOX SIZE)

4

11"

4

℄

11"

"

3

4

"

3

STANDARD SPACING -	4

NEMA 6X6 SURFACE  BOX

2"

1

STANDARD SPACING - ACE HALF POCKET SIZE

2"

"

1

4

STANDARD SPACING - ACE FULL	1

POCKET SIZE

4

11"

3

"

4

LABEL LOCATION

CONNECTOR LOCATION

11"	11"	11"	2"

2	2	2

DECORA CUTOUT

3

"

4

"

3

STANDARD SPACING -	8

GANG PLATE (2 GANG)

1   "

1

16

"

11

16

1"

"

11

16

STANDARD LAYOUT - GANG PLATE (3 GANG)

LABEL HERE ROW  1

FRONT

LABEL HERE ROW  2

LABEL HERE ROW  3

STANDARD SPACING - NEMA 13X13 (12X12 FLUSH BOX   SIZE)

4

11"

11"

STANDARD SPACING - FLOOR BOX (FSR   FL-1500)

STANDARD SPACING - ACE SUPER POCKET SIZE

11

"

16

"

16

5	STANDARD MOUNTING AND LABELING CONDITION - FSR WB-X2-XLR (FRONT AND RIGHT SIDE)

4

PLATE FABRICATION REQUIREMENTS	 SCALE: 6" = 1' - 0"

PARALLEL CONNECTIONS SHALL UTILIZE ONE LABEL IDENTIFIER WITH GRAPHICAL METHOD OF SHOWING  PARALLEL

M01	M02	M03	M04	M05	M06

TIE A	TIE B	TIE C	TIE D

L1	L2	St L	St R	AV LAN    AUDIO NET

TP01-1

ALTER TEXT ORIENTATION ONLY IN SPACE CONSTRAINED SCENARIOS

AV LAN

M01	M03

MIC 1

FOR RACK MOUNT

UTILIZE GROUP LABELING AS APPLICABLE.

BOX GROUPS IF INCREASED CLARITY APPROPRIATE.

SEPARATION OF CONNECTORS FOR CLARITY

VID	M02

M04

MIC 2

LOBBY 1

STG MNGR	ANNC	CHIME

PAC TIE LINES

TIE A	TIE B

M01	M02	M03	M04	M05

TIE A

TIE B

QV06

QM05

QM06

TIE C	TIE D

M06

M07

M08

M09

M10

TIE C

TIE D

PLATE LABEL IN LOWER CORNER FOR GANG AND NEMA BOXES, IN VISIBLE LOCATION FOR FLOOR BOXES (ONE LABEL PER FLOOR BOX).

USE DISCRETION ON UNIQUE IDENTIFIER FOR TYPICAL PLATE LAYOUTS, E.g. "IC" FOR TYPICAL PRODUCTION INTERCOM PLATES IN LIEU OF KP01, -02, -03 ETC.

LICENSE #

TIE A	TIE B	TIE C	TIE D

IC A	IC B

M57	M58

MON A	MON B

UTILIZE GRAPHICAL SEPARATION OF SIGNAL TYPES OR PARALLEL CONNECTIONS AS NEEDED TO ENSURE CLARITY

HORIZONTAL MOUNT FOR ALL GANG PLATE CONNECTORS. USE DISCRETION ON OTHER PLATE TYPES, HORIZONTAL OR VERTICAL ALLOWED FOR FIT/CLARITY.

VID	AV LAN	TIE A

GYM TIE LINES

TIE B

MON A	MON C

M01

IC A

MON A	MON B	MON C	MON D

VID	IC A	IC B

MON C

MON D

TIE A	TIE B	TIE C	TIE D

MON B

MON D

M02	IC B

QA06	QA10	QA01

QA04

QA22

FOR 12" x 12" NEMA BACK BOX	FOR 8" x 8" NEMA BACK BOX	FOR ACE BACKSTAGE SUPER DOUBLE WIDE  BACK BOX	FOR STANDARD GANG  BOXES

- PLATE LAYOUT EXAMPLES SCALE: 6" = 1' - 0"

TA501

CONCEPTUAL PANEL AND PLATE DETAILS

CONTROL BOOTH

Control Surface - Console DC64/27/2/4

EQUIPMENT RACK

DSP Core 128

"DSP CORE: 01"

8345 LENEXA DRIVE, SUITE 300 LENEXA, KS 66214

TEL 913.742.5000    FAX 913.742.5001

WWW.HENDERSONENGINEERS.COM

1950001098

MO. CORPORATE NUMBER: E-556D EXPIRES 12/31/20

TIE PANEL

"AV-LAN"

LAN 701

M 1	L 1

FROM HOUSE/STAGE INPUTS AS APPLICABLE

L 2

L 3

L 4

"ANNC"

M1 701

M/L 1

M/L 2

M/L 3

M/L 4

L 1	22AWG

CIML4-HP COL4

L 2

L 3

L 4

L1 701

L1 701

INTERCOM

L2

WIRELESS INTERCOM

701

ALS

"AUDIO NETWORK"

AN	L 5

701

JPS3

M/L 1	L 1

"AUDIO NETWORK"	AN

701

"Console Input 1"

L 6

M 26	L 7

M 27	L 8

Speaker Station 1CH

IC B

M/L 2	L 2

CIML4-HP COL4

M/L 3	L 3

M/L 4	L 4

"Console Input 2"

CD Player 1RU

Bal St

22AWG

"Console Input 1/8"

22AWG

M 28

M 29

M 30

M 31

M 32

PGM

Clear-Com KB-701

AN 701

AN 1

CDN64

AN 2

H

Parallel

Unbal St

GPI

AES	D

COM	AES

Clock

Clock

PIC## "IC A"

JPS1

UPS

COM1

COM	R

M3	701

LAN 701

LAN	SPDIF

MIDI	MIDI

AN

"IC B"

M3

Speaker Station 1CH

FIRE ALARM INTERFACE. COORDINATE CABLE PATHWAY AND

GPIO

GPIO

PROJECTION SCREEN INTERFACE. COORDINATE

Denon DN-700C

AN

USB

AN

LAN

701

LAN

701

IC B PGM

TERMINATION WITH APPROPRIATE DISCIPLINES (AS APPLICABLE).

USB

USB AB

USB

USB AB

CABLE PATHWAY AND TERMINATION WITH

AB	APPROPRIATE DISCIPLINES.

Yamaha QL5

Main Station 2CH

PIC## "IC A"     M3

"IC B"     M3

Clear-Com KB-701

QSC Q-Sys Core 510i

701

IC A IC B

L1

IC A IC B

22AWG

ALS Transmitter 72MHz "AUDITORIUM"

ALS Antenna 72MHz

DSP

701

PGM

ANNC

DSP

L3

701

M/L	RF	RF

DSP

L1 701

Clear-Com MS-702

Wireless Intercom Master Station

IC A IC B PGM

JPM2* "ANNC"     F5

22AWG

M1

701      DSP

For use with Microphone Handheld - PTT mic. Install  input connector and microphone

ORCHESTRA PIT

SHIELDED CAT6, TYPICAL ALL DIGITAL AUDIO NETWORK CONNECTIONS

St	St

Ethernet Switch - 24MGR-POE-L3 "AN LAN SW:01"

REFER  TO MANUFACTURERS REQUIREMENTS FOR WIRE TYPE AND INSTALLATION REQUIREMENTS, TYP.

INSTALL ANTENNA WITH CLEAR LINE-OF-SITE VIEW OF STAGE

Clear-Com/HME DX210

mounting on plate. Label connector as indicated.

"AUDIO NETWORK"

DOWN  STAGE LEFT

LAN 1

LAN 3

LAN 5

LAN 7

LAN 2

LAN 4

LAN 6

LAN 8

AN 701

AN

AN

701

AN 701

INSTALL ANTENNA WITH CLEAR LINE-OF-SITE VIEW OF STAGE

ENSURE CABLE INDUCED SIGNAL LOSS DOES NOT EXCEED MANUFACTURER'S RECOMMEND REQUIREMENTS

EQUIPMENT RACK

"AUDIO NETWORK"

DOWN STAGE RIGHT

"AUDIO NETWORK"

UPSTAGE CENTER

"AUDIO NETWORK"

PATCH ALL INCOMING FIELD CONNECTIONS,

TYP.

LAN 9

LAN 11

DANTE FLOOR AND WALL BOX CONNECTIONS

LAN 13

LAN 15

LAN 17

LAN 19

LAN 21

SFP 21

LAN 23

SFP 23

LAN 10

LAN 12

LAN 14

LAN 16

LAN 18

LAN 20

LAN 22

SFP 22

LAN 24

SFP 24

701

AN

DANTE FLOOR AND WALL BOX CONNECTIONS

701

VERIFY ALL CONNECTIONS, DATA TYPES, AND QUANTITIES. CONFIRM CONDUIT ROUTING PATH AS APPLICABLE. CONFIGURE SWITCH AS NECESSARY FOR PROPER OPERATION OF ALL PROTOCOL TYPES ACROSS

Wireless Microphone Antenna - Fin

Wireless In-Line RF Amp

Wireless Antenna DA

Wireless Mic Receiver - 4-CH

"WX 1-4"

Ethernet Switch - 10MGR-POE-L3

AVLAN NETWORK.

RF	RF	RF

RF A

RF A 1

RG-8

RF A	L 1

LAN

"AV LAN SW:02"

LAN

RF

RF Venue Diversity Fin

Shure UA830

Wireless In-Line RF Amp

RF B

RF B 1

RF A 2

RF B 2

RF A 3

RF B 3

RG-8 RG-58 RG-58

LAN 701

RF B RF A RF B LAN

L 2

L 3

L 4

AN

AN

701

702

LAN 701

LAN 701

LAN 1

LAN 3

LAN 5

LAN 7

LAN 9

LAN 2

LAN 4

LAN 6

LAN 8

LAN 10

LAN 701

701

LAN 701

RF	RF

RF A 4

RF B 4 RF A

Shure ULXD4Q

Wireless Mic Receiver - 4-CH

CONTROL BOOTH

SFP 11

SFP 12

Shure UA830

RF B

"WX 5-8"

RF A	L 1

Touchscreen - W8"

Ethernet Switch -

10MGR-POE-L3 "AB LAN SW:03"

Shure UA845-SWB

LAN 701

RF B RF A RF B LAN

L 2

L 3

L 4

AN

AN

701

LAN-PoE QSC TSC-80w G2

AB 702

AB 702

LAN 1

LAN 3

LAN 5

LAN 7

LAN 9

LAN 2

LAN 4

LAN 6

LAN 8

LAN 10

AB 702

AB 702

AB 702

LICENSE #

Shure ULXD4Q

Wireless Mic Receiver - 4-CH

"WX 9-12"

RF A	L 1

STAGE WALL

Touchscreen - W8"

LAN-PoE QSC TSC-80w G2

SFP 11

UPS

SFP 12

LAN 701

RF B RF A RF B LAN

L 2

L 3

L 4

AN

AN

701

DSP

COM1 701

COM

LAN

LAN 701

Shure ULXD4Q

PROVIDE CONDITIONED POWER FOR DSP CORE, PERIPHERALS, AND AV NETWORK SWITCHES

1 CONCEPTUAL SIGNAL FLOW - AUDITORIUM	                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                           NTS

TA701

SIGNAL  FLOW DIAGRAM

8345 LENEXA DRIVE, SUITE 300 LENEXA, KS 66214

TEL 913.742.5000    FAX 913.742.5001

WWW.HENDERSONENGINEERS.COM

1950001098

MO. CORPORATE NUMBER: E-556D EXPIRES 12/31/20

EQUIPMENT RACK	EQUIPMENT RACK

Amplifier - Type 5000x/4NQ AMP:01

LA/FR16-2x8”-126

Amplifier - Type 5000x/4NQ AMP:01

LA/FR16-2x8”-126

L 1	LS 1

L 2	LS 2

12AWG

LS	Tap=16Ω LS

L 1	LS 1

L 2	LS 2

12AWG

LS	 Tap=16Ω LS

L 3	LS 3

L 4	LS 4

Elctro-Vc EVA-2082/126

L 3	LS 3

L 4	LS 4

Elctro-Vc EVA-2082/126

GPIO

GPIO

AB

LA/FR16-2x8”-126

GPIO

GPIO

AB

LA/FR16-2x8”-126

AB	AB

QSC CXD4.5Q

701

LS	Tap=16Ω LS

Elctro-Vc EVA-2082/126

AB	AB

QSC CXD4.5Q

701

LS	 Tap=16Ω LS

Elctro-Vc EVA-2082/126

LEFT ARRAY

LA/FR16-2x8”-126	LA/FR16-2x8”-126

LS	Tap=16Ω LS

Elctro-Vc EVA-2082/126

LS	Tap=16Ω LS

CENTER ARRAY/CLUSTER

Elctro-Vc EVA-2082/126

LA/FR16-2x8”-1220	LA/FR16-2x8”-126

LS	Tap=16Ω LS

Elctro-Vc EVA-2082/1220

LS	Tap=16Ω LS

Elctro-Vc EVA-2082/126

Loudspeaker FL8-12"-64 "Label"

Amplifier - Type 3000x/4NQ AMP:04

LA/FR16-2x8”-1220

LS	Tap=8Ω

Elctro-Vc EVF1122S/64

L 1	LS 1

L 2	LS 2

12AWG

LS	Tap=16Ω LS

Loudspeaker FL8-12"-64

L 3	LS 3

L 4	LS 4

Elctro-Vc EVA-2082/1220

"Label"

GPIO

GPIO

AB

LS	Tap=8Ω

Elctro-Vc EVF1122S/64

AB	AB

QSC CXD4.3Q

701

LA/FR16-2x8”-126

LS	Tap=16Ω LS

Elctro-Vc EVA-2082/126

Amplifier - Type 5000x/4NQ AMP:02

L 1 	 	LS 1

BRIDGED

10AWG

Loudspeaker HL/S4-1x18"

LS	Tap=4Ω

LA/FR16-2x8”-126

LS	Tap=16Ω

L 2	LS 2

LS

SUB

|  | 10AWG |  |  | Danley TH118 |
| --- | --- | --- | --- | --- |
|  |  |  | Loudspeaker HL/S4-1x18" |  |
|  |  |  | LS | Tap=4Ω |
|  |  |  | Danley TH118 |  |

L 3 	 	LS 3

L 4	LS 4

BRIDGED

Elctro-Vc EVA-2082/126

GPIO

GPIO

AB

LA/FR16-2x8”-126

AB	AB

QSC CXD4.5Q

Amplifier - Type 3000x/4NQ AMP:03

701

LEFT ARRAY

Loudspeaker FL/R16-2x3"-123

LS	Tap=16Ω LS

Elctro-Vc EVA-2082/126

L 1	LS 1

L 2	LS 2

12AWG

LS	Tap=16Ω

LA/FR16-2x8”-126

L 3	LS 3

L 4	LS 4

Innovox HLA-Stage Lip

Loudspeaker

LS	Tap=16Ω LS

FRONT FILL LOUDSPEAKERS

Elctro-Vc EVA-2082/126

GPIO

GPIO

AB

FL/R16-2x3"-123

AB	AB

QSC CXD4.3Q

701

LS	Tap=16Ω

Innovox HLA-Stage Lip

Loudspeaker FL/R16-2x3"-123

LS	Tap=16Ω

LA/FR16-2x8”-1220

LS	Tap=16Ω LS

Elctro-Vc EVA-2082/1220

LICENSE #

Innovox HLA-Stage Lip

Loudspeaker FL/R16-2x3"-123

LS	Tap=16Ω

Innovox HLA-Stage Lip

"MON A"

EXISTING STAGE MONITOR OUTLETS

"MON B"

"MON A"

"MON B"

1 CONCEPTUAL SIGNAL FLOW - AUDITORIUM	                                                                                                                                                                                                                                                                                                                                       NTS

TA702

SIGNAL  FLOW DIAGRAM

April 4, 2019

PLATTE CITY R-3 SCHOOL DISTRICT

HIGH SCHOOL PERFORMING ARTS AUDIO-VIDEO SYSTEMS MINIMUM CAPABILITIES AND RECOMMENDED SOLUTIONS

This document sets forth minimum audio-video system standards for the Platte City R-3 Wilson Center for the Performing Arts. Please provide a complete proposal (defined per project phase) for new equipment, materials and labor as necessary to fulfill the standards set forth in this document. See conceptual signal flows and Appendix A Project Phases document.

Final equipment selection and configuration of system upgrades or enhancement will be subject to review by the District’s appointed Consultant by way of a traditional construction project submittal process.

Coordinate Owner’s general contractor to ensure proper pathways and structural mounting points.

- VIDEO TRANSPORT AND ROUTING

  - Video signal transport and routing shall be provided by a combined Control System Processor/Video Router system.

    - Crestron DMPS3-4K-150-C control unit shall be installed within the existing control booth rack located next to the sound mixing console

    - Video inputs:

      - Stage: Provide Crestron DM-TX-200C-2G-B-T installed at stage left or right proscenium opening (coordinate with touch screen controller location)

      - Booth: Provide hard-wired HDMI connection from the Control System Processor/Video Router to the Owner provided PC located near the sound mixing console.

- SYSTEM CONTROL

  - System Control shall be provided by way of touchscreens and related accessories connected to the Control System Processor/Video Router.

    - Crestron TSW-760 touch screen controllers: (1) for installation in control booth (with tabletop kit), and (1) for installation on stage wall.

    - Control parameters shall include:

      - Audio-Video System on/off

      - Basic Mode parameters:

        - Projector Power

        - Projector Source Selection

        - Screen Up/Down Control

        - Volume Control of Wireless Microphones 1 & 2

        - Volume Control of Wall Mount Media Input

        - Volume Control of Projector Media

      - Advanced Mode parameters:

        - Screen Up/Down Control

        - Projector Power

        - Projector Source Selection

    - Control System Network Switch

      - Provide managed network switch conforming to District IT systems. Ensure available ports for the following devices:

        - Control System Processor/Video Router

        - Touch Screen Controllers: Stage and Booth

Page 2 of 4

- DIGITAL AUDIO TRANSPORT

Using standard Ethernet technology, the digital audio network allows the transfer of large numbers of audio channels among multiple locations, over long distances, and with low latency. Used in conjunction with traditional audio cabling it provides flexible routing including the potential to add portable multi-input connection boxes using a single category cable.

  - Wiring infrastructure:

    - CAT6 shielded

    - Stage and orchestra pit locations connectors: Neutrik Ethercon

  - QLAN digital audio network by QSC.

    - Network switch requirements:

      - Gigabit rated (1000 Mbps)

      - Non-blocking

      - Quality of Service (QoS) with Diffserv (DSCP)

      - Egress Queues – minimum four egress queues per port

      - Egress Buffering - 40 kB egress buffering memory per A/V port

      - Strict Priority Queueing -

      - The ability to disable EEE (also called Green Ethernet)

      - Additional information is available at: https://www.qsc.com/resource-

files/productresources/dn/3rd_party_control/q_tn_sys_dn_qsys_generalswitchrequirements.pdf

  - Recommended pre-configured switches:

a)	QSYS NS Series switches

  - Required QLAN Drop Locations and minimum quantity:

    - Digital Signal Processor

    - Each QLAN compatible amplifier

    - Each control touch screen

- Network switch requirements:

  - Gigabit rated (1000 Mbps)

  - Non-blocking

  - Quality of Service (QoS) with four queues

  - Diffserv (DSCP) QoS with strict priority

  - The ability to disable EEE (also called Green Ethernet)

  - Additional information is available at:

- Recommended pre-configured switches:

  - Yamaha SWP or SWR series; or

  - Luxul AMS or XMS series

- Control booth mixing console position: (1) for connection to console, (2) for temporary/future use

- Main equipment rack: (1) for connection to switch

- Orchestra Pit: (1)

- Down Stage Left – near curtain stacking: (1)

- Down Stage right – near curtain stacking: (1)

- Upstage center: (1)

- MIXING CONSOLE

  - Yamaha QL5; with

    - Yamaha LA1L Gooseneck Console Lamp

    - Yamaha R Series I/O racks in quantity and model necessary to provide analog input/output connections (in addition to I/O on mixing console) for all venue audio inputs.

Page 3 of 4

    - Yamaha RIO-1608-D installed in Gator Cases GRR-4PL-US, or equivalent, (for portable use).

- WIRELESS MICROPHONES

  - Shure ULXD – (12 channels); with,

    - ULXD1 bodypack transmitter (12)

      - Avlex HSP-50 Hair/Wig microphone with appropriate wireless bodypack adaptor (1 per transmitter plus 10% spare) unless specified otherwise

    - ULXD2/B58 handheld transmitter (2)

    - RF Venue Distro4 Antenna Distribution System

    - RF Venue Diversity Fin remote antenna

      - RG-58 coax cable to remote antenna location

  - Shure Wireless Workbench System Control Software

- PROGRAM SOURCES

  - Denon DN-700C CD Player installed in existing control booth rack

  - AtteroTech unD6IO-BT Dante™ Audio Interface with Bluetooth installed in close proximity to stage touch screen controller

- EQUIPMENT RACKS

  - Control Booth: Reuse existing

  - Amplifier/Equipment Rack: Reuse existing.

- SOUND REINFORCEMENT LOUDSPEAKER SYSTEM

Left/Right/Mono loudspeaker configuration providing uniform full range audio coverage to most of the seating area. Additional coverage nearfield seating area by way of small-format calibrated, time aligned loudspeakers located on stage lip. Specific loudspeaker model, configurations, and quantities to be confirmed. Amplifier selection based on loudspeaker design. Coordinate loudspeaker placement and orientation with Consultant.

  - Center Array: ElectroVoice EVA series; standard configuration (4) enclosures

  - Left/Right Clusters: ElectroVoice EVA series; standard configuration (5) enclosures

  - Subwoofer: Danley Sound Labs TH-118; standard configuration (2) enclosures suspended immediately upstage of the Center Array

  - Front Fill Loudspeakers: Innovox HLA Stage Lip series; standard configuration (4) enclosures

  - Booth Monitoring: ElectroVoice EVU series; standard configuration (3) enclosures

  - Amplification: QSC CXD-Q Series

    - Select amplifiers to provide full peak amplification for each loudspeaker circuit per loudspeaker specifications.

    - Loudspeaker circuits shall not be designed to be below 4Ω nominal impedance.

- DIGITAL SIGNAL PROCESSING (DSP)

Provides loudspeaker system tuning and calibration along with the ability to provide basic system control, automatic mic control, simplified use, etc. The preferred DSP solution is one portion of a larger integrated system solution which includes DSP, amplification, system control, signal transport, etc.

  - QSC QSYS Core 510i; with

    - QSC CDN64 Dante Audio Bridge Card (for integration to Dante digital audio network)

    - QSC COL Card (2)

  - Network switch requirements for Q-LAN communication protocol serving control panel, host computer, DSP and amplifier digital audio, control, and monitoring connections:

    - https://www.qsc.com/resource- files/productresources/dn/3rd_party_control/q_tn_sys_dn_qsys_generalswitchrequirements.pdf

Page 4 of 4

  - Recommended pre-configured switches

    - QSC NS Series Network Switch for connection to QSC amplifiers

- MONITOR (FOLDBACK) LOUDSPEAKER SYSTEM

Amplification, integrated cabling and portable loudspeakers used to provide audio reinforcement to on stage performers on an as-needed basis. A minimum of (2) independent monitor mix signals is required. This includes integrated loudspeaker cabling to strategically locate connection plates.

  - Loudspeakers: Existing

  - Amplification: QSC CXD-Q Series

- PRODUCTION INTERCOM

Special event production crews rely heavily on voice communication intercom systems. Performing arts venues such as theaters and concert halls often have permanently mounted connections at critical points around the venue. The standard of design will include a minimum of two (2) independent production intercom channels deployed to strategic locations throughout the venue.

  - Base Station: Clearcom MS-702 mounted in the control booth location for use by stage manager/technical director.

  - Belt packs: Clearcom RS-701 single channel belt pack (8); with

    - 15’ XLR microphone cable for each belt pack

  - Headsets: Clearcom CC-300 (9)

  - Wall Mount Stations: KB-701 (qty. per venue requirements)

  - Announce Microphone: Shure 514B (in facilities requiring wall mount stations in back of house locations such as dressing room).

  - Wireless Production Intercom: Clearcom/HME CZ115513 System, including:

    - 5 (five) HS15 headsets

    - BS210 license-free base station w/2 antenna

    - 4 (four) BP210 belt packs

    - 8 (eight) BAT41 batteries

    - 4 (four) pouches

    - AC40A Battery Charger

- ASSISTED LISTENING SYSTEM

Assistive listening solutions are compliant with government regulations and bring clear, focused, and personalized audio to public spaces.

  - Transmitter: Listen Technologies LT-800-072-01; with

    - LA-122 Antenna (and cabling per manufacturer’s recommendation) Remotely mounted with line of site to majority of auditorium seating.

  - Receiver: Listen Technologies LR-4200-072 Intelligent DSP RF Receiver (qty as required per ADA regulations – based on venue seating capacity); with

    - LA-401 Universal Ear Speaker (1 per receiver); and

    - LA-166 Neck loop (quantity per ADA requirements); and

    - LA-381 Intelligent 12-Unit Charging Tray (1); and

    - LA-320 Configurable Carrying Case (quantity as necessary to store all provided receivers).

##### SECTION 00420 FORM OF AGREEMENT

##### PART 1 - GENERAL

  - FORM OF AGREEMENT

    - The Agreement that will be executed by the successful Contractor and Owner consists of the following:

      - AIA Document A107-2004 as amended by Owner

      - The Additions and Deletions Reports for the above.

    - The individual Documents that will comprise the Agreement between Owner and the Contractor are contained on the pages following this Specification Section.

  - LIEN WAIVERS

    - Partial and Final Waiver and Release of Lien forms to be utilized by the Contractor and Contractor’s subcontractors and suppliers are contained in the pages following this Specification Section.

    - See Specification Section 01200 for Contractor’s requirements related to transmission of Partial and Final Waiver and Release of Liens to Owner.

  - OTHER FORMS

    - The Request for Information (RFI) to be utilized by the Contractor are contained in the pages following this Specification Section.

    - See Specification Section 01200 for Contractor’s requirements for the use of and transmission of RFIs.

##### PART 2 - PRODUCTS (NOT USED)

##### PART 3 - EXECUTION (NOT USED)

##### END OF SECTION 00420

#### PCR3 Wilson Aud. AV Upgrades - Ph. 1	FORM OF AGREEMENT	1950001098

##### SECTION 01200

##### CONTRACT SUPPLEMENTAL CONDITIONS

##### PART 1 - GENERAL

  - SECTION INCLUDES

    - Work Sequence, Schedule for Completion and Penalties.

    - Contractor’s Construction Schedule

    - Substantial Completion.

    - Final Completion.

    - Application for Progress Payments.

    - Application for Final Payment.

    - Changes and Clarifications to the Work

    - Contractors Administrative Responsibilities.

    - Project Safety Requirements.

    - Warranties.

    - Demolition and Repairs.

    - Temporary Utilities.

    - Assignment of the Work.

    - Manufacturer’s Directions.

    - Storage of Materials.

    - Use of the Site.

    - Measurements.

    - Occupancy.

    - Construction by Others.

    - Runways and Drop Cloths.

    - Special Working Conditions.

    - Documents at the Site.

    - Record Documents.

    - Project Manual.

    - Correction of the Work.

    - Hazardous Materials.

  - WORKING SEQUENCE, SCHEDULE FOR COMPLETION AND PENALTIES

    - Contractor and all Subcontractors, and Suppliers shall furnish sufficient forces, construction tools and equipment, and shall work such hours as may be required to insure the execution of the Work in accordance with the Project Milestone Schedule, the Project phasing, the allowable working hours and the allowable disruptions to Owner’s normal use of the facility stated in the Contract Documents. If in the opinion of Owner, the Contractor is not making sufficient progress towards meeting these requirements, the Contractor shall take such steps as may be necessary to improve the progress. Should the Owner deem it necessary to meet these requirements, Owner will require the Contractor to increase the level of staffing, the number of shifts, overtime work and additional days of work including holidays, Saturdays and Sundays, in addition to other measures as necessary all without additional payments to the Contractor.

    - Owner has the authority to call a progress meeting at the job site at any time. The Contractor’s Project Manager is required to attend all such meetings. It is the Owner’s intent to hold regular meetings through the course of the Project. Scheduling of these meetings shall be established by Owner prior to the start of the Work.

    - Substantial Completion shall be achieved per the schedule below. Refer to the Project  Milestone Schedule included in these Specifications for additional Project schedule information.

Substantial  Start Date		Completion Date Per Owner		8/2/2019

Notice to Proceed

    - Penalties associated with failure to meet Substantial Completion date will be incurred starting with the calendar day following the Substantial Completion date listed above and accrue each calendar day until Substantial Completion is achieved. Substantial Completion is defined in these Specifications. Owner will assess the Contractor the penalty amounts listed by deducting the total penalty amount from any amounts due to the Contractor by Owner.

    - If the Contractor incurs a delay due to factors beyond their, their Subcontractors, and their Suppliers control, the Contractor shall submit a claim to Owner, within three (3) weekdays after such occurrence, requesting additional time to achieve Substantial Completion. Failure to submit a claim within the required time will result in a rejection of the claim by Owner.

    - If a Proposal Request for additional work will require the Contractor additional time to achieve Substantial Completion, the Contractor shall submit with the reply to the Proposal Request a claim for additional time to Owner. The Contractor shall include in the request for additional time sufficient information to demonstrate the cause and to what extent the change will delay obtaining Substantial Completion of the Contract.

    - The determination that delays have occurred beyond the Contractor's control does not automatically mean an extension of time will be granted. The Contractor must substantiate   the

delay by indicating suspended Work activities on the critical path of the Contractor's Construction Schedule.

    - Determination of the date of achievement of Substantial Completion by the Contractor shall be solely the responsibility of Owner.

  - CONTRACTOR’S CONSTRUCTION SCHEDULE

    - Contractor shall, within 7 calendar days after receipt of notice to proceed, submit to Owner the Contractor’s construction schedule for the Work. The Contractor’s construction schedule shall:

      - Demonstrate compliance with Project Milestone Schedule; Project phasing requirements; and Project allowable disruption to Owner’s normal use of the facility.

      - Include scheduled deliveries of Owner provided equipment and material.

      - Include scheduled deliveries of Contractor provided equipment critical to the Project schedule.

      - Include activities and schedule of Contractor’s subcontractors.

      - Be prepared, in sufficient detail, to allow review and approval by the Construction Manager.

    - Contractor’s construction schedule shall be periodically updated to reflect current conditions when directed by Owner and when Project schedule is altered as allowed by Owner.

  - SUBSTANTIAL COMPLETION

    - Substantial Completion as used in the Contract Documents and body of these Specifications shall be defined as follows:

      - All light fixtures are installed and operational.

      - All system and equipment insulation complete.

  - FINAL COMPLETION

    - Final Completion as used in the Contract Documents and body of these Specifications shall be defined as follows:

      - Substantial completion achieved.

      - All required tagging, labeling complete and signs installed.

      - All electrical directories complete.

      - All construction materials and tools removed from the site and site turned over to Owner “broom clean”.

      - All punch list inspection items completed and approved by Owner.

      - All inspections and tests required by authorities having jurisdiction completed and approved and submitted to Owner.

      - All items required to be included with application for final payment delivered to Owner.

      - Record drawings delivered to Owner.

      - Owner training schedule established and agreed to by Owner.

      - Operation and Maintenance Manuals delivered to Owner.

  - APPLICATION FOR PROGRESS PAYMENTS

    - At a time consistent with the requirements of this Section and the Form of Agreement between Owner and Contractor, or as mutually agreed to by the Contractor and Owner, Contractor shall submit a properly executed and notarized Application for Payment.

    - The amount shown on the Application for Payment shall be established by the value of work completed as stipulated in the Form of Agreement between Owner and Contractor.

    - The form of application for payment shall be the 1992 edition of AIA Document G702 "Application and Certificate for Payment" and the 1992 edition of AIA Document G703 "Continuation Sheet".

      - Include with Application for Payment a completed Schedule of Values indicating percent of work completed for each item in the Schedule of Values.

      - Schedule of Values shall provide a detailed breakdown of the Work. Breakdown shall include itemization of all major trades by major segments of the Work and large equipment and material quantities.

        - Submit Schedule of Values to Owner for approval a minimum of 14 days prior to submitting first Application for Payment. Revise schedule of values as directed by the Owner and resubmit.

        - Update schedule of values to reflect all approved changes in the Work.

      - Materials and equipment shall not be included with Application for Payment until materials and equipment have been delivered to the site. Application for payment shall not include materials and equipment stored off-site.

    - Owner will not process Contractors 1st application for payment until Contractor has provided Owner all required submittals and all required submittals have been approved by Owner.

    - Contractors executed and notarized partial or final lien waivers using the forms included in Division 0 shall be submitted with all applications for payment.

    - Partial or final lien waivers properly executed and notarized by each of the Contractors subcontractors and suppliers shall be submitted with each application for payment.

      - Submit lien waivers for each of Contractors subcontractors and suppliers where total subcontracted amount is $5,000 or greater.

    - Contractor warrants that title to all work covered by an application for payment will pass to the Owner at the time of payment.

    - Contractor warrants all work for which payment has been received from Owner shall, to the  best of the Contractor’s knowledge, be free and clear of any liens, claims, security interests or encumbrances.

    - Payments by Owner to the Contractor do not constitute acceptance by Owner of any portion of the Work.

  - APPLICATION FOR FINAL PAYMENT

    - Submit Final Application for Payment following the procedures specified for progress payments and per the following:

    - Complete the following prior to submitting Application for Final Payment.

      - All work defined as being required to be completed per these Specifications.

      - Forward to Owner all written Warranties provided by the equipment and material manufacturers and suppliers.

      - Forward to Owner copies of Record Drawings, and Operation and Maintenance Manuals.

      - Deliver to location designated by Owner all extra stock and spare parts required by this Contract. Forward acknowledgement of receipt of same to Owner that includes Owner's signature.

      - Prepare and deliver other documents identified in Section 01220 “Contract Closeout”.

      - Complete all other requirements to be completed prior to submitting Application for Final Payment identified elsewhere in the Contract Documents.

    - Include the following with Application for Final Payment.

      - Written confirmation, signed by Owner, of completion of Owner training or a written agreement detailing times and dates that the Owner training will be performed.

  - CLARIFICATIONS AND CHANGES TO THE WORK

    - Request for Information (RFI)

      - If during the performance of the Work clarification of the Contract Documents is required, Contractor shall request such clarification from Owner utilizing the Request for Information (RFI) form included in these Specifications. Owner shall provide written response to all RFIs and return to the Contractor for distribution to all Contractor’s subcontractors.

      - Owner responses to Contractor's RFI's are not authorization to proceed with any work which in the Contractor's opinion requires additional compensation or change to the Project Schedule. If additional compensation or time is required, the Contractor shall immediately submit a Change Order Request to Owner.

    - Proposal Request (PR)

      - Should the Owner contemplate making a change in the Work, Owner will issue a Proposal Request (PR) to the Contractor. If the changes described in the proposal request impact project cost and/or time, the Contractor shall prepare a proposal for submission to Owner. The Contractor's proposal shall include a detailed itemization of costs listing individual material and equipment unit costs and quantities; labor hours and hourly rates for each trade and Contractor and subcontractor mark-ups. Itemization shall include both adds and deducts. The same level of detailed itemization of cost required of the Contractor shall be

required of Contractor’s subcontractors when subcontractors represents 20% or more of  the total cost of the Proposal Request. Owner will review the cost documentation to determine if a Change Order will be issued. Contractor shall not proceed with additional work until authorization has been received in writing from Owner. No additional amount will be paid for preparation or submittal of proposals in this form or for re-submittal should the breakdown or other documentation be considered inadequate by the Owner.

      - The following maximum increases in cost (mark-up) shall be allowed in establishing the total cost of additions and deletions to the scope of the Project:

        - To Contractor for work by Contractor’s

Fee not to Exceed

own forces.	10%

        - To Contractor for work performed by

other than Contractor’s own forces.	5%

        - To Subcontractor for work performed by

Subcontractor’s own forces.	10%

        - To Subcontractor for work performed by

other than Subcontractor’s own forces.	5%

      - The above percentages will not be allowed on insurance premiums, taxes or fees. The above percentages include and shall represent all the cost of compiling the general requirements, all supervision and all overhead and profit associated with changes in the scope of the Project.

      - Contractor’s response to a Proposal Request shall clearly quantify any change in Contract time that will result if Contractor’s response is accepted by Owner. Contractor shall furnish sufficient documentation for changes to the Contract Time to allow review by Owner.

      - Contractor shall provide individual itemized costs and effects on Contract time where a Proposal Request includes multiple changes to the work.

    - Change Order (CO)

      - If the Owner determines that a Proposal Request (PR) or Contractor’s Change Order Request will be accepted, Owner will prepare a Change Order (CO) form which will describe the change or changes, will refer to the Owner’s Proposal Request or Contractor's

Change Order Request, and will be signed by Owner and Contractor. No work associated with any Change Order is authorized nor will payments be made without a fully executed written Change Order Form.

      - When authorized in writing and in advance by Owner, time and material accounting of a change in work may be used. The Contractor shall maintain an accurate account of labor and material involved in the change. Such time and material records shall be forwarded to Owner, on a daily or weekly basis, per the Owner’s direction, for verification prior to Contractor including the change in the Application for Payment. Notify Owner when work on the change is to start and when it has been completed. To receive full recognition, labor assigned to the changes must, insofar as possible, work continuously on the change, rather than interchanging between contract work and the work associated with the change performed using time and material accounting.

    - Construction Change Directive (CCD)

      - A Construction Change Directive is a written order signed by Owner directing a change in the Work prior to agreement on adjustment, if any, in the Contract Sum or Contract Time,  or both. Owner may by Construction Change Directive, without invalidating the Contract, order changes in the Work consisting of additions, deletions or other revisions, the Contract Sum and Contract Time being adjusted accordingly.

      - A Construction Change Directive shall be used in the absence of total agreement on the terms of a Change Order.

      - Upon receipt of a Construction Change Directive, the Contractor shall promptly proceed  with the change in the Work involved and advise Owner of the Contractor’s agreement or disagreement with the method, if any, provided in the Construction Change Directive for determining the proposed adjustment in the Contract Sum or Contract Time.

      - A Construction Change Directive signed by the Contractor indicates the agreement of the Contractor therewith, including adjustment in Contract Sum and Contract Time or the method for determining them. Such agreement shall be effective immediately and shall be recorded as a Change Order.

      - If the Contractor does not respond promptly or disagrees with the method for adjustment in the Contract Sum, the method and the adjustment shall be determined by Owner on the basis of reasonable expenditures and costs of those performing the Work attributable to the change, including, in case of an increase in the contract sum, a reasonable allowance for overhead and profit. In such case the Contractor shall keep and present, in such form as Owner may prescribe, an itemized accounting together with appropriate supporting data.

  - CONTRACTORS ADMINISTRATIVE RESPONSIBILITIES

    - Contractor shall utilize a full time, on-site Project Superintendent, under direct employment of the Contractor, to oversee and coordinate all aspects of the Work required by this Contract.

      - The Project Superintendent shall have full authority to make decisions for and to act on the behalf of the Contractor without requiring notice to or approval of any of the employees or agents of the Contractor.

      - Contractor's Project Superintendent shall have a minimum five (5) years experience in the type of work required by this Contract.

      - Project Superintendent shall be on-site at all times during which work is being performed by the Contractor or their Subcontractors.

      - Project Superintendent shall be responsible for coordinating all work, schedules and utility interruptions with the Owner's representative.

      - Project Superintendent shall serve as the primary point of contact between Owner and Contractor’s Subcontractors, equipment Suppliers and the Owner's representative.

      - Project Superintendent shall conduct all construction meetings required by these Specifications.

      - Project Superintendent shall complete and submit to Owner a Daily Work Report using the form included in Division 0.

    - Contractor shall be responsible for all scheduling of and coordination with all Subcontractors and material Suppliers, including those directly contracted with the Owner, to ensure timely sequencing of the Work, to minimize any disruption to utilities and to the Owner's normal use of the facility; and to ensure work is completed according to the Project Milestone Schedule.

    - Contractor shall coordinate all work involving Facility utility services and associated local utility companies, to ensure timely sequencing of the work and to minimize interruptions of normal utility service. All fees and costs assessed by the utilities shall be paid by the Contractor and shall be considered work required by the Contract.

    - Contractor shall be responsible for obtaining approval of all authorities having jurisdiction as described in these Specifications.

    - Contractor shall coordinate the start-up of all system, sub-systems and equipment. Contractor shall require and schedule the attendance of all Subcontractors performing work related to systems and equipment start-up. Contractor shall notify the Owner a minimum 72 hours in advance of all system and equipment start-up.

  - PROJECT SAFETY REQUIREMENTS

    - All parties involved with this Project are and shall be committed to maintaining a safe worksite and integrating safety into all construction and construction related activities.

    - It shall be the Contractor’s responsibility to identify and comply with all applicable provisions of federal, state and municipal safety laws, regulations, and building codes as they apply to the Work required by this Contract. Contractor shall be responsible for the safety of the Contractor’s employees, agents, suppliers and Subcontractors.

    - Prior to beginning any on-site activities the Contractor shall develop a Project specific written Safety Program. The Safety Program shall:

      - Identify the Contractor’s standard safety policies, procedures and employee training.

      - Identify hazards specific to the Work required by this Project, such as crane use, open shafts, excavation, fall protection and confined spaces; and the procedures and policies  that will be used to protect workers and the public.

      - Identify hazards specific to the Work required by this Project that may pose risks to the Owner’s employees, agents, and the public; and the procedures and policies that will be used to notify and protect the Owner’s employees, agents, and the public.

      - Establish schedule of weekly “toolbox” safety meetings and identify personnel that will conduct the meetings. Owner’s personnel will also attend the weekly meetings.

      - Identify the Contractor’s employee that will be responsible for maintaining a safe worksite and enforcing Contractor’s general and Project specific safety policies and procedures.

      - Address other topics that may be requested by the Owner.

    - Project Safety Program shall be submitted to the Owner prior to the Contractor beginning any on-site activities.

      - A sample job hazard analysis is included at the end of this Specification Section.

    - Contractor shall provide, at Owner’s request, a copy of the topics addressed during the weekly safety meeting and a list of the meeting attendees.

    - The Owner may, at the Owner’s sole discretion, require the Contractor to  submit  written incident reports to the Owner, using a format acceptable to the Owner. Reporting requirements may include any of the following:

      - Injury accidents.

      - “Near Miss” incidents.

      - Non-injury accidents involving damage to property, materials or equipment.

    - Contractor shall periodically perform inspections of all areas of the Project site to verify safety policies and procedures are fully in place and to identify and remedy any unsafe conditions, construction methods or other hazards. Frequency of inspections shall be as needed to maintain a safe worksite.

  - WARRANTIES

    - Project Warranty:

      - The Contractor shall provide a one year warranty for all materials, equipment, and labor furnished by the Contractor under this Contract. Contractor’s warranty shall include all materials, parts, labor and all other costs necessary to honor the warranty. Contractor warrants that the Work is free from defects in material and workmanship, complies with the Contract Documents and is 100 percent complete including all remedies to the Work identified by Owner.

    - Other Warranties:

      - Disclaimers and Limitations: Any of the Contractor’s Equipment Manufacturers, Materials Supplier's or Subcontractor's disclaimers and limitations on product or installation warranties not in compliance with specified Project Warranty do not relieve the Contractor from providing the specified Project Warranty.

    - Warranty Requirements:

      - Related Damages and Losses: When required to be corrected under the Project warranty, Contractor shall remove and replace construction that has been damaged as a result of such failure or must be removed and replaced to provide access for correction of warranted construction.

    - Commencement of Warranty Period:

      - Warranty period shall commence at time Final Completion is achieved as defined in these Specifications and as determined by Owner.

      - Owner shall issue in writing to Contractor warranty start and end dates.

  - DEMOLITION AND REPAIRS

    - All equipment and material removed during the performance of the Work shall be presented to the Owner. Equipment and material accepted by the Owner shall be delivered to a location on the site designated by the Owner. All equipment and material not accepted by the Owner shall be deemed property of the Contractor, shall be promptly removed from the site, and shall be legally disposed of by the Contractor.

    - Contractor shall be responsible for removal and reinstallation of all existing building structure, fixtures, finishes, and other building components (i.e., ceiling, walls, light fixtures, roofing, windows and doors, etc.) required to perform the Work.

    - Contractor shall repair all building structure, improvements, permanent and moveable fixtures and finishes including paving and landscaping damaged as a result of Work performed under this Contract using skilled tradesmen and materials matching existing structure, improvements, fixtures and finishes. All repairs shall be completed to the satisfaction of the Owner.

  - TEMPORARY UTILITIES

    - Temporary Electric Power: Electric power for equipment and power tools may  run  from Owner's existing service. Contractor to provide all materials and labor necessary to connect to existing service. Location of connection to existing service is to be at Owner's convenience and direction.

    - Temporary Water: Water will be provided by Owner from Owner’s existing service. Location of connection is to be at Owner's convenience and direction.

    - Sanitary Agreements: Owner will allow workmen to use only those toilets, sinks and drinking fountains in the existing Facility designated by the Owner.

  - ASSIGNMENT OF THE WORK

    - The division of the body of the Specifications into various sections or headings and the assignment of the Work to individual drawings and the use of drawing numbers and titles has been arranged for clarity in the delineation of the various parts of the whole work. It is not the intent of each Specification Section, each Drawing nor each drawing number or title to develop any secondary responsibilities for the satisfactory completion of the Work; nor is the assignment by Owner of any parts of the Work to any specific trade or craft to be inferred from the Specifications or the Drawings. Contractor is fully responsible for providing all work required by this Contract.

  - MANUFACTURER'S DIRECTIONS

    - All Manufacturer’s materials and equipment shall be applied, installed, connected, erected, used, cleaned and conditioned as recommended by the Manufacturer unless otherwise specifically directed by Owner or specified herein.

  - STORAGE OF MATERIALS

    - All materials delivered to the job shall be stored so as to keep them in first class condition and free from deterioration. Equipment and material shall be stored as recommended by the manufacturer. Steel shall be stored on racks at least 6 inches from the ground, and shall be protected from the weather. In general, material deliveries shall be coordinated with the progression of work to avoid prolonged storage of materials or equipment at job site. On-site storage of equipment, materials and tools shall be only in locations and for durations identified by the Owner.

  - USE OF THE SITE

    - Rubble, trash, demolished or removed materials and equipment shall not be stored on the site or left unattended and shall be disposed of daily in a manner approved by the Owner.

    - Contractor’s and subcontractor’s employees shall park personal and company vehicles only in the locations designated by the Owner.

  - MEASUREMENTS

    - Before ordering any materials or equipment or doing any work, the Contractor shall verify all measurements at the site and shall be responsible for the correctness of same. No extra charge shall be allowed on account of the differences between actual measurements and those indicated on the Drawings.

  - OCCUPANCY

    - All areas of building shall remain occupied by the Owner during the performance of the Work except those specific areas where work is actually being performed as identified by the Contract Documents. Contractor shall notify Owner 7 days in advance of need to interrupt Owner's normal occupancy and use of areas involved in this Contract, or any other areas within the Facility, and shall perform the work in such a manner to minimize all such interruptions.

    - Occupancy or use of a portion or portions of the Work by the Owner shall not constitute acceptance of Work not complying with the Contract Documents.

  - CONSTRUCTION BY OTHERS

    - Owner reserves the right to perform construction and construction related work at the site with their own forces and with other contractors.

    - Contractor shall fully cooperate with the Owner so that neither the Contractor’s work nor work performed by the Owner is adversely affected. Cooperation shall include coordination, exchange of information, attending meetings and efforts as necessary by both the Contractor and the Owner’s employees and contractors.

    - Contractor shall not restrict the Owner and their Subcontractor’s access to or use of the site,  nor inhibit in any way their ability to meet their contractual obligations.

  - RUNWAYS AND DROP CLOTHS

    - Whenever Contractor's performance of the Work requires them to work in proximity to or in direct contact with any finishes, furnishing or furniture, Contractor shall protect such finished work using the best possible practices.

  - SPECIAL WORKING CONDITIONS

    - The Contractor will recognize the presence of employees, visitors and other members of the public at the site and shall employ adequate precautions to protect the employees, visitors and the public from all hazards associated with the Work and to protect the Work from damage. "Spotters" shall be utilized when equipment is being installed or removed.

    - Contractor’s materials, tools, equipment and construction apparatus shall not be left unlocked  or unprotected. Contractor's workmen shall be instructed to keep small tools in their personal possession or observation at all times. Neither the Owner nor the Construction Manager assume responsibility for the Contractor’s materials, tools, equipment or construction apparatus used or stored at the site.

    - The Owner's building engineering staff and administrators shall be consulted as to any hazards particular to this site, this facility and the Work. Contractor shall comply with all directions given by the Owner and the Owner’s designated representatives.

    - No firearms or other weapons, explosives, intoxicating beverages or narcotics shall be carried on, or used on the Owner's property. Contractors and all Subcontractors shall adhere  to Owner’s tobacco use policy.

    - There shall be no fraternization with visitors or employees on the job.

    - Contractor shall recognize the fact that most employees of the Owner are non-union personnel and that such fact shall not be considered as excuse for delay in the Work. Contractor, its agent, Subcontractors, employees and Suppliers shall not interfere in any manner with the labor relations between Owner and its employees. In no case will any responsibility of the Contractor to employ union labor be extended to Owner, nor will the work performed by Owner's employees, whether union or non-union, be interfered with by Contractor, its employees, Subcontractors, agents or suppliers.

    - The Contractor shall be responsible for informing all of their personnel and employees, Subcontractors, Suppliers and related employees of the "Special Working Conditions".

  - DOCUMENT AT THE SITE

    - Contractor shall maintain at the site one record set of the Drawings, Specifications, Addenda, Change Orders, RFIs, and all approved submittals. Contractor shall continuously update and mark these documents to reflect actual installed condition and locations (both horizontally and vertically) and all approved changes issued by Owner.

    - These documents maintained at the site shall become the basis of the Contractor’s preparation of the Project Record Drawings and Project Manual.

  - RECORD DOCUMENTS

    - Prepare "as-built" record documents for all mechanical, fire protection, medical gas, plumbing and electrical systems. Record drawings shall be provided using AutoCAD (most current version). Provide both hard copies and electronic copies on CDROM’s as part of record Drawings. Record Drawings shall be updated shop drawings or Drawings issued for Bid and shall include:

      - Record Drawings shall represent actual installed condition of all work.

      - Ductwork mains and branches, type, size, location, and elevation for both exterior and interior; locations of fire, smoke, combination fire/smoke, balancing, backdraft and other types of dampers or louvers, and other control devices; filters; grilles and diffusers with airflow rates and devices requiring periodic maintenance or repair, turning vanes, access doors, air terminal units and all other devices located in or connected to ductwork systems.

      - Mains and branches of all piping systems, type, size, locations and elevation with valves and control devices located and numbered to match valve schedule, with items requiring maintenance located (i.e., traps, strainers, expansion compensators, mixing valves, etc.). Indicate actual inverts and locations of all underground piping.

      - Equipment locations (exposed and concealed), dimensioned from prominent building lines.

      - Approved substitutions, Contract Modifications, and actual equipment and materials installed.

    - Owner will provide Contractor with AutoCAD Drawing files for use by the Contractor in maintaining, preparing and submitting final Record Drawings.

  - PROJECT MANUAL

    - Assemble and submit at completion of the Project, a Project manual that includes at a minimum all of the following:

      - All RFI’s with Owner’s responses.

      - Copies of all approved submittals, including all shop Drawings.

      - Copies of all test reports.

      - Copies of all reports by inspectors representing authorities having jurisdiction. Include initial and final reports and any Contractor responses to same.

      - Copies of all system, equipment, etc. start-up reports.

      - Other information that may be useful or required by Owner necessary to document the  work performed under this contract.

  - CORRECTION OF THE WORK

    - Contractor shall correct any Work rejected by Owner for failure to comply with the Contract Documents, whether discovered before or after the Work has been covered by subsequent Work, whether or not inspected by Owner and whether or not the Work has been determined to be substantially or finally complete.

    - Contractor shall bear the full cost of correcting the Work to bring the Work into compliance with the Contract Documents. Cost of correction shall include all costs associated with:

      - Uncovering and recovering the Work.

      - Recovering and replacing the non conforming Work

      - Any re-inspections, acceptances, certifications and approvals required by authorities having jurisdiction and by the Contract Documents.

      - Revisions to Record Documents.

  - HAZARDOUS MATERIALS

    - Contractor shall comply with the Contract Documents and all laws, standards and handling criteria regarding hazardous materials, substances and wastes, including asbestos, lead-based paints, petroleum products, mold, radon and polychlorinated biphenyl (PCB) in performing the Work. No hazardous materials shall be brought onto the Project site or otherwise incorporated into the Work by any of the Contractor parties. In the event hazardous materials are encountered that are not addressed in the Contract Documents, Contractor shall immediately

(1) stop Work in the affected area, (2) report the condition to the Owner both verbally and in writing and (3) take all reasonable precautions to prevent or contain the movement, spread or disturbance of the suspected hazardous materials and to protect all persons and property.  Once the Owner has investigated and, if necessary, properly remediated, abated or contained the suspected hazardous material, Work in the affected area shall resume. Provided the Contractor fulfills its obligations herein, The Contract Time shall be extended appropriately by Change Order.

##### PART 2 - PRODUCTS (NOT USED)

##### PART 3 - EXECUTION (NOT USED)

##### END OF SECTION 01200

##### SECTION 01220 CONTRACT CLOSEOUT

##### PART 1 - GENERAL

  - SUMMARY

    - This Section includes requirements for Contract closeout and related matters.

    - All documents described in this Section of the Specifications shall be submitted to the Owner prior to Owner making final payment to Contractor.

  - CLEAN UP

    - At the completion of work, remove all temporary facilities, unused materials, tools, equipment, trash and debris from the site. Leave the site clean, neat and ready for full and normal use by the Owner.

  - OPERATION AND MAINTENANCE MANUALS

    - Submit Operation and Maintenance Manuals to Owner for approval. Organize operating and maintenance data into suitable sets of manageable size. Bind and properly index data in individual heavy-duty, 3-ring, vinyl covered binders, with pocket folders for folded sheet information. Mark appropriate identification on front and spine of each binder. Include the following types of information:

      - Emergency instructions.

      - Spare parts list.

      - Copies of warranties.

      - Control and wiring diagrams.

      - Recommended "turn around" cycles.

      - Inspection and Maintenance procedures.

      - Shop Drawings and Product Data.

      - One copy of all submittals and "As Built" Drawings.

  - FINAL INSPECTION REPORT

    - Submit to Owner a report detailing actions taken by Contractor as a result of Owner’s final project inspection. Contractors report shall detail action taken for each individual item included in Owner’s final inspection report. Include a copy of Owner's inspection report with Owners signature verifying completion of remedial actions with Contractor’s submission.

  - OTHER DOCUMENTS

    - See Section 01200 for other documents to be submitted with Application for Final Payment. Documents identified in Section 01200 include:

      - Record Drawings.

      - Project Manual.

      - Lien Waivers.

      - Owner Training Verification.

      - Extra Stock and Spare Parts.

      - Project and Other Warranties.

##### END OF SECTION 01220

##### SECTION 01330

##### PERMITS, REGULATIONS AND TAXES

##### PART 1 - GENERAL

  - CONTRACTORS RESPONSIBILITIES

    - The Contractor shall be responsible for obtaining and paying for any and all permits, licenses, plan reviews, inspections, etc, including building permits, required by all authorities having jurisdiction over the Work required by this Contract.

    - Contractor shall arrange and pay for any and all inspections required by non-governing authorities having jurisdiction over the Work, including any utility companies, as required by the Work.

    - Owner is a not for profit entity and such is not subject to sales and similar taxes. Contractor  shall not be required to make such tax payments for this project. Successful bidder will be provided with proof of Owners tax exempt status prior to award of the Contract.

    - All work shall be in full compliance with the building codes, ordinances and regulations adopted by all governing bodies having jurisdiction over the Work required by this Contract.

      - The Contractor shall promptly notify Owner if the Contractor observes that any portions of the Contract Documents are at variance with the codes, ordinances and regulations governing the Work. Owner shall take such actions necessary to bring the Work into compliance.

    - Contractor shall, after obtaining approval of submittals from Owner, forward any and all required information to any authority having jurisdiction, including but not limited to local and State Fire Marshals, as required to obtain approval of same.

    - The Contractor and all Subcontractors performing work under this Contract shall fully comply with the provisions of the Federal Occupational Safety and Health Act and the rules and regulations promulgated pursuant to this Act.

    - Contractor shall comply with or warrant:

      - Contractor represents and warrants that neither it nor any of the other Contractor Parties will employ or use any individual to perform Work who is not legally authorized to work in the United States in the capacity required to perform such Work. Contractor further certifies that all employees and other individuals performing Work are legally authorized to work in the United States in the capacity required to perform the Work and will provide upon request written documentation to support such certification. Contractor shall indemnify,  hold harmless and, if the Owner elects, defend Owner from and against all claims, damages, losses and expenses arising out of any alleged failure of Contractor to comply with its warranties, representations, and certifications under this paragraph.

      - Contractor shall maintain, preserve and make available to Owner for at least six years after final payment, records of all costs incurred by Contractor arising out of or relating to the Work, including invoices, vouchers, checks, receipts, time sheets, accounts, cost reports, contracts, inspections, tests, lien waivers and releases. Upon reasonable notice, Owner shall have the right to audit all of the Contractor’s books and records with respect to the Project.

##### PART 2 - SUBCONTRACT AGREEMENTS

A.	Contractor agrees to include all the provisions contained in Specification Section 01330  in each of its agreements with all subcontractors for work or services to be performed for the Project.

##### PART 3 - PRODUCTS

(NOT USED)

##### PART 4 - EXECUTION

(NOT USED)

##### END OF SECTION 01330

##### SECTION 01340 TESTS AND INSPECTIONS

##### PART 1 - GENERAL

  - CONTRACTOR’S RESPONSIBILITIES

    - Contractor shall arrange for and pay for all tests, inspections and approvals, associated with the Work, required by the Contract Documents, by laws, or by any authorities having jurisdiction over the Work.

    - All required tests and inspections shall be scheduled and obtained by the Contractor matching the sequence of the Work to ensure Work is completed per the Project Milestone Schedule.

    - Contractor shall forward to Owner all certificates or notices of all tests and inspections, including the results of tests and inspections, issued by the entities performing the tests and inspections. Where such entities do not issue certificates and/or results of tests and inspections, Contractor shall provide a written report to Owner detailing:

      - Date and time of test or inspection.

      - System or equipment tested or inspected.

      - Entity performing test or inspection, including contact name and contact information.

      - Results of test or inspection.

      - Any remedial actions identified by the entity performing the test or inspection.

    - Contractor shall perform all remedial actions identified by the entity performing the test and/or inspection; and shall perform any other work required to obtain the approval of the entity performing the test and/or inspection. No additional payments shall be made to the Contractor, nor shall any extensions to the Project Milestone Schedule be granted where required remedial actions are Work required by the Contract Documents.

##### PART 2 - PRODUCTS

(NOT USED)

##### PART 3 - PART 3 – EXECUTION

(NOT USED)

##### END OF SECTION 01340

#### PCR3 Wilson Aud. AV Upgrades - Ph. 1	TEST AND INSPECTIONS	1950001098

#### Platte City, MO	01340-1	April 2019

##### SECTION 01420 SUBMITTALS

##### PART 1 - GENERAL

  - SUMMARY

    - This Section includes administrative and procedural requirements for submittals required for performance of Work.

      - See individual specification sections for submittal requirement specific to each product, material, equipment or service required by the Work.

      - Contractor shall, prior to forwarding a submittal, review each submittal to ensure the information required to be included in the submittal (as identified in each specific section) is in fact included.

      - Submittals that do not include all required information (as identified in each specification section) will be returned to the Contractor without review.

  - SUBMITTAL PROCEDURES

    - Engineer will provide Contractor with a project submittal log identifying all submittals required to be furnished by the Contractor to Engineer and Owner.

      - Engineer will maintain Project Submittal Log to reflect current status of all submittals required to be furnished by the Contractor. Contractor may request a copy of the Project Submittal Log at any time during the project.

    - All submittals shall be forwarded to the Engineer electronically using read only PDF files. Large submittals shall utilize multiple PDF files with each individual PDF file being clearly named (describing contents of file) and limited to a maximum file size of 8 MB.

      - Each submittal shall include an Owner transmittal cover sheet. Owner will provide Contractor with a master transmittal cover sheet.

      - Submittals shall be emailed to:  Ciarra.king@hendersonengineers.com

      - Email Subject Line: Wilson Auditorium AV Upgrades – Phase 1

    - Processing: Allow sufficient review time so that the Project will not be delayed as a result of the time required to process submittals, including time for required re-submittals.

      - Allow 7 calendar days for Engineer’s MEP submittal review. Allow additional time if processing must be delayed to permit coordination with subsequent and related submittals.

      - No extension of Contract Time will be authorized due to Contractor’s failure to transmit submittals to Engineer sufficiently in advance of the Contractor’s need for approved submittals based on the Contractor’s Project Schedule.

    - Clearly mark each submittal to show applicable choices, options and accessories provided. Where printed Product Data includes information on several products, some of which are not required, mark copies to indicate the information applicable to the product or material supplied. Submittals not marked to show applicable choices will be returned for revision. Include the following information with each submittal where applicable. See each Section of these Specifications for additional information to be included with each submittal.

      - Manufacturer's printed installation and application recommendations.

      - Compliance with specified trade association’s standards.

      - Compliance with specified testing agencies, Codes and Standards requirements.

    - Contractors Review: Review each submittal and check for coordination with other Work of the Contract and for compliance with the Contract Documents prior to forwarding to Owner. Note any corrections and required field dimensions on body of submittal.

    - Approval Stamp: Stamp each submittal with a Contractor’s approval stamp. Include Project name and location, submittal number, Specification Section number and title, name of reviewer, date of Contractor’s approval and statement certifying that submittal has been reviewed, checked and approved by the Contractor for compliance with the Contract Documents.

    - Organize and forward submittals to Engineer by individual Specification Section. Provide a minimum of one submittal per Specification Section.

  - ENGINEER'S ACTION

    - Engineer will review each submittal, will revise submittal as required to comply with the Contract Documents and will mark with Action Stamp.

    - Engineer will return reviewed submittal electronically using the same file format as used by Contractor.

    - Action Stamp: Each submittal will be stamped with a uniform, self-explanatory action stamp.  The stamp will be appropriately marked, as follows, to indicate the action taken:

      - "1" – Approved:  When submittal is marked "Approved” that part of the Work covered by  the submittal process may proceed.

      - "2" – Approved as Corrected: When submittal is marked "Approved as  Corrected", that  part of the Work covered by the submittal may proceed provided all submittal review notes are fully complied with, without exception.

      - "3" – Revise and Resubmit: When submittal is marked "Revise and Resubmit", do not proceed with that part of the Work covered by the submittal, including purchasing, fabrication, delivery or any other activity. Prepare a NEW submittal in accordance with all submittal review notes and specified requirements; resubmit without delay.

      - "4" – Rejected: Where submittal is marked "Rejected", submittal has been rejected without review for compliance with specifications. Do not proceed with that part of the Work covered by the submittal, including purchasing, fabrication, delivery or any other activity. Prepare a NEW submittal showing full compliance with the specified requirements; resubmit without delay. Contractor shall perform no portion of the Work that requires the Contractor to obtain approved submittals until such approval has been obtained from Owner.

      - “5” – Not Reviewed: Where submittal is marked “Not Reviewed”. Submittal will be returned with an explanation as to why the submittal was not reviewed.

      - "6" – For Information Only: Where submittal is primarily for information or record purposes, special processing or other activity, the submittal will be returned, marked "For Information Only". Resubmittal is not required.

      - “7” – See Attached Review by Others: Submittal was reviewed by an Owner retained consultant. Follow the submittal actions directed by the consultant.

    - Review of submittals shall be for compliance with Drawings, schedules, Specifications and design intent. Approval of a submittal or any portion of a submittal shall not be interpreted as approval of the following information included in the submittal:

      - Quantities (i.e. number, lengths, volumes, square feet, weights, etc.)

      - Dimensional compatibility with installed locations.

      - Methods of factory and/or field assembly.

      - Transport, storage, rigging, installation, start-up and testing methods.

      - Warranties in conflict with specified warranties.

      - Payment terms in conflict with specified terms.

    - Contractor’s first Pay Application will not be processed until all required submittals have been received and approved by Engineer and Owner.

  - SUBMITTALS TO AUTHORITIES HAVING JURISDICTION

    - Contractor shall be responsible for preparing and submitting calculations, shop drawings, product data and all other required documents to all authorities whose approval must be obtained to perform and accept the Work.

    - Format and number of copies shall be as required by reviewing authorities. Engine shall be provided with one copy of all such submissions concurrent with submission to reviewing authority.

    - Contractor shall provide the Engineer one copy of all approved submissions (with proof of reviewing authority’s approval). Contractor shall provide the Owner with one copy of all field inspection and field test reports issued by the reviewing authorities.

    - Documents required by paragraphs A, B and C above shall be included in the Project Manual detailed in Section 01200.

##### PART 2 - PRODUCTS

(NOT USED)

##### PART 3 - EXECUTION

(NOT USED)

##### END OF SECTION 01420

##### SECTION 01530

##### WORKING HOURS, UTILITY INTERRUPTIONS AND PROJECT PHASING

##### PART 1 - GENERAL

  - BASIS OF BID

    - Contractor shall prepare the bid and execute the Work based on conducting all work to be performed at the site only during the allowable working hours specified in this Specification Section and detailed elsewhere in the Contract Documents.

    - Contractor shall prepare the bid and execute the Work requiring utility interruptions per the requirement of this Specification Section and detailed elsewhere in the Contract Documents.

    - Contractor shall prepare the bid and execute the Work utilizing the Project Phasing requirements of this Specification Section and detailed elsewhere in the Contract Documents.

  - ALLOWABLE WORKING HOURS

    - Allowable Working Hours: Allowable working hours shall be defined as those hours during  which Contractors, material Suppliers, technicians, and startup personnel may have access to various interior and exterior areas at the site for the purpose of performing all work required by this Contract.

    - Normal Business Hours: 6:30am to 4:30pm; Monday through Friday. Not all work required to complete the Project can be performed during normal business hours. Work required to be performed outside normal business hours is identified later in this Specification Section.

    - Application: All work performed at the site, both within the Facility and exterior to the Facility, by the Contractor, by all Contractor’s Subcontractors and by all other Contractor’s Partners shall be performed only during the specified allowable working hours.

    - Verification of allowable working hours shall be the responsibility of the Contractor prior to the start of any work required by this Contract. Verification shall include the following:

      - Contractor shall meet with Owner’s representative to detail the type of work to be  performed in each area where work will be performed within and exterior to the facility.

      - Contractor shall obtain, from Owner’s representative, Owner’s normal occupancy and utilization schedules for all areas within the Facility that will be affected by work required by this contract.

      - Contractor shall then establish allowable working hours, for each type of work in each individual area in which work is to be performed. All allowable working hours shall be approved by Owner.

      - Contractor shall prepare a written description of allowable working hours for each type of work in each individual area in which work is to be performed. Written description shall be distributed to all Subcontractors, all other Contractor’s Parties, to the Owner.

    - In general, Owner will allow the Contractor to perform work in the following areas during normal business hours, if work performed by the Contractor does not adversely affect in any manner Owner’s normal use of the Facility, nor create objectionable noise, dust or other disturbances.

      - Mechanical and electrical rooms.

      - Exterior to the Facility excluding work associated with exterior equipment such as rooftop air handlers, cooling towers, utility services, roadways, parking lots, etc.

      - Other areas specifically as identified by the Owner.

    - Owner reserves the right to require Contractor to immediately cease any work in any location should said work produce noise, dust, fumes or in any other manner interfere with Owner’s normal or required use of the Facility; or creates any unacceptable interruption in the normal operation of any mechanical, electrical, plumbing or fire protection and alarm systems or other required systems.

    - Owner reserves the right to require Contractor to cease work in any area Owner requires  access to on an emergency basis.

    - Contractor shall maintain contingency work plans should Owner be required to alter allowable working hours on short notice or require Contractor to cease work as previously described. Contractor contingency plan shall allow efficient use of their personnel in other areas or perform other portions of the Work when Owner exercises the right to deny Contractor access to specific areas. Additional payment to the Contractor will not be allowed as a result of Owner’s denial of access to areas within the Facility.

    - Contractor’s and Subcontractor’s personnel may, at the Owners discretion, be allowed access  to the area within the Facility during times other than during specified allowable working hours  to perform the following:

      - Taking of measurement, inventory, etc., as required to order product and materials and to shop fabricate items for field installation.

      - Making general observations related to scheduling of work and product and material deliveries.

      - Receiving products and materials that cannot be delivered during allowable working hours.

      - Owner will require Contractors to immediately cease work associated with items 1, 2 and 3 above should said work produce noise, dust, fumes or interfere in any way with Owner’s normal and required use of the Facility.

      - All work listed for items 1 through 4 above shall be scheduled in advance with the Owner.

    - Delivery of material and products shall be scheduled to occur during normal business hours. Where deliveries cannot occur during allowable working hours, Contractor shall coordinate delivery times and location with Owner, a minimum of 72 hours in advance of delivery. Owner shall identify allowable areas of on-site temporary storage and allowable maximum storage period. Materials and products shall be set in final installed location only during allowable working hours.

  - UTILITY INTERRUPTIONS

    - Definition: Utility interruptions shall be defined as any disruption to the normal operation of the following MEP systems caused by the Contractor in order to perform the work required by this contract.

      - HVAC Systems:

        - Heating

        - Cooling

        - Airflow

        - Exhaust

        - Temperature control systems

      - Plumbing Systems:

        - Domestic cold and hot water

        - Sanitary drainage

        - Storm drainage

        - Fire protection

        - Natural gas

      - Electrical Systems:

        - Normal and emergency power

        - Lighting

        - Phone/data/communications

        - Local and facility P/A

        - Security

        - Cable and satellite television

        - Fire detection

        - Fire annunciation

    - All disruptions of utility services shall be performed only during hours specified later in this Specification Section or where not specified only during hours identified by the Owner. Contractor shall establish allowable time periods for utility interruptions using methods similar to that described for establishing allowable working hours (Section 1.2).

    - All interruptions shall be as short in duration as possible. Any service interrupted shall be restored to full operation as soon as practical and at a minimum shall be restored to full operation a minimum of 2 hours prior to Owner occupancy or normal use of space or system affected by interruption.

    - All interruptions shall be scheduled with Owner a minimum of 7 days in advance of interruption.

    - Contractor shall schedule the work in such a manner as to minimize the number of utility interruptions required to perform the Work.

  - SPECIAL WORKING HOURS

    - No Work in project scope is identified as requiring special working hours.

  - DRAWINGS AND SPECIFICATIONS

    - Additional requirements for project phasing, allowable working hours and utility interruptions may be identified in other Sections of these Specifications and on the Drawings.

##### END OF SECTION 01530

##### SECTION 01600 CUTTING AND PATCHING

##### PART 1 - GENERAL

  - SUMMARY

    - This Section includes procedural requirements for cutting and patching.

  - DEFINITIONS

    - Cutting: Removal of existing construction necessary to permit installation or performance of the Work.

    - Patching: Restoration and repair work required to restore surfaces to original conditions after installation of the Work.

  - QUALITY ASSURANCE

    - Structural Elements: Do not cut and patch structural elements in a manner that could change their load-carrying capacity or load-deflection ratio.

    - Operational and Miscellaneous Elements: Do not cut and patch elements and related components in a manner that results in reducing their capacity to perform as intended or that results in increased maintenance or decreased operational life or safety.

    - Visual Requirements: Remove and replace construction that has been cut and patched in a visually unsatisfactory manner.

    - Rated Construction: Cut and patch existing elements that are fire and/or smoke rated using methods and materials that maintain the existing rating and that are approved by authorities having jurisdiction.

##### PART 2 - PRODUCTS

  - MATERIALS

    - Existing Materials: Use materials identical to existing materials. For exposed surfaces, use materials that visually match existing adjacent surfaces to the fullest extent possible.

      - If identical materials are unavailable or cannot be used, use materials that, when installed, will match the visual and functional performance of existing materials and that are  approved in advance by the Owner.

##### PART 3 - EXECUTION

  - EXAMINATION

    - Examine surfaces to be cut and patched and conditions under which cutting and patching are to be performed.

      - Compatibility: Before patching, verify compatibility with and suitability of substrates, including compatibility with existing finishes.

      - Proceed with installation only after unsafe or unsatisfactory conditions have been corrected.

  - PREPARATION

    - Temporary Support:  Provide temporary support of Work to be cut.

    - Protection: Protect existing construction during cutting and patching to prevent  damage.  Provide protection from adverse weather conditions for portions of Project that might be  exposed during cutting and patching operations.

    - Adjoining Areas: Avoid interference with use of adjoining areas or interruption of free passage to adjoining areas.

    - Existing Services: Where existing services are required to be removed, relocated or abandoned, bypass such services before cutting to minimize interruption of services to occupied areas using methods approved by the Owner.

  - PERFORMANCE

    - General: Employ skilled workers to perform cutting and patching. Proceed with cutting and patching at the earliest feasible time, and complete without delay.

      - Cut existing construction to provide for installation of other components or performance of other construction and subsequently patch as required to restore surfaces to their original condition.

    - Noise and Dust Generating Operations: Coordinate noise and dust generating operations with the Owner and Owners Facility Specific Procedures (01510) to minimize disturbance to normal operations. Noise and dust generating operations may be required to be conducted at other  than normal working hours.

    - Cutting: Cut existing construction by sawing, drilling, breaking, chipping, grinding and similar operations, including excavation, using methods least likely to damage elements retained or adjoining construction. If possible, review proposed procedures with original Installer, and comply with original Installer's written recommendations.

      - In general, use hand or small power tools designed for sawing and grinding, not hammering and chopping. Cut holes and slots as small as possible, neatly to size required, and with minimum disturbance of adjacent surfaces. Temporarily cover openings when not in use.

      - Existing Finished Surfaces: Cut or drill from the exposed or finished side into concealed surfaces.

      - Concrete and Masonry: Cut using a cutting machine, such as an abrasive saw or a diamond-core drill.

      - Proceed with patching after construction operations requiring cutting are complete.

    - Patching: Patch construction by filling, repairing, refinishing, closing up and similar operations following performance of other Work. Patch with durable seams that are as invisible as possible. Provide materials and comply with installation requirements specified in other Sections of these Specifications.

      - Inspection: Where feasible or required, test and inspect patched areas after completion to demonstrate integrity of installation.

      - Exposed Finishes: Restore exposed finishes of patched areas and extend finish restoration into retained adjoining construction in a manner that will eliminate evidence of patching and refinishing.

      - Floors and Walls: Where walls or partitions that are removed extend one finished area into another, patch and repair floor and wall surfaces in new space. Provide an even surface of uniform finish, color, texture and appearance. Remove existing floor and wall coverings  and replace with new materials, if necessary, to achieve uniform color and appearance.

        - Where patching occurs in a painted surface, apply primer and intermediate paint coats over patch and apply final paint coat over entire unbroken surface containing the patch. Provide additional coats until patch blends with adjacent surfaces.

        - Perform work to maintain existing fire and smoke ratings.

      - Ceilings: Patch, repair or re-hang existing ceilings as necessary to provide an even-plane surface of uniform appearance.

      - Exterior Building Enclosure: Patch components in a manner that restores enclosure to a weather tight condition.

      - Rated Construction: Where cutting and patching rated construction fully restore fire and/or smoke rating of existing construction using only materials and methods acceptable to authorities having jurisdiction. Obtain and pay for any required inspections after completion of restoration.

##### END OF SECTION 01600

##### CONTRACTOR’S PARTIAL WAIVER AND RELEASE OF LIEN

- OWNER: 	Platte County R-III School District

- CONTRACTOR:

- PAYER: 	Platte County R-III School District

- PROJECT:	Wilson Auditorium AV Upgrades – Phase 1

- ADDRESS:

- APPLICATION FOR PAYMENT NUMBER:

- AMOUNT OF PAYMENT:

For and in consideration of the payment to be made by Owner to the Contractor in the amount set forth in Item H. above, which payment is for Work, labor and services and/or materials furnished for the construction of the above referenced Project, the Contractor hereby certifies as follows:

  - The Contractor hereby waives, releases and quit claims in favor of the Owner of the Project, each and every party acquiring title to and/or making a loan on the Project, and the title company or companies examining and/or insuring title to the Project and any and all of their successors and assignees, all rights of the Contractor to assert a lien upon the land and improvements  comprising the Project, but only to the extent of sums actually received for Work, labor, services and materials furnished through 	, plus the sum paid as set forth in item G above.

  - The Contractor has not assigned any lien or right to perfect a lien against the Project, and the Contractor has the right, power and authority to execute this document.

  - The  Contractor warrants that all laborers and all subcontractors employed by the  Contractor,   and all other laborers, trade contractors and sub-subcontractors of every tier and all suppliers or materialmen who have furnished work, labor, materials or services incorporated into the Project and any lien or bond claimant relating to the Work, labor, materials or services of any such laborers, subcontractors, trade contractors, sub-subcontractors, suppliers or  materialmen furnished in connection with the Project, have been paid their respective portion of all prior payments and that none of such laborers, subcontractors, trade contractors, sub-subcontractors, suppliers, materialmen, or other claimants have any claim of lien against the Project through the

day of 	,20 	.

  - No security interest has been given or executed by the Contractor for or in connection with any materials, appliances, machinery, fixtures, or furnishings placed upon or installed in the Project.

IN WITNESS WHEREOF, this Partial Release of Lien has been executed this 	day of

, 20 	.

##### WITNESSES

By:

Its:

Subscribed and sworn to before me this 	day of 	, 20 	.

(Notary Public)

My Commission Expires:

(Notarial Seal)

CONTRACTOR’S AFFIDAVIT AND FINAL WAIVER AND RELEASE OF LIEN

    - OWNER:

    - CONTRACTOR:

    - PAYER: 	Platte County R-III School District

    - PROJECT:	Wilson Auditorium AV Upgrades - Phase 1

    - ADDRESS:

    - APPLICATION FOR PAYMENT NUMBER:

    - AMOUNT OF FINAL PAYMENT:

For and in consideration of the payments made by Owner to the Contractor or to any subcontractor, materialman or supplier of the Contractor, for labor and employed in and/or materials furnished for the construction of the above referenced Project, the Contractor hereby certifies as follows:

- Upon receipt of the sum specified in Item G. above, the Contractor certifies that it has received payment in full for all sums due and payable under the contract described herein, as amended by all change orders and other amendments, if any (collectively, the “Contract”), and all sums due for all materials furnished to and/or for all Work performed and labor and services furnished in the construction of the Project, and the Contractor hereby affirms that there will be no outstanding claims against the  Contractor and/or its sureties in connection with this Project.

- Contingent upon receipt of the sum specified in item G., the Contractor does hereby waive, release and quit claim in favor of the Owner of the Project, each and every party acquiring title to and/or making a loan on the Project, and the title company or companies examining and/or insuring title to the Project and any and all of their successors and assignees, all rights of the Contractor to assert any lien upon the land and improvements comprising the Project, by virtue of any law in the jurisdiction in which the land and improvements are situate or any amendment of said law, regarding the rights of a contractor, subcontractor, laborer, supplier, or materialman to assert a lien or claim against the Project.

- Contingent upon receipt of the sum specified in Item G., the Contractor does hereby forever release, waive, and discharge the Project and the Owner of the Project, from any and all causes of action, suits, debts, accounts, damages, liens, encumbrances, judgments, claims, and demands whatsoever, in law or equity which the Contractor and/or its successors and/or assignees ever had, now have, or ever will have against the Owner of the Project, by reason of the Contract and/or the performance of Work and/or the furnishing of labor, services and materials relating to the construction of the Project; and the Contractor hereby agrees to indemnify and hold the above parties harmless from any and all damages, costs, expenses, demands, suits, and legal fees, directly or indirectly relating to or arising out of any claim or lien by any party relating to that which was paid or performed or should have been performed by or for the  Contractor in connection with the Project or under the terms of the Contract.

- The Contractor has not and will not assign any claim against the Owner of the Project, nor any lien or right to perfect a lien against the Project, and the Contractor has the right, power, and authority to execute this Affidavit, Final Waiver and Release.

- Contingent upon receipt of the sum specified in Item G., the Contractor agrees that all laborers and all subcontractors employed by it, and all other laborers, trade contractors and subcontractors and sub-subcontractors of every tier and all suppliers or materialmen who have furnished Work, labor, materials or services in connection with the Project will be paid in full and that none of such laborers, subcontractors, trade contractors, sub-subcontractors, suppliers, materialmen, or other claimant will have any claim, demand or lien against the Project, and the Contractor hereby agrees to hold the Project and the Owner of the Project harmless from any such claim, demand or lien.

- No security interest has been given or executed by the Contractor for or in connection with any materials, appliances, machinery, fixtures, or furnishings placed upon or installed in the Project.

This Affidavit, Waiver and Release shall be an independent agreement and covenant and shall operate and be effective with respect to Work and labor done and materials furnished under any supplemental contract or contracts, whether oral or written, for extra or additional work on the Project and for any further work done or materials furnished at any time with respect to the Project subsequent to the execution hereof.

IN WITNESS WHEREOF, this Final Release of Lien has been executed this 	day of

, 20      .

##### WITNESS

By:

Its:

Subscribed and sworn to before me this 	day of 	, 20 	.

(Notary Public)

My Commission Expires:

(Notarial Seal)

PLATTE CITY HIGH SCHOOL - AUDITORIUM AUDIO UPGRADES APPENDIX A PROJECT PHASE REQUIREMENTS

DATE: THURSDAY, APRIL 4, 2019

##### SUMMARY

Henderson Engineers has been contracted to perform analysis, evaluation, and recommendations regarding the Audio and Video systems within the Wilson Center for the Performing Arts. This report serves to set forth a “phased” upgrade recommendation based upon the results of the study.

##### PHASE 1

  - Mixing Console

    - Replace existing mixing console with Yamaha QL5

  - Digital Signal Processing

    - Replace existing Digital Signal Processing with:

      - QSC QSYS Core 510 digital signal processor

  - Front fill loudspeakers

    - Replace existing Front Fill loudspeakers with:

      - Innovox HLA-Stage Lip loudspeakers

  - Control System Processor/Video Router

    - Add Crestron DMPS3-4K-150-C Digital Media Presentation Center

  - Stage Video Input

    - Add Crestron DM-TX-200-C-2G-B-T Wall Mount Video input to Proscenium wall

  - Booth Video Input

    - Replace existing computer input with Crestron DM-TX-200-C-2G-B-T Wall Mount Video input to Proscenium wall

  - Wireless Production Intercom

    - Add ClearCom/HME Wireless Production Intercom system

  - Check mic/line wiring

    - Verify existing wiring and repair/replace as necessary

##### PHASE 2

- Main Loudspeaker System

  - Replace existing loudspeaker system with Matrixed L/R-Mono line array system comprised of:

    - ElectroVoice EVA installation line array

    - ElectroVoice EVF installation loudspeakers (portion of center “mono” array)

    - Danley Sound Labs TH series subwoofers

    - Innovox Front Fill Loudspeakers

##### PHASE 3

- Wireless Microphones

  - Supplement existing wireless microphone systems with 12 additional channels and associated antenna distribution.

    - Shure Axient Digital

- Wired Production Intercom

Page 2 of 2

  - Add wired production intercom

    - Clearcom Party Line

- Miscellaneous Microphones, cables, etc.