Daphne Utilities

Request for Bid

Hauling and Disposal

of Class B Biosolids

RFB 20-02

Bid Specifications

The scope of work shall consist of the removal and disposal of Class B biosolids waste generated by Daphne Utilities at the Water Reclamation Facility, 29280 N. Main Street, Daphne, Alabama 36526. Contractor shall remove and dispose of Class B dewatered biosolids via 40 cubic yard dump trailers sealed to prevent leakage during transport. The trucks will transport the waste to a mutually agreed upon ADEM approved land application disposal site. Trailers shall be cleaned before returning to the Water Reclamation Facility. Contractor shall agree to provide all labor and equipment for removal and transporting.

The contractor must comply with all record keeping and reporting requirements and the development and implementation of nutrient management plans and operations plans, which include the documentation and use of appropriate best management practices for minimizing vectors and birds, odors and fugitive dust, spills, and time in transit. Contractor shall provide Daphne Utilities with documentation of such, as defined by Beneficial Use of By-Product Materials for Land Application of By-products Materials, ADEM Admin Code chapter 335-13-16 and in accordance with all state and federal laws and requirements.

The contractor shall accommodate “on call” and scheduled pick up service. Daphne Utilities will normally provide at least 24 hours notice for “on call” pick ups unless the Department Manager deems emergency pick ups necessary. The frequency of transporting from the Water Reclamation Facility would range from three (3) to six (6) loads per week.  An increase in frequency may be required if deemed necessary by the Department Manager. Daphne Utilities reserves the right to purchase more or less based on actual need.

Change orders shall be mutually agreed upon and based upon written authorization from the Department Manager. Any defects in the work performed must be corrected before the project is eligible for payment. Defects may include, but are not limited to: lack of required paperwork, improper disposal method and unapproved disposal site.  Payment terms shall be net 30 days.

Daphne Utilities

Request for Bid

Hauling and Disposal

of Class B Biosolids

RFB 20-02

Bid Form

$ _________________

Per 40 cu yd trailer (includes all costs)

Hauling and Disposal of Class B Biosolids

For Daphne Utilities per 40 cu yd trailer:

I have read and understood the terms and conditions and the bid specifications of this bid.  I also understand, and have provided or will provide at the appropriate time, all documentation required.  Omission of any required documentation may result in the bid being deemed unresponsive by Daphne Utilities.

Submitted by: __________________________________________________________			Company name of bidder

_________________________________________________________________________________________

By:  company officer name

_________________________________________________________________________________________

Signature

__________________________________________		________________________________		Title							Date

_________________________________________________________________________________________

Company address, city, state, zip

___________________________________________		________________________________

Phone							EIN / tax id number

___________________________________________		________________________________

Point of contact name					Point of contact phone

___________________________________________

Point of contact email