{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"images":1,"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":83,"n_cols":14,"rows_kept":83,"merged":[[1,2,1,5],[1,6,1,10],[1,11,1,12],[2,7,2,8],[2,9,2,10]]}
[]
["Building Type","Address","Door Locks",{"$nulls":3},"Flooring (square feet)",{"$nulls":4},"Existing HVAC",null,"New HVAC (See M0.1 for Details)"]
[null,null,"Front","Back","Storage","WHC","Kitchen","Restroom (Main Level)",null,"Restroom (Upper Level)",null,"Packaged","Split"]
["D2","701 Alfredda Delaney Street",1,1,1,1,96]
["A","707 Alfredda Delaney Street",1,1,null,1,76]
["A","709 Alfredda Delaney Street",1,1,null,1,76]
["A","739 Alfredda Delaney Street",1,1,null,1,76]
["A","741 Alfredda Delaney Street",1,1,null,1,76]
["D2","1514 Boyd Street",1,1,1,1,96]
["E","1308 Calloway Street",1,1,null,null,108]
["F","212 Douglas Avenue",1,1,null,null,124]
["H","223 Douglas Avenue",1,1,null,null,138]
["F","227 Douglas Avenue",1,1,null,null,124]
["A","238 Douglas Avenue",1,1,null,1]
["A","240 Douglas Avenue",1,1,null,1]
["C1","1601 Dora Street",1,1,null,null,103]
["H","1625 Dora Street",1,1,null,null,138]
["A","1627 Dora Street",1,1,null,1,{"$nulls":5},"2 ton gas",null,"PKG-1"]
["A","1629 Dora Street",1,1,null,1]
["A","1631 Dora Street",1,1,null,1,{"$nulls":5},"2 ton gas",null,"PKG-2"]
["A","1633 Dora Street",1,1,null,1]
["D1","1600 Dunbar Street",1,1,null,null,103]
["F","1601 Dunbar Street",1,1,null,null,124]
["H","1626 Dunbar Street",1,1,null,null,138]
["D2","803 James Davis Drive",1,1,1,1,96]
["A","807 James Davis Drive",1,1,null,1,76]
["A","809 James Davis Drive",1,1,null,1,76]
["C2","829 James Davis Drive",1,1,1,1,75]
["A","849 James Davis Drive",1,1,null,1,76]
["A","851 James Davis Drive",1,1,null,1,76,35]
["A","867 James Davis Drive",1,1,null,1,76]
["A","869 James Davis Drive",1,1,null,1,76]
["A","1016 Knoxville College Drive",1,1,null,1,76,35]
["A","1018 Knoxville College Drive",1,1,null,1,76]
["C1","700 Monroe Senter Street",1,1,1,null,103]
["A","710 Monroe Senter Street",1,1,null,1,76,{"$nulls":5},"2 ton gas","GF-1,HP-1"]
["A","712 Monroe Senter Street",1,1,null,1,76]
["A","716 Monroe Senter Street",1,1,null,1,76]
["A","718 Monroe Senter Street",1,1,null,1,76]
["D1","721 Monroe Senter Street",1,1,null,1,103]
["A","726 Monroe Senter Street",1,1,null,1,76]
["A","728 Monroe Senter Street",1,1,null,1,76]
["B","729 Monroe Senter Street",1,1,1,1,75]
["B","731 Monroe Senter Street",1,1,1,1,75,{"$nulls":5},"3 ton gas","GF-2,HP-2"]
["A","734 Monroe Senter Street",1,1,null,1,76]
["A","735 Monroe Senter Street",1,1,null,1,76]
["A","736 Monroe Senter Street",1,1,null,1,76]
["A","737 Monroe Senter Street",1,1,null,1,76]
["D1","740 Monroe Senter Street",1,1,1,null,103]
["D2","1708 Moses Avenue",1,1,1,1,96]
["C1","1750 Moses Avenue",1,1,1,null,103]
["D1","1200 University Avenue",1,1,1,null,103,{"$nulls":5},"3 ton gas","GF-3, HP-3"]
["B","1208 University Avenue",1,1,1,1]
["B","1210 University Avenue",1,1,null,null,75]
["G","1216 University Avenue",1,1,1,1]
["G","1218 University Avenue",1,1,1,1,75]
["C1","1224 University Avenue",1,1,1,null,103]
["J","1225 University Avenue",1,1,1]
["J","1313 University Avenue",1,1,1]
["J","1315 University Avenue",1,1,1]
["C2","1321 University Avenue",1,1,null,null,75]
["F","1330 University Avenue",1,1,null,null,124]
["H","1402 University Avenue",1,1,1,1]
["F","1404 University Avenue",1,1,null,null,124]
["H","1500 University Avenue",1,1,null,null,138]
["D2","1503 University Avenue",1,1,null,null,96]
["B","1505 University Avenue",1,1,null,null,75]
["B","1507 University Avenue",1,1,null,null,75]
["D2","1601 University Avenue",1,1,null,null,96]
["D2","1625 University Avenue",1,1,1,1,96]
["B","1627 University Avenue",1,1,1,1,75]
["B","1629 University Avenue",1,1,1,1,75]
["G","1631 University Avenue",1,1,1,1,75]
["G","1633 University Avenue",1,1,1,1,75]
["J","1637 University Avenue",1,1,1,1,88,{"$nulls":5},"3 Ton Gas","GF-4, HP-4"]
["C2","1511 Wallace Street",1,1,1,1,75]
["E","1605 Wallace Street",1,1,1]
["G","1606 Wallace Street",1,1,1,1,75]
["G","1608 Wallace Street",1,1,1,1,75]
["G","1624 Wallace Street",1,1,1,1,75]
["G","1626 Wallace Street",1,1,1,1,75]
[]
["Total",null,{"$f":"SUM(C4:C81)","v":78},{"$f":"SUM(D4:D81)","v":78},{"$f":"SUM(E4:E81)","v":31},{"$f":"SUM(F4:F81)","v":51},{"$f":"SUM(G4:G81)","v":5811},{"$nulls":4},2,4,10]