SPECIFICATIONS FOR INSTALLATION OF ULTRAVIOLET SANITATION SYSTEM

Requested bidders, please provide a “TURNKEY PRICE” for the installation of an Ultraviolet Sanitation System for the indoor Therapy Pool, Indoor Lap Pool, and Outdoor Leisure Pool at the Manchester Recreation Complex.

- ALL BIDDERS ARE REQUIRED TO DO A SITE EVALUATION AT 557 NORTH WOODLAND STREET AND MEET WITH THE OWNER PRIOR TO SUBMITTING A BID.

- T.C.A. 12-4-201 requires a payment bond of 25% of the contract price if it exceeds $100,000.  In addition, T.C.A. 12--    207 requires a bond to pay taxes and licenses.

3.    BIDS ARE DUE ON THURSDAY, SEPTEMBER 8 AT 10:30AM.  THEY MUST BE SEALED WITH CONTRACTORS NAME, LICENSE NUMBER ON THE OUTSIDE.  IF MAILED OR DELIVERED THEY MUST BE RECEIVED BEFORE THE BID DEADLINE.  THEY CAN BE MAILED OR DELIVERED TO BRIDGET ANDERSON, FINANCE DIRECTOR CITY OF MANCHESTER, 200 WEST FORT STREET MANCHESTER TENNESSEE.  ALL QUESTIONS REGARDING THE BID MAY BE ADDRESSED TO BONNIE GAMBLE, DIRECTOR PARKS AND RECREATION, BGAMBLE@CITYOFMANCHESTERTN.COM OR 931-728-0273

4. Owner reserves right to accept or reject any or all Bids, reject a Bid not accompanied by a required      Bid Security or by other data required by Bidding Documents, reject a Bid which is in any way incomplete, illegible, unsigned, improperly signed or sealed, obscure, or reject a Bid which contains arithmetical errors, erasures, alterations, or irregularities of any kind.

Bids received after scheduled opening time will be returned to Bidder unopened.

ULTRAVIOLET DISINFECTION & CHLORAMINE DESTRUCT SYSTEM

  - GENERAL

    - It is the intent of these specifications that the swimming pool water be routinely monitored and treated by UV sterilization in the range of 220nm to 400nm to inactivate pathogens, including chemical resistant strains such as cryptosporidium and giardia and to continuously remove chloramines. The concentration of free chlorine residual shall at all times meet the requirements of the Health Department authority having jurisdiction over the swimming pool.

    - The successful Bidder shall furnish and install a complete closed vessel, medium pressure, high-intensity, ultraviolet disinfection (UV) system as described in this specification for the indoor lap pool and the indoor therapy pool (I each per pool). A low pressure, high-intensity, ultraviolent disinfection (UV) system shall be provided for the outdoor play pool. All units are to include 316L stainless steel chamber, control system located in a NEMA rated panel, medium pressure lamps (indoor pools), low pressure lamps (outdoor pool), quartz sleeves, automatic wiping system (lap and therapy pools), strainer baskets and systems start up by a manufacturer’s Certified Technician. The Contractor shall be responsible for equipment installation per directions of the Manufacturers. The City will be responsible for providing the necessary electrical hook-ups, but the Bidder must be able to provide an on-site walk through to discuss requirements and locations.

    - The medium-pressure UV systems being submitted must have a complete and approved 3rd party validation by a reputable engineering firm experienced in conducting UV validations. 3rd party validations must be done in accordance to NSF 50 (2012) Annex H. for Cryptosporidium or Disinfection or to the US EPA 2006 Ultraviolet Disinfection Guidance Manual (UVDGM). Systems that are undergoing validation at the time of bid shall not be allowed.  System must have a UL or equivalent (CSA, ETL or MET) listing.

    - Only Bidders with a minimum of 10 years’ experience supplying similar equipment into the Aquatics industry will be approved. If requested, the Bidder must be able to provide at least 10 satisfactory installations with contact names and telephone numbers if requested.

# System Parameters

| Location | Model | Flow up to (gpm) | Flange Connection Size (in.) | UVT % |
| --- | --- | --- | --- | --- |
| Indoor Lap Pool | Swim I-450+ | 1583 | 8” | 30-100 @ 60mj |
| Indoor Therapy Pool | Swim I-450+ | 1583 | 8” | 30-100 @ 60mj |
| Outdoor Play Pool | SAG-1200A | 1140 | 8” | 95 @ 45mj |

INDOOR POOLS

- UV Chamber

The chamber(s) shall be constructed of 316 SS and be capable of either horizontal or vertical installation. All wetted parts shall be stainless steel, high purity quartz, Teflon, and/or viton. The chamber(s) shall be provided pre-wired and only require field connections from the power/control module to the chamber.

Pressure shall be rated for 145 psi (tested to 220 psi). Pressure drop across the unit will be minimal.

The chamber(s) shall be designed in such a way that when properly installed and operated there is no possibility of direct operator exposure to UV light from the UV lamps. The UV chamber shall be pressure rated for continuous operation at 150 psi and tested to 225 psi.

Chambers shall be located no more than 16 ft. (5 m) from the control enclosure The chamber shall incorporate:

# Temperature Sensor

A temperature sensor shall be fitted to the chamber for protection against heat buildup under no or low flow conditions. UV system will shut down and alarm in event of heat buildup in the chamber in accordance with NSF 50 (2012).

# UV Intensity Sensor

The sensor will measure the UV intensity of the lamp and provide continuous performance verification.

    - The sensor shall be designed with an accuracy of +/- 10% or the accuracy of the identical sensors employed during validated testing.

    - System shall be supplied either with one sensor for the entire system or one sensor for every two lamps.

    - The sensor shall be a dry type sensor, allowing removal of the sensor without the need to drain the vessel for removal of the sensor.

    - The sensor window shall be automatically wiped as part of the overall automatic cleaning system and at the same frequency the sleeves are wiped.

    - Sensor shall be capable of field verification.

    - The sensor shall produce a 4-20 mA signal, which shall be sent to the control module.

    - Wet type sensors shall not be allowed.

(3) Safety switches shall be incorporated into the end plates of the vessel, shutting down the UV system if an end plate is removed while the lamps are on, in accordance with NSF 50 (2012).

# Automatic Wiping System

For periodic cleaning of the quartz sleeves and UV sensor, the chamber shall be fitted with an automatic/mechanical cleaning mechanism.

The cleaning mechanism is electrical/mechanical and shall be operated by means of a two-pole bi-directional capacitor driven motor and an acme lead screw. Limit switches shall be provided at the ends of the chamber to signal the control system to stop the motor when it reaches the end of the chamber.

The cleaning cycle shall be field adjustable. The cleaning cycle shall be activated from the control system or manually at the operator interface.

# UV Lamps

Only medium pressure high intensity ultraviolet lamps shall be provided. Germicidal UV output from the lamps shall not be affected by temperature.  Full output must be available from 0 to 200 degrees.

Each lamp shall be individually numbered and the manufacturing process shall permit full audit and traceability of assembly. In addition to an individual serial number, the part number shall be displayed on the lamp.

# Ballast

The UV lamps shall be powered by electronic ballasts, ensuring the required level of disinfection is met at all times.

a.   Electronic ballasts will be capable of varying power to the lamps in 1% increments from 30% to 100%.

# UV System Control

The UV system shall be provided with a microprocessor based control and monitoring system mounted in an epoxy coated steel, NEMA 12 (IP 54) cabinet suitable for indoor installation and includes fan cooling with replaceable inlet filters. The cabinet shall be electrically interlocked so that the module is de-energized when the door is open.

The cabinet shall contain an operator interface on the front panel door. This operator interface shall consist of an alphanumeric display and membrane buttons for operator interface. All information, warnings, and alarms shall be presented on the alphanumeric display in plain English for ease of use and display the following information:

  - Power on

  - System ready indicator

  - UV intensity %

  - UV dose (mJ/cm2)

  - Flow rate in GPM

  - Alarm condition

  - Wiper status

  - Consumable spare parts list with part numbers

  - Local/remote operation switch, door mounted

The control panel shall contain an Earth Leakage detector, which shall provide fail-safe protection for bathers and those working on the equipment within the pool environment. Systems without an Earth Leakage detector shall not be allowed.

# Remote Data Monitoring and Trending

The control system shall have the option of being equipped with a monitoring device capable of sending information to a downloadable application for smartphones, tablets, laptops and other mobile devices. The application shall show system operating status for multiple systems and indicate if an alarm is activated. Additionally, the application will provide the user direct access to the manufacturer for service and aftermarket support.

A website shall be available to view data, trends and key operation parameters on the installed systems.

# UV Performance

The system shall be designed to deliver a 3-log inactivation of Cryptosporidium as demonstrated during the NSF 50-2012 or US EPA UVDGM 3rd party validation testing at a UVT of 94%.

Any systems validated or designed for flows based on a transmittance value greater than 94% shall not be allowed.

# Warranty

All components (excluding commodity items) have a limited warranty, to be free from defects in workmanship and materials for a period of 12 months from date of start-up or 18 months from date of shipment, whichever occurs first.

UV lamps are warranted to operate for 8000 hours when operated continuously. A continuously operated UV lamp which fails prior to 4000 hours of operation, shall be replaced free of charge. Intermittently operated UV lamps (>1 on/off cycle per day) will be replaced free of charge should failure occur prior to 2000 hours and prorated between 2000 and 4000 hours.  All warranty replacements are FOB point of shipment.

An additional 5 year equipment warranty (excluding commodity items) shall be provided based on the facility agreeing to a Service Agreement from a factory certified distributor who will provide at a minimum, an annual service visit.

OUTDOOR POOL

- UV Chamber

The chamber(s) shall be constructed of 316 SS and be capable of either horizontal or vertical installation. All wetted parts shall be stainless steel, high purity quartz, Teflon, and/or viton. The chamber(s) shall be provided pre-wired and only require field connections from the power/control module to the chamber.

Pressure drop across the unit will be minimal.

The chamber(s) shall be designed in such a way that when properly installed and operated there is no possibility of direct operator exposure to UV light from the UV lamps. The UV chamber shall be pressure rated for continuous operation at 150 psi and tested to 225 psi.

Chambers shall be located no more than 16 ft. (5 m) from the control enclosure.

The chamber shall incorporate a pressure or flow sensor with the addition of a safety cover removal sensor to prevent accidental exposure to the operator.

# UV Intensity Sensor

The sensor will measure the UV intensity of the lamp and provide continuous performance verification. The UV intensity shall be displayed on the front of the control panel.

    - The sensor shall be designed with an accuracy of +/- 10% or the accuracy of the identical sensors employed during testing.

# UV Lamps

Only low pressure high intensity ultraviolet lamps shall be provided. Germicidal UV output from the lamps shall not be affected by temperature.  Full output must be available from 0 to 200 degrees.

Lamps shall be high output amalgam, with a minimum of 254nm wave length for sterilization and 185nm wave length for oxidation.

Lamps shall have a 13,000 hour EOL (End of Life).

Each lamp shall be individually numbered and the manufacturing process shall permit full audit and traceability of assembly. In addition to an individual serial number, the part number shall be displayed on the lamp.

The UV lamps shall be powered by electronic ballasts, ensuring the required level of disinfection is met at all times.

a.   Electronic ballasts will be capable of varying power to the lamps in 1% increments from 30% to 100%.

# UV System Control

The UV system shall be provided with a microprocessor based control and monitoring system mounted in an epoxy coated steel, NEMA rated cabinet suitable for indoor installation.

# Warranty

All components (excluding commodity items) have a limited warranty, to be free from defects in workmanship and materials for a period of 12 months from date of start-up or 18 months from date of shipment, whichever occurs first.