ADDENDUM # 01

Date: 5/2/2024

Reference: Colleton County School District – Transportation Renovation 

RFQ Number: BG-CCSDTransportationReno

Effective this date, this addendum forms part of the contract documents and modifies the original IFB. This Addendum shall be attached to and form a part of the plans and specifications. All bidders must acknowledge receipt of this addendum on the Bid Form.

This addendum must be completed and included with your bid packet. 

Item # 1 	

1 - Page E-601 3B states all exposed conduits in mechanical spaces or closets must be in RGS or IMC conduit.
Can that be changed to EMT? YES

2 - Page E-601 3B states all home runs must be in rigid conduit. 
Can that be changed to EMT? YES

3 - Page E-601 3K states fire alarm conduit must be rigid where exposed. 
Can that be changed to EMT? YES

4 - Are we to remove lighting fixtures, bus ducts, etc. that were abandoned previously and are above dropped ceilings? No

The required substantial completion date is October 15, 2024 and final Completion by October 30, 2024.