NARRATIVE AND INSTRUCTIONS

The Marshall County Sheriff’s Department desires to one (1) Body Scanner.

All offerings made under this invitation shall meet or exceed the detailed requirements as set forth in the attached minimum specifications, drawings and plans, if any.  All values specified in the invitation shall be considered as minimums, unless otherwise specified.

INSTRUCTIONS to BIDDERS:

BID SUBMITTAL:

The bidder must submit his proposal on the “Bid Forms” provided with the “Invitation to Bid”.  The bid price must be written in blue or black ink, in numerals, and in words.  The words, unless obviously incorrect, will govern.  No qualifying letters or statements attached to the bid form will be considered. The bids will be received by Marshall County Government until the day, date and time as set forth in the “Bid Invitation”.  Local time shall prevail in all openings.  The bid due date and time will be strictly observed.  It is the responsibility of the bidder to ensure that his bid is delivered via mail, carrier, by hand or other method prior to the scheduled bid opening day, date and time.

Before submitting a bid or proposal each bidder shall carefully examine the specifications (if any) and inform themselves fully concerning the existing conditions, and shall make the bid or proposal to provide the items covered at the lowest cost while offering the best service and quality.

BID WITHDRAWAL:

Any bid may be withdrawn prior to the day, date and time as set forth in the “Bid Invitation”.  Any bid may be withdrawn as a result of any authorized postponement by the Owner.

BID OPENING:

A bid opening will occur at the time and on the date as scheduled in the “Invitation to Bid”.  At the “Bid Opening”; an “Apparent Low Bidder” will be announced. A “Successful Bidder” will be announced after a review period in which all elements of the bid are taken into consideration to include, but not be limited to, alternate or option bids which the Owner may want to include in the Work and which were bid on as alternate or option items in the original bid request, delivery schedules, service factors, and other pertinent data.  The “Apparent Low Bidder” may or may not be the “Successful Bidder”.

Alternate bids and specifications are not acceptable unless specifically asked for and/or authorized in the Invitation to Bid.

Bids submitted will be immediately rejected when:

- The bidder fails to use the provided bid form,

- Bid form is not signed by an authorized representative of the bidding company,

- Conditions are placed upon the bid by the bidder,

- Unauthorized additions to the bid by the bidder,

- Lack of appropriate documents as required or requested in the Invitation to Bid,

A “Bid Tabulation” will be made available to the attendees at the “Bid Opening” showing all bids submitted.  Individual bids will not be available for inspection until after the review period has occurred as outlined in “Bid Inspection” below.

BID INSPECTION:

A record shall be kept, listing each bidder by name and address and indicating their bid amounts.  These records are to be open to public inspection after review and after the award to the successful bidder.

Evaluation Period:

  - The review period is for ten (10) business days following the bid opening, during which time the bids are closed to public inspection.

  - During the period when evaluation is being made, all bid analysis is confidential, thereby maintaining the integrity of the bidding system.

  - No County personnel in any office should discuss information pertinent to any bid during this period, other than at scheduled meetings of County personnel specifically intended for review with regard to the bid and/or project.

  - Violation of the confidentiality of bids pending award seriously compromises the County’s position in establishing contractual agreements.

During the bid review period, certain issues may be discussed with the potential “successful” Bidder.  Any failure to come to an agreement on the discussed issues may result in the rejection of that bidder’s bid and force the Owner to move to the next bidder in line, when deemed by the Owner as being in the best interest of the Owner.

AWARD of BUSINESS:

A bid shall be considered an offer subject to acceptance by Marshall County.   If a bidder fails to state the time within which a bid may be accepted, Marshall County shall have a minimum of sixty (60) days to accept. Any award of business shall be to the lowest and best bidder, taking into consideration the qualities of the articles or services to be supplied, their conformity with specifications, their suitability to the requirements of the Owner and the delivery terms.  Any or all bids may be rejected for good cause.

QUALITY:

All items offered under this invitation shall be of the highest quality, shall be in strict accordance with the manufacturer’s published specifications and shall be to the Owner’s satisfaction.  The bidder shall ensure that all items offered shall be of superior quality.

MINIMUM SPECIFICATIONS

These specifications are for one (1) Body Scanner for the Marshall County Sheriff’s Office.

Specifications

- Vertically moving Oil Cooled Generator to enhance clarity of images acquired.

- 34”W x 72”L x 90”H or equivalent dimensions due to limited space available.

- 4 Second Scan Time or equivalent

- Subject stands in fixed position while being scanned- Must not be transported via platform or conveyor belt.

- Selectable variable Scanning Dose from .25uSv to 8.0uSv

- Image contrast styles to include – 3D, Hi RES, and DETAIL

- Scans Posterior to Anterior in accordance with ANSI/HPS N43-17-2009 Radiation Safety Standard

- Tethered portable workstation with 27” vertically mounted touch screen monitor or equivalent

- PC with Windows 10 Operating System or equivalent

- X-ray scan results to see inside the body.  Millimeter wave, backscatter or package scanner technology is not acceptable.

- Transportable on heavy duty casters with stabilizer feet or equivalent

- 16 Million Gray Scale Levels or equivalent

- Operator and Bystander Radiation exclusion Zone required

- HARD DRIVE, 1TB 2.5 SATA, 5400 RPM x 2Ea for RAID 1 million images

- Photo Image taken on subject and embedded on .jpg file for evidentiary purposes

- Quick upload of subject and user data base from text comma delimited file type

- System weight of 720 lbs or equivalent

- Load Capacity for subjects is 600lbs or equivalent

- Power requirements 110V/15A or equivalent

- Shall include an embedded Thermal scanner which records subject temperature and recorded temperature is documented in scan report.

- Scanning System must utilize safety sensors or similar to assure that the individual being scanned is standing correctly while being scanned in order to minimize radiation dose as per ANSI/HPS N43.17-2009.

- Intel Core i5-6500 3.3 GHz Processor or newer

- Product destination is 150 East Church Street Lewisburg Tennessee 37091. The bid shall include all costs of packaging. transporting, delivery and unloading equipment.

- All goods shall be completely assembled by the successful vendor prior to acceptance by the Marshall County Sheriff's Department.

- A demonstration of product must be provided for a quality test.

Training Requirements

- Successful Vendor shall provide Bureau of Prisons (BOP)/National Institute of Justice (NIJ) certified and documented application training and Basic Radiation Safety Class (BRSC) for employees and operators.

- Successful Vendor shall provide on-site training by an American Registered Radiologic Technologist (ARRT) certified trainer.

- Successful Vendor shall provide a "Train the Trainer Program for future trainers.

- Manuals: The following manuals. in the quantities indicated, shall be delivered with each piece of equipment (electronic copies should also be provided). The cost of these manuals shall be included in the unit price:

  - Operation Manual (2 copies)

  - Part Manual (2 copies)

  - Repair Manual (2 copies)

  - Suggested Policy and Procedures Manual for Use with Equipment and Software (2 copies)

Warranty

- The system should include a 13-month warranty which shall include parts, labor and recommended preventive maintenance for the entire system or equivalent.

Please note any exceptions to above specifications.

BID FORM

(OPENING: ________________________)

MAKE/MODEL: ____________________________________________

ESTIMATED DELIVERY DATE:______________________________

(Please PRINT)

Vendor Name: ____________________________________________

Signature: _______________________________________________

Mailing Address: _________________________________________

__________________________________________

Phone #: _________________________   FAX #: _____________________