{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":7,"rows_kept":9,"merged":[[0,1,0,6],[0,7,0,8],[0,10,0,11],[0,12,0,13],[0,14,0,15],[8,0,8,4]]}
[null,"GULF RUN SANITARY FORCE MAIN REHABILITATION"]
["Line Item No.","Description","Unit","Size","Approximate Quantities","Unit Price","Extended Price"]
[1,"Mobilization","LS",{"$nulls":3},{"$f":"E3*F3","v":0}]
[2,"Sanitary Sewer Force Main Television Inspection & Medium/Heavy Cleaning","L.F.","10\"",{"v":2200,"d":"2,200"},null,{"$f":"E4*F4","v":0}]
[3,"Pressure CIPP Sanitary Sewer Rehab","L.F.","10\"",{"v":2200,"d":"2,200"},null,{"$f":"E5*F5","v":0}]
[4,"Pit Excavation and Restoration ","LS",{"$nulls":3},0]
[5,"Bypass Pumping","LS",{"$nulls":3},0]
[6,"Maintenance of Traffic ","LS",{"$nulls":3},0]
["GRAND TOTAL BID PRICE:",{"$nulls":5},{"$f":"SUM(G3:G8)","v":0}]