MARSHALL COUNTY GOVERNMENT

2205 COURTHOUSE ANNEX, LEWISBURG, TN 37091

PHONE: (931) 359-2300 FAX: (931) 359-0551

EMAIL: BWHITSON@MARSHALLCOUNTYTN.COM

Request for Proposals:

Jail Fire Alarm System

PROPOSAL TO REPLACE AND INSTALL A NEW FIRE ALARM SYSTEM AND ALL NECESSARY EQUIPMENT AT THE MARSHALL COUNTY JAIL LOCATED AT 150 EAST CHURCH STREET, LEWISBURG, TN 37091.

Introduction:  Marshall County, Tennessee Jail is seeking proposals from a well-qualified and reliable company to replace and upgrade the existing Fire Alarm System at the Marshall County Jail located at 150 East Church Street, Lewisburg, TN 37091. There will be a mandatory walk-through by appointment only of the building on Thursday, March 18, 2021.  Due to COVID-19 we will have to limit the persons entering the Jail at once, so we are asking that a person and/or persons affiliated with your company call to make an appointment for the walk-through on this day. We will require all persons that enter the Jail wear a mask as well. Please contact Baleigh Whitson by phone 931-359-2300 or by e-mail bwhitson@marshallcountytn.com to setup the appointment for the walk-through.

Minimum Specifications:

These shall be included but not limited to when submitting a proposal:

- Remove old fire alarm system and wiring and any additional equipment

2. Equipment that will be necessary to replace but not limited to:

- One (1) dedicated fire alarm annunciator at front lobby door

- Updated addressable control panel

- Horns/Strobes

- Guard Wire Truealert Horn

- Sensor Bases

- Photo Sensors

- Heat Sensors

- Duct Sensor Housing

- Remote Test Station

- Battery Backup

3. Include any repair work to the building and materials

4. Contractor will be required to provide all licenses, permits, and testing needed to be in compliance with state and local regulations.

5. The bidder shall be required to provide proof of insurance listing Marshall County Jail as an additional named insured. The successful bidder’s insurance coverage shall be not less than the following:

(A) Commercial General Liability Insurance with a limit of not less than $2,000,000.00

(B) Workers Compensation and Employers Liability Insurance of not less than $1,000,000.00 for bodily injury by accident, $1,000,000.00 for occupational disease and $1,000,000.00 aggregate limit

(C) General Aggregate Liability Insurance with a limit of not less than $3,000,000.00 combined single limit for bodily injury and property damage specifically dedicated to the project with separate limits of liability

6. Estimated start date and time frame for completion

7. Include warranty coverage and any pricing for annual fire alarm testing

Contingencies:

Marshall County reserves the right to disregard all non-conforming, non-responsive, or conditional proposals; to reject any or all proposals; to limit quantities; to waive formalities and informalities; and to evaluate proposals and accept any proposal or any part of a proposal that is judged, in our opinion, to be the best quality, value and service to Marshall County.

Proposals should show pricing and specifications for equipment including any fees, taxes, etc. Proposals should include company information, locations, staffing, hours of operation and service. Proposals will need to include at least three (3) references of similar job type.

Marshall County Office of Accounts and Budgets will be accepting proposals until 2:00 P.M. on Wednesday, April 7, 2021. At this time, they will be publicly opened and read aloud. Proposals should be sealed and mailed, or hand delivered to the Office of Accounts and Budgets, c/o Baleigh Whitson, 2205 Courthouse Annex, Lewisburg, TN 37091. If proposal is not submitted by 2:00 P.M on Wednesday, April 7th it will be late and will be rejected at the time of opening. When proposals are submitted please have clearly marked “Sealed Proposal – Jail Fire Alarm” on the exterior of the envelope.

Questions:

Please contact Baleigh Whitson Assistant Director of Accounts and Budgets by email  bwhitson@marshallcountytn.com  or by phone 931-359-2300 if you have any questions or need more information.