{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Annual Comp","Sheet2"],"read":"whole","date_system":"1900"}

{"sheet":"Annual Comp","index":0,"n_rows":34,"n_cols":64,"rows_kept":34}
["Landfill, Expected #'s, does not include Equipment, Field or Trip Blanks as they may vary. Actual sample numbers are not guaranteed.","Fecal coliform SM 9222D (May be removed from Perdido permit and CAP)","pH                   EPA 150.1","TSS             SM 2540D/       EPA 160.2","TDS                             SM 2540C/        EPA 160.1","Chlorophyll A SM 10200H (May be removed from Perdido permit, CAP and Beulah RAP)","TOC          SM 5310B/ EPA 415.1","BOD           SM 5210B/        EPA 405.1","COD                EPA 410.4","Total K Nitrogen (TKN)          EPA 351.1","Total Ammonia -N    EPA 350.1","Unionized Ammonia (calc)","Report Total Nitrogen (calc) ($36.50)","Nitrate & Nitrite      EPA 300.1","NO2","Report NO3","Total Phosphates         EPA 365.4","Chlorides      EPA 300.1","Total Alkalinity (as mg/L CaCO2)   EPA 310.2","Total Hardness (including CA & Mg)   SM 2340B/       EPA 130.2","Bicarbonate    SM 2320B","Cyanide        SM 4500-CN E/ EPA 335.2","Sulfide         SM 4500-S2 E/ EPA 376.1","Sulfate          EPA 300.0","Phenolics   EPA 420.1","Aluminum   6010/6020","Antimony 6010/6020","Arsenic 6010/6020","Barium 6010/6020","Beryllium 6010/6020","Boron 6010/6020","Cadmium 6010/6020","Chromium 6010/6020","Cobalt 6010/6020","Copper 6010/6020","Iron       6010/6020","Lead 6010/6020","Manganese 6010/6020","Magnesium 6010/6020","Nickel 6010/6020","Selenium 6010/6020","Silver 6010/6020","Sodium     6010/6020","Strontium 6010/6020","Thallium 6010/6020","Tin      6010/6020","Vanadium 6010/6020","Zinc       6010/6020","Mercury 7470/7471/245.1","Mercury ULL 1631","Oil & Grease EPA 1664","Volatiles EPA 624/8260 (Full or partial list)","Semi-Volatiles EPA 625/8270 (LL SIM PAH only)","Pestidices EPA 608/8081","PCBs          EPA 8082 (Price Included in Pest)","Herbicides EPA 8151 (includes Pentachlorophenol)","EDB/DBCP       EPA 8011","PDF Data Deliverables","ADaPT Data Deliverable","ESdat Deliverables","Other Costs","Semi-Volitiles Full List plus TIC 625/8270","Nonaqueous samples (specialty testing) surcharge or factor","Expedited Turn-around surcharge or factor"]
["Please put prices on this line →"]
["Fall 2021"]
["Perdido GW + CAP",{"$nulls":3},23,{"$nulls":5},11,{"$nulls":4},2,null,22,{"$nulls":9},20,3,null,22,null,null,5,null,35,2,35,{"$nulls":4},22,22,{"$nulls":4},2,null,null,27,{"$nulls":5},2,1,1]
["Perdido SW",null,null,10,10,null,10,10,10,10,10,10,10,10,10,10,10,null,null,10,{"$nulls":6},10,10,10,10,null,10,10,10,10,10,10,null,null,10,10,10,null,null,10,null,10,10,null,13,null,10,{"$nulls":4},10,null,null,1]
["ECUA/Leachate",{"$nulls":30},2,null,null,2,null,2,null,null,2,null,2,{"$nulls":5},2,2,{"$nulls":8},2]
["L-0 (Fall Only)",{"$nulls":3},1,null,null,1,1,1,1,null,1,1,1,1,null,1,null,null,1,1,1,{"$nulls":3},1,1,1,1,1,1,1,1,1,1,1,null,null,1,1,1,1,null,1,1,1,1,1,null,null,1,null,1,1,1,1,1,{"$nulls":3},1]
["Beulah GW + RAP",{"$nulls":3},10,{"$nulls":5},6,{"$nulls":6},10,{"$nulls":7},10,null,4,{"$nulls":7},13,4,10,{"$nulls":4},10,{"$nulls":5},3,null,null,8,13,null,null,3,null,2,1,1]
["Beulah SW + RAP ",null,null,4,4,null,4,4,4,4,4,4,4,4,4,4,4,{"$nulls":9},4,4,4,4,null,4,4,4,4,4,4,null,null,4,4,4,null,null,4,null,4,4,null,7,null,4,4,null,null,4,4,2,null,1]
["Klondike GW",{"$nulls":3},14,{"$nulls":5},14,null,null,14,14,14,null,14,{"$nulls":8},14,14,14,14,null,14,14,14,14,14,14,null,null,14,14,14,14,null,14,null,14,14,14,null,null,14,{"$nulls":4},14,1,1,1]
["Klondike SW",null,null,2,2,null,2,2,2,2,2,2,2,2,2,2,2,{"$nulls":9},2,2,2,2,null,2,2,2,2,2,2,null,null,2,2,2,null,null,2,null,2,2,null,5,null,2,{"$nulls":4},2,1,null,1]
["Saufley GW",{"$nulls":3},3,{"$nulls":5},3,null,null,3,3,3,null,3,{"$nulls":5},4,null,3,null,3,{"$nulls":3},3,3,null,null,3,3,{"$nulls":5},3,{"$nulls":5},3,null,null,3,{"$nulls":5},1,1,1]
[]
["Total # Samples",{"$f":"SUM(B4:B12)","v":0},{"$f":"SUM(C4:C12)","v":0},16,67,0,16,17,17,17,51,16,17,34,34,36,16,50,0,10,1,1,1,4,0,13,31,58,34,31,23,36,34,36,33,82,42,45,0,33,31,33,50,22,31,1,31,33,25,25,0,69,17,1,1,8,31,12,4,7,0,1]
["Total Cost Each Parameter $",{"$f":"SUM(B14*B2)","v":{"v":0,"d":"$0.00"}},{"$f":"SUM(C14*C2)","v":{"v":0,"d":"$0.00"}},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"}]
["Total Fall Cost $",{"$f":"SUM(B15:BJ15)","v":{"v":0,"d":"$0.00"}}]
[]
["Spring 2022"]
["Perdido GW + CAP",{"$nulls":3},23,{"$nulls":5},11,{"$nulls":4},2,null,22,{"$nulls":9},20,3,null,22,null,null,5,null,35,2,35,{"$nulls":4},22,22,{"$nulls":4},2,null,null,27,{"$nulls":5},2,1,1]
["Perdido SW",null,null,10,10,null,10,10,10,10,10,10,10,10,10,10,10,null,null,10,{"$nulls":6},10,10,10,10,null,10,10,10,10,10,10,null,null,10,10,10,null,null,10,null,10,10,null,13,null,10,{"$nulls":4},10,null,null,1]
["ECUA/Transfer Station & Leachate",{"$nulls":30},2,null,null,2,null,2,null,null,2,null,2,{"$nulls":5},2,2,{"$nulls":8},2]
["L-0 (Fall Only)"]
["Beulah GW + RAP",{"$nulls":3},10,{"$nulls":5},6,{"$nulls":6},10,{"$nulls":7},10,null,4,{"$nulls":7},13,4,10,{"$nulls":4},10,{"$nulls":5},3,null,null,8,13,null,null,3,null,2,1,1]
["Beulah SW + RAP ",null,null,4,4,null,4,4,4,4,4,4,4,4,4,4,4,{"$nulls":9},4,4,4,4,null,4,4,4,4,4,4,null,null,4,4,4,null,null,4,null,4,4,null,7,null,4,4,null,null,4,4,2,null,1]
["Klondike GW",{"$nulls":3},14,{"$nulls":5},14,null,null,14,14,14,null,14,{"$nulls":8},14,14,14,14,null,14,14,14,14,14,14,null,null,14,14,14,14,null,14,null,14,14,14,null,null,14,{"$nulls":4},14,1,1,1]
["Klondike SW",null,null,2,2,null,2,2,2,2,2,2,2,2,2,2,2,{"$nulls":9},2,2,2,2,null,2,2,2,2,2,2,null,null,2,2,2,null,null,2,null,2,2,null,5,null,2,{"$nulls":4},2,1,null,1]
["Saufley GW",{"$nulls":3},3,{"$nulls":5},3,null,null,3,3,3,null,3,{"$nulls":5},4,null,3,null,3,{"$nulls":3},3,3,null,null,3,3,{"$nulls":5},3,{"$nulls":5},3,null,null,3,{"$nulls":5},1,1,1]
[]
["Total # Samples",{"$f":"SUM(B19:B27)","v":0},{"$f":"SUM(C19:C27)","v":0},16,66,0,16,16,16,16,50,16,16,33,33,35,16,49,0,10,0,0,0,4,0,13,30,57,33,30,22,35,33,35,32,81,41,45,0,32,30,32,49,22,30,0,30,32,24,25,0,68,17,0,0,7,30,11,4,7,0,0]
["Total Cost Each Parameter $",{"$f":"SUM(B29*B2)","v":{"v":0,"d":"$0.00"}},{"$f":"SUM(C29*C2)","v":{"v":0,"d":"$0.00"}},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"},{"v":0,"d":"$0.00"}]
["Total Spring Cost $",{"$f":"SUM(B30:BJ30)","v":{"v":0,"d":"$0.00"}}]
[]
[null,"Year"]
["Annual Cost $",{"$f":"SUM(B16+B31)","v":{"v":0,"d":"$0.00"}}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}