City of Waycross

INVITATION FOR BIDS

FOR

Purchase and Installation of Two (2)  5 Ton Air Conditioning Units for 
Waycross Animal Shelter

BID NUMBER: FY24-07

BIDS DUE NO LATER THAN FRIDAY, SEPTEMBER 29, 2023, at 10:00 AM

City of Waycross, Purchasing Department
City Hall
417 Pendleton Street
Waycross, GA 31501

Purchase and Installation of 2 – 5 Ton HVAC Units for Waycross Animal Shelter

SCOPE:

The City of Waycross is accepting proposals from Licensed HVAC contractors for the purchase and installation of a heating and cooling system for one (1) building at the Waycross Animal Shelter located at 1501 Blackwell Street, Waycross, Georgia.

The City reserves the right to accept or reject any or all bids, to waive formalities and technicalities, to make an award in the best interest of the City and to make an award item by item unless otherwise stipulated by the bidder. Bidder must comply with all Federal, State and Local Laws.

Factors to be considered in making this award, if awarded, will be prices, quality, and references. The City will be the sole judge of the weights given these factors.

Bids will be opened and read aloud in the conference room at City Hall, on the second floor – 417 Pendleton Street, Waycross, Georgia, on the hour and date specified below. No bids will be accepted after bid opening time. No faxed or emailed bids will be accepted.

PRE-BID MEETING:

There will be a pre-bid meeting at the Animal Shelter at 10:00 a.m., Thursday, September 21, 2023 for all contractors to attend.

Bids will be accepted until 10:00 a.m., Friday, September 29, 2023. Envelopes must be sealed and marked Bid #FY24-07 HVAC Units for WAS.

Mail to:

City of Waycross,

Purchasing Department

PO Drawer 99

Waycross GA  31502

or hand deliver to:

Purchasing Department, 2nd Floor

City Hall

417 Pendleton Street

Waycross, GA  31501

SPECIFICATIONS AND QUALIFICATIONS:

- Removal and disposal of existing HVAC Units.

- Disconnect high/low voltage wiring and gas line.

- Installation of two 5 ton HVAC units.

- Installation of 2 condensers.

- Installation of 2 natural gas furnaces.

- Installation of 2evaporator coils.

- Reconnect high/low voltage wiring and gas line.

- Perform startup and testing of new units to ensure proper operation.

Contractor must furnish all necessary electrical, labor, tools, equipment and supplies to perform the required services at this location.

Contractor must have valid State HVAC Contractors License.

Contractor must submit Insurance Certificate with quote including Workers Comp. if applicable.

Contractor shall keep the premises clean of all rubbish and debris generated by the work involved.

Detailed warranty must be included with bid proposal.

Work must be completed within 30 days of award.

Bid Form
Purchase and Installation of Two (2) 5 Ton HVAC Units for the Waycross Animal Shelter
Bid #FY24-07

Manufacturer/Model____________________________________________________________

Price: $_______________________________________________________________________

Number of days to receive HVAC Units _______weeks ________days

Number of days for installation: _________________

Warranty: ________ year(s) /__________________________

Submitted by:

Name of Company: ____________________________________________________

Address: _____________________________________________________________

Contact Person: _______________________________________________________

Phone: ____________________________  Fax:______________________________

Email: _______________________________________________________________

Signature: ___________________________________________________________

Title: _______________________________________________________________

Date: _______________________________________________________________