[image: image1.jpg]City of
Lebanon

Tcenncessce




                                                                                                    Mayor Rick Bell

[image: image1.jpg]
	Lisa Lane, Purchasing Agent
200 N Castle Hgts Ave

Lebanon, TN  37087

Phone:  615-443-2802

Fax:  615-443-2849

lisa@lebanontn.org
	

	
	


CONTRACT SPECIFICATIONS FOR:


Gas Leak Survey for the City of Lebanon 2023
REQUEST FOR PROPOSALS:  RFP #GLS-2023
CONTACT:
City of Lebanon Purchasing Office



Lisa Lane, Purchasing Agent



200 N Castle Heights Ave



Lebanon, TN  37087



(615) 443-2802

DATE ISSUED: September 22nd, 2023
DUE DATE: October 6th, 2023, 2:00 P.M.
Please note:  If documents were downloaded from the City of Lebanon website, bidder is responsible for obtaining any addenda either through updates on the website or by contacting he Purchasing Agent listed above.

CITY OF LEBANON, TENNESSEE

DETAILED SPECIFICATION FOR
Gas Leak Survey for the City of Lebanon 2023
RFP #GLS-2023
_______________________________________________________________________________________

*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for the gas leak survey surfaces, in accordance with the specifications and bidding instructions set forth in this Request for Proposals, herein after referred to as RFP. Proposals will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 2:00 p.m. local time, October 6, 2023, at which time they will be opened and read aloud.

Please identify as a sealed proposal with the following information on the envelope:

“RFP #GLS-2023”.
Any questions regarding this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes and models, please remember, “Any Approved Equal”.  However, if a service other than specified in the bid, it is the vendors responsibility to prove to the City of Lebanon that said service is equal to or exceeds the quality of the specifications listed for services provided.  
The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion, or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids in Pursuant to Title VI of the Civil Rights Act of 1964.  All vendors must be incompliance with all City Codes and current with all City fees and taxes to be considered as a responsive bidder or participant in this process.

SCOPE AND CLASSIFICATION
The intent of this Request for Proposals, herein after referred to as RFP, is to provide the City of Lebanon with a resulting contract with information concerning gas leak survey and atmospheric corrosion services.  The gas leak and atmospheric corrosion survey service specifications shall be of the following types either “equal” to or “better than”.

SPECIFICATIONS

The location in which the services are to be rendered:

City of Lebanon 

215 Maddox-Simpson Pkwy
Lebanon, Tennessee 37090
· The vendor is to provide all transportation, equipment and materials required to complete a gas leak and atmospheric corrosion survey for the City of Lebanon Gas System.  
· Equipment shall include IR or RMLD unit(s), combustible gas indicator, probe rods, and any other necessary equipment. 
· There are an estimated 317 miles of mains and 1100 services.  The average service line length is approximately 100 linear feet.  The system’s present unaccounted for is about 2%.
· The survey shall be conducted in accordance with 49 CFR Part 192.723. The survey will include approximately twenty-five percent (25%) of the existing distribution system, business districts, and public buildings.
· The complete survey shall include all transmission lines, distribution mains and service lines (service line extends from tap tee to outlet side of gas meter).  

· Exact area or location of service areas to be tested will be determined by the City of Lebanon Gas Department and provided to the vendor upon start of survey.
· Any gas leaks found shall be located and logged on a written daily report form to be furnished by the vendor and approved by the City of Lebanon.
· A complete written log report shall include such items as classifications of gas leaks discovered, number of each classification, and the location of all gas leaks to the degree of determining whether the leak is on a service line or main.  Above ground leaks, i.e., meter sets, regulator stations or any above ground piping shall also be shown on a written log report with a drawing or photograph detailing exact location of leak at time of inspection.  All leak reports, above or below ground, shall have a unique numerical identification number.
· Each bidder shall furnish a minimum of three (3) job references of gas system surveys performed within the State of Tennessee or other states in the general region within the last five (5) years and any other documentation that will show qualification of consultant and/or employee performing actual leak survey work.  Operator Qualification and PHSMA approved Drug and Alcohol plan documentation must be received and approved by the City of Lebanon Gas Manager before work can begin.
· The vendor shall maintain liability and comprehensive insurance in the minimum amount of $500,000.00, to cover their employees and operation of their equipment.  Proof of insurance will be provided to the City of Lebanon by the vendor before survey may commence.  The vendor shall save the City of Lebanon and all the City of Lebanon’s employees harmless from all suits, actions or claims of any character brought for or on account of damages received by any person, persons or property resulting from the operation of the vendor prosecuting the work under this agreement.
· All combustible gas indicator readings of 3% or greater within 20 feet of habitable structures or in manholes shall be reported to the City of Lebanon Gas Department within two (2) hours of detection.  A report shall be written stating the pertinent facts relating to the subject leak.
· The vendor must begin survey within 30 days of contract acceptance and scheduled with Gas Manager.
· The City of Lebanon will provide two (2) sets of gas system maps showing location of gas main and related facilities, which will be given to the vendor and access to our GIS mapping system. 
· An employee of the Gas Department, representing the City of Lebanon, will be assigned to the vendor to locate gas mains and services up to ten (10) hours per day, or forty (40) hours per week, until the survey is completed.
· The City of Lebanon has the right to accept or reject any bid and to terminate the contract if and when they see fit.  The City of Lebanon shall issue a Notice to Proceed, after which the vendor is on the site working, he shall proceed continuously with the work until the work is completed.  The City of Lebanon shall determine the location to commence work.
· A completed gas leak survey and a written log report shall be completed within an estimated 40 Crew Days after the vendor has started work on the job site.  A Crew Day is defined as an eight (8) hour working day in the field for one (1) vendor, with all the required transportation, equipment, and materials.  The final cost shall be based on the actual Crew Days employed.  Each payment will reflect a 5% retainage to be paid in full upon completion of leak survey & all documentation has been provided to owner as requested in Section I, B of this specification.
TOTAL COST ESTIMATE

Leak Survey:

An estimated 40 Crew Days X



 $_______________________
Per Crew Day





 $_______________________

Atmospheric Corrosion Testing:

An estimated 40 Crew Days X 



 $_______________________
Per Crew Day 





 $_______________________

(The total cost shall include survey of all gas mains and service lines, and a complete written log report).

Please double check to make sure all items are included in your bid proposal that is required.

Two Year Option Available from Vendor Yes_______ No_______
(If possible, we would like a minimum of a 4-year contract since a complete survey is over a 4 year period with ¼ done each year.)

EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that specification and the exceptions will have to be approved by the department.  

____________________________________________________


                                           

Company Name and Authorized Representative

____________________________________________________

Address and Contact Information of Representative

____________________________________________________
Email address
IN WITNESS WHEREOF, the parties hereto have executed or caused to be executed by their duly authorized officials, this Contract in two (2) copies, each of which shall be deemed on original on the date first above written.

VENDOR

____________________________________

Signature of Contract Representative

____________________________________

Title of Representative

Attest:






___________________________


____________________________________

Stuart Lawson




Regina Santana
Commissioner of Finance


Utilities Director

Approved as to form:



Ordinance #:________________________

____________________________


_____________________________________

Andy Wright, City Attorney


Date approved by City Council  

_______________________________

Gas Department Manager
________________________________ 

My Commissioner Expires:___________

Notary Public Signature





Executed By:

_________________________________________

Rick Bell, Mayor, City of Lebanon

2 | Page

