City of Lebanon

Request for Proposal

RFP # 22-DECORATIVE POLES 03/22
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax.

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for decorative poles, in accordance with the specifications and bidding instructions set forth in this Request for Proposals. Bids will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, Tennessee 37087, until 10:00 a.m. March 22, 2022, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “RFP #22-DECORATIVE POLES 03/22”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember “ANY APPROVED EQUAL”.  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILITY TO PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.

The City of Lebanon is an equal opportunity entity and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids. All vendors must be incompliance with all City Codes and current with all City fees and taxes in order to be considered as a responsive bidder or participant in this process.
1. SCOPE AND CLASSIFICATION

1.1 Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning decorative poles.

1.2 Classification:  The decorative poles specifications shall be of the following types either “equal to “or “better than”.

2. SPECIFICATIONS

SPECIFICATIONS


LED-Double Teardrop-Heavier Pole
Quantity:

8
· MPL2 P20S 40K MVOLT TG3 NPT BK PR7 PCLL CVC 27IN 2A TN NPT BK WDA 16 SLS 17D C12 BK ABG (comparison model) 
· Memphis Tear Drop LED P20 Performance Package (MPL2): MPL2, 10,000 lumens; 3 COBs, 4000K 
· Auto-sensing voltage (120 thru 277)
· 50/60 HZ, Black
· Teardrop glass and door
· Type 3 Asymmetric Distribution
· Threaded Top opening
· 1.5IN NPT Pendant Mount
· NEMA Dimmable Photocontrol Receptacle (7 Pin)
· DLL Photocontrol 
· Extended life option with AS (120-277V only)
· CVC Roadway Crossarms (CVC) 27 inch
· 2 to 180 degrees
· Tenon Mount
· 1-1/2” NPT
· Cast Aluminum
· Black Wadsworth Aluminum Pole (WDA)
· Wadsworth Aluminum Pole, 16 feet Shaft
· L5J SiteLink 5.25” inch fluted .25 wall
· 17 inch Base, Diamond Pattern bolt circle Use with L5J Shaft
· 3 x 12 Tenon
· Black, Anchor bolts
· Galvanized Steel
· Powder Coat Paint Finish
· Black 
· Factory wired 
· Include all hardware, anchor bolts, bolt patterns and drawings with poles and the cost of freight.
Single Banner Arm for Site Link Pole
Quantity:

32 
· 1 BA 18in 1A BO SL5 HB 100P BK (comparison model)
· Single Banner arm for site link pole
· 18 inches

· Bolt-on, shaft, Sitelink 5.25” fluted

· .25 wall (L5J)

· Half sphere, 1.00 SCH pipe (1.315” actual) 

· Black

· Include all drawings with banner arms and all hardware
Double Cross Arm

Quantity:
8

· 1 CVC 27in. 2A TN NPT BK (comparison model)
· CVC roadway crossarm

· 27 inches

· 2 to 180 degrees

· Tenon mount

· 1-1/2” NPT, black
QUANTITY

DESCRIPTION

UNIT PRICE

TOTAL

8


Double Teardrop Poles
$____________
$__________




With all hardware
32


Banner Arms


$____________
$__________




With all hardware
8


Double Cross Arms

$____________
$__________




With all hardware
1


Freight for All Items

$____________
$__________




Total



$______________________
3. WARRANTY 

Bidders shall state the warranty period on the bid pricing form.  

4. DELIVERY

The vendor must state their delivery.  Delivery can be a deciding factor in the award of this bid.  

5. EXCEPTIONS

The above are minimum specifications.  If there are any exceptions to these specifications, please make any notations to the right of that spec. and the exceptions will have to be approved by the department.  

6. BID PRICE

TOTAL BID $_______________________

6.2 Delivery (Estimated Delivery Time)  _____________________

Company Name and Authorized Representative

______________________________________________________________

Address and Contact Information

