ROCKWOOD SCHOOL DISTRICT

REQUEST FOR PROPOSAL

RFP No.:  RFP0419FACFEKFSS

Title: 	Inspections and Maintenance of Fire Extinguishers and Kitchen Fire Suppression Systems

Issue Date:  April 18, 2019

This document constitutes Rockwood School District’s (hereafter called the “District” or “RSD”) Request for Proposals ("RFP") soliciting proposals from qualified individuals, firms or organizations to provide inspections and maintenance of fire extinguishers and kitchen fire suppression systems as described in this RFP.

SEALED PROPOSALS FOR PROVIDING THE SERVICES DESCRIBED HEREIN MUST BE RECEIVED NO LATER THAN:  3:00 PM CDT ON MAY 14, 2019. Proposals submitted after that time and date will be rejected.

PROPOSALS SHALL BE SUBMITTED TO:

Coordinator Maintenance and Grounds

Rockwood School District

17146 Manchester Road

Wildwood, Missouri  63040

All inquiries for information regarding Proposal Preparation and Submission Requirements shall be in writing and shall be directed to:

Bill Branson

Coordinator Maintenance and Grounds

Rockwood School District

17146 Manchester Road

Wildwood, Missouri  63040

bransonbill@rsdmo.org

(636) 733-3270

All other communications and questions regarding this RFP must be directed to the above individual. No other contact with any members of the Rockwood School Board, any administrators, staff or employees of the District is permitted before or after completion of the RFP process. Failure to follow this directive or any attempt to contact or to influence any such person may result in rejection or disqualification of a proposal.

Any and all responses to written requests for information and questions will be in writing and will be sent to all known interested parties. Any oral responses will be considered unauthorized and non-binding on the District.

Important Dates

RFP Issue Date:			April 18, 2019

Deadline for RFP Clarification 		April 30, 2019

Proposal Due Date			May 14, 2019 at 3:00 PM CDT

Award Recommendation Submitted to BOE 	June 5, 2019

BOE Approval Date			June 20, 2019

Contract Commencement Date		July 1, 2019

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

I.  RFP INSTRUCTIONS AND CONDITIONS

- INTRODUCTION

The District is a nationally recognized, diverse community of learners. Currently the District serves nearly 21,000 students, made up of four high schools, six middle schools, and nineteen elementary schools, a talented and gifted campus, and a school for at-risk high school students. The District employs over 4,000 people, and covers 150 square miles in much of western St. Louis and northern Jefferson counties. The District has consistently earned the accreditation of Distinction in Performance by the Missouri Department of Education. Additional detailed information about the District may be found at www.rsdmo.org.

The Rockwood School District invites you to submit a bid according to requirements contained herein for inspections and maintenance of fire extinguishers and kitchen fire suppression systems.

- PROPOSAL PREPARATION AND SUBMISSION REQUIREMENTS

A.	In order to be considered, proposers must submit two (2) hard copies of the proposal and one electronic copy. Proposals shall be signed and printed or type written, submitted sealed with the envelope plainly marked with the title and RFP No.: RFP0419FACFEKFSS. Proposals shall be delivered to:

Coordinator Maintenance and Grounds

Rockwood School District

RFP0419FACFEKFSS

17146 Manchester Road

Wildwood, Missouri  63040

SEALED PROPOSALS FOR FURNISHING THE SERVICES DESCRIBED HEREIN MUST BE RECEIVED BY 3:00 PM CDT ON MAY 14, 2019. Proposals submitted after that time and date will be rejected.

B.	Proposals shall be prepared simply, but completely, providing a straightforward, concise description of capabilities to satisfy the requirements of the RFP. Emphasis should be on completeness and clarity of content. At the same time, proposals should be as thorough and detailed as possible so that the District may properly evaluate the Proposer's capabilities to provide the required services.

Electronic or facsimile proposals alone will not be considered in response to this RFP, nor will modifications by electronic or facsimile notice be accepted.

C.	Proposers must include at least the following information, data and responses labeled accordingly in their proposals (i.e. C1, D, E. etc.):

(1)	Proposer's full name and principal office address, and descriptions of the type of business entity (e.g., publicly held corporation, private non-profit, proprietorship, partnership, etc.).

(2)	If Proposer is incorporated, include the state in which it is incorporated, and list the name and occupation of those individuals servicing on the board of directors, along with the name of any entity or person owning 10% or more of the corporation.

(3)	The name, title, mailing address, telephone number, fax number, and email address of the contact person for this RFP and the proposal.

(4)	A summary description or work plan which describes how Proposer intends to perform the required services and include a description of any involvement and responsibilities which would be required of the District.

(5)	The name(s) of the employees, persons or contractor(s) proposed to perform the services, and describe the qualifications and experience of each.

(6)	Description of the manner by which Proposer proposes to be compensated for the services to be provided, including a listing or schedule of fees, commissions, costs and expenses, including reimbursable costs and Proposer’s total cost for the services to be provided.

- Indicate if proposed pricing includes the acceptance of payment with a procurement card (p-card) or credit card in lieu of a check. If Proposer agrees, no additional fees shall be charged to the District for card acceptance.

- Indicate if proposed pricing could be offered to other Missouri school districts of similar size and order volumes.

D.	Proposers must provide a description or evidence of their experience and qualifications to undertake and to provide the services described in this RFP with a particular emphasis upon experience and services provided to Missouri K-12 school districts.

E.	Proposers must provide evidence or information as to their financial condition and stability.

F.	Proposers must provide a minimum of five (5) references with names, addresses and phone numbers, and including specifically any governmental entities and school districts for which each Proposer has provided services.

G.	Proposers must state whether they have been involved in any litigation during the last five years, and if so, describe any such litigation.

- AWARD

Award(s) will be made to the responsive and responsible Proposer(s) whose proposal(s) is deemed to be most advantageous to the District, taking into account overall content of the proposal, cost, overall proposal, experience and qualifications of the firm and staff assigned and quality and content of the manner in which the services are proposed to be performed. The District reserves the right to split the award or to make multiple awards, and to make award on a part or portion of a proposal. The District may request additional information and/or an interview with some or all Proposers as part of the selection process. In no event shall the District be required to explain the evaluation process or award selection to any Proposer.

- RIGHT TO REJECT

The District reserves the right to accept any proposal, to reject any and all proposals, and to waive any irregularities or informalities in any proposals. Conditional proposals will not be accepted.

- PROPOSALS FINAL

All proposals shall be deemed final, conclusive and irrevocable, and no proposal shall be subject to correction or amendment for any error or miscalculation.

- COST OF PREPARATION

The cost of preparing and submitting a response to this RFP will be assumed solely by each Proposer, whether or not any agreement is signed as a result of this RFP.

- OWNERSHIP OF SUBMITTALS

All completed proposals submitted in response to this RFP become the property of the District upon submission. The District may use the proposal for any purpose deemed appropriate. The proposal material may become part of any contract between the successful Proposer and the District.

- RFP INTERPRETATION

Interpretation of the wording of this RFP will be the responsibility of the District and that interpretation will be final and binding.

- PRICE

Proposers are cautioned that services must be furnished at the fees, costs and/or rates submitted and proposed unless otherwise stated. No increase in costs will be permitted during the term of the contract.

- CONTRACT

The Rockwood Board of Education must formally approve the award of any contract(s) or agreement to purchase with approval anticipated to be received no later than June 20, 2019. The successful Proposer will be required to enter into a written contract with the District which will include, but not be limited to, the scope of services described herein and the contract provisions included herein. It is anticipated the contract term will commence on July 1, 2019 and continue through June 30, 2022, with the option to renew two (2) additional twelve-month terms.

- INSURANCE

The successful Proposer will be expected to provide the following types of insurance with the described limits:

Comprehensive General Liability	$ 1,000,000	 per person per occurrence

(Including Contractual Liability)

$ 1,000,000	 property damage per occurrence

$ 1,000,000	 aggregate all claims per occurrence

Workers' Compensation	As required by applicable law

Employer's Liability	$ 1,000,000	 per occurrence

Automotive Liability	$ 1,000,000	 per occurrence

Professional Errors and Omissions	$ 1,000,000	 per occurrence

- TAXES

Proposers shall NOT INCLUDE FEDERAL EXCISE TAX, TRANSPORTATION TAX, or STATE RETAIL SALES TAX in their cost proposal, as these taxes do not apply to the District.

- NO PARTICIPATION

The successful Proposer shall not directly or indirectly participate as a proposer, bidder, or subcontractor to a proposer or bidder on any bids or request for proposals to be designed, or services to be provided, as part of the projects contemplated by this RFP.

- USE OF INFORMATION

A.	Any specifications, drawings, sketches, models, samples, data, computer programs or documentation or other technical or business information (“Information”) furnished or disclosed to interested parties under this RFP, or as the result of this RFP, shall remain the property of the District and, when in tangible form, all copies of such information shall be returned to the District upon request. Unless such information was previously known to a party, free of any obligation to keep it confidential, or has been or is subsequently made public by the District or a third party, it shall be held in confidence by such party, shall be used only for the purposes of this RFP, and may not be used for other purposes except upon such terms and conditions as may be mutually agreed upon in writing.

B.	No specifications, drawings, sketches, models, samples, tools, or other apparatus programs, technical information or data, written, oral or otherwise, furnished by any interested party to the District under this RFP shall be considered to be confidential or proprietary.

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

II. SCOPE OF SERVICES

Through this RFP, the District is seeking to obtain proposals from qualified and experienced individuals, organizations, companies or firms to provide annual inspections and maintenance of fire extinguishers and semi-annual inspections and maintenance of commercial kitchen fire suppression systems located throughout the District to ensure all fire extinguishers and kitchen fire suppression systems continue to function and comply with all applicable laws and safety standards.

Project scope includes inspections, testing, cleaning, certification and maintenance of all fire extinguishers and kitchen fire suppression systems located within the District as described in these specifications to ensure all referenced equipment is readily available for use, will operate safely and effectively in case of a fire, and is compliance with OSHA and NFPA requirements, and all local, state and federal laws and codes. See Schedule A for a list of fire extinguishers and kitchen fire suppression systems and their locations. While it is the District’s intent to provide accurate information, please note that there may be discrepancies between the number and description of fire extinguishers and kitchen fire suppression systems included in Schedule A and the actual extinguishers and systems in the buildings. As building additions and/or renovations are completed and buildings added, additional extinguishers and/or kitchen fire suppression systems will require testing and to be added to the list. Fire extinguisher and kitchen fire suppression system details should be verified by the Contractor and/or Contractor’s inspector during the initial inspection and each subsequent inspection.

SPECIFIC SERVICES

All Rockwood School District fire extinguishers and kitchen fire suppression systems are to be inspected and tested according to the latest NFPA 10, 17, 17A, 25, 1962 and 96 at the time of inspections and testing, according to the U.S. Department of Labor’s Code of Federal Regulations (CFR) - Title 29, Chapter XVII, Part 1910, Subpart L - Fire Protection, and according to the latest regulations, procedures and codes set forth by the authority having local jurisdiction, which includes, but is not limited to, St Louis County and local municipalities. Inspection and testing reports are to be properly supplied to the Rockwood School District and the appropriate Fire District.

Invoicing for the inspections and testing as described in this RFP shall be at the conclusion of all work. The Contractor shall provide a copy of all inspection reports and separate proposals for suggested upgrades and/or replacements for each site, along with an itemized invoice for the inspections and testing as described in this RFP.

The Contractor will schedule and conduct a preliminary meeting with the District’s Maintenance personnel prior to inspections to accomplish the following goals:

- Establish contacts and a schedule

- Conduct a preliminary inspection of the prior inspection records and evaluate the condition of associated signage or records holders upon initial arrival to perform inspection.

- Review and develop a checklist for each location and the format and inspection forms.

- Coordinate fire alarm procedures relating to kitchen fire suppression systems inspections

- INSPECTIONS

Prior to performing inspections, the Contractor’s Inspector shall meet with the District’s Maintenance personnel to introduce themselves, review the anticipated schedule and discuss any known issues.

During the inspections, the Contractor’s Inspector and his Supervisor will meet bi-weekly, or more often as needed, with the District’s Maintenance personnel and review the following:

- Progress and schedule

- Any deficiencies or necessary repairs

- Proposals for immediate repairs and proposals for future upgrades or system replacements.

- Any other issues

Fire Extinguishers

Annual inspections, testing, cleaning, certification and maintenance of fire extinguishers performed during May/June of each year. May/June inspections can be performed following the last day of school each school year. Scheduling of inspections should be handled through the District’s Coordinator Maintenance and Grounds.

- Maintenance Procedures - Maintenance procedures, including recharging, shall be performed according to Chapter 4 of NFPA 10 and OSHA. Additionally, maintenance procedures shall include the following:

  - Visually inspect all extinguishers for defects

  - Weigh all extinguishers to determine if fully charged

  - Remove safety pull pin, ring pin, to check for freedom of movement and reseal with a new color-coded tamper indicator, which matches the color of the certification tag

  - Remove all detachable discharge hoses and check for obstructions or damage

  - For carbon dioxide (CO2) extinguishers, perform a continuity test of the discharge hose to assure that it is properly grounded

    - Carbon dioxide (CO2) hose assemblies that pass a conductivity test shall have the test information recorded on a suitable label as defined by NFPA 10. The label shall include the following information:

      - Month and year the test was performed

      - Name or initials of person performing the test and the name of the agency performing the test

  - Any missed extinguishers are to be re-inspected by the Contractor at no additional cost to the District

- Six-Year Maintenance - Stored pressure extinguishers that require a twelve-year hydrostatic test shall be emptied and subjected to a six-year maintenance every six years after the date of the hydrostatic test. See Schedule A for equipment status.

- Spare Extinguishers - Extinguishers out of service for maintenance or recharge shall be replaced by spare extinguishers, provided by District, of the same type and at least equal rating

- Loaner Extinguishers - If the District does not possess enough spare extinguishers, Contractor shall provide loaner extinguishers of comparable size, quantity and rating. At a minimum, Contractor shall provide one loaner extinguisher for each two extinguishers removed for service, and there shall be no charge for these loaner extinguishers.

- Certification Tag - Each extinguisher shall have a tag securely attached that shows the month and year maintenance or recharging was performed. The certification tag shall be printed with only the current year’s date and shall identify the person and company performing the service.

- External Labeling - Extinguishers that successfully pass a six-year maintenance or hydrostatic test shall have the test information recorded on the extinguisher cylinder as required by DOT or a label affixed to the cylinder as required by NFPA 10.

- Internal Labeling - In addition to the six-year maintenance and hydrostatic test label contained on stored pressure dry chemical extinguishers, an adhesive label showing the month, year, employee name and company name shall be attached to the siphon tube of the extinguisher to provide further evidence that the specified work was completed. This shall be done for the recharge, hydrostatic testing or six-year maintenance of dry chemical extinguishers only.

- Label Placement - No advertising labels or labels showing maintenance, hydrostatic testing or six-year maintenance shall be placed on the front of the extinguishers.

- Summary Record - In addition to the required maintenance certification tag, a typed record of work performed by Contractor shall be forwarded to the District within fifteen (15) working days after completion of the annual maintenance and required service. To comply with NFPA and OSHA record keeping requirements, the summary record shall include the following information:

  - The date and name of the company and employee performing the maintenance

  - The location, size and type of all fire extinguishers serviced during the annual maintenance

  - All service performed during the annual maintenance, including the dates of hydrostatic testing and sic-year maintenance

  - Deficiencies or discrepancies found during the annual maintenance and any recommendations

- Reuse of Chemical - The remaining dry chemical in a discharged extinguisher may be reused if the extinguisher is first emptied and the chemical is checked for the proper type, contamination and condition. Dry chemical of the wrong type or contaminated shall not be used.

- Recharge Warranty - All extinguishers recharged by Contractor shall be warranted against leakage for one (1) year from the date of recharge by Contractor. Any leaky extinguishers shall be refilled and repaired by the Contractor at no additional cost to the District.

- Halon Closed Recovery System - The removal of agent from halogenated agent extinguishers shall only de performed using a halon closed recovery system. All recovery and refilling of halogenated agents shall be done at the Contractor’s place of business.

- Hydrostatic Testing Procedures - Hydrostatic testing procedures shall be done by persons trained in pressure testing procedures and safeguards, and having available suitable testing equipment, facilities and appropriate servicing manual(s) and shall be performed according to Chapter 5 of NFPA 10.

- Hydrostatic Testing Intervals - Hydrostatic testing intervals shall be those specified by the latest NFPA Edition at the time of testing.

Fire Hoses

Contractor must be licensed to perform inspections, testing and replacement of fire hose, couplings, nozzles and fire hose appliances. All work must be performed in accordance to NFPA 1962 and all rules and regulations required by the AHJ.

Inspections shall be performed annually in May/June of each year. In-service hose shall be unracked, unreeled or unrolled and physically inspected as specified in Section 2-5. Hose shall be reracked, rereeled or rerolled so that any folds do not occur at the same position on the hose. Physical inspection shall determine that the hose, couplings and any nozzles have not been vandalized, are free of debris and exhibit no evidence of mildew, rot or damage by chemicals, burns, cuts, abrasions or vermin.

All nozzles shall be inspected annually and after each use. The nozzle inspection shall include verification of the following:

- Clear of obstruction in waterway

- No damage to tip

- Full operation of adjustments such pattern selection, etc.

- Proper operation of shutoff valve, if so equipped

- No missing parts

- Threaded gasket in good condition in accordance with 4-3.1

The service test pressure shall be tested and shall meet the requirements of the latest edition of NFPA 1961.

Kitchen Fire Suppression Systems

Contractor must be licensed to perform inspections, testing, cleaning and certification of kitchen fire suppression systems. All work must be performed in accordance to NFPA 17A - 7.3 and all rules and regulations required by the AHJ.

Inspections shall be performed semi-annually in December and May/June of each year. December inspections should be performed during the District’s winter break. May/June inspections can be performed following the last day of school each school year. Scheduling of inspections should be handled through the District’s Coordinator Maintenance and Grounds.

- Frequency - Semi-annually, every six (6) months, maintenance shall be conducted on kitchen fire suppression systems according to the manufacturer’s listed installation and maintenance manual and as required in Chapter 2 of NFPA 17 and Chapter 3 of NFPA 17A.

- Fusible Links - Fixed temperature sensing elements, fusible links, shall be replaced during each semiannual maintenance. Fusible links shall be those specified by the system manufacturer. The year of manufacture and the date of installation of the fusible link must be marked on the system inspection tag. The tag shall be singed or initialed by the installer.

- Hydrostatic Testing - Kitchen fire suppression systems shall be hydrostatically tested at interval as required by NFPA 17, NFPA 17A or the DOT markings on the cylinder.

- Six-Year Maintenance - The dry chemical agent in stored pressure systems shall be examined at least once every six (6) years. See Schedule A for equipment status.

- Labeling - Kitchen fire suppression systems that successfully pass a six-year maintenance or hydrostatic test shall have the test information recorded on the extinguisher cylinder as required by DOT or a label affixed to the cylinder as required by NFPA 17 or NFPA 17A.

- No Reuse of Chemical - Kitchen fire suppression system agent removed from cylinders before hydrostatic testing shall be discarded and discarded in a manner approved by all applicable laws governing the disposal of fire suppression system agent.

- Manufacturer Specific Recharge Chemical - Only chemical recharge agents specifically listed by the system manufacturer shall be used in the service or recharge of the kitchen fire suppression system.

- Certification Tag - Each Kitchen fire suppression system shall have a tag securely attached that shows the month and year maintenance or recharging was performed. The certification tag shall be printed with only the current year’s date and shall identify the person and company performing the service.

- Inspection Report - In addition to the required certification tag, an inspection report shall be completed during each service of a kitchen fire suppression system detailing the specific items inspected and noting any deficiencies or discrepancies that could adversely affect the safe and proper operation of the system or which do not comply with applicable National Fire Codes. A copy of the inspection report shall be provided to the District immediately upon completion of service.

- Follow-up Quotations - A quotation for the repair or revision of deficient kitchen fire suppression systems shall be provided to the District within fifteen (15) days of the date of inspection.

- Fire Marshal Notice - A copy of all inspection reports shall be forwarded to the local Fire Marshal within twenty (20) days of the date of inspection.

- REPAIR/REPLACEMENT OF DEVICES THAT DO NOT PASS INSPECTION

Fire Extinguishers

Contractor shall repair and/or replace damaged, defective or missing fire extinguishers and brackets as requested by the District.

Fire Hoses

Contractor shall report damaged, defective or missing fire hoses and accessories to the District within fifteen (15) days of inspection. The District reserves the right to seek competitive bids for replacement items.

Kitchen Fire Suppression Systems

Contractor shall report deficiencies to the District within fifteen (15) days of inspection. The District reserves the right to seek competitive bids to bring the system into compliance.

- WORKING HOURS, SCHEDULE AND RESPONSE TIMES

Work may be done Monday through Friday, 7:00 am to 4:00 pm, unless prearranged with the District’s Facilities department.

- Only the District’s Facilities department can request service from the Contractor. A list of authorized callers will be provided on the contract is let.

- Routine Service During Business Hours - Once a call is placed into your main office number, there should be a technician on site within twenty-four (24) hours from the call.

- Emergency Service During Business Hours - Once a call is placed into your dispatch office number, there should be a technician on site within four (4) hours from the call.

- Emergency Service Outside of Business Hours - Once a call is placed into your after-hours on call number, there should be a technician on site within four (4) hours from the call.

The successful bidder will be required to provide to the District’s Facilities department a complete set of all Material Safety Data Sheets used for the performance of the contracted scope of work. The successful bidder will also be required to maintain an additional complete set at the work site at all times.

BIDDER QUALIFICATIONS

General:  Inspections, testing, cleaning, certification and maintenance of all fire extinguishers and kitchen fire suppression systems shall be done by trained persons having available the appropriate servicing manual(s), the proper types of tools, materials, including recharge materials and lubricants, and replacement parts.

Verification:  The selected Contractor inspections, testing, cleaning, certification and maintenance of all fire extinguishers and kitchen fire suppression systems shall verify that:

- NFPA - Contractor is a member in good standing with the National Fire Protection Association (NFPA) and has copies of the current applicable National Fire Code standards.

- NAFED - Contractor and its applicable employees are a member in good standing with the National Association of Fire Equipment Distributors and are certified technicians through ICC/NAFED.

- DOT - Contractor is a qualified tester of high-presser cylinders by the DOT and possesses current copies of all applicable Code of Federal Regulations (CFR) and Compress Gas Association (CGA) publications required by the DOT.

- Licensing - As required by State, County and/or local ordinances, Contractor and its applicable employees are properly licensed for the inspections, testing, cleaning, certification and maintenance of all fire extinguishers and kitchen fire suppression systems.

- Contractor Experience - Contractor has a minimum of five (5) years’ experience in the inspections, testing, cleaning, certification and maintenance of all fire extinguishers and kitchen fire suppression systems with previous experience working in a school environment. The project will not be divided between contractors.

- Employee Experience - Contractor’s employees performing inspections, testing, cleaning, certification and maintenance of all fire extinguishers and kitchen fire suppression systems on behalf of Contractor must have a minimum of two (2) years’ experience in the inspections, testing, cleaning and certification of all fire extinguishers and kitchen fire suppression systems and is knowledgeable of all applicable OSHA and NFPA codes and standards.

- Specified Equipment - Only manufacturer specific chemical agents and replacement parts and factory new equipment, including factory-sealed cartridges, shall be used in the inspections, testing, cleaning, certification and maintenance of all fire extinguishers and kitchen fire suppression systems.

- HazMat Compliance - Contractor and its applicable employees shall have been trained and certified for Hazardous Material handling as required by DOT HMR; 49 CFR Parts 171-180. The transportation of fire extinguishers and commercial kitchen fire suppression systems by Contractor and its employees shall incorporate all necessary procedures, including but not limited to, record keeping, labeling, and necessary vehicle placarding, as required by the DOT.

- Proper Facilities and Equipment - Contractor shall base its inspections, testing, cleaning, certification and maintenance operations out of an appropriately zoned commercial building that clearly identifies it as that of a fire protection company and shall have, either in its building or on its service vehicle(s), proper inspections, testing, cleaning, certification and maintenance equipment as required according to the latest regulations, procedures and codes set forth by the authority having local jurisdiction.

- Reliable Contact - Contractor shall have a business telephone number, which is answered live during the weekday hours of 7:30 am and 5:00 pm, and shall provide an after-hours telephone number for obtaining 24-hour per day emergency service.

- Guaranteed Response - Contractor shall provide a guaranteed response, with penalties for nonperformance, to calls for maintenance and shall provide specific warranties for the recharging and repair work performed.

ADDITIONAL INFORMATION

Any additional service for repairs and/or parts must have prior approval by District’s Coordinator Maintenance and Grounds and submitted in writing from the Contractor with an estimated cost.

FIRE ALARM SYSTEMS

In all cases when a fire alarm system must be removed from the dispatch service, specific times should be noted. Extensive periods of time shall be reported to the District’s Facilities department and a “fire watch” may need to be set in place.

Calling fire alarm systems off line procedure:  Contact the District’s Facilities office at (636) 733-3270.

If the Contractor fails to call the fire alarm system out of service, the Contractor will be responsible for paying any resulting bill issued by the local fire department to the District for failure to call the fire alarm system out of service.

DEFINITIONS AND ABBREVIATIONS

The Contractor shall agree and understand that whenever the following words, abbreviations, or expressions appear in the RFP document or any amendment, exhibit, or attachment thereto, the definition or meaning described below shall apply. If reference to any of the words or abbreviations below is ambiguous to the Proposer, or contradicts the RFP, the Proposer shall make this known to the District prior to submitting a proposal.

AHJ: Authority Having Jurisdiction

CFR: Code of Federal Regulations

CGA: Compressed Gas Association, Inc.

CONTRACTOR: Company submitting pricing to obtain the work specified herein or the employees of that company

DOT: US Department of Transportation, which has jurisdiction over compressed gas cylinders and cartridges.

FHOSE: Fire Hose

HAZMAT: Hazardous Materials

HMR: Hazardous Materials Regulation

HYDROSTATIC TESTING: Pressure test of a cylinder using water to check for structural weaknesses or flaws and an internal and external examination of the cylinder to check for excess pitting, corrosion or other physical deformation that may cause the equipment to malfunction or burst.

ICC: International Code Council

KSYS: Kitchen Fire Suppression System

MAINTENANCE: Through examination of fire extinguishers and kitchen fire suppression systems giving maximum assurance that the equipment will operate effectively and safely, including, but not limited to, hydrostatic testing, six-year maintenance or repairs, as required.

NAFED: National Association of Fire Equipment Distributors

NATIONAL FIRE CODES: Standards developed by the NFPA for fire extinguishers, fire hoses and commercial kitchen fire suppression systems, including but not limited to, NFPA 10, 17, 17A, 25, 1962 and 96.

NFPA: National Fire Protection Association

OEM: Original Equipment Manufacturer

OSHA: Occupational Safety and Health Administration

PORT: Portable Fire Extinguisher

RECHARGING: Replacement of extinguishing agent, including the expellant for certain types of extinguishers and systems.

SERVICING: Includes one or more of the following, (1) Maintenance, (2) Recharging, (3) Six-Year Maintenance, and (4) Hydrostatic Testing.

SIX-YEAR MAINTENANCE: Examination of stored pressure-type fire extinguishers and kitchen fire suppression system cylinders, including a thorough internal and external examination, cleaning and lubrication of the cylinder and its operating parts.

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

III. CONTRACT TERMS AND CONDITIONS

INTRODUCTION TO THIS SECTION

The successful Proposer will be expected to enter into a written contract with the District. The terms and conditions in this section are expected to be incorporated into any contract awarded as a result of this RFP. In submitting a proposal, the Proposer agrees to the terms and conditions in this section, unless a statement is made to the contrary. Acceptance of alternate language, terms and conditions is at the sole discretion of the District. While the exact term of the contract is subject to final determination, the successful Proposer would be expected to commence the services on or about July 1, 2019, and complete the services as mutually agreed. The following terms and conditions are not to be considered complete, and other terms and conditions will be included in any resulting contract.

WARRANTY FOR SERVICES

Contractor warrants and represents to the District that Contractor possesses the background, experience, expertise and qualifications to undertake and to carry out the Services. Contractor further warrants and represents that the Services will be performed in a professional, good, thorough and workmanlike manner, and consistent with accepted industry standards.

REMEDIES FOR UNSATISFACTORY SERVICES

In the event Contractor fails to provide the Services consistent with the warranties and representations set forth in Section 2 above, the District at its option, may:  (a) require Contractor to reperform the unsatisfactory Services at no cost to the District; (b) refuse to pay Contractor for Services, unless and until Services are corrected and performed satisfactorily; (c) require Contractor to reimburse the District all amounts paid for such unsatisfactory Services; and/or (d) proceed with, and assert, any and all remedies available at law. The foregoing options and remedies available to the District shall be deemed to be mutual and severable, and not exclusive.

INSURANCE

A.	Contractor shall maintain occurrence-based insurance including comprehensive general liability, automotive liability, and if applicable, workers’ compensation and employers' liability in the amounts described herein. Such insurance shall be provided by insurance companies authorized to do business in the State of Missouri.

B.	The District shall be included as an additional insured on all required insurance policies, except Workers’ Compensation and Employers' Liability, with respect to the liability arising out of the performance of Contractor's Services under this Agreement.

C.	Certificates of insurance of Contractor's insurance coverage shall be furnished to the District at the time of commencement of the Services.

D.	All such insurance shall provide for notice to the District of cancellation of insurance policies thirty (30) days before such cancellation is to take effect.

TERMINATION

A.	The District may terminate this Agreement with or without cause at any time by giving 15 days' prior written notice to the other party of its intention to terminate as of the date specified in the notice. Contractor shall be paid for Services satisfactorily performed up to the time notice of termination is received. Contractor shall also be paid for all Services satisfactorily performed between the time notice is received and the date of termination, as long as all such performed Services are approved by the Board in a separate writing and in advance of their performance.

B.	In the event of a breach of this Agreement by either Contractor or the District, the non-breaching party shall give the breaching party written notice specifying the default, and the breaching party shall have 15 days within which to cure the default. If the default is not cured within that time, the non-breaching party shall have the right to then terminate this Agreement by providing written notice of such termination.

INDEMNITY

Contractor agrees to indemnify and hold harmless the District and the members of the Rockwood Board of Education, and the District’s officers, employees, servants and agents from and against any and all liabilities, losses, damages, costs and expenses of any kind (including, without limitation, reasonable legal fees and expenses in connection with any investigative, administrative or judicial proceeding, whether or not designated a party thereto) which may be suffered by, incurred by or threatened against the District or any members, officers, employees, servants or agents of the District on account of or resulting from injury, or claim of injury, to person or property arising from Contractor’s actions or omissions relating to this Agreement, or arising out of Contractor’s breach or failure to perform any term, covenant, condition or agreement herein provided to be performed by Contractor.

FISCAL FUNDING

While the parties intend for the term of this Agreement to be three (3) years, the term is subject to, and conditioned on, the appropriation, availability and budgeting of sufficient funds. For any fiscal year of the District during the term hereof, in the event that sufficient funds are not available to the District, are not able to be appropriated by the District or cannot be budgeted by the District for the services hereunder, the District shall have the right to terminate this Agreement upon sixty (60) days prior written notice to Consultant prior to the beginning of any such fiscal year. The District shall use reasonable efforts to avoid termination of this Agreement based on lack of fiscal funding. In the event of any such termination, the District shall pay Consultant for the services performed up to the date of termination.

GOVERNING LAW - JURISDICTION

This Agreement shall be governed, construed and interpreted under Missouri law, and shall be deemed to be executed and performed in the County of St. Louis, Missouri. Any legal action arising out of, or relating to this Agreement shall be governed by the laws of the State of Missouri, and the parties agree to the exclusive exercise of jurisdiction and venue over them by a court of competent jurisdiction located in the County of St. Louis, Missouri.

REPORTING

During the term of this Agreement, Contractor shall report to, and confer with, the District’s Chief Financial Officer or Director Facilities and/or their designee on a regular basis, and as may be reasonably requested, concerning the Services performed by Contractor and issues related to the Services. Contractor also agrees to meet and confer with other District administrators, officers and employees as directed, or as may be necessary or appropriate.

ASSIGNMENT

Contractor agrees, for Contractor and on behalf of Contractor’s successors, heirs, executors, administrators, and any person or persons claiming under Contractor, that this Agreement and the obligations, rights, interests, and benefits hereunder cannot be assigned, transferred, pledged, or hypothecated in any way and shall not be subject to execution, attachment, or similar process, without the express written consent of the District. Any attempt to do so, contrary to these terms, shall be null and void and shall relieve the District of any and all obligations or liability hereunder.

LICENSES AND PERMITS

Contractor shall obtain at Contractor’s expense all licenses and permits necessary to perform the Services.

CONTRACTOR REPRESENTATIONS

Contractor acknowledges and represents that (i) Contractor is legally authorized to transact business in the State of Missouri and to provide the Services required hereunder, (ii) the entering into this Agreement has been duly approved by the Contractor, (iii) the undersigned is duly authorized to execute this Agreement on behalf of Contractor and to bind Contractor to the terms hereof, and (iv) Contractor will comply with all State, federal and local statutes, regulations and ordinances, including civil rights and employment laws, and agrees not to discriminate against any employee or applicant for employment or in the provision of Services on the basis of race, color, national origin, sex, sexual orientation, age or disability. Contractor also agrees to abide by all applicable District policies and regulations.

Contractor agrees that any employee acting on behalf of the contractor and performing duties on District property will adhere to District policies related to staff conduct, including but not limited to:  banning the use of tobacco on District property, drug-free workplace and activities that could be viewed as unethical or a conflict of interest. Vendors whose staff will regularly enter school buildings will perform background screening on each staff member to ensure that they are not on a sexual offender or predator list. A complete list of District policies can be found at:

http://www.rsdmo.org/boardofeducation/policiesandregulations/Pages/default.aspx

INDEPENDENT CONTRACTOR

The District and Contractor agree that Contractor will act for all purposes as an independent contractor and not as an employee, in the performance of Contractor’s duties under this Agreement. Accordingly, Contractor shall be responsible for payment of all taxes, including federal, state and local taxes arising out of Contractor’s Services, including by way of illustration but not limitation, federal and state income tax, Social Security tax, Unemployment Insurance taxes, and any other taxes. In addition, Contractor and Contractor’s employees shall not be entitled to any vacation, insurance, health, welfare, or other fringe benefits provided by the District. Contractor shall have no authority to assume or incur any obligation or responsibility, nor make any warranty for or on behalf of the District or to attempt to bind the District.

FEDERAL WORK AUTHORIZATION PROGRAM

As an independent contractor of the District, Consultants will provide documentation and a sworn affidavit that all employees of Consultants are not considered unauthorized aliens as defined by Federal law and are enrolled in and actively participate in a federal work authorization program (FWAP) used to verify citizenship information of newly hired employees under the Immigration Reform and Control Act of 1986. Consultants must also sign and provide to the District an affidavit (attached) indicating they do not knowingly employ any unauthorized aliens under this agreement.

[REMAINDER OF PAGE INTENTIONALLY LEFT BLANK]

ACKNOWLEDGEMENT FORM

(Complete and return as part of your proposal)

The Proposer hereby declares understanding, agreement and certification of compliance to provide the items and/or services, at the prices quoted, in accordance with all terms and conditions, requirements and specifications of the original Request for Proposal (RFP) and as modified by any addenda.

Company Name 	Representative's Name	Title

Address	City/State/Zip	Telephone #	Fax #

E-mail Address

Years in Operation	Years under current structure and/or under previous structure

- Name of Company’s Officers:

| NAME |  | TITLE |
| --- | --- | --- |

- The undersigned hereby acknowledges the receipt of the following addenda:

| Addendum Number |  | Date Issued |  | Date Acknowledged |  | Signature |
| --- | --- | --- | --- | --- | --- | --- |

- The undersigned hereby acknowledges that the Company has read and agrees to the terms and conditions set forth in the RFP, and that the terms and conditions set forth in the Proposal will remain open for at least 90 days from the deadline for submission of Proposals

|  | Company Officer’s Name |
| --- | --- |
|  | Signature Date |

FEDERAL WORK AUTHORIZATION PROGRAM (“E-VERIFY”) ADDENDUM

Pursuant to Missouri Revised Statute 285.530, all business entities awarded any contract in excess of five thousand dollars ($5,000) with a Missouri public school district must, as a condition to the award of any such contract, be enrolled and participate in a federal work authorization program with respect to the employees working in connection with the contracted services being provided, or to be provided, to the District (to the extent allowed by E-Verify). In addition, the business entity must affirm the same through sworn affidavit and provision of documentation. In addition, the business entity must sign an affidavit that it does not knowingly employ any person who is an unauthorized alien in connection with the services being provided, or to be provided, to the District.

Accordingly, your company:

- agrees to have an authorized person execute the attached “Federal Work Authorization Program Affidavit” attached hereto and deliver the same to the District prior to or contemporaneously with the execution of its contract with the District;

- affirms it is enrolled in the “E-Verify” (formerly known as “Basic Pilot”) work authorization program of the United States, and are participating in E-Verify with respect to your employees working in connection with the services being provided (to the extent allowed by E-Verify), or to be provided, by your company to the District;

- affirms that it is not knowingly employing any person who is an unauthorized alien in connection with the services being provided, or to be provided, by your company to the District;

- affirms you will notify the District if you cease participation in E-Verify, or if there is any action, claim or complaint made against you alleging any violation of Missouri Revised Statute 285.530, or any regulations issued thereto;

- agrees to provide documentation of your participation in E-Verify to the District prior to or contemporaneously with the execution of its contract with the District (or at any time thereafter upon request by the District), by providing to the District an E-Verify screen print-out (or equivalent documentation) confirming your participation in E-Verify;

- agrees to comply with any state or federal regulations or rules that may be issued subsequent to this addendum that relate to Missouri Revised Statute 285.530; and

- agrees that any failure by your company to abide by the requirements a) through f) above will be considered a material breach of your contract with the District.

|  | By: |  |
| --- | --- | --- |
|  |  | (Signature) |
|  | Printed Name and Title: |  |
|  | For and on behalf of: |  |
|  |  | (Company Name) |

FEDERAL WORK AUTHORIZATION PROGRAM AFFIDAVIT

I, ____________________________________, being of legal age and having been duly sworn upon my oath, state the following facts are true:

- I am more than twenty-one years of age; and have first-hand knowledge of the matters set forth herein.

- I am employed by ___________________________________ (hereinafter “Company”) and have authority to issue this affidavit on its behalf.

- Company is enrolled in and participating in the United States E-Verify (formerly known as “Basic Pilot”) federal work authorization program with respect to Company’s employees working in connection with the services Company is providing to, or will provide to, the District, to the extent allowed by E-Verify.

- Company does not knowingly employ any person who is an unauthorized alien in connection with the services Company is providing to, or will provide to, the District.

- FURTHER AFFIANT SAYETH NOT.

|  | By: |  | (individual signature) |
| --- | --- | --- | --- |
|  | For |  | (company name) |
|  | Title: |  |  |

| Subscribed and sworn to before me on this |  | day of |  | , 20 |  | . |
| --- | --- | --- | --- | --- | --- | --- |

__________________________________

NOTARY PUBLIC

My commission expires: