{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":49,"n_cols":8,"rows_kept":49,"merged":[[0,0,0,6],[4,7,5,7],[25,7,26,7],[35,7,36,7],[48,4,48,6]]}
["PUBLIC SAFETY DEPARTMENT GENERATORS"]
[]
["COMMUNICATIONS"]
[]
[{"$nulls":4},"Property",null,"# of Visits","Annual Cost"]
["Generator Description",null,"Location",null,"Number",null,"per Year"]
["Generac 20KW Model # 10558090200 21008880 ",null,"Big Lagoon Tower Site",null,"NONE",null,3]
["Generac 20 KW - Model # 20A02676-A 2057873",null,"Century Water Tower",null,49178,null,3]
["CAT Model #D50-6S-SER.# 00C44CGLD00912",null,"Don Sutton Tower Site",null,"NONE",null,3]
["Onan 75 KW - Model # 75.0DBV B860799312",null,"Englewood Tower Site",null,"City Prop.",null,3]
["Generac 50kw Diesel serial #8442256",null,"Public Safety Tower Site",{"$nulls":3},3]
["Generac 30KW 10015150200 2098713",null,"Gonzales Tower Site",null,"83J7-S.O.",null,3]
["Olympian Model # G35LG2 SER. # GXE01004",null,"Gulf Breeze Tower Site",null,"NONE",null,3]
["Generac - Model # 97A01561-S 2033968",null,"Molino Health Dept. Tower Site",null,"NONE",null,3]
["Onan 35 KW - Model # 35DGBB A980673262",null,"North Site Tower Site",null,"98C3-S.O.",null,3]
["Kohler 31KW - Model #GLS-164231-0150",null,"North Site Tower Site #2",null,"NONE",null,3]
["Kohler 30 KW - Model # 30ROZJ61 391565",null,"Pipeline Tower Site",null,46226,null,3]
["Generac 15 KW - Model #98A03452-S 2042378",null,"Walnut Hill Tower Site",null,"NONE",null,3]
["Generac 25 KW - Model # QT02516ANSN 4647441",null,"Warrington Tower Site",null,"NONE",null,3]
["Kohler 20 KW - Model # 20RZ 158337",null,"WSRE Tower Site",null,41862,null,3]
["Generac  22 KW -Model #RG02224ANAX",null,"I-10/4H Tower Site",null,"NONE",null,3]
["Kohler 1000 KW- Model # 1000R0ZD4",null,"Public Safety Building 6575 N \"W\" St",null,"NONE",null,3]
["CAT 400 KW - Public Safety Back up",null,"Public Safety Building 6575 N \"W\" St",null,"NONE",null,3]
["EMERGENCY MANAGEMENT",{"$nulls":6},{"$f":"SUM(H7:H22)","v":{"v":0,"d":"$0.00"}}]
[]
[{"$nulls":4},"Property",null,"# of Visits","Annual Cost"]
["Generator Description",null,"Location",null,"Number",null,"per Year"]
["Stamford 30 KW - Model # N/A Ser. #0111355/05",null,"Perkins Portable/Public Safety Storage Bldg.",null,"NONE",null,"PER REQUEST","N/A"]
["Martin Diesel-Yanmar Generator CGS-44YE",null,"THOR Command Trailer/PS Storage Bldg.",null,"NONE",null,2]
["Carrier PC6000",null,"THOR Command Trailer/PS Storage Bldg.",null,"NONE",null,1]
["Honda Model # EB5000 Ser. # EA7-3111709",null,"Honda Portable/Public Safety Storage Bldg",null,58532,null,1]
["Kohler 350 KW Protable - Model # 350REOZD 602562",null,"Pensacola State College",null,"NONE",null,3]
[{"$nulls":7},{"$f":"SUM(H29:H32)","v":{"v":0,"d":"$0.00"}}]
["EMS"]
[]
[{"$nulls":4},"Property",null,"# of Visits","Annual Cost"]
["Generator Description",null,"Location",null,"Number",null,"per Year"]
["Kohler 80 KW - Model # 80ROZJ 393452",null,"Century EMS Sub-Station",null,"NONE",null,3]
["#1 Honda 6.5 KW - Model # ES6500 EA1-1077128",null,"Public Safety Storage Building",null,44150,null,1]
["#2 Honda 6.5 KW - Model # ES6500 EA1-1070758",null,"Public Safety Storage Building",null,44149,null,1]
["#3 Honda 5.0 KW - Model # EM5000S EA& 1119206",null,"Public Safety Storage Building",null,41336,null,1]
["#4 Honda 5.0 KW - Model # EM5000S EA7 1118855",null,"Public Safety Storage Building",null,41337,null,1]
["#5 Honda 2000 I - Ser# EAAJ1393351",null,"Public Safety Medical Supply",null,"NONE",null,1]
["Meco Alte Spa Model  N/A Serial # 620327C3",null,"Public Safety Storage Building/EMS Support Trailer",null,"NONE",null,3]
[]
["Power Tech 20 KW - Model # PTS MH-20AA KHA45DCA3213AA",null,"Mobile 1 Command Trailer/PS Storage Bldg.",null,"NONE",null,2]
[{"$nulls":7},{"$f":"SUM(H38:H46)","v":{"v":0,"d":"$0.00"}}]
[]
[{"$nulls":4},"GRAND TOTAL ANNUAL COSTS FOR SERVICE",null,null,{"$f":"SUM(H7:H22,H29:H31,H32,H38:H44,H46)","v":{"v":0,"d":"$0.00"}}]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}