**RFB For Automatic Transfer Switch for Water Treatment Plant**

The City of Antigo (hereafter referred to as The City), a governmental entity, is requesting bids for the purchase and installation of an automatic transfer switch (ATS) for the main plant generator at the water treatment plant (WTP) located at 520 1st Avenue Antigo, WI 54409. Appointments can by made by contacting Tommy Horswill or Keith Schwebler at 715-623-3316. Site visits for contractors will be Monday, September 12th from 7:00 am to 2:00 pm, or by appointment. The water plant is located at 520 1st Avenue Antigo, WI 54409.

Not withstanding any provisions of the Request for Bids (RFB), The City reserves the right to reject any or all bids, to waive any irregularity or informality in the bid, and to accept or reject any items or combination of items, when to do so would be the advantage of The City and its taxpayers. It is further withing the right of The City to reject bids that do not contain all elements and information requested in this document.

The City shall not be liable for any losses incurred by the proposer throughout this process. The cost of preparing a response to this RFB is not reimbursable in part or in whole to the proposer. Any bid received will become the property of The City and become a matter of public record so any proprietary material or information should be marked as such and submitted as a supplement to the bid allowing The City to protect such information as warranted.

1. **Objective:** The City intends to add an automatic transfer switch to the main plant generator of the WTP. The generator powers the entire plant during power outages.
2. **Scope:** The contractor shall supply a bid that includes all costs including labor, materials, shipping, delivery, installation and start up diagnosis.
3. **Project Specifications:**
4. The generator is a Cummins model GIA855A, serial number 25198326
5. The generator currently powers the water treatment plant and one of the three booster pumps that supplies the water towers.
6. The contractor shall provide an itemized checklist of expenses including parts, labor, and supplies.
7. The contractor shall also provide an addendum pricing option to include adding generator power to the remaining two booster pumps.

Along with singing a contract with The City, the following are required for insurance:

1. Worker’s Comp
2. Lability
3. Contingent liability would be required if any work is subcontracted.
4. The City of Antigo must be listed as additionally insured (General)
5. A hold harmless agreement signed incase of bodily injury or death.

The bidding contractor is responsible for the preparation and submittal of the bid documents with final review/recommendation of the results to the Public Works Committee by appropriate staff. Bids shall be prepared simply, avoiding the use of elaborate promotional materials beyond those sufficient to complete the submittal. Bid information and vendor registration will be available on the city website at the following address: <https://www.antigo-city.org/antigo-city-bids-quotes-rfps> No paper, faxed, or hand delivered bids will be accepted. Bids will be accepted until Wednesday September 21st 2022 at 10:00 AM. Bids will be read at this time in the Public Works office at City Hall, 700 Edison St Antigo, WI 54409. Contractors submitting bids are welcome to attend the bid opening. The City of Antigo reserves the right to reject any and all bids and to accept the bid that is most advantageous to The City of Antigo.

Site visits for contractors will be Monday, September 12th from 7:00 am to 2:00 pm, or by appointment. The water plant is located at 520 1st Avenue Antigo, WI 54409.

**CONTRACTOR CERTIFICATION**

*We have read the City’s Request for Bids (RFB) to provide an automatic transfer switch to the WTP and we certify that we have adequate facilities to provide such services. We understand that our ability to meet criteria and provide required materials shall be judged by the city.*

*In addition, we certify that:*

* *Our bid is not made in the interest or on behalf of any person not named therein.*
* *We have not directly or indirectly induced or solicited any person to submit a false or misleading bid or to refrain from proposing.*
* *We have not in any manner sought by collusion to secure advantage over any other contractor*
* *We have thoroughly examined the bid requirements, and our proposed prices cover all the materials (F.O.B. Water Plant) that we have indicated we can provide; and*
* *We acknowledge and accept all the terms and conditions included in the RFB.*

1. **Contractor Certification**

The successful contractor will be required to submit to the City a federal W-9 form (request for taxpayer information). Firms already established with the City as a contractor may have this requirement waived.

Business Name

Address

Contact Name

Telephone # Mobile #

E-mail address

Cost of shipping, parts, and labor including all expenditures:

The contact name must be the person/persons authorized to represent the contractor regarding all matters related to the proposal. The letter must be signed by the individual authorized to represent the contractor.

Bidder’s Signature