|  | CITY OF BATTLE CREEK NOTICE OF INVITATION FOR BIDS ## IFB#: 2020-020B TITLE: Well Rebuilding and Cleaning ISSUE DATE: August 12, 2019 |
| --- | --- |

BID DUE DATE:	August 26, 2019, at 2:00 PM Local Time (office hours 8-12 and 1-5)

LOCATION:	Purchasing Department

10 N. Division Street, Suite 214

Battle Creek, MI 49014

(269) 966-3390

NOTE!  City Hall has security on the 1st floor.  Please allow extra time to get through security when dropping off your bid.

Contact:	Nils Vos
Phone:	269-966-3381

email:	npvos@battlecreekmi.gov

DESCRIPTION: The City is soliciting bids for contractor services to rebuild and clean up to four (4) wells.

Download this solicitation from our website at  www.battlecreekmi.gov.  Copies of the complete Invitation for Bids document may also be obtained from the Purchasing Department, Room 214, 10 N. Division Street, Battle Creek, Michigan 49014, (269) 966-3390.

Bids must be in the actual possession of the Purchasing Department at the location indicated, on or prior to the exact time and date indicated above. Bids received by the correct time and date shall be opened and the amount bid shall be publicly read.  Late bids shall not be considered.

BIDDERS ARE STRONGLY ENCOURAGED TO CAREFULLY READ THE ENTIRE INVITATION FOR BID.

THIS BID IS OFFERED BY: ______________________________________________

(Company Name)

1.0 INSTRUCTIONS TO BIDDERS

1.	BID SUBMISSION:

A.	Bids must be submitted in complete original form by mail or messenger to the following address:

Office of the Purchasing Agent, Room 214, City Hall, 10 N. Division Street, Battle Creek, MI 49014

B.	Bids will be accepted at the above address until the time and date specified herein, and immediately after will be publicly opened and read aloud. The prevailing clock shall be www.time.gov.

C.	All bids shall be tightly sealed in an opaque envelope and plainly marked with the Invitation for Bid number, due date and the bidder's name and address clearly indicated on the envelope.

D.	Late bids will not be accepted and will be returned to the bidder.

E.	All bids submitted in response to this invitation shall become the property of the City and be a matter of public record available for review.

2. 	PREPARATION OF BIDS:

A.	The bid shall be legibly prepared with ink or typed.

B.	If a unit price or extension already entered is to be altered, it shall be crossed out and initialed by the bidder with ink.

C.	The bid shall be legally signed on the OFFER TO CONTRACT page and the complete address of the bidder given thereon.

D.	The City is exempt from Federal Excise and State Sales Taxes, and such taxes shall not be included in bid prices

3.	SIGNATURES: All bids, notifications, claims and statements must be signed by an individual authorized to bind the bidder.

(a.) CORPORATIONS: Signature of official shall be accompanied by a certified copy of the resolution of the Board of Directors authorizing the individual signing to bind the corporation.

(b.) PARTNERSHIPS: Signature of one partner shall be accompanied by a certified copy of the power of attorney authorizing the individual signing to bind all partners. If all partners sign bid no authorization is needed.

4.	REJECTION OR WITHDRAWAL: Submission of additional terms, conditions or agreements with the bid document is grounds for deeming a bid nonresponsive and may result in bid rejection. The City reserves the right to reject any bids and to waive any informalities and minor irregularities defects in bids. Bids may be withdrawn in person by a bidder, or authorized representative, provided their identity is made known and a receipt is signed for the bid, but only if the withdrawal is made prior to the time set for receipt of bids. Bids are an irrevocable offer and may not be withdrawn within 90 days after opening date.

5.	AWARD: The bid will be awarded to that responsible, responsive bidder whose bid, conforming to this solicitation, will be most advantageous to the City, price and other factors considered. Unless otherwise specified in this IFB, the City reserves the right to accept a bid in whole or in part, and to award by item or by group, whichever is deemed to be in the best interest of the City. Any bidder who is in default to the City at the time of submittal of the bid shall have his bid rejected. The City reserves the right to clarify any contractual terms with the concurrence of the Contractor; however, any substantial non-conformity in the offer, as determined by the City, shall be deemed non-responsive and the offer rejected.

In evaluating bids, Owner shall consider the qualifications of the Bidders, and where applicable, operating costs, delivery time, maintenance requirements, performance data, and guarantees of materials and equipment. In addition, the City may conduct such investigations as Owner deems necessary to assist in the evaluation of a Bid and to establish the responsibility, qualifications and financial ability of the Bidders to fulfill the contract.

6.	CONTRACT: A response to an IFB is an offer to contract with the City based upon the terms, conditions, and specifications contained in the City's IFB. Bids do not become contracts unless and until they are executed by the City, eliminating a formal signing of a separate contract. For that reason, all of the terms and conditions of the contract are contained in the IFB, unless any of the terms and conditions are modified by an Addendum or a Contract Amendment.

7.	BID RESULTS: A bid tabulation will be posted on the City’s website and will also be on file and available for review after contract award in the Purchasing Department.

8.	CHANGES AND ADDENDA TO BID DOCUMENTS: Each change or addendum issued in relation to this bid document will be on file in the Office of the Purchasing Agent. In addition, to the extent possible, copies will be mailed to each person registered as having received a set of bid documents. It shall be the bidder's responsibility to make inquiry as to changes or addenda issued. All such changes or addenda shall become part of the contract and all bidders shall be bound by such addenda. Information on all changes or addenda issued will be available at the office of the City Purchasing Agent.

9.	SPECIFICATIONS: Unless otherwise stated by the bidder, the bid will be considered as being in accordance with the City's applicable standard specifications, and any special specifications outlined in the Bid document. References to a particular trade name, manufacturer's catalogue, or model number are made for descriptive purposes to guide the bidder in interpreting the

requirements of the City, and should not be construed as excluding bids.  However, the City does reserve the right to specify a sole brand, with no brand substitutions allowed. The bidder, if awarded a contract, will be required to furnish the particular item referred to in the specifications or description unless departure or substitution is clearly noted and described in the bid and allowed by the IFB.  The City reserves the right to determine if equipment/product being bid is an acceptable alternate. All goods shall be new unless otherwise so stated in the bid. Any unsolicited alternate bid, or any changes, insertions, or omissions to the terms and conditions, specifications, or any other requirements of this bid, may be considered non-responsive. The City reserves the right to disregard any conflicting terms and conditions submitted by the contractor and hold the contractor to the submitted bid price.  Contractors are strongly encouraged to not submit anything with their bid that is not specifically requested in this solicitation.

10.	DELIVERY: Bids shall include all charges for delivery, packing, crating, containers, etc. Prices bid will be considered as being based on F.O.B. Delivered, freight included.

11.	INTERPRETATION OF BID AND/OR CONTRACT DOCUMENTS: All inquiries shall be made within a reasonable time prior to the date and time fixed for the bid opening in order that a written response in the form of an addendum, if required, can be processed before the bids are opened. (Inquiries received that are not made in a timely fashion may or may not be considered).

12.	CURRENCY:  Prices calculated by the bidder shall be stated in U.S. dollars.

13.	PRICING: Prices shall be stated in units of quantity specified in the Bid Document. In case of discrepancy in computing the amount of the bid, the unit price bid will govern.

14.	NOTICE TO PROCEED/PURCHASE ORDER: The successful bidder may not commence work under this contract until authorized to do so by the Purchasing Agent.

15.	CERTIFICATION: By signature in the offer section of the Offer and Acceptance page, bidder certifies:

A. 	The submission of the offer did not involve collusion or other anti-competitive practices.

B. 	The bidder has not given, offered to give, nor intends to give at any time hereafter, any economic opportunity, future employment, gift, loan, gratuity, special discount, trip, favor, or service to a public servant in connection with the submitted offer.

C. 	The bidder hereby certifies that the individual signing the bid is an authorized agent for the bidder and has the authority to bind the bidder to the contract.

D. 	The bidder hereby certifies that the firm will abide by the COPELAND ANTI-KICKBACK ACT, Title 18, U.S.C. June 25, 1948, Section 874, Kickbacks from Public Employees.

16. 	DEFINITIONS:

"CITY" - The City of Battle Creek.

"CITY UNIT" - The department of the City that intends to use the resulting contract.

"CONTRACTOR" - The bidder whose proposal is accepted by the City.

17.	Michigan Constitutional Requirement:  Notwithstanding any provision in this Contract to the contrary, and in accordance with Article I, Section 26 of the Michigan Constitution as adopted by the electorate November 7, 2006, The City or its general contractors shall not discriminate against, or grant preferential treatment to, any individual or group on the basis of race, sex, color, ethnicity, or national origin in the operation of this Contract.  This section shall not prohibit any action that must be taken to establish or maintain eligibility for any federal program if ineligibility would result in a loss of federal funds in connection with this Contract, nor shall this section be interpreted as prohibiting bona fide qualifications based on sex that are reasonable necessary to the execution of this Contract. In the event of conflict between any term of this Contract and this section, the language of this section shall control.

2.0 GENERAL TERMS AND CONDITIONS

2.1	MATERIALS AND WORKMANSHIP: Unless otherwise specified, all materials and workmanship shall be new and of the best grade of their respective kinds for the purpose.

2.2	NON-DISCRIMINATION CLAUSE: The bidder agrees not to discriminate against any employee or applicant for employment, to be employed in the performance of such contract with respect to hire tenure, terms, conditions or privileges, of employment, or any matter directly or indirectly related to employment because of his or her actual or perceived race, color, religion, national origin, sex, age, height, weight, marital status, physical or mental disability, family status, sexual orientation, or gender identity. Breach of this covenant may be regarded as a material breach of the contract as provided for in Act 220 and Act 453 of the Public Acts of 1976, as amended, entitled "Michigan Handicapper's Civil Rights Act" and/or the "Michigan Elliott Larson Civil Rights Act" and/or City of Battle Creek Chapter 214 "Discrimination Prohibited" Ordinance. The bidder further agrees to require similar provisions from any subcontractors, or suppliers. The bidder agrees to comply with the Executive Order 11246 of September 24, 1965, entitled "Equal Employment Opportunity," as amended by Executive Order 11375 of October 13, 1967, as supplemented in Department of Labor regulations (41 CFR, Chapter 60.

2.3	ASSIGNMENT OF CONTRACT: The contractor shall assign no right or interest in this contract in whole or in part and no delegation of any duty of Contractor shall be made without prior written permission of the City.

2.4	INDEMNIFICATION: The contractor shall protect, defend, and save the City, its officials, employees, departments and agents harmless from and against any claims, demands, suits, actions, or proceedings of any kind or nature, in any way resulting from negligent acts or omissions of the contractor or any of its agents, employees, boards, commissions, divisions, departments, or authorities in performing obligations under this agreement. Each party to this agreement agrees that any bond or insurance protection required by this agreement shall limit the terms of this indemnification provision. In case of any action brought against the City by reason of any such claim, suit, action or demand, upon prompt notice from the City, contractor covenants to defend such action or proceeding by counsel that is reasonably satisfactory to the City.

2.5	CONTRACT: The contract shall contain the entire agreement between the City and the Contractor relating to this requirement and shall prevail over any previous contracts, proposals, negotiations, or master agreements in any form. By signing the Offer to Contract, it is agreed that the RFP in its entirety and all enclosed forms are fully incorporated herein as a material part of the contract. In case of conflicts, the most recent document will prevail.

2.6	PROVISIONS REQUIRED BY LAW: Each provision required by law to be in the contract shall be enforced as though it were included herein, and if any such provision is not inserted, the contract shall be amended to make such insertion or correction.

2.7	RELATIONSHIP OF PARTIES: It is clearly understood that each party shall act in its individual capacity and not as an agent, employee, partner, joint venture, or associate of the other. An employee or agent of one party shall not be deemed or construed to be the employee or agent of the other party for any purpose. Taxes or social security payments shall not be withheld from a City payment issued hereunder; Contractor should make arrangements to directly pay such expenses, if any.

2.8	RIGHTS AND REMEDIES: No provision in this contract shall be construed as a waiver by either party of any existing or future right or remedy available by law in the event of any claim, default, or breach of contract. The failure of either party to insist upon the strict performance of any term or condition of the contract or to exercise or delay the exercise of any right or remedy provided in the contract, or by law, or the acceptance of materials or services, obligations imposed by this contract or by law, shall not be deemed a waiver of any right of either party to insist upon the strict performance of the contract.

2.9	ADVERTISING: Contractor shall not advertise, issue a press release or otherwise publish information concerning this RFP or contract without prior written consent of the City. The City shall not unreasonably withhold permission.

2.10	APPLICABLE REGULATIONS/POLICIES: The Revised Code of the State of Michigan, the Charter of the City of Battle Creek, all City Ordinances, Rules and Regulations and Policies shall apply. It shall be the responsibility of the Proposer to be familiar and comply with said regulations/policies.

2.11	ROYALTIES, PATENTS, COPYRIGHTS, NOTICES AND FEES: Contractor shall give all notices and pay all royalties and fees. Contractor shall defend all suits or claims for infringement of any patent rights and shall save the City harmless from loss on account thereof.  Contractor shall comply with all laws, ordinances and codes applicable to any portion of the work. All services and other deliverables that are created under this Agreement shall be the property of the City.  The Contractor shall place no restrictions on the City with regard to the distribution of any of these materials; the City shall have full, unrestricted rights to make and distribute unlimited copies of any services, information, computer programs/elements, reports, or any other deliverable.  Patents for any item created under this contract shall be assigned to the City.

2.12	SUBCONTRACTORS:  Contractor shall make no subcontract shall be made by the contractor without the advanced written approval of the City. All subcontractors shall comply with Federal and State laws and regulations that are applicable to the services covered by the subcontractor and shall include all the terms and conditions set forth herein, which shall apply with equal force to the subcontract, as if the subcontractor were the Contractor referred to herein. Contractor is responsible for contract performance whether or not subcontractors are used.

2.13    OTHER FEDERAL COMPLIANCE:  Where applicable (such as, but not limited to, Construction Managers) contractor shall comply with: Copeland Anti-kickback Act (18 U.S.C. 874); Sections 103 and 107 of the Contract Work Hours and Safety Standards Act (40 U.S.C. 327A 330); Section 306 of the Clean Air Act (42 U.S.C. 1857 (h)); Section 508 of the Clean Water Act (33 U.S.C. 1368); Executive Order 11738, and EPA regulations (40 CFR, Part 15); and the Energy Policy and Conservation Act (Pub. L. 94A 163, 89 Stat. 871).

TERMS AND CONDITIONS FOR CONSTRUCTION/INSTALLATION

1. 	ACCIDENT PREVENTION: The Contractor shall exercise proper precaution at all times for the protection of persons and property and shall be responsible for all the damages to persons or property either on or off the site, which occur as a result of his fault or negligence in connection with the prosecution of the work. The safety provisions of applicable laws and OSHA standards shall be observed and the Contractor shall take or cause to be taken such additional safety and health measures as the city may determine to be reasonably necessary.

2. 	CONFLICTS AND OMISSIONS: The intent of the contract documents is to provide everything necessary for the proper execution of the work. In case of conflict, the work shall not proceed until all parties concerned have agreed upon a decision. Director's decision shall be final.

3. 	WORKING CONDITIONS: All work shall be done in accordance with all regulations governing the City Unit wherein the work is to be performed and with minimum possible interference with the proper functioning of the activities of the City Unit. Materials, tools, etc., shall be confined so as not to unduly encumber the premises.

4.	PRIOR EXAMINATION: Contractor shall familiarize himself with local conditions affecting the job prior to submitting the bid. He shall take his own measurements and be responsible for the correctness of same. Contractor shall be held to have made such examinations and no allowances will be made in his behalf by reason of error or omission on his part. If any part of the Contractor's work depends for proper results upon existing work or the work of another contractor, the Contractor, before commencing work, shall notify the Director in writing of any defects that will affect the results.

5. 	OTHER CONTRACTS: The City may let other contracts in connection with the work and the Contractor shall properly connect and coordinate his work with the work of such other contractors. The City shall not be liable for any damages or increased costs occasioned by the failure of other contractors or sub-contractors to execute their work as may be anticipated by these documents.

6.	INSPECTION: Contractor shall at all times permit and facilitate inspection of the work by the city.

7. 	CHANGES: Contractor shall make changes in the contracted work only as ordered in writing by the City. The actual work performed under this contract may be increased 50% or decreased 25% from the approximate quantities set forth in this IFB. Work will be performed only based on written authorization from the Owner. The City reserves the right to include other similar projects in this contract over and above those mentioned in said tabulations within these limitations. If extra work orders are given in accordance with the provisions of this contract, such work shall be considered a part hereof and subject to all of its terms and requirements.

8.	WARRANTY: Contractor guarantees to remedy any defects due to faulty materials or workmanship that appear in the work within one year from the date of final acceptance by the City.

9. 	PROTECTION: Contractor shall properly protect all new and existing structures from damage. Contractor shall comply with all safety rules and regulations as published by the Michigan Dept. of Labor, Bureau of Safety and Regulations.

10. CLEAN-UP: Contractor shall at all times keep the premises free from accumulations of waste materials or rubbish caused by his employees or work and at the completion of the work he shall remove all his waste, tools, equipment, staging and surplus materials from the structure and grounds and leave work clean and ready for use.

11.	SAFETY RULES: The contractor shall perform all work under this contract in conformance with the State of Michigan general safety rules and regulations for the construction industry, being Act 89 of the Public Acts of 1963, as amended.

12. 	TERMINATION FOR BREACH: The City may terminate this contract for violations hereof when violations are not stopped immediately and corrected within a reasonable length of time after notification by the City. In the event of such termination, the City may complete the contracted work and the Contractor shall be liable for any excess cost occasioned the City thereby and in such case the City may take possession of and use in completing the work such materials and equipment as may be on the site and necessary therefore.

- SUBCONTRACTORS: Bidders should submit with the Bid all known subcontractors to be associated with their bid, including the type of work to be performed. Bidder shall notify the City of all subcontractors before work begins.  All subcontractors shall be bound by all of the requirements of this contract; however, the prime contractor shall be responsible for the performance of their subcontractors.

- EMPLOYEES AND SUPERINTENDENCE: Contractor shall enforce good order among his employees and shall not employ on the work site any disorderly, intemperate or unfit person or anyone not skilled in the work assigned to him. Contractor, or a competent person having authority to act for him, shall be at the work at all times.

SPECIAL TERMS AND CONDITIONS

- PAYMENT: Payment shall be made within 30 days of the submittal of a correct invoice for goods received or work completed and after delivery and acceptance of the equipment or approval of work.

- CONTRACTOR'S INSURANCE:

- The Contractor shall at the time of execution of this contract, file with the City the Certificate of Insurance, which shall cover all of his insurance as required herein, including evidence of payment of premiums thereon, and the policy or policies or insurance covering said City and their officers, agents and employees. Each such policy and certificate shall be satisfactory to the City.  Nothing contained in these insurance requirements is to be construed as limiting the extent of the Contractor's responsibility for payment of damages resulting from his operations under this Contract.

- The contractor shall maintain insurances in force at all times during the term of this agreement at the minimum amounts and types as indicated.  Sole proprietors are not required to carry Workers’ Compensation insurance.

Coverage Afforded										Limits of Liability

Workers' Compensation:   									$   100,000 or statutory limit

Commercial General Liability: 		Bodily Injury 				$1,000,000 each occurrence

(including XCU if appropriate)		Property Damage 		$1,000,000 each occurrence

or Combined Single Limit	$1,000,000

Automobile Liability: 				Bodily Injury				$   300,000 each person

Liability					$   500,000 each occurrence

Property Damage	 		$   500,000

or Combined Single Limit	$   500,000

The City of Battle Creek shall be listed as an additional insured on general liability coverage, and shall be provided with a Certificate of Insurance that reflects this additional insured status. A 30-day notice of cancellation or material change shall be provided to the City and so noted on the Certificate of Insurance. All certificates and notices shall be sent to City of Battle Creek, P.O. Box 1717, Battle Creek, Michigan 49016.

- VENUE:  Any party bringing a legal action or proceeding against any other party arising out of or relating to this Agreement or the transactions it contemplates shall bring the legal action or proceeding:

(i) in the United States District Court for the Western District of Michigan; or

(ii) in any court of the State of Michigan sitting in Calhoun County, if there is no federal subject matter jurisdiction.

- GOVERNING LAW:  This agreement shall be enforced under the laws of the State of Michigan.  Contractor must comply with all applicable federal, state, county, and City laws, ordinances, and regulations.  Contractor shall ensure payment of all taxes, licenses, permits, and other expenses of any nature associated with the provision of services herein.  Contractor shall maintain in current status all Federal, State and Local licenses and permits required for the operation of the business conducted by the Contractor.

SPECIFICATIONS

WELL REBUILDING

BACKGROUND:  The City of Battle Creek, Michigan is seeking bids from a qualified well drilling Contractor with experience in rebuilding municipal water supply wells with deep inline turbine pumps, 8” column pipe, 1” steel shafting with stainless steel couplings, column couplings and bearings. The wells are 16” casings with the pump suctions setting at 52.5 ft. with a 10 ft. suction pipe connected to that. The well depths vary between 150 ft. to 160 ft.

SCOPE OF WORK:

There are up to two (2) wells requiring rebuilding.  Well # 45, and 48 are all deep well turbines and are located in the Verona well field of Battle Creek MI.

The selected Well Drilling Contractor shall be responsible for supplying all Labor, Equipment, Tools, Materials, and Parts to properly disassemble and pull well parts and put well parts back down in well assembled. All parts shall meet the City Of Battle Creek’s Specifications. The Well Drilling Contractor shall have the 25 HP motor cleaned and bearings checked and replaced if needed. The Well Drilling Contractor shall sandblast, clean, and paint the Well Head, also repair the stuffing box as needed. All well parts below the wellhead shall be replaced. The well parts shall be replaced with the same number of Shafts, Shaft Couplings, and Columns with Couplings, Suction Pipe, and Pump. All exposed threaded areas shall be epoxy coated prior to placing well parts down in well. Upon completion of the rebuild of each well the Well Drilling Contractor will chlorinate the well, run a pump and efficiency test to show well pump is pumping specification of Manufacture’s pump curve. The Well Work shall be completed by October 31, 2019.

Well # 45 and 48 can be taken out of service at one time provided the work is completed prior to October 31, 2019 or before.  Work hours permitted are week days 6am to 6pm Monday thru Friday.  System demand may dictate otherwise, Chief Operator Robert Koehn can work with the successful contract for scheduling.

SUBMITTALS:

The well drilling bidder shall submit with their bid a pump curve for the pumps that they will be supplying for the well rebuild.  The pump curve is used by the City to evaluate where the motor efficiency will be with the pump design so it’s running in the specified curve.

GENERAL:

All Well Parts below Wellhead shall be left on site.

Column pipes shall be schedule 40 and conform to turbine pump standards.

All component assemblies shall be interchangeable with new turbine pumps.

WELL PARTS AND REPAIR SPECIFICATIONS:

- Repairs to Number 45 Well and Pump.

Replace parts with new:

One (1)-Suffing Box Bushing 3-1/2” x 1” Bronze

One (1)-Schedule 40 Top 8” x 5’ Column pipe, epoxy coated inside and out  (Note: Column pipe threaded areas shall be epoxy coated during Well installation)

Four (4)-Schedule 40 Intermediate 8” x 10’ Column pipes with couplings, Epoxy coated inside and out (Note: Column pipe threaded areas shall be epoxy coated during Well installation)

One (1)-Schedule 40 Bottom 8”x 5’ Column pipe with coupling, epoxycoated inside and out (Note: Column pipe threaded areas shall be epoxy coated during Well installation)

One (1)-Top 1” x 5’ Stainless Steel Head Shaft with Stainless Steel Coupling and Sleeve

Four (4)-Intermediate 1” x 10’ Stainless Steel Shafts with Stainless Steel Couplings and Sleeves

One (1)-Bottom 1” x 5’ Stainless Steel Shaft with Stainless Steel Coupling and Sleeve

Five (5)-Stainless Steel Drop in Spiders with Rubber Inserts.

One (1) -Schedule 40 8”x 10’ Suction Pipe

52’ of ¼” copper tubing

50’ of SDR 21 PVC Stilling Tube

Motor checked and cleaned with new top and bottom bearings

Pressure Gauges

Sandblast, Clean, paint Wellhead, and repair stuffing box

New Pump Bowl assembly with Stainless Steel Impeller and

Stainless Steel fasteners

Epoxy coat pump exterior

(PUMP MUST MEET FOLLOWING SPECIFICATION)

The inline turbine pump shall be of the vertical type. The pump shall pump 1280 US GPM at 63’ of head with a 25 HP motor efficiency minimal of 79%. The pump shall be a 1 stage pump. The pump suction shall be 8”. The pump discharge shall be 10”. The pump impeller shall be made of 316 stainless steel. The pump shaft shall be 316 stainless steel. The bowl shall be cast iron lined. The hardware shall be stainless steel.

Run a Pump and Well Efficiency Test, Labor to pull pump

Shop and Machine Labor

Labor to set pump, chlorinate well, pump and well efficiency test

- Repairs to Number 48 Well and Pump

Replace parts with new:

One (1)-Stuffung Box Bushing 3-1/2” x 1” Bronze

One (1)-Schedule 40 Top 8” x 5’ Column pipe, epoxy coated inside and out (Note: Column pipe threaded areas shall be epoxy coated during Well installation)

Five (5)-Schedule 40 Intermediate 8” x 10’ Column pipes with couplings, epoxy coated inside and out (Note: Column Pipe threaded areas shall be epoxy coated during Well installation)

One (1)-Schedule 40 Bottom 8” x 5’ Column pipe with coupling, epoxy coated inside and out (Note: Column pipe threaded areas shall be epoxy coated during Well installation)

One (1)-Top 1” x 5’ Stainless Steel Head Shaft with Stainless Steel Coupling and Sleeve

Five (5)-Intermediate 1” x 10’ Stainless Steel Shafts with Stainless Steel Couplings and Sleeves

One (1)-Bottom 1” x 5’ Stainless Steel Shaft with Stainless Steel Coupling and Sleeve

Six (6)-Stainless Steel Drop in Spiders with Rubber Inserts

One (1)-Schedule 40 8” x 10’ Suction Pipe

62’ of Copper Tubing

60’ of SDR 21 PVC Stilling Tube

Motor checked and cleaned with new top and bottom bearings

Pressure Gauges

Sandblast, clean, paint Wellhead, and repair stuffing box

New Pump Bowl Assembly with Stainless Steel Impeller and Stainless Steel Fasteners

Epoxy Coat Pump Exterior

(PUMP SHALL MEET FOLLOWING SPECIFICATIONS)

The inline turbine pump shall be of the vertical type. The pump shall pump 1160 US GPM at 73’ of head with a 25 HP motor efficiency minimal of 79%. The pump shall be 1 stage pump. The pump suction shall be 8”. The pump discharge shall be 10”. The pump impeller shall be made of 316 stainless steel. The bowl shall be cast iron lined. The hardware shall be stainless steel.

Run a Pump and Well Efficiency Test, Labor to pull pump

Shop and Machine Labor

Labor to set pump, chlorinate well, pump and well efficiency test

QUALIFICATIONS:

Bidder shall have a minimum of 5 years experience in field well drilling.

Bidder shall have a minimum of 2 years experience working with rebuilding municipal water supply wells.

Bidders shall have a minimum of 5 years experience with pump repair.

Bidders shall have a minimum of 1 recent job reference that are similar in scope to this bid.

Bidder shall submit with their bid a pump curve for the well rebuilds.  The motor shall meet the pump designs specified efficiency.

The City reserves the right to disqualify and bids that do not meet the minimum qualifications or are not in the best interest of the City.

SPECIFICATIONS

WELL CLEANING

BACKGROUND:  The City of Battle Creek, Michigan is requesting proposals from qualified Well Drilling Companies for services to clean Wells 47 & 49. The production of these wells have reduced tremendously. The wells have 16” casings and approximately 160 ft. deep.

SCOPE OF WORK:

There are up to two (2) wells requiring cleaning.  Well # 47, and 49 are all deep well turbines and are located in the Verona well field of Battle Creek MI.

The selected Well Drilling Company will be expected to clean Wells 47 and 49 to increase production. The motor, wellhead, columns, shafting, and pump will have to be removed. After well cleaning the Well parts will be put back into well and tested to see if production has increased. All Local, State, and Federal Rules and Regulations shall be observed.

Requirements:

The selected Well Driller must hold Explosive License and provide a copy to the City. Wells 47 & 49 are located in Verona Pump Station’s North Wellfield which is a pretty isolated area:

-	Measures must be taken to maintain safety.

-	Equipment and materials must be secured if left alone onsite after hours and when not directly supervised (or must be 	removed from site during off hours)

-	Site must be restored to its previous condition upon completion of project.

The selected well driller shall use the following materials and amounts that these size wells require with the following procedures as follows:

Prima Cord 400 grain

Sodium Hypochlorite

Potassium Pergmanate

NU-Well 410 Enhancer

Mix with water and inject at bottom of casing.

Mob and De-mob (Must let Mixer set for 48 hours)

Set explosives to well bottoms and ten feet of Camera verified casing.

Let set for 24 hours after use of explosives.

Setting air lift to remove debris from well by means of 6 “ pipe and a 2” outer air pipe, (Must be sand free and observed by the Verona Pump Station Chief Operator before airlift is removed.)

Well # 47 and 49 can be taken out of service at one time provided the work is completed prior to October 31, 2019 or before.  Work hours permitted are week days 6am to 6pm Monday thru Friday.  System demand may dictate otherwise, Chief Operator Robert Koehn can work with the successful contract for scheduling.

QUALIFICATIONS:

Bidder shall have a minimum of 5 years experience in field well drilling.

Bidder shall have a minimum of 2 years experience working with rebuilding municipal water supply wells.

Bidders shall have a minimum of 5 years experience with pump repair.

Bidders shall have a minimum of 1 recent job reference that are similar in scope to this bid.

The City reserves the right to disqualify and bids that do not meet the minimum qualifications or are not in the best interest of the City.

QUESTIONNAIRE

- Years of experience in well drilling________________

- Years of experience in rebuilding municipal water supply____________

- Years of experience in pump repair____________

- Experience References (Major contracts you held in the last 3 years that are similar in scope of work as this bid)

Company Name	Company Address	Contact Name	Contact Phone #

- Please identify primary manpower that will be performing this service and substitute manpower if primary person

is unable to respond:

Primary Contact

Substitute Contact

- Contact numbers:

Primary Contact

Phone #

Cell	#

Fax	#

Substitute Contact

Phone #

Cell	#

Fax	#

### PRICE SHEET

Item	Description	Qty		Unit Price		Total Price

A.  Rebuild Well # 45	   1 	x	$__________   =	$_______________

B.  Rebuild Well # 48	   1 	x	$__________   =	$_______________

C.  Cleaning Well # 47	   1 	x	$__________   =	$_______________

D.  Cleaning Well # 49	   1 	x	$__________   =	$_______________

Total Sum Price (Items A, B, C, D)  $ __________________

Well work to be completed by October 31, 2019 or before.

Days to complete job (if awarded items: A,B) after receipt of contract	Days___________

Days to complete job (if awarded items: C,D) after receipt of contract 	Days___________

Days to complete job (if awarded ALL items: A, B, C,D) after receipt of contract  Days___________

The City reserves the right to award to other than low bid with consideration

of lead time.

Prices shall be all-inclusive to include, but not limited to, the following: shipping, travel, time, materials, overhead, etc.

Bidders must submit bids with no conflicting terms and conditions and no modifications to the price page.

If bidders believe the price page needs modification (such as the unit of measure, for example), immediately call the buyer listed on the front page of this IFB.  Changes may only be made before bidding and via authorized addendum issued by the City.

The City may choose other than low bid with consideration to warranty.  State warranty, if applicable.

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

OFFER TO CONTRACT:

TO THE CITY OF BATTLE CREEK: We propose to furnish all labor, materials, equipment, tools, transportation and services required to complete the work in accordance with the specifications and conditions contained herein in consideration of the sum or sums stated below and agree that this document will constitute the contract if accepted by the City.

We hereby offer and agree to furnish the material or service in compliance with all terms, conditions, specifications, and amendments in the Invitation for Bid and any written exceptions in the offer. We understand that the items in this Invitation to Bid, including, but not limited to, all required certificates are fully incorporated herein as a material and necessary part of the contract.  Warranty: Contractor shall remove and replace at no additional cost to the City any defects in workmanship or materials that may be apparent or may develop within a period of one (1) year from the date of final acceptance.

We agree to complete the contract within the times specified in this Invitation for Bid.

We acknowledge receipt of the following addendum(s): _____, _____, _____, _____.

I certify, under penalty of perjury, that I have the legal authorization to bind the firm hereunder, and that our firm is not debarred from doing business under the Federal Excluded Parties List System (epls.gov).

I, the Contractor or Contractor’s legally authorized signer, further certify compliance with the City of Battle Creek Ordinance Chapter 214, Discrimination Prohibited.  I further acknowledge and agree that the Contractor's violation of Chapter 214 shall be a material breach of this contract.  In addition, Contractor acknowledges and agrees that it shall be liable for any costs or expenses incurred by the City in obtaining from other sources, the work and services to be rendered or performed or the goods or properties to be furnished or delivered to the City under the contract as a result of a material breach in the Contract for violations of Chapter 214.

For clarification of this offer, contact:

Company Name

Name:

Address

Phone:

City			State		Zip

Fax:

Signature of Person Authorized to Sign

E-mail:

Printed Name

Title

ACCEPTANCE OF OFFER:

The Offer is hereby accepted for the following items:						.

The Contractor is now bound to sell the materials or services listed by the attached contract and based upon the Invitation for Bid, including all terms, conditions, specification, amendments, etc. and the Contractor's Offer as accepted by the City.

This contract shall henceforth be referred to as Contract No. 	2020-020B       	. The Contractor has been cautioned not to commence any billable work or to provide any material or service under this contract until Contractor receives purchase order and/or a notice to proceed from the City of Battle Creek Purchasing Agent.

| COUNTERSIGNED: City Manager Date Witness Signature | APPROVED AS TO FORM BY: City Attorney __________________ Date |
| --- | --- |

ATTACHMENT A - DISADVANTAGED BUSINESS  (DBE) FORM

I.  	YOUR FIRM’S BACKGROUND:

Is your firm an MBE (at least 51% minority ownership)?  	_____YES  	_____NO

Is your firm a WBE (at least 51% woman ownership)?  	_____YES  	_____NO

Are you subcontracting any part of this project?		 	_____YES  	_____NO

II.  	SUBCONTRACTING INFORMATION:  If subcontracting any part of the project, the bidder/contractor expressly agrees that:

(1)	If awarded a contract as a result of this bid, the major subcontractors used in the prosecution of the work will be those listed below, and

(2)	The following list includes all subcontractors who will perform work representing approximately five percent (5%) or more of the Total Base Bid.

- The Bidder represents that the subcontractors listed below are financially responsible and are qualified to do the work required.

| SUBCONTRACTOR NAME | City/State | Trade or Commodity | MBE | WBE | Approximate dollar value |
| --- | --- | --- | --- | --- | --- |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |

III. 	DBE RECRUITMENT ACTIVITY LOG:  List the MBE’s and WBE’s that were approached about being a subcontractor for this job, but who are NOT listed above as a subcontractor.

| NAME OF FIRM APPROACHED, BUT NOT USED ON THIS PROJECT | City/State | Trade or Commodity | MBE | WBE | Reason not used on this project |
| --- | --- | --- | --- | --- | --- |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |