City of Etowah, TN
701 Tennessee Avenue
Etowah, TN  37331
(423) 263-2202
www.cityofetowahtn.com

BID SPECIFICATIONS

# PROJECT:   New or Used ADA + 2 Station Portable Restroom Trailer

The City of Etowah, TN is currently soliciting bids for a used ADA + 2 Station Portable Restroom Traile

Specifications Required:

Stations: 3

Standard Toilets: 2

ADA Toilets: 1

Urinals: 1

Sinks: 3

Laundry: No

Fresh Water Tank (Gallons): 105

Waste Tank (Gallons): 360

Water Heater: No

Mechanics Room: Yes

Box Length: 20'

Box Width: 6'

A/C Unit Type (BTU): 9

A/C Unit Count: 1

Water Supply: City Water- Pressurized Water System- Garden Hose

Power Supply/Cords: (1) 240v/50 amp cord

For any further questions contact Building Inspector Anthony Munoz, amunoz @cityofetowahtn.com or City Manager Russ Blair, (423) 263-2202 or email, etowahcm@cityofetowahtn.com