[image: image1.jpg]Y

USP262-

Valley Center Schools

Embracing Today. Preparing for Tomorrow.




May 27, 2022
Valley Center USD 262 is asking for bid proposals for two projects.

Project 1:  Transportation Drive Repair at 6700 N. Broadway, Wichita, Kansas, 67219.

Project includes:

Remove 30’ x 285’ asphalt driveway section down to 6” depth.  Haul material off site.  Re-compact existing base material to property density per industry standards.

 

Drill and install #4 rebar pins on 2’ centers in adjacent concrete.  Install 6x6 heavy wire mat reinforcement.  Form and pour new 6” thick 4000 PSI reinforced concrete driveway with original shape and dimensions.  Saw cut concrete expansion joints with proper spacing.  All workmanship and materials to meet or exceed City quality specifications. 

 

Provide alternate unit price to replace 6” of unstable base with 6” crushed concrete if necessary for stabilization:___________________/SF
Area to be repaired shown here:

[image: image2.jpg]REPLACE WITH.NEW:6* REINFORCED CONCRETE (30' x 285')

e





Project 2:  Playground asphalt replacement at Wheatland Elementary, 800 N. Meadow, Valley Center, Kansas 67147. Project includes:
Remove the entire playground full depth.  Haul off material.  Grade and re-compact existing subgrade. 
 

Pave and compact a new 4" thick asphalt playground.  Asphalt mix to be used: 4" BM-2 Surface Mix.  
Asphalt shall be paved/compacted no more than 2.5" per lift to maximize compaction density.  
All workmanship and materials to meet or exceed City Quality Specifications. 
 

Exclusions: base replacement if needed, striping, seeding, irrigation repairs if needed, fence removal/               re-installation.

 

Remove and reset 3 basketball poles and 2 misc. sport poles in new concrete footing. 
Project location:

[image: image3.png]



Both projects to be completed before August 8, 2022. 
All work on this bid, including all material and labor, shall be warranted by the winning contractor for a period of 12 months.
All bids must meet these specifications. I encourage bidders to visually inspect the work area.

Although two separate projects, we will be taking this as one bid and will not separate the projects between two bidders.

All bids can be submitted either electronically and must include your signature. Please submit your bids by 1:30 P.M. (CST) on June 15, 2022, to Mike Bonner, Assistant Superintendent, via email at mike.bonner@usd262.net .  All bids will be opened publicly at the time and location listed above. Please help ensure this process by marking the subject line of your email with “2022 Concrete-Asphalt Bid”. 

USD 262 Valley Center retains the right to accept or reject any or all bids.

Please feel free to contact me should you have any questions. I can be reached at 755-7000 or by email at mike.bonner@usd262.net .

Sincerely,

[image: image4.emf]
Dr. Mike Bonner

Asst. Superintendent, Valley Center Schools[image: image5.png]



