                                     INVITATION TO BID
The Peach County Commissioners Office will be accepting Sealed Bids for the next two weeks, pertaining to backup generator connection.
Specifications: Work to be done at Station #3 in reference to Backup Generator connection.
1. Furnish a 400-amp single phase Automatic Transfer Switch (ATS) with a built in 400-amp single phase Service Disconnect.

2. Remove existing 400-amp single phase Manual Service Disconnect and install new 400-amp Automatic Transfer Switch described above.

3. Make all connections to the switch as necessary.

4. Connect a furnished 150 Kw generator to the transfer switch.

5. All connections must be to code and pass inspection of the County Building Inspector

6. All work must be done or under the supervision of a licensed Electrician

7. All bidders must meet Peach County Purchasing regulations and specifications

8. Site may be inspected at 195 Willow Lake Road, Fort Valley, Ga. Monday-Friday 8a-5p

9. Bid must contain the 400-amp single phase Automatic Transfer Switch with Service Disconnect, removal of existing service disconnects, installation and connection of the ATS, connection of the generator, programming of the ATS, and must all labor and materials. Automatic Transfer Switch with Service Disconnect, removal of existing service disconnects, installation and connection of the ATS, connection of the generator, programming of the ATS, and must all labor and materials.

Closing date for Sealed Bid # 16-022 shall be July 7, 2016 at 2pm.
Opening date shall be July 7, 2016, at 2:15pm in the Peach County Commissioners, meeting room, 213 Persons Street, Fort Valley, GA 31030.

If there is any further information needed please contact Jeff Doles, jeff-doles@peachcounty.net or (478) 827-3171
Peach County reserves the right to reject any and all bids, to waive informalities, to re-advertise and/or to award the contract in the best interest of the County, and to retain all Bids for a period of thirty days after the date of bid opening.

Please deliver or mail Sealed Bid 16-022 to the following:

Peach County Commissioner’s Office

213 Persons Street
ATTN: Sealed Bid # 16-022

Fort Valley, GA 31030

Attn: Clarice Davis, Purchasing Manager
