{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Bid Form"],"not_rendered":{"defined_names":1,"comments":1},"read":"whole","date_system":"1900"}

{"sheet":"Bid Form","index":0,"n_rows":204,"n_cols":10,"rows_kept":204,"merged":[[0,0,0,9],[2,0,2,6],[11,0,11,6],[22,0,22,6],[30,0,30,6],[32,0,32,6],[41,0,41,6],[43,0,43,6],[46,0,46,6],[49,0,49,6],[51,0,51,6],[59,0,59,6],[73,0,73,6],[75,0,75,6],[80,0,80,6],[85,0,85,6],[94,0,94,6],[106,0,106,6],[117,0,117,6],[121,0,121,6],[127,0,127,6],[129,0,129,6],[131,0,131,6],[135,0,135,6],[142,0,142,6],[145,0,145,6],[147,0,147,6],[154,0,154,6],[156,0,156,6],[158,0,158,6],[160,0,160,6],[163,0,163,6],[167,0,167,6],[169,0,169,6],[172,0,172,6],[174,0,174,6],[176,0,176,6],[179,0,179,6],[184,0,184,6],[187,0,187,6],[191,4,191,6],[191,7,191,9],[192,0,192,2],[192,3,192,9],[193,0,193,9],[194,0,194,9],[197,6,197,7],[198,6,198,7],[199,6,199,7],[202,0,202,9],[203,0,203,5],[203,6,203,7],[204,0,204,9]]}
["HIGHLANDS COUNTY BOARD OF COUNTY COMMISSIONERS \n22-024-LLK HVAC MAINTENANCE, REPAIR AND REPLACEMENT SERVICES\nITEMIZED BID FORM\nATTACHMENT A"]
["Unit #","Asset #","Brand Name","Model Number","Serial Number","Freon Rating","Age","Year 1 ","Year 2","Year 3 "]
["Location 1: AGRI-CIVIC CENTER  4509 George Blvd., Sebring, Fl"]
[1,null,"Trane","RAUCC50FBY300DF","C07J10177","R410A"]
[2,null,"Trane","TTR736B100A0","F29294491","R22 ","07/1991"]
[3,"BC560","ComfortMaker","NXA448GKC101","E153913632","R410A ","9/2015"]
[4,null,"Rheem","RAWL-078CAZ","7747F1610069009","R410A ","04/2010"]
[5,"BC559","ComfortMaker","NXA436GKC101","E153416116","R410A  ","8/2015"]
[6,null,"Trane","TTRY36B100A0","F2725247","R22  ","07/1991"]
[7,"BC561","ComfortMaker","NXA448GKC101","E1731155319","R410A  ","12/1/2015"]
[8,null,"American Standard","TTA150300EA","42720KDAD","R22  ","06/2004"]
["Location 2: CHILDREN’S ADVOCACY CENTER  1000 Highlands Ave., Sebring, Fl"]
[1,null,"AM STD","4A3048A300BA","9511M7E5F","HFC410A","12/2009"]
[2,null,"AM STD","4A3048A3000BA","9511NBH5F","HFC410A ","12/2009"]
[3,null,"AM STD","4A7C3060A3000BA","10012RMJ5F","HFC410A ","01/2010"]
["4A",null,"AM STD","4A73036AN300BA","9354PL93F","HFC410A","08/2019"]
["4B",null,"AM STD","4A73036AN300BA","9334UFN3F","HFC410A  ","08/2009"]
[5,null,"ComfortMaker","NXA442GKC101","E173136286","R410A","8/2015"]
[6,null,"Goodman","GSX130601AB",912059229,"R410A"]
[7,null,"Goodman","GSX130361BA",1003504450,"R410A"]
[8,null,"Fujitsu","A0U12RL2","EYN054517","R410A"]
[9,null,"Rheem","RAMB-042JAZ","6265F400213170","R22","10/2002"]
["Location 3: COURTHOUSE  430 S. Commerce  Avenue, Sebring FL"]
[1,null,"YORK","YLAT20SE46XFBSDTXAXXBLXCXX445E1XXXHXX YAXXXXX3XXXXXNGXXX","11531L54293927","R410A ","09/2015"]
[2,null,"Carrier","30RAP0605KC0DF10","2020Q67858","R410","6/2020"]
[3,null,"Carrier","30RAP0605KC0DF10","2020Q67894","R410","6/2020"]
[4,null,"Trane","4TTR3048D1000AA","1112W275F","HFC410A ","03/2011"]
[5,null,"EMI","SCC09A40000A0A","1-04-E-1086-20","R22"]
[6,null,"Air Handlers",12]
[7,null,"VTU's",107]
["Location 4: DESOTO CITY COMMUNITY CENTER 6305 SR 17A South, Sebring, Fl"]
[1,null,"Nordyne","ES4BD-042KB","ESF140100164","R410A"]
["Location 5: EMERGENCY OPERATIONS CENTER  6850 W. George Blvd., Sebring, Fl"]
[1,null,"Fujitsu","AOU36CLX","EBN017681","R410A"]
[2,null,"Fujitsu","AOU36CLX","EBN017684","R410A"]
[3,null,"Gree Minisplit","VIR36HP230V1A0","0416AS03875","R410A","1/2016"]
[4,null,"Fujitsu","AOU18CL","DCN101808","R410A"]
[5,null,"Mitsubishi","MUY-D36NA-1","0002806 T","R410A"]
[6,null,"Liebert","TCSV104-Y","1116C34482","R12,R22,R500,R502,R407A   ","12/2011"]
[7,null,"Carrier","38AUDC25A0B5A0A0A0","4415P49855","R410A   ","11/2015"]
[8,null,"Carrier","38AUDC16A0B5A0A0A0","4415P49829","R410A   ","10/2015"]
["Location 6: EMS STATION 17, 230 Peach Street, Sebring, Fl"]
[1,null,"Trane XR","4TTR6049J1000AA","17211X4D2F","HFC 410A"]
["Location 7: EMS Station 36, Royal Palm Road, Lake Placid, Fl"]
[1,null,"Trane","2TWB3024A1000AA","8065W3H4F","R410A"]
[3,null,"Radio Tower – MARVAIR      ","14 Seer","318M183601693-02","R410A","12/2018"]
["Location 8: EMS STATION 4, 51 E. WilhiteStreet, Avon Park, Fl"]
[1,null,"Nordyne","ES4BD-030KB","ESG140506080","R410A"]
[2,null,"ComfortMaker","NXA418GKC101","E210302852","R410A","1/2021"]
["Location 9: PARKS & FACILITIES DEPARTMENT 636 S. Fernleaf Ave., Sebring, Fl"]
[1,"BC577","ComfortMaker","NXA460GKC101","E164417955","R410A","1/19/2017"]
["Location 10: GOV'T ANNEX 501 S. Commerce Ave., Sebring, Fl"]
[1,"W","American Standard","EBC120A3E0A0000M","340B38621010B020100","R410A","2021"]
[2,"E","Daikin","DCC120XXX3BXXXAA",1310241658,"R410A"]
[3,null,"Trane","TTA150H300AA","172542R1YA","R410A","6/2017"]
[4,null,"Trane","TTA180H300AA","17223TDRTA","R410A","5/2017"]
[5,"C","Trane","4TTA3042D3000CA","16401JH63F","R410A","9/2016"]
[6,null,"Trane","TTP030D100A0","Z445S382F","R410A"]
[]
["Location 11: GOVERNMENT CENTER   600 S. Commerce Avenue, Sebring FL"]
[1,null,"YORK","YLAA0120SE46XFBBX","11551F85109138","R410A"]
[2,null,"YORK","YLAA0120SE46FBBX","11551F85109139","R410A"]
[3,null,"Goodman","MSG24HRN1W",808772213,"R410A"]
[4,null,"Goodman","MSG24HRN1W",1106770894,"R410A"]
[5,null,"Goodman","MGS24HRN1W","Unknown","R410A"]
[6,null,"Liebert","DMC0678","Not Legable "]
[7,null,"Trane","4TTA3048A4000BB","111738H75F","HFC410A  ","04/2011"]
[8,null,"Trane","4TTA3048D4000DA","17175H2N3F","HFC410A"]
[9,null,"Mitsubishi","MSY-GE24NA","5318gs06406","R410A"]
[10,null,"Liebert","CSF104Z","0933C22616","R22,R12,R500,R502,R407C   ","2009"]
[11,null,"Air Handlers",7]
[12,null,"VAV",62]
[]
["Location 12:  H.L. BISHOP PARK CLUBHOUSE, 10 Lake June Clubhouse Rd., Lake Placid"]
[1,null,"American Standard","4A7C3060D3000AA","112527HM5F"]
["Location 13: HEALTH DEPARTMENT 400 South Lake Ave. Avon Park"]
[1,"S","Amstar Trane"," 2A7M3060A1000AA","80737L94F  ","HCFC22  ","02/2008"]
[2,null,"Comfortmaker","NX442GKC101","E200727777","R410A","2/2020"]
[3,"NW","Amstar Trane","4A7A4042L000AA","18125NGFBF","HFC410A","3/2018"]
[4,"NW","Amstar Trane","4A7A4042L000AA","18125NGFBF","HFC410A","3/2018"]
["Location 14: HEALTH DEPARTMENT 101 North Main, Lake Placid, Fl"]
[1,null,"Fujitsu","A0U12RL2","EYN035885","R410A"," "]
[2,null,"Trane","TSD300G3R0C0000","220210209D","R410A","3/2022"]
[2,null,"Carrier","50TFF008511","3603G01077","R22"]
[3,null,"Trane","4TCY4048B3000AB","212611980L","R410A","6/2021"]
["Location 15: HEALTH DEPARTMENT 7205 George Ave., Sebring, Fl"]
[1,null,"AC 1 Carrier","38AUDA12A0B5AOAOAO","4318C94313","R410a"]
[2,null,"AC 2 Carrier","38AUDA16A0B5AOAOAO","0919P34457","R410a"]
[3,null,"AC 3 Carrier","38AUZA12A0B5AOAOAO","3017C90432","R410a"]
[5,null,"AC 4 Carrier","38AUZA08A0B5AOAOAO","1619C93988","R410a"]
[6,null,"AC 5 Carrier","38AUZA07A0B5AOAOAO","1119C93045","R410a"]
[7,null,"AC 6 Carrier","38AUDA25A0B5AOAOAO","1219P36800","R410a"]
[9,null,"Dental - Carrier","24ABB342A500","0219E25943","R410a"]
[10,null,"IT - Comfortmaker","NXA424GKC101","E201216540","R410a","3/2020"]
["Location 16: KENILWORTH BUSINESS CENTER  4500 Kenilworth Blvd. Sebring,FL"]
[1,"SOE","Comfortmaker","NXA424GKC101","E153129944","R410A","7/2015"]
[2,"SOE","Comfortmaker","NXA460GKC101","E153616602","R410A","9/2015"]
[3,"SOE","Comfortmaker","NXA448GKC101","E153616988","R410A","9/2015"]
[4,"SOE","Comfortmaker","NXA448GKC101","E153616984","R410A","9/2015"]
[5,null,"    Unitary","A4AC4042A1000BA","21352U7BBF","HIC410A","8/2021"]
[6,null,"Trane XR","TTA09043DAB01AE","20232432YA","R410A","6/2020"]
[7,null,"Trane XR","4TTA3048D3000DA","204113L43F","R410A","10/2020"]
[8,null,"Trane XR","4TTA3060D3000DA","20352PAJ5F","R410A","8/2020"]
[9,null,"Trane XR","4TTR4030L1000AA","2032418S3F","R410A","8/2020"]
[10,null,"Trane XR","4TTA3036B3000BA","2043102H3F","R410A","10/2020"]
[11,null,"Trane XR","4TTA3048D3000DA","203915213F","R410A","9/2020"]
["Location 17: LIBRARY  319 West Center, Sebring, Fl"]
[1,null,"Trane","TWA060D300A1","2155L231F","HCFC22","4/2002"]
[2,null,"Trane","4TWA4060A3000AA","18461LEA2F","HFC410","11/2018"]
[3,"BC581","Trane XR","4TWA4060A3000AA","183034T42F","R410","7/2018"]
[4,"BC580","Trane XR","4TWA4060A3000AA","183525AD2F","R410","8/2018"]
[5,"BC575","ComfortMaker","N4A360GHC300","E162309417","R410A ","6/2016"]
["6A",null,"International Comfort Prod","N4H460GHG101","E193212656","R410A","8/2019"]
["6B",null,"International Comfort Prod","N4H460GHG101","E193015818","R410A","7/2019"]
[7,null,"Trane","2TWR3042A1000AA","7392XED1F","HCFC22 ","9/2007"]
[8,null,"Daikin","RKN24NMVJU","G001573","R410A","12/2015"]
[9,null,"American Standard","TTA12043DAB01AR","20272637YA","R410A  ","09/2020"]
["Location 18: LIBRARY 47 Park Drive, Lake Placid, Fl"]
[1,"BC582","Trane","TTA12043AAB00AE","18432254YA","R410A","1/10/19"]
[2,null,"American Standard","4A7A4060L1000BA","20184NGS5F","HFC410A","4/2020"]
[3,"BC563","Trane","TTA120H300AA","16225KXDYA","R410A   ","9/11/16"]
["Location 19: LIBRARY 100 Museum Ave., Avon Park, Fl"]
[1,null,"Trane","TTA120B300BA","1537267KYA","R410A   ","09/2015"]
[2,null,"Trane","4TTA3060D3000AA","112856AB2F","HFC410A ","07/2011"]
[3,null,"Trane","2TTA2036S3000AA","3314YL33F","HCFC22 ","07/2003"]
[4,null,"Trane","2TTA2030A3000AE","54342WJ3F","HCFC22  ","10/2005"]
[5,"BC564","Trane","TTA120H300AA","1618234CYA","R410A  ","5/2016"]
["Location 20: LORIDA COMMUNITY BUILDING  1909 Oak Ave., Lorida, Fl"]
[1,null,"Trane","TTA18043CAA00AE","18273429TA","R410A"]
["Location 21: PRECINCT 3  516 CR17A North, Avon Park, Fl"]
[1,null,"Carrier","38BRC060330","4399E01616","R22"]
["Location 22: PUBLIC DEFENDER MODULE 510 Fernleaf Ave., Sebring, Fl"]
[1,null,"Goodman","GSX130601BA",1002578138,"R410A"]
[2,null,"Goodman","GSX130601BA",1003452435,"R410A"]
[3,null,"Goodman","GSX130601BA",1011020177,"R410A"]
["Location 23: ROAD & BRIDGE COMPLEX 4344 George Ave., Sebring, Fl"]
[1,"E","Nordyne","ES4BD-042KB","ESF-131000139","R410A"]
[2,"E","ComfortMaker","NXA460GKC101","E192525866","R410A","6/2019"]
[3,"E","ComfortMaker","NXA460GKC101","E200502469","R410A","01/2020"]
[4,"N","Goodman","GSH130601AC",1105725302,"R22"]
[5,"N","ComfortMaker","NXA424GKC101","E201604719","R410A ","4/2020"]
[6,"N","Rheem","13AJN24A01","8390W251219574","R410A","06/2012"]
["Location 24: SPORTS COMPLEX, 216 Sheriff's Tower Rd., Sebring, FL  33870"]
[1,null,"Carrier","24ABB360A310","0809E17834","R410A","02/2009"]
[2,null,"ComfortMaker","NXA460GKC101","E172813897","R410A","7/2017"]
["Location 25:  STAR CENTER, 13639 Josephine Ave., Lake Placid, "]
[1,null,null,"561CJ048","17451S7K2F","HFC410A"]
["Location 26: STATE ATTORNEY   411 S. Eucalyptus Street, Sebring Fl"]
[1,null,"Trane","TSC048G3E0A25","211812016L","R410","9/2021"]
[2,null,"Goodman","CPH060XXX3BXXAA",810113455,"R410A"]
[3,null,"International Comfort Prod","RAXC36K0CA0AAAA","C161062073","R410A","3/2016"]
[4,null,"Trane","4WCY4060A3000CA","193912334L","R410A","9/2019"]
[5,null,"American Standard","WCC060F300BG","Z285U3Y2H","R22","7/2001"]
[6,null,"Trane","TTA120H300AA","16415X8LYA","R410A","10/2016"]
["Location 27:  STATION 1, HIGHLANDS LAKES VFD, 2840 N. Highlands Ave., Avon Park, FL "]
[1,null,"Gibson","GB5BM-T37K-B","GBD070804565"]
["Location 28: STATION 7, WEST SEBRING VFD, 4212 Sun 'n Lake Blvd., Sebring, FL"]
[1,null,"Traix","TEM6A0D48H415AA","1745473J3V"]
["Location 29: STATION 9, WEST SEBRING VFD, 2300 Longwood Court, Sebring, FL"]
[1,null,null,"FXM4X2400AL","A160471416"]
["Location 30: STATION 18, DEOTO CITY VFD, 4612 Desoto City Rd., Sebring, FL"]
[1,null,"Frididaire","B2B0024K-A","B2B9901-00613"]
[2,null,"Carrier","FB4GNF024","3015A72717"]
["Location 31: STATION 19, DESOTO CITY VFD, 6800 West George Blvd., Sebring, FL"]
[1,null,"Comfortmaker","NXA642GKA100","E172801850"]
[2,null,"Gibson","JS5BD-048KA","JSF070605488"]
[3,null,"Gibson","JS5BD-048KA","JSF070605484"]
["Location 32: STATION 33, HIGHLANDS PARK VFD, 1317 Columbus St., Lake Placid, FL"]
[1,null,"Comfortmaker","N4A342AKA300","E103417242"]
["Location 33: STATION 36, LAKE PLACID VFD, 11 West Interlake Blvd., NW, Lake Placid, FL"]
[1,null,"Trane","2TTR1048A1000AA","S124WD83F"]
[2,null,"Ameristar","M4AC4060C1000AA","171250182M"]
["Location 34: STATION 39, PLACID LAKES VFD, 300 Washington Blvd., NW, Lake Placid FL "]
[1,null,"Ameristar","M4AC4048C1000aa"]
["Location 35: STATION 41, 460 Sun N Lake Blvd., Sebring, Fl"]
[1,null,"Trane XR","4TTR6048J1000AA","17451S7K2F","HFC410A"]
["Location 36: TAG OFFICE 11 North Pine, Lake Placid, Fl"]
[1,null,"International Comfort Prod","CAS091HAA0A00AA","C174793364","R410A","11/2017"]
[2,null,"InterTek","J4AC6060A1000AA","201030942J","R410A"]
["Location 37: TAG OFFICE 116 E Main Street, Avon Park, Fl"]
[1,null,"ComfortMaker","NXA436GKC101","E182624717","R410A","6/2018"]
[2,null,"ComfortMaker","NXA436GKC101","E182624748","R410A","6/2018"]
[3,null,"Nordyne","S3BA-060KA","S3B000750411","R22"]
[4,null,"Carrier","38AUZA080B5AOAOAO","2517C93795","R410A","6/2017"]
["Location 38: VETERANS SERVICE OFFICE  7209 S. George Blvd. Sebring, FL "]
[1,null,"Carrier","24ABB360A310","0809E17834","R410A","02/2009"]
[2,null,"ComfortMaker","NXA460GKC101","E172813897","R410A","7/2017"]
["Location 39: VENUS COMMUNITY BUILDING  45 Venus Club House Rd., Venus, Fl"]
[1,null,"Ameristar","M4AC406C1000AA","201510393M","R410A"]
[2,null,"Ameristar","M4AC406C1000AA","201510389M","R410A"]
[{"$nulls":4},"             Total Preventative Maintenance:  ",null,"Total"]
[{"$nulls":4},"Grand Total (year 1+2+3)  $  "]
["Grand total written in words"]
[]
["Highlands County reserves the right to add and/or subtract units by negotiating a fair price with the winning bidder of this contract.\n *Year 3 price remain the same for Year 4 and Year 5 if renewed at the contract terms and conditions.\n"]
[]
["Part 2 Repair:"]
[" Repair/Replacement Service (Regular-hours 8:00 AM-5:00 PM ) ",{"$nulls":7},"Hourly Rate"]
["After-Hours Hourly Rate (5:01 PM - 7:59 AM)",{"$nulls":7},"Hourly Rate"]
["Parts Mark-up from Vendor cost (cost invoice to accompany billing) Not to exceed 10%",{"$nulls":7},"Percent"]
[]
[]
["Part 3 Equipment:"]
["Replacement Equipment Mark-up from Vendor Cost,  (cost invoice to accompany billing) \n Not to exceed 10%",{"$nulls":7},"Percent"]