# Invitation to Bid   – Demolition 401 Armstrong Street

Solicitation # 437-1116-17

November 3, 2016

- SCOPE –The City of Columbia is requesting sealed bids for the demolition of a multi-unit apartment building located at 401 Armstrong Street, Columbia, Tennessee 38401. The 18,764 square foot building is to be demolished and the demolition debris removed from the premises.

BID INSTRUCTIONS – Sealed bids will be received by the Purchasing Agent, City Hall, 700 North Garden St. Columbia TN 38401 until, but no later than 2:00 PM CST, November 29, 2016. If you are an individual with a disability and require a reasonable accommodation or have additional questions regarding this invitation, please notify the Assistant Finance Director, Danny King at (931) 560-1580.

Bids shall be an all-inclusive price for labor, materials, supplies, equipment, 				and profit and overhead required to perform the requested scope of work according 			to the terms and condition of this request for bid.

The bid envelope shall conform to the requirements of T.C.A.  62-6-119; whereas, bids of  $25,000 or more shall display on the outside of the envelope the name of the contractor, license number, date of expiration and license classification. Failure to comply with all requirements will result in a rejection of the bid.

Bids shall consist of bid sheet as furnished with this Invitation to Bid, Statement of Non-Collusion, Drug Free Affidavit.

Time is of the essence and any bid received after the announced time and date for submittal, 	whether by mail or otherwise, will be rejected. The time of receipt shall be determined by the 	City Manager’s Office. 	Bidders are responsible for ensuring that their bids are stamped by City 	Manager’s Office personnel before the deadline indicated. Late bids received will be so noted in 	the bid file. Faxed bids will not be accepted.

Nothing herein is intended to exclude any responsible vendor, his product or service or in any 	way restrain or restrict competition. On the contrary, all responsible vendors are encouraged 	to bid and their 	bids are solicited. The City of Columbia is compliant with Title VI of the 1964 	Civil Rights Act and as a result does not discriminate on the grounds of race, color or national 	origin nor does it excluded from participation in, or denies the benefit of any program or 	activity receiving federal financial assistance.

3.	GENERAL CONDITIONS

- Acceptance of Bids: The City of Columbia reserves the right to reject any and all bids, to waive any informal technicalities or defects, the scope and nature of which it shall be the sole judge, in any bid, insofar as such technicality or defects do not legally, materially or substantially change such bid. The said City, unless otherwise specified by the bidder, reserves the right to accept any item on bid.

If the bidder fails to state the time within which a bid must be accepted, it is understood and agreed that said City shall have ninety (90) days from bid opening date in which to accept bid.

- Error in Bid: In case of error in the extension prices in the bid, the unit price governs. No bid shall be altered, amended or withdraw, unless the acceptance date has expired, after the opening date of bids. Negligence on the part of the bidder in preparing the bid confers no right for withdrawal of the bid after it has been opened.

- Signatures on Bids: Each bid must contain the full name and business address of the bidder. Any person signing a proposal sheet for himself or as agent, employee or officer of another must show his title and, if requested by the City shall furnish proof of his authority to make such proposal.

- Bid Sheets: Bidders shall use the bid sheet(s) furnished by the City. Failure to submit this sheet as required may render the bid invalid. Bid sheets must contain prices on per unit and aggregate basis and the total amount of the bid must be stated on the bid sheet.

- Federal or State Sales, Excise or Use Tax: Every bid shall separately state and set forth, therein the amount of any and all Federal and State sales, excise or use taxes included in the bid prices. If any such taxes are included in the prices bid, the City reserves the right in making the award to deduct any amount of such taxes thereof. Where labor is required, the bidder shall state separately the amount of labor and materials.

- Compliance: Contractor shall abide by all federal, state and local laws and statues and obtain all   	permits required in item o of these conditions. Neither the contracting firm nor its principals shall be  presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from participation in this transaction by any Federal department or agency.

- Specifications: It is understood that reference to attached specifications shall be sufficient to make the terms of such specifications binding on the contractor. In some instances, the name of the manufacturer, a special brand, or make of an item is used in describing the item or items desired; but this does not restrict the bidder to that manufacturer or specific article, this means being used simply to indicate the character or quality of the article or service desired; but the articles or service on which the proposal are submitted must be equal to that specified, and a statement to that effect shall be made a part of the proposal. Where conflict occurs between the requirement or the General Conditions and the specifications, the requirements of the specifications will govern.

- Inspection: Final inspection and acceptance or rejection will be made at the time of completion, but all work and workmanship shall be subject to inspection and test at all times and places. The right is reserved to reject work that contain defective material and workmanship. Rejected work shall be corrected at the expense of the contractor promptly after notification of rejection. The City shall not be obligated to pay the full price for any items that do not meet specifications.

- Bid Opening: Bids may be mailed or delivered to the Purchasing Agent in the City Manager’s Office of the City of Columbia, Tennessee. All bids will be opened and publicly read at a time specified on the Bid Sheet. Bids received after the specified time for opening, as shown on the invitation to bid, will not be accepted.

- Cancellation: The City reserves the right to cancel an accepted bid or contract in whole or in part due to nonperformance or defective products.

- Permit Requirements: Successful bidder will be responsible for securing any necessary permits for complying with all required inspections whether local state or federal.

- Financial Statements: Financial statements will be submitted upon request.

- Complaints – Vendors

Vendors shall have the right to present a complaint, dispute or grievance concerning unfair treatment, contracts, deliveries, payments, restrictions, and other incidents. The following steps are intended to provide uniform procedures for a vendor to express a problem and obtain remedy.

  - Step One - Vendor must file a grievance with the Purchasing Agent for the City of Columbia no later than seven (7) calendar days after the occurrence of the dispute or incident. The complaint must be in writing and include all supporting data and desired solution or remedy. The Purchasing Agent will review the complaint with the user department and provide a written reply within forty-five (45) days to the vendor.

  - Step Two – If the vendor is not satisfied with the Purchasing Agent’s response, the vendor may appeal in writing to the City Manager, who shall with the advice of the Purchasing Agent and/or City Attorney, make a written determination to all parties involved. The City Manager’s decision shall be final.

- SPECIAL CONDITIONS - The City has not determined if hazardous materials exist in this structure. It shall be the contractor’s responsibility to inspect the building for the existence of hazardous materials and provide for all documentation and removal as may be required by State of Tennessee or Federal Laws.

- INSURANCE - Contractors shall purchase and maintain in force, at his own expense, such insurance as will protect him and the City from claims which may arise out of or result from the vendor’s execution of the work, whether such execution be by himself, his employees, agents, subcontractors, or by anyone for whose acts any of them may be liable. The insurance coverage shall be such as to fully protect the Owner, the City and the general public from any and all claims for injury and damage resulting by any actions on the part of the contractor or his forces as enumerated above.

Bidders shall proof of Insurance with the bid.

The following insurance requirements are the minimum that will be acceptable:

Worker’s Compensation Insurance – State statutory limits.

Commercial General Liability – Including products and completed operations 	coverage and contractual liability on the amount of $1,000,000 CSL (combined 	single limit).

Commercial Automobile Liability including owned, non-owned and hired car in 	the amount of $1,000,000 CSL.

- LAWS, TAXES AND INDEMINIFACTION - The successful Contractor shall comply with all applicable local, State and Federal laws. The vendor is further responsible for all taxes, including employment taxes, associated with providing services under this contract. The Vendor agrees to hold harmless and indemnify the City for any and all losses the City may sustain as a results of the actions of the Vendor, his employees, or any subcontractors hired under any resulting award.

6.           PAYMENTS – Payments will be made after completion all work,  inspection of the site by the City of Columbia Development Services Department and according to the following process.

a. Request inspection of all completed work from the Development Services 	Department .

b. A proper invoice submitted to the City of Columbia Development Services Department – 	Codes Division, 700 North Garden Street Columbia, TN 38401.

c. Approval by the State of Tennessee of submitted invoice and release of funds.

d. Within three days after City receives funds from the State.

7.           REQUIREMENTS - The following guidelines for demolition and site work shall be applied to any and all identified structures herein

- Any existing electric service to the structure must be disconnected and properly removed.

- Any existing water service to the structure must to turn off at the meter.

- Any existing sewer connections must be capped off at the street and, if septic tank exists, it must be filled in or removed.

- No structure shall be demolished by use of fire or explosives.

- Bidder will be responsible for any and all damages to neighboring properties, streets and sidewalks not included as part of this bid.

- All demolition debris shall be disposed of in a landfill designated for construction or similar debris. Copies of receipts, load tickets or other similar document issued by the landfill shall be included with and attached to the final invoice as documentation of proper disposal.

- The property, after demolition and debris removal, shall be graded and contoured to the surrounding area. Graded areas shall be seeded and straw applied to prevent erosion.

- Demolition shall be done between the hours of 7:00 AM and 7:00 PM, Monday through Saturday.

- All work shall be done within 45 days after notification to proceed unless the time is specifically extended by the City due to weather conditions. Notice to proceed will be issued by the City of Columbia Codes Department.

- Site inspection prior to bid is strongly encouraged although not required; however, conditions discovered after the bid opening that should have been reasonably found on site inspection shall not be grounds for a change in the bid price.

- Bidders shall be properly licensed by the State of Tennessee to perform all required work

- A permit to demolish shall be obtained for the work from the City of Columbia prior to commencing any work

8. Asbestos

An asbestos report from Griggs and Maloney is available identifying areas within the building containing asbestos.  Bids shall include the cost of abatement for all areas identified within the report. Furthermore, a State inspector will need to be present during demolition in the event additional asbestos is discovered during the demolition. Bids shall include the costs of a State Inspector during demolition.

9.   Assignment

The bid award may not be assigned without the written consent of the City of Columbia.

10. Right to salvage

The awarded vendor hall have the right to all salvage contained within the building.

STATEMENT OF NON-COLLUSION

Demolition of 401 Armstrong St

Solicitation 437-1116-17

I, _____________________________________, being first duly sworn deposes and says:

As a partner, owner  or officer of the firm of, etc.) the party making the foregoing bid, that such bid is genuine and not collusive or sham; that said bidder has not colluded, conspired, connived or agreed directly or indirectly, with any bidder or person, to put in a sham bid or to refrain from bidding, and has not in any manner, directly or indirectly, sought by agreement or collusion, or communication or conference, with any person, to fix the bid price of affiant or of any other bidder, or to fix any overhead, profit or cost element of said price, or of that of any other bidder, or to secure any advantage against the City of Columbia Tennessee  or any person interested in the proposed contract; and that all statements in said bid are true.

By ______________________________________________

Title:____________________________________________

(Affix Corporate Seal if required)

Subscribed and sworn before me this _______ day of ________________, __________.

My commission expires

_______________________________________________

Notary Public

DRUG-FREE WORKPLACE AFFIDAVIT

The undersigned, principal officer of ___________________________________

an employer of five (5) or more employees contracting with the City of Columbia Tennessee to provide construction services, hereby states under oath as follows:

1. The undersigned is a principal officer of ________________________________________________________________

(hereinafter referred to as the “Company”), and is duly authorized to execute this

Affidavit on behalf of the Company.

2. The Company submits the Affidavit pursuant to T.C.A. § 50-9-113, which requires each employer with no less than five (5) employees receiving pay who contracts with the state or any local government to provide construction services to submit an affidavit stating that such employer has a drug-free workplace program that complies with Title 50, Chapter 9, of the Tennessee Code Annotated.

3. The Company is in compliance with T.C.A. § 50-9-113.

Further affiant saith not.

__________________________________________________

Principal Officer

STATE OF ________________________________

COUNTY OF ______________________________

Before me personally appeared __________________________________, with whom I am personally acquainted (or proved to me on the basis of satisfactory evidence), and who acknowledged that such person executed the foregoing affidavit for the purposes therein contained. Witness my hand and seal at office this _____________ day of _______________,20____.

_________________________________________

Notary Public

My commission expires: ____________________________

BID SHEET –Demolition of 401 Armstrong Street

Solicitation # 437-1116-17

Demolition & Inspection			$________________________________________

Abatement					$_________________________________________

Total 						$_________________________________________

In compliance with this Invitation for Bid for Demolition Service, solicitation #437-1116-17 and subject to all conditions thereof, the undersigned offers and agrees to demolish and remove the identified structures and all demolition debris from the site at the price quoted above.

I further certify, by submission of this bid, that neither the firm nor its principals are presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from participation in this transaction by any Federal department or agency.

# Complete Legal Name of Firm: __________________________________________________________

# Signature: _______________________________________ Title _______________________________

# Name (type/print): ______________________________________________ Date: ________________

Address: ____________________________________________________________________________