# Invitation to Bid – E.A.Cox Lighting Project

# January 16, 2019

# Solicitation # 444-0119-16

Bids , subject to the technical specifications and conditions contained herein and attached hereto, will be received in the City Manager’s Office, City Hall, until, but no later than 2:00 P.M.CST March 19, 2019, and then publicly opened for a E.A. Cox Lighting Project

If you are an individual with a disability and require a reasonable accommodation or have additional questions regarding this invitation, please notify the Assistant Finance Director, Danny King at (931) 560-1580.

# Bid Instructions

The bid shall contain an acknowledgement of receipt of all Addenda (the numbers of which shall be filled in on the BID Form). All addenda will be posted online at www.columbiatn.com/government/finance/purchasing/

- Bids must contain a  completed Drug Free Workplace Affidavit, Iran Divestment Statement .

- Bid envelopes shall conform to the requirements of TCA 62-6-119 whereby the following information shall appear on the outside of the bid envelope if the bid amount equals or exceeds $25,000.00. for prime contractor and subcontractors as required by TCA 62-6-119:

# Project title. Cox Lighting Project

Bidder's name and address.

Bidder's Tennessee Contractor’s  License Number.

Bidder's License Expiration Date.

Bidder's License Classification.

- Completed Bid Sheet and Bid Schedule

- Other information as deemed pertinent by the bidder.

Pre-Bid Meeting

A non-mandatory pre-bid meeting will be held Wednesday March 6, 2019 at 10:00 AM at the City Hall , 700 North Garden Street, Columbia TN. 38401.

- SCOPE

The City of Columbia is seeking bids from qualified firms to furnish and install a lighting system for EA Cox Middle School Football Field. The lighting quality should be consistent with TSSAA standards for football fields of less than 2000 spectators. For the base-bid the manufacturer/contractor shall supply a lighting system for a HID (Metal Halide) light source and alternate bid for LED light source. The City preference would be a LED system if budgeted funds are available.  All lighting equipment, installation services and warranties shall meet or exceed the standards set forth in these specifications.

The primary goals of this sports lighting project are:

  - Guaranteed Light Levels: Selection of appropriate light levels impact the safety of the players and the enjoyment of spectators. Therefore light levels shall be guaranteed to not drop below specified target values for a period of 10 years (HID) or 25 years (LED)

  - Environmental Light Control: It is the primary goal of this project to minimize spill light to adjoining properties and glare to the players, spectators and neighbors. The LED design should provide better control than a good HID design.

  - Life-cycle Cost: In order to reduce the operating budget, the preferred lighting system shall be energy efficient and cost effective to operate.  All maintenance costs shall be eliminated for the duration of the warranty.

  - Control and Monitoring: To allow for optimized use of labor resources and avoid unneeded operation of the facility, the City requires a remote on/off control system for the lighting system. Fields should be proactively monitored to detect luminaire outages over a 10-year life cycle (HID) or 25-year life cycle (LED).  All communication and monitoring costs for 10-year period (HID) or 25-year period (LED) shall be included in the bid.

2.       GENERAL CONDITIONS

  - Acceptance of Bids: The City of Columbia reserves the right to reject any and all bids, to waive any informal technicalities or defects, the scope and nature of which it shall be the sole judge, in any bid, insofar as such technicality or defects do not legally, materially or substantially change such bid. The said City, unless otherwise specified by the bidder, reserves the right to accept any item on bid.

    - If the bidder fails to state the time within which a bid must be accepted, it is understood and agreed that said City shall have ninety (90) days from bid opening date in which to accept bid.

  - Error in Bid: In case of error in the extension prices in the bid, the unit price governs. No bid shall be altered, amended or withdraw, unless the acceptance date has expired, after the opening date of bids. Negligence on the part of the bidder in preparing the bid confers no right for withdrawal of the bid after it has been opened.

2.3	Discount Period: Time in connection with discount offered will be computed from   the date of delivery, or from the date correct invoices are received, whichever date is later. Discount other than “Time Discounts” shall be shown on the face of the proposal sheet under “Terms”.

2.4	Sample of Materials: Samples of items, when requested, must be furnished free of expense to the City, at the time bids are opened or later if such are called for after the bids have been opened, and if such samples are not destroyed in the process of sampling, they will be returned at the bidder’s expense.

2.5	Signatures on Bids: Each bid must contain the full name and business address of the bidder. Any person signing a proposal sheet for himself or as agent, employee or officer of another must show his title and, if requested by the City shall furnish proof of his authority to make such proposal.

2.6	Alternate Bids: Alternate bids will be considered proving such items that appear on such bids meet specifications. Where equivalent items are bid upon, said City reserves the sole right in determining whether they meet specifications.

2.7	Proposal Sheets: Bidders shall use the proposal sheets furnished by the City. Failure to submit this sheet as required shall render the proposal invalid. Proposal sheets must contain prices on per unit and aggregate basis and the total amount of the bid must be stated on the proposal sheet.

2.8	Federal or State Sales, Excise or Use Tax: Every bid shall separately state and set forth, therein the amount of any and all Federal and State sales, excise or use taxes included in the bid prices. If any such taxes are included in the prices bid, the City reserves the right in making the award to deduct any amount of such taxes thereof. Where labor is required, the bidder shall state separately the amount of labor and materials.

2.9	Compliance: Contractor shall abide by all federal, state and local laws and statues and obtain all permits required in number seventeen (17) of these conditions.

2.10	 Specifications: It is understood that reference to attached specifications shall be sufficient to make the terms of such specifications binding on the contractor. In some instances, the name of the manufacturer, a special brand, or make of an item is used in describing the item or items desired; but this does not restrict the bidder to that manufacturer or specific article, this means being used simply to indicate the character or quality of the article or service desired; but the articles or service on which the proposal are submitted must be equal to that specified, and a statement to that effect shall be made a part of the proposal. Where conflict occurs between the requirement or the General Conditions and the specifications, the requirements of the specifications will govern.

2.11	Inspection: Final inspection and acceptance or rejection will be made at the time of delivery, but all products and workmanship shall be subject to inspection and test at all times and places. The right is reserved to reject articles that contain defective material and workmanship. Rejected materials shall be removed by and at the expense of the contractor promptly after notification of rejection. The City shall not be obligated to pay the full price for any items that do not meet specifications; however, payment may be made at a proper reduction in price.

2.12	Bid Opening: Bids may be mailed or delivered to the Purchasing Agent, City Manager’s Office of the City of Columbia, Tennessee. All bids will be opened and publicly read at a time specified on the Proposal Sheet. Bids received after the specified time for opening, as shown on the invitation to bid, will not be accepted.

2.13	Cancellation: The City reserves the right to cancel an accepted bid or contract in whole or in part due to nonperformance or defective products.

2.14	Permit Requirements: Successful bidder will be responsible for securing any necessary permits for complying with all required inspections whether local state or federal.

2.15	Financial Statements: Financial statements will be submitted upon request.

2.16	Term of Payment: Payment will be made in full after the satisfactory receipt of goods, materials, supplies, and equipment. Payment will be made in full upon satisfactory completion of all contractual services, public improvements and/or construction. Executed contracts must specifically state if there is any partial payment or other deviation from this method of payment.

  - Complaints – Vendors

    - Vendors shall have the right to present a complaint, dispute or grievance concerning unfair treatment, contracts, deliveries, payments, restrictions, and other incidents. The following steps are intended to provide uniform procedures for a vendor to express a problem and obtain remedy.

      - Step One – Vendor must file a intent to dispute  with the Purchasing Agent no later than three (3) calendar days after the occurrence of the dispute or incident. The complaint must be in writing and include all supporting data and desired solution or remedy. The Purchasing Agent will review the complaint with the user department and provide a written reply within thirty (30) days to the vendor.

      - Step Two – If the vendor is not satisfied with the Purchasing Agent’s response, the vendor may appeal in writing to the City Manager, who shall with the advice of the Purchasing Agent and/or City Attorney, make a written determination to all parties involved. The City Manager’s decision shall be final.

- PRE-BID CONFERENCE

A non-mandatory pre-bid conference will be held March 6, 2019 at 10:00 AM at City Hall, 700 North Garden Street, Columbia, Tennessee.

- INSURANCE AND BONDS

The awarded Proposer shall purchase and maintain in force, at his own expense, such insurance as will protect him and the City from claims which may arise out of or result from the execution of the work, whether such execution be by himself, his employees, agents, subcontractors, or by anyone for whose acts any of them may be liable. The insurance coverage shall be such as to fully protect the Owner, the City and the general public from any and all claims for injury and damage resulting by any actions on the part of the contractor or his forces as enumerated above.

The awarded Proposer shall furnish upon request a copy of an original Certificate of Insurance, naming City of Columbia as an additional insured. Should any of the policies be cancelled before the expiration date, the issuing company will mail 30 days written notice to the certificate holder.

The awarded Proposer shall furnish proof of insurance in satisfactory limits, and on forms and of companies that are acceptable to the City of Columbia and shall require and show evidence of insurance coverage on behalf of any subcontractors (if applicable), before entering into any agreement to sublet any part of the work to be done as a result of awarding this bid.

The following insurance requirements are the minimum that will be acceptable:

Worker’s Compensation Insurance – State statutory limits.

Commercial General Liability – Including products and completed operations coverage and contractual liability on the amount of $2,000,000 CSL (combined single limit).

Commercial Automobile Liability including owned, non-owned and hired car in the amount of $1,000,000 CSL.

A payment and performance bond equal to 100% of the bid must be furnished prior to contract award and execution.

5. LAWS, TAXES AND INDEMINIFACTION

The awarded Proposer shall comply with all applicable local, State and Federal laws. The awarded Proposer is further responsible for all taxes, including employment taxes, associated with providing services under any resulting contract. The awarded Proposer agrees to hold harmless and indemnify the City for any and all losses the City may sustain as a results of the actions of the awarded proposer, his employees, or any subcontractors hired under any resulting award.

6. 	TIME IS OF THE ESSENCE – Time is of the essence in the performance of a resulting bid award. Repeated delays shall be interpreted as failure to meet obligations and shall be cause for cancellation of any purchase orders issued or contracts that may be executed as a result of a bid award. It is expected that work be completed on this project within 60 days after the NOTICE TO PROCEED is issued.

Failure to complete the project ontime shall result in a penalty of $100.00 per day which shall be applied to any monies due the contractor.

7.    PAYMENT – Payments will be made within fifteen days after:

a. Completion and acceptance of all work

b. Inspection by a City of Columbia representative to be named.

c. Presentation of a proper invoice

8. INTERPRETATIONS AND ADENDA

      - All questions shall be submitted on or before March 11, 2019 at noon.

      - Questions must be submitted in writing or by email to the following:

Purchasing Agent , 700 North Garden St., Columbia, TN 38401

kdale@columbiatn.com

c. Addenda shall be posted online by 4:00 PM on March 13, 2019.

d.  Only questions answered by formal written Addenda will be binding.

e. Oral and other interpretations or clarifications will be without legal effect.

- LIGHTING PERFORMANCE

- Illumination Levels and Design Factors:  Playing surfaces shall be lit to an average target illumination level and uniformity as specified in the chart below. Lighting calculations shall be developed and field measurements taken on the grid spacing with the minimum number of grid points specified below. Appropriate light loss factors shall be applied and submitted for the basis of design. Average illumination level shall be measured in accordance with the IESNA LM-5-04 (IESNA Guide for Photometric Measurements of Area and Sports Lighting Installations). Illumination levels shall not to drop below desired target values in accordance to IES RP-6-15, Page 2, Maintained Average Illuminance and shall be guaranteed for the full warranty period.

| Initial Light Level (Avg) | Average Target Illumination Levels | Maximum to Minimum Uniformity Ratio | Grid Points | Grid Spacing |
| --- | --- | --- | --- | --- |
| 43.5 Footcandles | 30 footcandles | 2.0:1.0 | 72 | 30’ x 30’ |

- Hours of usage:  Designs shall be based on the following hours of usage

| Area of Lighting | Annual Usage Hours | 25 year Usage Hours |
| --- | --- | --- |
| Football Field | 200 | 5,000 |

- Light Level Design

Light Level Design shall be by using a series of automatic power adjustments, a lighting system is able to provide “constant light levels,” greatly extend the life of the lamps, and reduce energy consumption. The basics of this method are described under “Lumen Maintenance” in the IESNA Lighting Handbook Reference and Application, Ninth Edition, page 27-2 and 27-3: “Lumen maintenance control strategy calls for reducing the initial illumination of a new system to the designed minimum level. As lumen depreciation occurs, more power is applied to the lamps in order to maintain constant output.” The term constant is intended to include any system that provides target light levels at 100 hours and maintains the target light levels throughout the system life. Light levels should be guaranteed for 25 years with this technology. Manufacturers shall provide an independent test report signed by a licensed professional engineer certifying the lumen maintenance strategy and field performance of any constant light system.

- Lighting System Construction

System shall consist of lighting, electrical and structural components designed to work together as a system that is both durable and safe.

# Number of Poles – 4

- To ensure proper aiming angles for reduced glare and to provide better playability, minimum mounting height of 70 feet although higher mounting heights may be required based on photometric report and ability to ensure the top of the field angle is a minimum of 10 degrees below horizontal. Poles and crossarm assemblies of galvanized steel – Wood poles, direct buried steel poles and direct burial steel stub base poles are not acceptable.

- Pole Base – Prestressed concrete base embedded in concrete backfill and allowed to cure 12 to 24 hours before pole stress is applied. The design strength shall have a minimum compressive strength of 3000 PSI within 28 days. An alternate anchor bolt foundation method may be used provided it complies with standards found in the Tennessee Secondary Scholl Standard for Lighting.

# Project-specific foundation drawings stamped by a registered Tennessee structural engineer illustrating that the foundation design is adequate to withstand the forces imposed from the pole, fixtures, and other attachments to prevent the structure from leaning shall be provided by the vendor/manufacturer.

# Poles and other support structures, brackets, arms, bases, anchorages, and foundations shall be determined based on the 50-year mean recurrent isotach wind maps for the Maury County per the Tennessee State Building Code. Luminaire, visor, and crossarm should withstand 150 mph winds and maintain accurate aiming alignment.

# The stress analysis and safety factor of the poles should conform to AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires, and Traffic Signals.

- Luminaries shall be constructed with die cast aluminum housing or have an external hail     shroud to protect the luminaries reflective system.

- All ballasts ( LED drivers) and supporting electrical equipment shall be mounted remotely in aluminum enclosure approximately 10 feet above grade. The enclosure shall house ballast, capacitors and fuses. A safety disconnect for each pole must be located in the enclosure.

- All luminaries , wire harnesses, ballast and other enclosures shall be factory assembled, wired and tested to reduce installation time and trouble free operations.

- Exposed components shall be constructed of corrosion-resistant material or coated to help prevent corrosion. Exposed steel shall be hot dipped galvanized per ASTM A123. Exposed hardware an fastners shall be stainless steel of at least 18-8 grade, passivated and polymer coated to prevent possible galvanic corrosion to adjoining metals. All exposed aluminum should be powder coated with high performance polyester. All exterior reflective inserts should be anodized; coated with a clear, high gloss, durable fluorocarbon; and protected from direct environmental exposure to prevent reflective degradation or corrosion. All wiring should be enclosed within the crossarms, conduit, pole, or electrical components enclosure.

- All outdoor structures should be equipped with lightning protection meeting NFPA 780 standards.

- All system assemblies should be UL Listed for the appropriate application.

- Voltage drop to the disconnect switch located on the poles should not exceed three (3) percent of the rated voltage per IESNA RP-6-01, Annex D.

- Environmental Light Control

Current City Ordinance requires no more that .5 lumens at the property line. The lighting solutions offered shall comply with that requirement

- Remote Monitoring

The system should monitor lighting performance and notify manufacturer if individual luminaire outage is detected so that appropriate maintenance can be scheduled. The manufacturer should notify the owner of outages within 24 hours, or the next business day.

The system should allow owner and users with a security code to schedule on/off system operation via a web site, phone, fax, or email up to 10 years in advance. Manufacturer should provide and maintain a two-way TCP/IP communication link. Trained staff should be available 24/7 to provide scheduling support and assist with reporting needs. The owner may assign various security levels to schedulers by function and/or fields. This function must be flexible to allow a range of privileges, such as full scheduling capabilities for all fields, to only having permission to execute “early off” commands by phone. Control unit should accept and store 7-day schedules, be protected against memory loss during power outages, and should reboot once power is regained and execute any commands that would have occurred during outage.

Manufacturers should include communication costs for operating the controls and monitoring system for a period of 25 years.

Control and Monitoring Cabinet should be constructed of aluminum and rated NEMA Type 4. Cabinet should contain custom-configured contactor modules for 30, 60, and 100 amps, labeled to match field diagrams and electrical design. Manual Off-On-Auto selector switches should be provided.

- SOIL QUALITY CONTROL

It shall be the Contractor’s responsibility to notify the Owner if soil conditions exist other than those on which the foundation design is based, or if the soil cannot be readily excavated. Contractor may issue a change order request / estimate for the Owner’s approval / payment for additional costs associated with:

1.	Providing engineered foundation embedment design by a registered engineer in the State of Tennessee for soils other than specified soil conditions;

2. Additional materials required to achieve alternate foundation;

3.	Excavation and removal of materials other than normal soils, such as rock, caliche, etc.

B I D   SHEET

TO

CITY OF COLUMBIA, TENNESSEE

700 NORTH GARDEN  STREET

COLUMBIA, TENNESSEE  38401

FOR

E.A. Cox Lighting Project

CONTRACT # 444-0119-16

DATE:______________________

BIDDER Name

1.  The undersigned BIDDER proposes and agrees, if this BID is accepted, to enter into an Agreement with City of Columbia, hereinafter referred to as OWNER, in the form included in the Contract Documents to complete all Work as specified or indicated in the Contract and within the Time indicated in this BID and in accordance with the Contract Documents.

2.  BIDDER accepts all of the terms, conditions and instruction included within Invitation to Bid, Solicitation # 444-0119-16. This BID will remain open for sixty (60) days after the day of BID opening.  BIDDER will sign the Agreement and submit the Contract Security and other documents required by the Contract Documents within fifteen days after the date of OWNER’S Notice of Award.

3.  In submitting this BID, BIDDER represents, as more fully set forth in the Agreement, that:

(a)	BIDDER has received, read, and examined the following numbered addenda:

______, ______, ______.

(b)	BIDDER has examined the site and locality where the Work is to be performed, the legal requirements (federal, state, and local laws, ordinances, rules, and regulations) and the conditions affecting cost, progress, or performance of the Work and has made such independent investigations as BIDDER deems necessary; the BIDDER has carefully examined the Technical Requirements and  Specifications, the General and Special Conditions, Instructions for

BIDDERS, the form of Contract, and thoroughly understands their stipulations, requirements, and provisions.

BIDDER has determined the quality and quantity of materials required; has investigated the location and determined the sources of supply of materials required; has investigated labor conditions; and has arranged for the continuous prosecution of the Work herein described.

(c) 		This BID is genuine and not made in the interest of or on behalf of any undisclosed person, firm, or corporation and is not submitted in conformity with any agreement or rules of any group, association, organization, or corporation; BIDDER has not directly or indirectly induced or solicited any other BIDDER to submit a false or sham BID;  BIDDER has not solicited or induced any person, firm, or corporation to refrain from bidding; and BIDDER has not sought by collusion to obtain for himself any advantage over any other BIDDER or over OWNER.

4.    BIDDER will complete the Work as described in the specifications for the price(s) as shown on the LUMP SUM BID SCHEDULE.

6.  BIDDER agrees that:

(a)	The Work will be completed within 60 calendar days after the issuance of the NOTICE TO PROCEED.

If BIDDER is:

AN INDIVIDUAL

By _____________________________________ (SEAL)

(Individual's Name)

Doing business as ___________________

Business Address ___________________

____________________________________

Phone No. __________________________

State License # _____________________

Treasury #__________________________

A PARTNERSHIP

By _________________________________ (SEAL)

(Firm Name)

____________________________________

(General Partner)

Business Address ___________________

____________________________________

Phone No. __________________________

State License # _____________________

Treasury  #__________________________

A CORPORATION

By__________________________________

(Corporation Name)

____________________________________

(State in Incorporation)

By _________________________________

(Name of Person Authorized to Sign)

____________________________________

(Title)

(Corporate Seal)

Attest ______________________________

(Secretary)

Business Address ___________________

____________________________________

Phone No. __________________________

State License #  _____________________

Treasury  #__________________________

By ________________________________

(Name)

____________________________________

(Address)

By _________________________________

(Name)

____________________________________

(Address)

Phone No. __________________________

State License # _____________________

Treasury #__________________________

(Each joint venturer must sign.  The manner of signing for each individual, partnership, and corporation that is a party to the joint venture should be in the manner indicated above).

B I D  S C H E D U L E

CITY OF COLUMBIA, TENNESSEE

707 NORTH MAIN STREET

COLUMBIA, TENNESSEE  38401

E. A. Cox Lighting Project

BIDDER hereby agrees to perform all Work required to complete the contract  as specified in detail in these specifications for Price indicated below, complete including all incidentals and appurtenances thereto.

BIDDER: _________________________________________________________

HID Metal Halide System

Total Base Bid 						      $ _____________________

Alternate Led Lighting System 		               $ _____________________

Note:  The intent of the City for this bid is to award based on lowest or best bid consistent with available funding. The City of Columbia reserves the right to reject or accept any or all bids, and the City reserves the right to waive any irregularities in the bids as the City deems in its best interests.

Bidder hereby agrees to perform all Work required in the contract documents for Price indicated, complete including all incidentals and appurtenances thereto.

DRUG-FREE WORKPLACE AFFIDAVIT

The undersigned, principal officer of ___________________________________

an employer of five (5) or more employees contracting with the City of Columbia Tennessee to provide construction services, hereby states under oath as follows:

1. The undersigned is a principal officer of ________________________________________________________________

(hereinafter referred to as the “Company”), and is duly authorized to execute this

Affidavit on behalf of the Company.

2. The Company submits the Affidavit pursuant to T.C.A. § 50-9-113, which requires each employer with no less than five (5) employees receiving pay who contracts with the state or any local government to provide construction services to submit an affidavit stating that such employer has a drug-free workplace program that complies with Title 50, Chapter 9, of the Tennessee Code Annotated.

3. The Company is in compliance with T.C.A. § 50-9-113.

Further affiant saith not.

__________________________________________________

Principal Officer

STATE OF ________________________________

COUNTY OF ______________________________

Before me personally appeared __________________________________, with whom I am personally acquainted (or proved to me on the basis of satisfactory evidence), and who acknowledged that such person executed the foregoing affidavit for the purposes therein contained. Witness my hand and seal at office this _____________ day of _______________,20____.

_________________________________________

Notary Public

My commission expires: ____________________________

IRAN DIVESTMENT ACT

A person engages in investment activities in Iran if:

   (1) The person provides goods or services of twenty million dollars ($20,000,000) or more in the energy sector of Iran, including a person that provides oil or liquefied natural gas tankers, or products used to construct or maintain pipelines used to transport oil or liquefied natural gas, for the energy sector of Iran; or

   (2) The person is a financial institution that extends twenty million dollars ($20,000,000) or more in credit to another person, for forty-five (45) days or more, if that person will use the credit to provide goods or services in the energy sector in Iran and is identified on a list, created pursuant to § 12-12-106, as a person engaging in investment activities in Iran as described in this section.

By submission of this bid, each bidder and each person signing on behalf of any bidder certifies, and in the case of a joint bid each party thereto certifies as to its own organization, under penalty of perjury, that to the best of its knowledge and belief that each bidder is not on the list created pursuant to Tennessee Code Annotated § 12-12-106."

Vendor Name: _______________________________________________________________

Vendor Signature: _________________________________  Date: ______________________