[image: image1.jpg]City of
Lebanon

Tcenncessce





[image: image1.jpg]
REQUEST FOR PROPOSALS
ROOF REPLACEMENTS WWTP
May 19, 2022
RFP #22-ROOF REPLACEMENTS WWTP 6/2
Lisa Lane

Purchasing Agent

City of Lebanon

200 N. Castle Heights Ave.

Lebanon, TN  37087

City of Lebanon

Request for Proposal

RFP #22-ROOF REPLACEMENTS WWTP 6/2
*City of Lebanon reserves the right to reject all or any part of any RFP*

The City of Lebanon is exempt from State Tax and Federal Exercise Tax

NO PROPOSALS RECEIVED AFTER CLOSING WILL BE ACCEPTED.

The City of Lebanon invites sealed proposals for roof replacements in accordance with the specifications and bidding instructions set forth in this Request for Proposals.  Proposals will be received by the Purchasing Department, 200 N. Castle Heights Avenue, Lebanon, TN  37087, until 10:00 a.m. local time, June 2, 2022, at which time they will be opened and read aloud.

Please identify as a sealed proposal with stamped on the outside of the envelope “RFP #22-ROOF REPLACEMENTS WWTP 6/2”

Any questions in regard to this proposal should be directed to Lisa Lane, Purchasing Agent, (615) 443-2802.

A copy of the bid tabulation will be available upon written request to the Purchasing Department, and the City’s website.

Any manufacturers’ names, trade names, brand names, or catalog numbers used in the specifications are for the purpose of describing and establishing general quality levels.  Such references are not intended to be restrictive.  Since the “City” does not wish to rule out other competition and equal brands or makes, please remember ANY APPROVED EQUAL.”  HOWEVER, IF A PRODUCT OTHER THAN SPECIFIED IS BID, IT IS THE VENDORS RESPONSIBILTY OR PROVE TO THE “CITY” THAT SAID PRODUCT IS EQUAL TO OR EXCEEDS THE QUALITY OF THE SPECIFICATIONS LISTED FOR ANY ITEM.
The City of Lebanon is an equal opportunity entity, and does not discriminate on the basis of age, race, sex, national origin, religion or disability in admission to, access to, or operations of its programs, services, activities, or in its awarding of such bids. It is the policy of the City of Lebanon to ensure compliance with Title VI of the Civil Rights Acts of 1964; CFR, Part 21. 
1.   SCOPE AND CLASSIFICATION

1.1   Scope:  The intent of this Request for Proposals and resulting contract is to provide the City of Lebanon with information concerning roof replacements at the Wastewater Treatment Plant.


1.2   Classification:  The specifications shall be of the following types either “equal to” or “better than”.

CITY OF LEBANON, TENNESSEE

Purchasing Office

REQUEST FOR PROPOSAL

ROOF REPLACEMENTS 
Return Proposals to:
Lisa Lane, Purchasing Agent

City of Lebanon

200 N. Castle Heights Avenue

Lebanon, TN  37087





RFP OPENING DATE:
6/2/22
Fax: (615) 443-2849





RFP OPENING TIME:
10:00 a.m.










RFP#22-ROOF REPLACEMENTS WWTP 
Name of Vendor Firm:______________________________________________________

Firm Contact: _______________________ Phone: _______________ Fax: ___________

Mailing Address: ______________________________  Web Address: _______________

Email: ___________________________

Signature of Authorized Agent: ______________________ Date: ____________________

The City of Lebanon shall bear none of the costs incurred by any proposer or potential proposer in their preparation of the proposal documents.  All such costs are the responsibility of the proposer.

SUBMISSION

Proposals are to be submitted in a sealed envelope, plainly marked “RFP #22-ROOF REPLACEMENTS WWTP 6/2” along with the Company’s name and date and time of the scheduled opening.  The City of Lebanon will not accept any late bids or electronic bids.  The City of Lebanon reserves the right to reject any or all parts of this Requests for Proposal submitted in response.
OVERVIEW

The City of Lebanon is seeking proposals for the replacement of roofs for (5) individual buildings located at the Wastewater Treatment Plant located at 321 Hartmann Drive, Lebanon, Tennessee.
DESCRIPTION OF PROJECT

The purpose of this document is to explain work description and job requirements for the purpose of acquiring bids for the replacement or repair of (5) existing roofs.  The roof replacements or repairs will be for the following buildings located at the Wastewater Treatment Plant:

1. Equipment Building-Repair
2. Grit and Screening-Repair
3. High Flow Station-Repair
4. Solids Building-Replace
5. Raw Water Pump Station-Replace
EQUIPMENT BUILDING SPECIFICATIONS:
CURRENT CONDITIONS:

1. The building currently has a TPO roof.

2. The size of the roof is approximately 4,108 sq. feet +/-

3. The roof is approximately 10 years.

4. Elevation Height from ground is 12 feet.

5. The roof is in fair condition at this time.  Maintenance and repairs are needed to maintain a watertight system and extend the service life.

REPAIRS/REPLACEMENT NEEDS:

· Install new sealant on all penetrations
· Install new fasteners and sealant on all vent/curb tops where loose, missing, or unsealed.

· Secure one vent rain collar and seal with new sealant.

· Cut off one pipe at roof level and install pitch pocket and new sealer.

· Remove all debris from roof and drains.

· Replace any wet soaked damaged wood sheets.

· Provide a minimum of a 5-year warranty for repairs and workmanship.

INSPECTION NEEDS:

· Provide annual inspection to meet warranty requirements and detailed report with pictures.

GRIT AND SCREENING BUILDING SPECIFICATIONS:

CURRENT CONDITIONS:

1. The building currently has an EPDM type roof.
2. The size of the roof is approximately 660 square feet +/-

3. The roof is approximately 12-15 years old.

4. Elevation Height from ground is 28 feet.

5. The roof appears to be in fair condition at this time.  Maintenance and repairs are needed to maintain a watertight system and extend the service life.

REPAIR/REPLACEMENT NEEDS:

· Strip in 60’ of membrane seams with approved EPDM cover strip 

· Make repairs to <64 sq. feet area on northwest corner where membrane has delaminated from insulation.
· Vendor must provide a 5-year warranty for repairs and workmanship.

INSPECTION NEEDS:

· Provide annual inspection to meet warranty requirements and detailed report with pictures.
HIGH FLOW STATION SPECIFICATIONS:

CURRENT CONDITIONS:

1. The building currently has an EPDM type roof.

2. The size of the roof is approximately 968 sq. ft. +/-

3. The roof is approximately 15 years +/-

4. Elevation Height from ground is 13 feet.

5. The existing roof system appears to be in fair condition at this time.  Maintenance and repairs are needed to maintain a watertight system and extend the service life.
REPAIR/REPLACEMENT NEEDS:

· Cover 140’ of seams with approved cover strip.

· Install one new drain basket.

· Vendor must provide a 10-year warranty for repairs and workmanship.

INSPECTION NEEDS:

· Provide annual inspection to meet warranty requirements and detailed report with pictures.
SOLIDS BUILDING SPECIFICATIONS:

CURRENT CONDITIONS:

1. The building currently has a Ballasted EPDM type roof

2. The size of the roof is approximately 3,760 sq. ft. +/-

3. The roof is approximately 20+ years old.

4. The existing roof systems appears to be failing and replacement is needed as soon as possible. Nuisance leaks will continue and increase until replacement takes place.
5. The coping seems are failing.

6. Membrane is aging with bridging throughout roof.

REPAIR/REPLACEMENT NEEDS:

· Replacement of approximately 3760 sq. feet of ballasted EPDM roofing. 

· Remove all old ballast and roofing material.  

· Replace with new EPDM material and reflash, and seal seams.

· Reuse old ballast material and replace.

· Dispose of all old roof materials.

· Vendor must provide a minimum 10-year warranty for repairs/replacement and workmanship.

INSPECTION NEEDS:

· Provide annual inspection to meet warranty requirements and detailed report with pictures.
RAW WATER PUMP STATION SPECIFICATIONS:
CURRENT CONDITIONS:

1. The building currently has a ballasted EPDM type roof.

2. The size of the roof is approximately 1,155 sq. ft. +/-

3. The roof is approximately 20+ years old.

4. The existing roof system appears to be failing and replacement is needed as soon as possible.  Nuisance leaks will continue and increase until replacement takes place.

REPAIRS/REPLACEMENT NEEDS:

· Replacement of approximately 1155 sq. feet of ballasted EPDM roofing.

· Remove all old ballast and roofing material. 

· Replace with new EPDM material and reflash, seal seams.

· Reuse old ballast material and replace

· Dispose of all old roof materials.

· Vendor must provide a minimum of a 10-year warranty for repairs and workmanship.

INSPECTION NEEDS:

Provide annual inspection to meet warranty requirements and detailed report with pictures
Note:  All prospective bidders must schedule a site visit with Plant Manager before bidding in order to understand scope of work.
PROPOSAL SUBMISSION

To be considered, Proposers must submit a complete response to this RFP.  Proposals must be signed by an official authorized to bind the Proposer to its provisions.  Proposals must include a statement as to the period during which the proposal remains valid but for purposes of this RFP, the period must be at least ninety (90) days.

Two (2) copies of the proposal package shall be enclosed in a sealed envelope plainly identified In the upper left hand corner with the company’s name and address and in the lower left hand corner.

The City reserves the right to reject any and all proposals and to waive information, irregularities, and technicalities in the process.  The City may negotiate separately with any source in any manner necessary to arrive at a contract agreement that is in the best interest of the city.
Proposals may be hand-delivered or mailed to the above address by the date and time specified.  It is the responsibility of the Proposer to deliver the RFP.  Proposals dispatched, but not received by the City Purchasing Department by proposal closing time, will be returned, after receipt, unopened to the prospective Proposer.  Verbal or emailed quotes will not be accepted at any time.

Proposals must include a copy of your business license, proof of liability insurance, worker’s comp insurance.

Cost Certification

The undersigned hereby certifies that I have read all items of the RFP and fully understand the requirements listed herein.  I further certify that I am an authorized agent of the offering firm and may be held liable for any or all remedies that may become due to the City of Lebanon.
Notice to Proposers

To be considered, prospective consultants are required to submit all requested information including pricing detail.  Pricing should include all costs related to the cost of the equipment, removal of old equipment, installation, shipping of material, and the removal of debris. 
The total project cost is a major factor in the decision process, but not the only consideration.  Other decision factors are the consultant’s identification and understanding of the City’s requirements.
Questions and Additional Information:

For Clarification or additional information, contact the Purchasing Department (615) 443-2802 or via email to lisa@lebanontn.org.  You must also contact J.C. York, Plant Manager (615) 444-0485 or (615) 444-2304 to schedule an on-site visit.
GENERAL CONDITIONS

Hold Harmless

Consultant shall protect, indemnify, and hold the City harmless from and against any damage, cost, or liability for any injuries to person or property arising from acts or omissions of the consultant, his employees, agents, or sub-contractors, howsoever caused.  The successful proposer agrees that they will function as an independent contractor and agrees to indemnify and hold harmless the City of Lebanon, its Council Members, employees, officers, and agents from any and all claims or demands that may arise out of or relate to its duties contracted for pursuant to goods and/or service.
Response Preparation Costs

The City will not pay any costs incurred by any vendor in the proposal preparation, printing, demonstration or negotiations process.  All costs shall be the responsibility of the proposing consultants.

Acceptance of Proposal Content

Proposals to be valid for a minimum period of ninety (90) days from date of receipt by the City.

Addenda

Any change to this RFP will be brought forward in the form of a written addendum from the Purchasing Department and will be provided to all known interested parties.  No oral interpretations or communication will affect or change in any way the information contained herein.

Rights and Options of the City of Lebanon:

The City reserves the following rights and options:

· Determine those proposers who are most qualified
· Reject any or all proposals for any reason, at its sole discretion.
PROPOSAL EVALUATION

City of Lebanon’s staff will review the proposals submitted and make a recommendation to the City Council.  It is expected that the selected vendor will begin work shortly after an agreement is executed.  The final deliverables will be due on a mutually agreed upon schedule.  The basis for the evaluation of proposals received includes, but is not limited to, cost, delivery, capability of company, etc.
CONTRACT AWARD

Contract award, if made, shall be to the lowest, best and most responsive proposal that is considered to be the City’s best interest.  Anticipated award will be after recommendation approval by the Lebanon City Council.

PRICING SHEET
QUANTITY

DESCRIPTION


UNIT COST
TOTAL COST

1

Equipment Building
 
$_________
$____________
Total cost for completion of work $_____________________________


(Include shipping, installation, materials, removal of debris, etc.)
Total Cost of Annual Inspection and detail report each year for five years:

2023 _____
2024_____
2025_____
2026_____
2027_____


1

Grit & Screening


$_________
$_____________
Total cost for completion of work $_____________________________

(Include shipping, installation, materials, removal of debris, etc.)
Total Cost of Annual Inspection and detail report each year for five years:

2023 _____
2024_____
2025_____
2026_____
2027_____


1

High Flow Station 


$_________
$_____________
Total cost for completion of work $_____________________________


(Include all materials, installation, shipping, removal of debris, etc.)
Total Cost of Annual Inspection and detail report each year for five years:

2023 _____
2024_____
2025_____
2026_____
2027_____


1

Solids Building


$_________ 
$_____________

Total cost for completion of work $_____________________________


(Include all materials, installation, shipping, removal of debris, etc.)

Total Cost of Annual Inspection and detail report each year for five years:

2023 _____
2024_____
2025_____
2026_____
2027_____

QUANTITY

DESCRIPTION


UNIT COST
TOTAL COST

1

Raw Water Pump Station

$_________
$_____________
Total cost for completion of work $_____________________________


(Include all materials, installation, shipping, removal of debris, etc.)

Total Cost of Annual Inspection and detail report each year for five years:

2023 _____
2024_____
2025_____
2026_____
2027_____

 Total Bid $____________________________

_________________________________________

Company Name and Authorized Representative

__________________________________________

Address, Contact Phone Number
GUARANTEE:
In the event the awarded vendor does not perform any or all parts of the agreement to the satisfaction of the City of Lebanon, the vendor will be given a 30-day written notice of cancelation.
12

