Addendum #1

Date: November 15, 2022

Rockwood School District – RFP No.

Eureka High School Sunshades

The Request for Proposals (RFP) for the above-named project is amended as noted in this Addendum. This Addendum consists of questions and Rockwood School District’s responses.

- Is the school district going to require a permit be pulled for this installation? Yes, the contractor is responsible for any permits needed for the project.

- Would it be OK to install footings next to the building in the open space without concrete? Footings into the ground next to the concrete are acceptable.

- If yes, will it be OK for those footings to go up to 13’ into the ground? For all footings, the district will do our best to let you know where underground utilities are located, but it is the contractor’s responsibility to contact Dig-Rite. The contractor will be responsible for any utility lines that are hit.

- Would it be OK to saw cut the concrete to install a footing in the walkway that is away from the building and leads to this space?  Yes, if it is possible without damaging the concrete.

- Will the light post in this space stay, if so, please advise on the height? The light post will stay. We do not have any information on the height.

End of Addendum #1