City of Myrtle Beach

Request for Proposal

RFP 21-R0016

Maintenance of Escalator, Passenger and Freight Elevator

Issue Date:  May 12, 2021

First in Service

Issued By:

Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

Phone:  843-918-2170

www.cityofmyrtlebeach.com

City of Myrtle Beach Purchasing Division

3231 Mr. Joe White Avenue

Myrtle Beach, SC  29577

| REQUEST FOR PROPOSAL |  |
| --- | --- |
| RFP # 21-R0016 Maintenance of Escalator, Passenger Elevator and Freight Elevator |  |
| Buyer Contact: | Tina Causey 843-918-2184 tcausey@cityofmyrtlebeach.com |
| Mandatory Pre-Proposal Conference: On-time attendance/sign-in is required for proposal consideration. | N/A |
| Opening Date & Time: | May 25, 2021 at 2:00PM |
| Proposal Delivery Location: | Purchasing Office 3231 Mr. Joe White Avenue Myrtle Beach, SC 29577 |

Bonds:  Proposals for a service only that is $25,000.00 or greater must be accompanied by a bidder’s bond or cashier’s check in the amount of five percent (5%) of the total dollar amount of the proposal submitted, payable to the City of Myrtle Beach.  No other forms of security will be accepted.

Public Disclosure:  If proposal contains proprietary, privileged, or confidential information, Offeror MUST check box.  Failure to check box may be cause for public disclosure.  See Section 3.09 for further details.

No proposals will be accepted unless submitted on the forms furnished herein.  All pages of the proposal must be in a sealed envelope and delivered in accordance with these instructions:

- The envelope must be marked with company name, proposal number/name, and time/date of proposal opening.

- Proposal packages shall be delivered to the address listed above.  The City of Myrtle Beach is not responsible for late or misdirected mail.

If the above criteria are not met, your proposal shall be rejected.  Proposals are not subject to public reading.

Offerors are advised that from the date of issue of this solicitation until award of the contract, no contact with City personnel related to this solicitation is permitted.  All communications/requests for clarification are to be directed to the Buyer listed above.

It is the intent and purpose of the City of Myrtle Beach that this Request for Proposal promotes competitive proposals.  It shall be the Offeror’s responsibility to advise the Purchasing Division if any language, requirements, etc., or any combination thereof, inadvertently restricts or limits the requirements stated in this Request for Proposal to a single source.  Such notification must be submitted in writing and must be received by the Purchasing Division no later than three (3) City of Myrtle Beach business days prior to the proposal opening date.

Offeror to complete this section:

Name of Offeror:	________________________________________________________________________

Address:	______________________________________________________________________________

Phone Number:	________________________________________________________________________

E-mail:		______________________________________________________________________________

Please note:  Signature is required on page 22.

CITY OF MYRTLE BEACH – GENERAL INSTRUCTIONS

MUST BE SIGNED AS PART OF REQUEST FOR PROPOSAL PACKAGE

1.0	SUMMARY

  - DOCUMENT INCLUDES:

2.0	Authority

2.01		Equal Weight and Force

2.02		Written Explanations

2.03		Disputes with Written Explanations

2.04		Written Addenda

3.0	Requirements for Written Proposal Documents

3.01		Availability of Documents

3.02		Responsive Proposals

3.03		Non-Responsive Proposals

3.04		Document Completion

3.05		Contents of Proposal Packet

3.06		Single Package Requirement

3.07		Proposal Submission

3.08		Proposal Delivery/Opening

3.09		Document and Content Ownership

4.0	Full Examination

4.01		Thorough Investigation

4.02		Pre-Proposal Meetings

4.03		Evidence of Examination

5.0	Pricing

5.01		Unit Pricing

5.02		Cash Discounts

5.03		Changes in Cost

5.04		Price Evaluation

6.0	Tax Information

6.01		Sales Tax/Federal Tax

6.02		Payment of Taxes

7.0	Material Assessment

7.01		Product Documentation

7.02		SDS

7.03		Evidence of Work/Product

7.04		Sample Submission

7.05		Sample Ownership

7.06		Furnished Items

7.07		Quality of Items

8.0	Changes in Specifications

8.01		Authority of Specifications

8.02		Equipment

8.03		Deviation from Specifications

8.04		Material Preference

8.05		Changes after Award

8.06		Equivalent Items

9.0	Modifications

9.01		Additional Work

9.02		Adjustments to Items/Work

9.03		Quantity Limits

10.0	Bond Requirements

10.01		Proposal Bonds

10.02		Performance/Payment Bonds

11.0	Delivery

11.01		Warehouse Deliveries

11.02		Dates

11.03		Delivery Price

11.04		Documentation

11.05		Wrong Deliveries

12.0	Award Criteria/Timeline

12.01		Award Criteria

12.02		Contract Issuance

12.03		Commencement of Work

12.04		Contract Timeline

12.05		Notification

12.06		City Business License

13.0	Offeror Responsibilities

13.01		Duration of Proposal

13.02		Transfer of Responsibilities

13.03		Drug-Free Workplace

13.04		Subcontractors

13.05		Coordination and Contact

13.06		Liquidated Damages

13.07		Force Majeure

14.0	Indemnity Clause

14.01		Hold Harmless

14.02		Failure to Enforce

15.0	Federal and State Laws

15.01		Employment Regulations

15.02		Ethics of Employees

15.03		Nondiscrimination in City Contracts

15.04		Compliance with Laws

16.0	Financial Accounting

16.01		Availability of Funds

16.02		Payment

16.03		Representation

17.0	Proposal Rejection/Withdrawal

17.01		Reasons for Rejection

17.02		Best Interest of the City

17.03		Determination of Responsibility

17.04		Disqualification

17.05		Withdrawal Timeline

18.0	Disputes and Protests

18.01		Informal Dispute Resolution

18.02		Formal Dispute Resolution

18.03		Procedures/Timelines

18.04		Stay of the Procurement

18.05		Confidentiality of Information

18.06		Post-Filing Formal Protest Process

18.07		Formal Protest Decision Timeline and Notification

18.08		Appeals

19.0	City Reserved Rights

19.01		Reserved Right

19.02		Final Judgment

19.03		Clarification

19.04		Price Increase

19.05		Loss/Damage

19.06		Performance Failure

19.07		Termination for Convenience

19.08		Termination for Default

19.09		Negotiation

20.0	ADA Compliance

20.01		Contact Information

21.0	Signatures

21.01		Accuracy and Completeness

21.02		Non-Collusion

21.03		Compliance

  - DEFINITIONS:

- City of Myrtle Beach – herein referred to as “City.”

B.  RFP – Request for Proposal

C.  Offeror – any vendor, proprietor, business, company, service provider, or corporation

who submits a proposal to the City.

D.  Proposal – the collection of documents that includes these general instructions, the

scope of work and/or specifications, a written offer, and signature page to

be used for consideration in negotiations and/or contract development.

E.  Addendum – a written change, addition, alteration, correction, or revision to a proposal

document.

F.  Bond – provides financial assurance that the proposal has been submitted in good faith,

that an offeror will enter into a contract at the amount proposed, and will

provide the appropriate performance and payment bonds.

G.  Bid Bond – an insurance agreement, accompanied by a monetary commitment, by

which a third party accepts liability and guarantees that the offeror will not

withdraw from the proposal, must be submitted with proposal package if

over $25,000.00

H.  Performance Bond – guarantees execution of the terms of a contract, required for work

valued at $25,000.00 or more for construction and/or any type of service,

must be received within ten (10) calendar days from date/time of

notification of award.

I.  Payment Bond – covers payment of subcontractors, laborers, materials, and suppliers

associated with the project, required for work valued at $25,000.00 or

more for construction and/or any type of service, must be received within

ten (10) calendar days from date/time of notification of award.

2.0	AUTHORITY:

2.01	Equal Weight and Force.  The instructions herein contained are given for the purpose of

guidance in properly preparing an applicable proposal.  These directions have equal weight

and force with the specifications and strict compliance is required with all of the provisions.

Unless otherwise stated in the special instructions of the proposal, these general

instructions shall apply.

2.02	Written Explanations.  Only written information from the procurement manager or an

authorized representative of the purchasing division is binding; therefore no verbal

instructions or verbal information from any other source shall be binding on the City.  The

City shall not be responsible for any other explanation or interpretation and the decision of

the procurement manager or an authorized representative of the purchasing division shall

be final and binding upon each Offeror.

2.03	Disputes with Written Explanations.  The written specifications are considered clear and

complete.  Failure of the Offeror to call attention in writing to any disputes, definitions,

discrepancies, inconsistencies or incompleteness before the opening of the proposal in the

time and manner set forth herein is a waiver of right to do so upon opening of the proposals.

Clarifications requested by Offerors must be in writing not less than three (3) days before

date and time set for receipt of proposals.

2.04	Written Addenda.  Should the procurement manager deem it necessary to alter proposal

specifications, those alterations shall be made in the form of written addenda that shall be

posted on the City website, and may be advertised in the South Carolina Business

Opportunties (SCBO) online publication and the local newspaper.  The Offeror is

responsible for monitoring all of these sources and should not rely on a single source for

updates. These addenda shall then be considered as part of these specifications.  No

interpretations of the meaning of the proposal specifications shall be made orally.

3.0	REQUIREMENTS FOR WRITTEN DOCUMENTS:

3.01	Availability of Documents.  Proposal documents may be obtained through the City of

Myrtle Beach website (www.cityofmyrtlebeach.com), or in person at the City of Myrtle

Beach Purchasing Office, 3231 Mr. Joe White Avenue, Myrtle Beach, SC  29577, Monday

through Friday (excluding City holidays), from 8:00 AM to 5:00 PM.  Proposal documents

may be mailed or sent via e-mail by vendor request only.

3.02	Responsive Proposals.  The City of Myrtle Beach will review proposals on a pass/fail

basis to determine whether the proposal is “responsive” to this RFP.  A responsive

proposal will contain all required documents and forms that are completed in their

entirety.  Documents and forms must be unaltered, legible, signed, sealed appropriately,

and free from errors without noted corrections.  The City reserves the right (at its sole

discretion) to determine whether a proposal is responsive.

3.03	Non-Responsive Proposals.  Proposals that are incomplete, unsigned, improperly signed

or sealed, conditional, illegible, obscure, contain arithmetical errors, corrections without

initials, ambiguities, alterations, and/or irregularities of any kind, may be declared non-

responsive.

3.04	Document Completion.  A proposal and signature document is provided as part of the

solicitation.  This form must be used in submitting a proposal and all pages of the proposal

document must be completely filled out in blue or black ink and signed by the Offeror.  No

proposal shall be accepted unless submitted on the forms furnished herein.  The format of

the proposal documents shall not be altered in any way.  Written errors made on the

proposal documents prior to submission must be corrected by marking through the entry in

blue or black ink and making the correct entry adjacent to the written error and initialed by

the Offeror in blue or black ink.

3.05	Contents of Proposal Packet.  The general instructions, scope of work and/or

specifications, and the proposal and signature document constitute the proposal packet. By

submitting a proposal, the Offeror is deemed to have accepted all of the terms and

conditions set forth in the proposal packet documents.  Alternative proposals shall not be

considered.  All proposal packet documents, after completion by the Offeror, must be

returned with the proposal in the same order as received by the Offeror.

3.06	Single Package Requirement.  Unless otherwise stated in the special instructions section

of this proposal request, submit one complete proposal package using the attached form(s),

for proposed pricing.

3.07	Proposal Submission.  Each proposal must be enclosed in a sealed envelope, clearly

marked on the outside with the company name/address in the upper left-hand corner and

proposal number/name and time/date of opening in the lower left-hand corner.  This sealed

envelope must be delivered to the procurement buyer.  If the required information is not

clearly stated on the outside of the envelope, the proposal is considered nonresponsive.

It is the Offeror’s responsibility to ensure that the proposal is delivered by the official

opening date and time.  Proposals submitted after the date and time set for receipt shall be

considered late, regardless of the degree of lateness or the reason related thereto,

including causes beyond the control of the Offeror.  Late proposals shall not be opened

and will be returned to the Offeror unopened.  The City of Myrtle Beach is not

responsible for late or misdirected mail.

3.08	Proposal Delivery/Opening.  All proposals must be sealed, marked and delivered in

accordance with these instructions to Purchasing Division, City of Myrtle Beach,

3231 Mr. Joe White Avenue, Myrtle Beach, SC  29577.  Proposals received prior to the

advertised hour of opening shall be securely kept sealed.  Proposals are not subject to

public opening.

3.09	Document and Content Ownership.  All documents, reports, proposals,

submittals, working papers or other material submitted to the City from the Offeror

shall become the sole and exclusive property of the City and in the public domain.

However, as per the South Carolina State Procurement Code, Section 11-35-410,

commercial/financial/price information and design concepts, methods, procedures,

and recommendations can be held privileged and confidential, provided that the

Offeror clearly marks that information as such.  This includes biographical data on

key employees.  It will be the Offeror’s responsibility to label information as

proprietary.  Failure to clearly identify information as privileged, confidential,

and/or proprietary may be cause for public disclosure.  The Offeror shall not

copyright, or cause to be copyrighted, any portion of any of said documents

submitted to the City as a result of this solicitation.

4.0	FULL EXAMINATION:

4.01	Thorough Investigation.  Offerors shall make all investigations necessary to thoroughly

inform themselves regarding plant and facilities for delivery of material and equipment

and/or service to be performed as required by the proposal conditions.  No plea of ignorance

by the Offeror of conditions that exist or that may hereafter exist as a result of failure or

omission on the part of the Offeror to make the necessary examination and investigations,

or failure to fulfill in every detail the requirements of the contract documents, shall in no

way relieve the Offeror from any obligation in respect to the proposal.

4.02	Pre-Proposal Meetings.  When Offerors are required to make site visits or attend

mandatory pre-proposal meetings, all expenses shall be paid for by the Offeror, unless

previous written arrangements are made with the City.  Offeror must be physically

present at the sign-in location with the Buyer at the start of the scheduled meeting time.

The official start of each pre-proposal meeting will be determined by the Buyer with an

announcement of the time and the final closing for Offerors to sign-in.  Any Offeror

arriving after the declared time announcement and closing of sign-in shall not be

admitted to the pre-proposal meeting, and any proposals received shall be considered

non-responsive.

4.03	Evidence of Examination.  Submission of a proposal will be considered as conclusive

evidence of the Offeror’s complete examination, understanding and acceptance of the

specifications.

5.0	PRICING:

5.01	Unit Pricing.  Unit pricing will govern over extended prices unless otherwise stated in

special instructions in this proposal request.  All prices quoted should be firm.  In those

cases where a firm proposal cannot be made, consideration shall still be given to all

Offerors.  Also, maximum or ceiling prices should be quoted where possible when proposal

contains non-firm prices.

5.02	Cash Discounts.  Cash discounts, if allowed, should be so stated on the proposal form.

Prices must, however, be based upon payment thirty (30) calendar days after delivery.

5.03	Changes in Cost.  If during the term of the contract entered into as a result of this proposal,

the cost of material(s) is/are increased through no act on the part of the contractor other

than to comply with any prevailing rise in the market price(s) of material(s) used, it shall

be the contractor’s responsibility to notify the City of Myrtle Beach Purchasing Office in

writing of the price increase(s) and the effective date of the increase(s).  Price(s) shall be

increased only to the point of absorbing additional cost(s) of material(s) paid for by the

contractor.  At any time during the term of the contract, the City may request that the

contractor provide written documentation from the manufacturer/supplier of the material(s)

to substantiate price increase(s).  If during the term of the contract, the cost of material(s)

to the contractor is reduced, then the contractor shall reduce the contract price(s) and notify

the procurement buyer in writing.

5.04	Price Evaluation.  The City of Myrtle Beach shall evaluate the Offeror’s price proposal

for completeness, price reasonableness, price realism, and unbalanced pricing.  Price

reasonableness shall be established by competition and determined primarily by

comparison with other offers submitted.  Price realism shall be established by analysis of

the unit price submitted to determine whether the estimated proposed price reflects a

clear understanding of the requirements, are realistic for the work to be performed, and

are consistent with the methods of performance and materials described in the Offeror’s

proposal.  Unbalanced pricing exists when, despite an acceptable total evaluated price,

the price of one or more contract line items is significantly overstated or understated and

poses an unacceptable risk to the City.  The City may determine that a proposal is

unacceptable if the proposed price is materially unbalanced between line items.

6.0	TAX INFORMATION:

6.01	Sales Tax/Federal Tax.  The City of Myrtle Beach pays South Carolina State Sales Tax.

The City is exempt from Federal Excise Tax and shall issue exemption certificates if

required.  All prices should be quoted without tax applied.  Tax will be applied at the

time of invoicing according to the current state sales tax rate.

6.02	Payment of Taxes.  The contractor agrees to pay all taxes and license fees of whatever

nature applicable to conduct business and furnish the City of Myrtle Beach, if requested,

with duplicate receipts or other satisfactory evidence showing the prompt payment of all

taxes and fees when referred to and showing that all licenses are in effect.

7.0	MATERIAL ASSESSMENT:

7.01	Product Documentation.  Proposal shall include adequate brochures, latest printed

specification and advertising literature describing the product(s) offered in such a fashion

as to permit ready comparison with the specifications on an item-by-item basis where

applicable.

7.02	Safety Data Sheet (SDS).  If so requested in the proposed documents, a completed SDS

for the item(s) indicated must be provided with the proposal documents.  Failure to submit

this form upon request may result in rejection of proposal.

7.03	Evidence of Work/Product.  All Offerors must be prepared to present suitable evidence

of similar work recently completed or goods supplied.  Products are to be brand name or

equal unless otherwise specified. If submitting an equal product, supporting documents

must be provided with proposal.

7.04	Sample Submission.  When samples are required with a proposal, they must be submitted

with the proposal unless approved by the purchasing manager or purchasing manager’s

authorized representative.

7.05	Sample Ownership.  Samples submitted shall become the property of the City of Myrtle

Beach.  The entire cost of the sample(s) shall be paid for by the Offeror unless previous

written arrangements are made with the City.

7.06	Furnished Items.  Offerors are required to state exactly what they intend to furnish;

otherwise, they shall be required to furnish the items as specified.

7.07	Quality of Items.  Offerors shall submit, with their proposal, data necessary to evaluate

and determine the quality of the item(s) they are proposing.  Unless otherwise specified,

the Offeror shall unconditionally guarantee the items and workmanship being proposed.  If

any defects or signs of deterioration are noted which, in the City’s opinion, are due to faulty

workmanship or material, the Offeror, upon notification and at the expense of the Offeror,

shall replace the items to the complete satisfaction of the City.  Upon the Offeror’s failure

to replace items, the City may return the rejected items to the Offeror at the Offeror’s risk

and expense, or the City may dispose of them as its own property.

8.0	CHANGES IN SPECIFICATIONS:

8.01	Authority of Specifications.  It shall be understood that in all cases the terms and

conditions, as detailed in the specifications, shall supersede terms and conditions, as

detailed in the general instructions.  No verbal agreement or conversation with any officer,

agent, or employee of the City shall affect or modify any of the terms and conditions.

8.02	Equipment.  If this proposal is for the purchase of equipment, the Offeror guarantees that

the equipment offered is standard new equipment, latest model or regular stock product,

with parts regularly used for the type of equipment offered; also that no attachment or part

has been substituted or applied contrary to the manufacturer’s recommendations and

standard practices.

8.03	Deviation from Specifications.  Any deviation from specifications must be noted in detail

and submitted in writing with this proposal.  Complete specifications should be attached

for any substitutions offered, or when amplifications are desirable or necessary.  The

absence of a specification deviation statement and accompanying specifications shall hold

the Offeror strictly accountable to the specifications as written herein.

8.04	Material Preference.  The specifications, as listed herein, represent our preference in

material; however, we are fully cognizant that no two pieces of comparable material are

identical and/or same in size, function, and operation; and some of the specifications will

not completely coincide with ours as listed.  Please list your exceptions and explanations

separately. It is not our intent to write specifications for any project on which only one

proponent can submit a proposal.

8.05	Changes after Award.  Any changes in specifications, after the purchase order/contract

has been awarded, must be with the written consent of the purchasing division; otherwise,

the responsibility for such changes shall be with the Offeror.

8.06	Equivalent Items.  For items identified in this proposal as “brand name or equal,” the

Offeror’s proposal must indicate each product that is being offered as an “equal” product

by providing the following information:

A.  A description reflecting the characteristics and level of quality that will satisfy

the salient physical, functional, or performance characteristics of “equal”

products specified in the proposal

B.  A clear identification of the item by brand name and make/model number (if

any)

C.  Descriptive literature such as illustrations, drawings, photographs, or a clear

reference to previously furnished descriptive data or information that is

readily available to the purchasing buyer

D.  A clear description of any modifications the Offeror plans to make in a product

so that it conforms to the proposal requirements

Compliance verification is performed by the City purchasing buyer and their requestor(s).

The purchasing buyer is required to evaluate “equal” products on the basis of information

furnished by the Offeror, or identified in the proposal.  The buyer is not responsible for

locating, obtaining, or researching any information that is not provided.  An Offeror’s

product will not be considered as an “equal” product if there is an inadequate description

of how the “equal” product meets the salient characteristics specified in the proposal.

9.0	MODIFICATIONS:

9.01	Additional Work.  The proposal shall not contain any unauthorized additions.  No

additional work shall be allowed or paid for unless such extra or additional work is ordered

in writing by the purchasing division and with the price for such established and agreed

upon before such extras are delivered or work is performed.

9.02	Adjustments to Items/Work.  The City of Myrtle Beach shall have the right, without

invalidating the contract, to make additions to or deductions from the items or work

covered by the specifications.  In case such deductions or additions are made, an equitable

price adjustment shall be made between the City and the contractor.  Any such adjustments

in price shall be made in writing.

9.03	Quantity Limits.  At the time of award, if required, the City reserves the right to set a

maximum dollar limit that may be expended on the project or requirement.  Contract

quantities of any and/or all items may be increased, decreased, or eliminated to adjust the

contract amount to coincide with the amount of service-related work or supply items to

bring the contract value to within the established limit.  All quantities are estimated and the

City reserves the right to increase, decrease, or eliminate the contract quantities in any

amount.

10.0	BOND REQUIREMENTS:

10.01	Bid Bonds.  If required, Offeror shall supply a bid bond of 5% of the total proposal

amount to be submitted with the proposal package.  Bonds are required if the contract

work is valued at $25,000.00 or more for construction and/or any type of service related

requirement.

10.02	Performance/Payment Bonds.  The successful Offeror at its own cost and expense shall

furnish, if required, a valid performance and payment bond (payable to the City of Myrtle

Beach.) The bond shall be in the full amount of this agreement conditioned on the full

and faithful performance of the work under this agreement in accordance with the

specifications and contract documents.  Bonds are required if the contract work is valued

at $25,000.00 or more for construction and/or any type of service related requirement.

The performance and payment bonds shall be executed by the contractor and a bonding

company authorized to do business in the State of South Carolina and approved by the

State of South Carolina to issue such performance and payment bonds.  Bonds must be

received within ten (10) calendar days from the date and time of notification of award.

Only the forms provided by the City for the performance and payment bonds shall be

accepted.

11.0	DELIVERY:

11.01	Warehouse Deliveries.  Unless otherwise stated in the special instructions section of this

proposal request, deliveries will be accepted during the hours between 8:00 AM and 4:00

PM Monday through Friday, excluding City holidays.

11.02	Dates.  The delivery date as stated in the proposal shall be the time required to deliver the

complete item(s) after the receipt of the order or award of the contract.  Where multiple

items appear on a proposal request, the Offeror shall, unless otherwise stated by the City,

show delivery date for each item separately.  If only a single delivery date is shown, it shall

be assumed to mean that all items included in the proposal can and will be delivered on or

before the specified date. The Offeror certifies that the delivery shall be completed in the

time the Offeror states, starting at the time the order is placed, provided that the time

between the proposal opening and the placing of the order does not exceed the number of

days stipulated in the proposal.  The right is reserved to reject any proposal on which the

delivery time indicated is considered sufficient to delay the operation for which the

commodity is intended. Successful Offeror(s) shall be responsible for making any and all

claims against carriers for missing or damaged items.

11.03	Delivery Price.  Proposal prices are to be Delivered Price (FOB Destination).  Proposal

prices must include all delivery costs, including but not limited to, loading and unloading

cost(s), transportation charge(s) and fuel surcharge(s).  The City of Myrtle Beach shall not

be responsible for any demurrage charge(s).

11.04	Documentation.  Invoice(s), certificates of origin, warranties and guarantees must be

submitted at the time of delivery of the item(s).

11.05	Wrong Deliveries.  In the event that materials, supplies, etc. are delivered which do not

comply with specifications and have not been approved by the purchasing division, the

contractor, upon notification, shall immediately remove from the premises any such

materials, supplies, etc. and replace them with materials, supplies, etc. in full accordance

with the specifications.

12.0	AWARD CRITERIA/TIMELINE:

12.01	Award Criteria.  For service and supply-related requirements, the award will be made

within the time specified to the responsible Offeror meeting the specifications and

having the lowest possible cost consistent with the quality and service needed for effective

use.  The following criteria shall be used in making this determination:

A.  Superior quality and specification adherence

B.  Adequate maintenance and service

C.  Delivery and/or completion time

D.  Guarantees and warranties

E.  Company’s reputation and financial status

F.  Past experience and cost with similar or like equipment or service

G.  Anticipated future cost and experience

H.  Performance of proponent’s equipment by other agencies, plants, and firms

Evaluation factors, if required, shall be stated in either a percent basis or a numerical

format.

12.02	Contract Issuance.  The award of a contract is accomplished by executing a written

agreement that incorporates the entire proposal, Offeror’s response, clarifications,

addenda, and additions.  All such materials constitute the contract documents.  The Offeror

agrees to accept the contract terms unless substantive changes are made without the

approval of the Offeror.  Offeror shall not add any provisions reserving the right to accept

or reject an award.  The procurement office is the sole point of contact for the issuance

of the contract.

12.03	Commencement of Work.  Upon execution and delivery of the contract and insurance

certificates, the Offeror shall be notified to proceed with the work of the contract.  The

work of the contract shall be commenced within one (1) City business day following such

notification, or as otherwise specified in the Notice to Proceed.  The performance period

shall be from date of issuance of Notice to Proceed through __________ calendar days.

Contract prices shall remain firm for the duration of the contract period.  The City of

Myrtle Beach reserves the right to adjust the performance period to meet the best interests

of the City.  Any such adjustment will be made in writing through the Purchasing Office.

12.04	Contract Timeline.  In the event the successful Offeror fails or refuses to execute a formal

written contract with the City of Myrtle Beach in form and content acceptable to the City,

within ten (10) City business days after notice of acceptance of the proposal, the proposal

may be revoked, and all obligations of the City in connection with the proposal may be

canceled.

12.05	Notification.  Proposal tabulations will be available on-line at

www.cityofmyrtlebeach.com/purchasing.html. Winning Offeror shall be notified five (5)

City business days after proposal tabulations are posted.

12.06	City Business License.  The successful Offeror must obtain a City of Myrtle Beach

business license in order to conduct business within our city.  A business license is not

required to submit a proposal; however, any offeror that receives an award under this

proposal shall be required to obtain a City business license before work can begin.  For

further information on obtaining a city business license, contact the City Business

License Office at 843-918-1200.

13.0	OFFEROR RESPONSIBILITIES:

13.01	Duration of Proposal.  Proposal prices, terms and conditions shall be firm for a period of

at least one hundred twenty (120) calendar days from the deadline for receipt of submittal,

or until such time as established in the proposal.  The successful proposal shall not be

subject to future price escalation or changes of terms if accepted during the one hundred

twenty (120) day period, or the specified proposal time.  Price decreases or changes in

terms by others after the acceptance of a proposal shall not be considered.

13.02	Transfer of Responsibilities.  The contractor shall not assign or otherwise transfer any of

its responsibilities or obligations under the contract to any other person or entity without

prior written consent of the City.

13.03	Drug-Free Workplace.  In accordance with the provisions of the Drug-Free Workplace

Act, the City of Myrtle Beach shall promote a drug-free workplace.  Illegal drugs or

narcotics in the workplace are strictly prohibited.  The manufacture, possession, use, and/or

distribution of a controlled substance of any kind while working on City property is subject

to disciplinary action up to and including immediate discharge.  As such, Offerors are

required to insure that a drug-free workplace is provided in the performance of any City

contracts.  By submitting a proposal, Offeror certifies that, if awarded the contract, they

and their subcontractors shall comply with the City’s Drug-Free Workplace Policy.  The

failure of any Offeror to uphold and enforce this policy is subject to termination of contract.

13.04	Subcontractors.  The contractor shall be wholly responsible for the performance of all

subcontractors and for their acts and omissions, and those of persons either directly or

indirectly employed by the contractor, and the fact that subcontractors are subject to the

approval of the City of Myrtle Beach shall not affect the contractor’s responsibility in this

regard.  The Offeror shall bind every subcontractor to all terms and conditions anywhere

contained in the contract documents as far as applicable to the work of such subcontractor

so that the subcontractor assumes toward the contractor and toward the work all the

obligations and responsibilities that the contract assumes toward the City as to the

performance of the subcontractor’s portion of the work.

13.05	Coordination and Contact.  The selected Offeror shall be required to assume

responsibility for coordination, engineering, delivery, installation, and maintenance of all

equipment, software and services offered in their proposal, whether they are the

manufacturer or producer of them.  Offeror shall not assign, transfer, convey, sublet, or

otherwise dispose of the contract or their right, title, or interest therein without prior written

consent of the City.  Further, the City of Myrtle Beach shall consider the selected Offeror

to be the sole point of contact with regard to contractual matters, including payment of any

and all charges resulting from the lease or purchase of the entire service equipment and

software configuration, when applicable.  Only service and equipment offered by Offerors

who have installed similar systems of comparable size shall be considered.  All service and

equipment offered shall be in current standard production and of the latest design.

13.06	Liquidated Damages.  If the Offeror fails to deliver the supplies or perform the services

within the time specified in the contract, the Offeror shall, in place of actual damages,

pay to the City of Myrtle Beach liquidated damages of $__________ per calendar day

of delay.  If the City terminates the contract, in whole or in part, the contractor is liable

for liquidated damages accruing until the City reasonably obtains delivery or

performance of similar supplies or services from an alternate offeror.  These liquidated

damages are in addition to excess costs of repurchase due to contract termination.  The

Offeror shall not be charged with liquidated damages when the delay in delivery or

performance is documented to be beyond the control and without the fault or negligence

of the Offeror.

13.07	Force Majeure.  Neither party shall be held responsible for failure to perform the

responsibilities imposed by this proposal due to circumstances beyond reasonable

control, including natural forces (fires, floods, tsunamis, hurricanes, tornadoes,

earthquakes), political unrest (military action, embargoes, acts of terrorism, war), civil

unrest (insurrections, riots, strikes, rebellions), public health crises (epidemics,

pandemics), acts of God, and/or orders of any governmental authority having jurisdiction

over such.

14.0	INDEMNITY CLAUSE:

14.01	Hold Harmless.  The contractor agrees to indemnify and save harmless the City of

Myrtle Beach, its officers, representatives, departments, agencies, employees, and agents,

from all claims, loss, damage, injury, fines, penalties, demands, actions, suits, and

liabilities arising from the contractor’s own fault or negligence or through the negligence

or fault of the manufacturer of goods supplied by the contractor.  This obligation shall

extend to and include, all litigation costs, court costs, and reasonable attorney fees

incurred by the City in response to such claims.

14.02.  Failure to Enforce.  Failure by the City at any time to enforce the provisions of the

proposal shall not be construed as a waiver of any provisions.  The failure to enforce shall

not affect the validity of any part of the proposal.

15.0	FEDERAL AND STATE LAWS:

15.01	Employment Regulations.  Offerors shall comply with all local, state, and federal

directives, orders, and laws as applicable to this proposal and subsequent contract(s)

including, but not limited to Equal Employment Opportunity (EEO), in compliance with

executive Order 11246, Minority Business Enterprise (MBE), and Occupational Safety and

Health Act (OSHA), as applicable to this contract and Immigration Bill H4400 which states

that every contractor doing business with the City of Myrtle Beach for the physical

performance of services with the total value of the contract to be performed in a twelve-

month period exceeding fifteen thousand dollars ($15,000.00) must agree to the following:

- Register and participate in the federal work authorization program to verify the

employment authorization of all new employees; and require agreement from

its sub-contractors to do the same; or

B.  To employ only workers who:

1.  Possess a valid South Carolina Driver’s License or ID issued by the

South Carolina Department of Motor Vehicles; or

2.  Are eligible to obtain a South Carolina Driver’s License or ID card in

that they meet the requirements; or

3.  Possess a valid Driver’s License or ID card from another state where the

requirements are at least as strict as those in South Carolina.

15.02	Ethics of Employees.  The Contractor shall exercise due diligence to detect and prevent

criminal character conduct and otherwise promote an organizational culture that

encourages ethical behavior and a commitment to compliance with the law.  To that end,

for any service related contract, the Contractor must provide their employees with ethics

awareness training to ensure professional attitude and conduct while working on City

property.

15.03	Nondiscrimination in City Contracts.  Any Offeror that enters into a contract for goods

or services with the City of Myrtle Beach or any of its boards, agencies, or departments

shall implement an employment nondiscrimination policy prohibiting discrimination in

hiring, discharging, promoting or demoting, matters of compensation, or any other

employment-related decision or benefit on account of actual or perceived race, color,

religion, national origin, gender, physical or mental disability, age, military status, sexual

orientation, gender identity, gender expression, or marital or familial status; however,

some conditions may be a bona fide occupational qualification reasonably necessary for

the completion of this proposal.  Offer shall not discriminate in the performance of the

contract on account of actual or perceived race, color, religion, national origin, gender,

physical or mental disability, age, military status, sexual orientation, gender identity,

gender expression, or marital or familial status.  Furthermore, Offeror agrees to

incorporate the foregoing provisions in all subcontracts entered into with suppliers,

subcontractors, and all labor organizations furnishing skilled, unskilled, and craft union

skilled labor, or who may perform any such labor or services.

15.04	Compliance with Laws.  The Offeror shall, in the performance of work under this

proposal, fully comply with all applicable federal, state, county, or municipal laws, rules,

regulations, or ordinances, and shall hold the City harmless from any liability resulting

from failure of such compliance.

16.0	FINANCIAL ACCOUNTING:

16.01	Availability of Funds.  Unless cancelled prior to the RFP opening date, all proposals

received on time will be opened as indicated in the solicitation.  The City’s obligation

under this requirement is contingent upon the availability of funds from which payment

for contract purposes can be made.  No legal liability on the part of the City for any

payment may arise until funds are made available and until the Offeror receives notice of

such availability from the City’s Purchasing division.  If funding is not made available,

the RFP will be cancelled.

16.02	Payment.  Inspection and acceptance of the material, goods, and/or service by an

authorized representative of the City shall be required prior to any payment.  After

acceptance by the City, payments shall be made to the contractor within thirty (30) calendar

days of receipt of invoice.

16.03	Representation.  The selected Offeror shall assign a competent account representative

acceptable to the City of Myrtle Beach who will represent the Offeror in providing

contracted services to the City.  The account representative shall maintain accurate and

detailed records, correspondence, and accounts relating all parts of the proposal.  Records

shall be kept in accordance with sound, generally accepted accounting principles.  The

City shall have the right to audit all records pertaining to the costs incurred under this

proposal.  If the account representative is removed by the Offeror, the new representative

must be acceptable to the City.

17.0	PROPOSAL REJECTION/WITHDRAWAL:

17.01	Reasons for Rejection.  The City of Myrtle Beach may reject a proposal if:

A.  The Offeror misstates or conceals any material fact in the proposal; or if,

B.  The proposal does not strictly conform to the law or requirements of the

proposal; or if,

C. The proposal is conditional, except that the Offeror may qualify his/her

proposal for acceptance by the City on an “all or none” basis, or a “low item”

basis.  An “all or none” basis proposal must include all items upon which

proposals are invited.

17.02	Best Interest of City of Myrtle Beach.  The City may, however, reject all proposals

whenever it is deemed in the best interest of the City to do so, and may reject any part of a

proposal unless the proposal has been qualified as provided in statement.  The City may

also waive any minor informalities or irregularities in any proposal.

17.03	Determination of Responsibility.  The City may make such investigation as it deems

necessary to determine the ability of an Offeror to furnish the required goods/services, and

the Offeror shall furnish to the City any requested information and data for this purpose at

the Offeror’s expense.  Information requested may include, but not be limited to:  financial

statements, credit ratings, criminal histories, references, records of past performance,

and/or on-site inspections.  The City reserves the right to reject any Offeror if the evidence

fails to satisfy the City that such Offeror is properly qualified to carry out the terms of this

proposal.

17.04	Disqualification.  Any of the following factors may be considered just cause to

disqualify a proposal without further consideration:  evidence of either direct or indirect

collusion among offerors in regard to the amount, terms, or conditions of the proposal;

attempts to improperly influence any member of the evaluation team; evidence of

offeror’s inability to successfully complete required responsibilities and obligations of the

proposal; existence of any lawsuit, unresolved contractual claim, or dispute between the

offeror and the City; and/or default under any previous agreement with the City that

resulted in the termination of the agreement.

17.05	Withdrawal Timeline.  Proposals may be withdrawn on a written request, received from

Offerors prior to the proposal closing date and time.  Negligence on the part of the Offeror

in preparing the proposal creates no right for withdrawal of the proposal after the proposal

has been opened.  No modifications, clarifications, or explanations of any proposals shall

be allowed after the date and time of closing.

18.0	DISPUTES AND PROTESTS:

18.01	Informal Dispute Resolution.  An Offeror who has a concern with a decision made by the

Purchasing Agent or designee, shall first inform the Purchasing Agent, or designee, within

five (5) calendar days after the date the City posts a bid tab on the City’s website stating

its intention to make a contract award, or the contract is awarded, whichever occurs first,

unless the proposal document specified a shorter time period.  The Purchasing Agent or

designee shall discuss the issue(s) with the Offeror in an attempt to resolve the dispute.

18.02	Formal Dispute Resolution.  An Offeror who has a dispute that cannot be resolved by

informal efforts may file a written protest with the City of Myrtle Beach in connection with

any of the following:

A.  A solicitation or other request for a contract or agreement for the acquisition of

materials, supplies, equipment, and/or services.

B.  An award of a contract or agreement for the acquisition of materials, supplies,

equipment, and/or services.

C.  A termination or cancellation of the award of a contract or agreement for the

acquisition of materials, supplies, equipment, and/or services if the objection is

based, in whole or in part, on the allegation that the award of the contract or

agreement was improper.

18.03	Procedures/Timelines.  A formal protest may be filed in the following manner:

A.  A protest must be submitted in writing, filed by an Interested Party, and

addressed to the Purchasing Agent or designee.  An e-mail is not acceptable as

a written protest.

B.  The protest must be signed by an authorized agent or representative of the

Interested Party.

C.  An administrative fee shall be submitted with the written protest and shall be

made in the form of a certified check or money order made payable to the City

of Myrtle Beach.  The administrative fee will be calculated as five percent (5%)

of the protestor’s proposal amount.  In a case where the protestor did not submit

a proposal, the administrative fee will be calculated as five percent (5%) of the

lowest responsive and responsible proposal received by the City.  The

Administrative fee shall be returned if the protest is upheld; otherwise the fee

is non-refundable.

D.  Within five (5) calendar days of discussing the dispute with the Purchasing

Agent or designee, the written protest and administrative fee must be received

by the Purchasing Agent or designee.  A protest received after the five (5)

calendar days, or without the appropriate administrative fee, will not be

considered.

E.  The written protest shall include:

1.  The name and address to which certified mail is received on behalf of

the protestor.

2.  An appropriate identification of the solicitation, and if a contract has

been awarded, the contract number.

3.  A complete statement of the reasons for the protest, including exhibits,

documents, or other evidence in support of the reasons for the protest.

4.  A request for a remedy sought by the protestor.

F.  Upon receipt of the protest, the Purchasing Agent or designee shall promptly

deliver a copy of the protest to the City Attorney, and notify the Director of

Financial Services and any/all other representatives of City departments

associated with the solicitation.

18.04	Stay of the Procurement.  When a protest has been timely and appropriately filed before

the award of a contract or agreement, the contract or agreement shall not be awarded unless

the Purchasing Agent or designee determines that the award of the contract or agreement

during the pendency of the protest is necessary to protect substantial interests of the City.

When a protest has been timely and appropriately filed after the award of a contract or

agreement, the Purchasing Agent or the designee shall direct the contractor not to engage

in any further performance of the contract or agreement, unless the Purchasing Agent or

designee determines that the performance under the contract or agreement during the

pendency of protest is necessary to protect substantial interest of the City.

18.05	Confidentiality of Information.  The Purchasing Agent or designee shall, upon written

request, make available to any other interested party information submitted that bears on

the substance of the protest, except where information is proprietary, confidential, or

otherwise permitted or required to be withheld from disclosure by law or regulation.

Persons or other entities that are involved in the protest that want to keep information

submitted by them as confidential should request that the information not be disclosed by

specifically identifying the confidential information within the documents submitted by

indicating on the front page of each document that it contains confidential information.

18.06	Post-Filing Formal Protest Process.  Once a protest has been filed appropriately, the

Purchasing Agent or designee may, in its sole discretion, may engage in any or all of the

following:

A.  Hold a conference between all parties to the protest in which resolution options

are explored.

B.  Conduct an investigation of the merits of the protest allegations.

C.  Order the parties to the protest to engage in certain methods of discovery and

set limits in terms of discovery scope and time.

D.  Schedule and conduct a protest hearing.

The Purchasing Agent or designee will render a decision on the merits of the protest after

engaging in some or none of the activities listed above.

18.07	Formal Protest Decision Timeline and Notification.  A decision on a protest shall be

made by the Purchasing Agent or designee as expeditiously as possible, but no later than

ten (10) City of Myrtle Beach business days after receiving the protest.  In determining the

protest, the Purchasing Agent or designee may terminate the contract or agreement, issue

a new solicitation or other request for contract or agreement, or award a contract or

agreement.  The protest decision shall be mailed to the protester by certified mail, return

receipt requested.

18.08	Appeals.  To the extent permitted by law or court rules regarding appeals, an appeal of the

decision regarding the protest may be made to a court of competent jurisdiction within the

time set forth in the Rules.

19.0	CITY RESERVED RIGHTS:

19.01	Reserved Rights.  The City of Myrtle Beach expressly reserves the following rights:

A.  To reject any and/or all irregularities in the proposals submitted

B.  To reject any and all proposals, or parts thereof, as deemed in the best interest

of the City.

C.  To base awards due with regard on quality of services, experiences, compliance

with specifications, and other such factors as may be necessary in the

circumstances.

D.  To make the award to any Offeror who, in the opinion of senior management,

is in the best interest of the City.

E.  To make award based on negotiations conducted in accordance with this

solicitation or on the basis of a best and final offer by the Offeror.

F.  Only the evaluation factors specified in this solicitation may be used as a basis

for award.

19.02	Final Judgment.  If any doubt or difference of opinion arises between the City of Myrtle

Beach and the Offeror as to the interpretation of this request for proposal, the decision of

the City will be final and binding upon all parties.

19.03	Clarification.  The City of Myrtle Beach reserves the right to obtain clarification on any

point in the Offeror’s proposal. The failure of the Offeror to make additional information

available could result in the rejection of the response.  Such clarification might involve the

delivery of demonstration equipment to the City for evaluation purposes.  Such hardware

shall be provided at no cost to the City.  The City is not obliged to evaluate any or all

products.

19.04	Price Increase.  The City of Myrtle Beach reserves the right to accept or reject any price

increase(s) and to cancel any and all item(s) under the contract for which price increase(s)

is/are considered unacceptable.

19.05	Loss/Damage.  The City of Myrtle Beach shall not be responsible for the loss or damage

of any items during the RFP process.

19.06	Performance Failure.  In the event that the Offeror fails to perform any material

obligations, the City of Myrtle Beach reserves the right to give the Offeror written cure

notice of such failure.  The Offeror shall then have five (5) calendar days to resolve the

failure. If the failure is not resolved within five (5) calendar days, the City reserves the

right to withhold all money that is due and payable to the Offeror.  Such a remedy is in

addition to other remedies that might be available to the City. Moreover, the City reserves

the right to terminate the contract if the Offeror exceeds the five (5) calendar days of non-

performance without the approval of the purchasing manager.

19.07	Termination for Convenience.  The City of Myrtle Beach reserves the right to terminate

the contract with the Contractor when it is in the best interest of the City.  If the contract

is so terminated, the City shall provide the Contractor with thirty (30) calendar days

written notice and shall compensate the Contractor for all necessary and reasonable direct

costs of performing the services actually accomplished as of the date of termination.  No

other costs shall be allowed for a termination for convenience.  No damages shall be

allowed for a termination of convenience.

19.08	Termination for Default.  The performance of work under this proposal may be

terminated by the City in whole, or in part, upon non-performance, violation of contract

terms, delivery failure, bankruptcy or insolvency, or whenever the City determines that

termination is in the City’s best interest.  Any such termination shall be communicated by

a written notice of default, delivered to the Offeror, at least fifteen calendar (15) days before

the date of termination, specifying the extent to which performance of the work is

terminated, and the date upon which such termination becomes effective.  The City of

Myrtle Beach shall be entitled to recover all fees, costs, claims, or damages incurred as a

result of the Contractor’s breach of this Agreement, including reasonable attorney’s fees

and costs of legal action instituted by the City to collect such fees, costs, claims, or

damages.

If the City, in its discretion, determines that the Contractor’s breach constitutes a threat to

public health, safety, or welfare of any person, or causes willful or negligent damage to

City property, the City may terminate the contract immediately, without cure or show

cause, effective upon notice in writing to the Contractor.  In addition to any other

remedies provided by law, the Contractor shall be responsible for all costs incurred by the

City as a result of the Contractor’s breach and termination, including any costs to obtain

substitute performance.

19.09	Negotiation.  Prior to the notice of award to any offeror, the City of Myrtle Beach may

elect to open negotiations and ultimately reach an agreement with an Offeror who

demonstrates the best combination of attributes to conduct the project, and who also

negotiates a project cost with the City that is fair and reasonable.  The negotiation period

shall be no more than five (5) City business days.  In these negotiations, the City may

address scope of work, unit pricing, or any other contractual requirements fairly contained

within the proposal documents.  In the event that negotiations should commence but fail,

the City shall reject any or all proposals.

20.0	ADA COMPLIANCE:

20.01	Contact Information.  Questions concerning the proposal requirements or specifications

should be directed in writing to the procurement buyer shown on the front page of this

proposal package.  If you need disability-related accommodations, please contact

(843) 918-2170.

21.0	SIGNATURES:

21.01	Accuracy and Completeness.  The authorized signer of the proposal shall represent and

warrant that they have been sufficiently informed in all matters relating to the specified

products; that they have checked their proposal for errors and omissions; that the prices

stated in their proposal are correct and as intended are a complete and correct statement of

prices.

21.02	Non-Collusion.  The authorized signer of the proposal certifies that the proposal is made

without collusion or fraud, and that they have not offered or received any kickbacks or

inducements from any other offeror, supplier, manufacturer, or subcontractor in

connection with their proposal.  Furthermore, the authorized signer certifies that they

have not conferred on any public employee having official responsibility for this

procurement transaction any payment, loan, subscription, advance, deposit of money,

services, or anything of more than nominal value, present or promised, unless

consideration of substantially equal or greater value was exchanged.  Prior compensated

consulting shall not preclude an Offeror from submitting a proposal.

21.03	Compliance.  By Signature below the Offeror affirms that they have examined,

understands and accepts all instructions, specifications and conditions, and shall provide

for appropriate insurance, deposits, and performance bonds if required, and shall comply

fully with specifications as attached for the agreed contract, especially where materials and

work are involved, and that any and all registration requirements where required for

Offerors as set forth in law are met.

____________________________________________________________________________________

Signature of Offeror									Date of Signing

____________________________________________________________________________________

Print Name of Offeror

If more convenient, tabulations are available for pick-up after final award. No proposal tabulations will be faxed.

# TECHNICAL SPECIFICATIONS AND OTHER REQUIREMENTS

INTENT

It is the intent of this proposal is to establish a term contract for Escalator and Elevator Maintenance and Repair to be performed on equipment located Myrtle Beach Convention Center located 2101 North Oak Street, Myrtle Beach, SC.

The successful Contractor shall be responsible for providing all materials supplies parts, tools, equipment, labor, supervision, transportation and all other things necessary to perform the work required under this contract.

TERM OF CONTRACT

The term of the contract shall be for a period one (1) base year with an option to renew for four (4) additional one (1) year periods. Upon successful completion of the base year contract term, renewal of the contract may be considered provided both parties agree, the terms and conditions remain the same, and renewal is in the best interest of the City. Should the contract be renewed, the renewal shall be documented by contract and/or service agreement.

Escalator maintenance shall begin upon award of the contract and elevator maintenance shall begin 10 days after award.

Either party may terminate the contract by providing thirty (30) days written notice to the other party.

SITE VISIT

If site visit required, please contact Zeke Fowler at 843-918-1258

SCOPE OF WORK

Contractor shall provide complete maintenance and repair service for two (2) escalators and two (2) elevators specified elsewhere in this proposal. Except where specified otherwise, maintenance and repair applies to all parts of the equipment.

All features of operation control and dispatching included in the original installations shall be functionally maintained unless written authorization is obtained to the contrary from the City.

Regular service inspections will be required on a monthly basis, however, Contractor shall make the necessary number of inspections required to maintain all equipment in prime operating condition using industry best practices at all times.

Some equipment may require that service duties be performed on a specific day or at a specific time to accommodate the building.

Any work not specifically mentioned, but which is needed to make the work complete within the intent of these specifications, shall be performed without additional cost.

These are minimum requirements only and are not limited and do not relieve Contractor from the responsibility of providing the necessary service time and visits to maintain equipment in accordance with these specifications.

Any questions requiring interpretation or clarification of these specifications shall be referred to the Purchasing Office.

WORK AND MATERIAL FURNISHED

The Contractor shall furnish all work and material required under this contract in full compliance with South Carolina Elevator Code, Title 41, Chapter 16 and ASME A17.1 (Safety Code for Elevators and Escalators).

Contractor’s abilities and experience are to include the following:

- Contractor shall have at its disposal all necessary diagnostic tools, manuals, and equipment for complete maintenance and trouble shooting of the manufacturer and type of equipment covered by this contract.

- Have the necessary facilities and plant, including parts inventory within reasonable distance, or by overnight delivery, to perform per the specifications.

- Satisfactory performance for contracts with similar proprietary control requirements.

- Have full understanding that all maintenance duties shall be performed in strict accordance with the City’s escalator and elevator maintenance contract.

- Contractor shall furnish all consumable supplies such as rags, cleaning materials, cotton waste, rope, paints, solvents, preservatives, oils including gear oil, greases, other lubricants including chain lubricants and all other related items necessary to clean and lubricate the equipment as required. All preservatives, oils, greases and other lubricants shall be of the proper type and grade for the purpose used.

CONTRACTOR PERFORMANCE LEVELS

Contractor shall maintain guaranteed performance levels as specified herein.

Repairs or renewals necessitated by ordinary wear and tear due to operation of the equipment shall apply to this contract. The Contractor will not be required to make adjustments, repairs, or renewals necessitated by negligence or misuse of the equipment by others or vandalism. For any such adjustments, repairs or renewals that are outside the scope of this contract, the Contractor shall furnish a detailed cost estimate for the services and materials necessary to correct the deficiency. If the repair proposal is acceptable to the City, a separate purchase order will be provided.

The Contractor will be required to supply, repair and clean or replace all parts required due to ordinary wear and tear. Only parts correctly designed and suitable in all respects shall be used. Contractor shall provide locally available supply of spare parts adequate for said repair and/or services within a reasonable time. If in the opinion of the Building Superintendent or designated representative an unreasonable amount of time is consumed in restoring normal service because of parts procurement, payment for the month in which service is requested may be cancelled. Any parts or equipment locally available will be purchased locally, if necessary, to expedite the job.

The Contractor will not be required to make repairs or renewals due to parts obsolescence. The Contractor shall notify the Building Superintendent or designated representative that such parts or equal parts are not available prior to submitting costs to replace the part and prior to making modifications. The City reserves the right to negotiate such repairs and/or modernizations on an as needed basis. This work is considered to be outside the scope of the contract.

On each visit, prior to commencing work, Contractor or its employees shall notify the Building Superintendent or other designated representative of the City of their presence and intent to work.

SCHEDULES AND RECORDS REQUIRED

A.     Contractor shall prepare and submit, to the Building Superintendent or designated representative, a schedule giving the projected dates for all inspections, lubrications, adjustments, tests, cleaning and other maintenance activities for all equipment to be maintained.

B.     This work schedule shall be designated for each type of equipment to be serviced and shall conform to the manufacturer’s recommended practice for the particular equipment concerned. The schedule shall show the kind and frequency of service proposed by the Contractor for the duration of the contract.

C.     Approval by the Building Superintendent or designated representative will be required for

the proposed work schedule. Contractor shall make adjustments in scheduling to suit

building requirements when so requested by the Building Superintendent or designated

representative.

D.     After approval of schedule by the Building Superintendent, Contractor shall keep the

work schedule on display in the applicable equipment room and perform regular

maintenance service in accordance therewith. Schedules posted shall be of the chart type

which shall be initialed by the service worker when each scheduled inspection is

performed. Schedules shall be the property of the City.

E.     Contractor shall, in addition to routine inspections, maintain accurate and complete logs of

all other work performed. These logs shall include any emergency callback service

describing the nature of all complaints and resolutions. Logs shall be kept in the

applicable equipment room. All logs shall be the property of the City.

F.     Contractor shall submit with the monthly billing to the City, as a basis for payment of claim

for services rendered, a monthly work sheet clearly indicating all work performed,

scheduled or unscheduled, and the hours worked.

G.     All forms required for schedules, work sheets, callback records and performance reports

must be approved by the Building Superintendent or designated representative. All

completed schedules, logs and records become the property of the City.

H.     Contract is based on doing maintenance on regular time. Should overtime be required, the

premium on the overtime involved will be paid the Contractor in addition to the monthly

rate. Prior approval for overtime must be obtained by the Building Superintendent before

commencing work.

ESCALATOR MAINTENANCE

Except where specified otherwise, work applies to all parts of the escalators and wiring including, but not limited to:

Escalator machines, motors, brakes, brake lining, drive chains, novatex boards, bull   gears, handrails, step and chain rollers, spindles, steps, step treads, step risers, sprockets, worm and gears, bearings, seals, comb plates, rollers, newels, handrail guides, handrail boards, controllers, internal lights and stop switches.

- Wiring, tracks, step and hand rail chains and all structural members.

- Governors, contacts, fuses, lit switches, push buttons, safety switches, safety brushes, and all other electrical control panels.

- All other signal and accessory devices which are part of the escalator installation at the time the bid for work is submitted.

The following exclusions will apply:

- Refinishing or replacing of escalator balustrading, panels and enclosures and                           all power lines to the main escalator disconnect.

- Installing of new attachments as may be recommended or directed by insurance companies or by governmental authorities.

Maintenance shall include, but is not limited to, the following:

At the beginning of this contract and annually thereafter for the term of the contract, the

Contractor shall thoroughly inspect, clean, adjust, and if necessary, repair the complete

escalator unit. One-half (1/2) of the steps shall be removed, cleaned and inspected on

alternating year inspections. Steps shall be marked with year removed.

- Monthly inspections are to include regular and systematic examination, adjustment, cleaning and  lubrication of the equipment.

  - Escalator skirt panel clearances and safety switch clearances shall be

maintained. Condition of skirt panels and brushes shall be inspected and brushes  replaced if unacceptably worn.

2.   Any cracks discovered shall be corrected per the manufacturer’s recommendations. Loose step treads or risers shall be tightened. Chipped or broken step treads or risers shall be replaced. Drip pans, tracks, trusses, and all other accessible areas shall be thoroughly cleaned. All step and chain rollers shall be examined, lubricated if applicable, and replaced if unacceptably worn. When applicable, novatex boards shall be properly adjusted to relieve pressure from the chain rollers.

3.   All chains shall be checked for excessive wear and shall be lubricated and properly adjusted. Gear lubricants shall be filled to proper levels. Handrail tension shall be checked and adjusted if needed. Brakes shall be cleaned and adjusted. Motor starter contacts shall be replaced when necessary. The brake shall be tested with full load and, if necessary, adjusted for proper stopping distance. All safety

switches shall be checked and adjusted to function as intended.

4.   Exterior of machinery, motors, controls, and all other parts shall be cleaned, properly painted and presentable at all times. Step treads and risers shall be kept  free from oil at all times.

5.   A condition and test evaluation report shall be provided to the Building Superintendent or designated representative detailing the condition, tests results and corrections made to the equipment.

C.     All broken or damaged comb plates shall be replaced as provided for in emergency call-

back service at no additional cost to the City unless negligence,  misuse or vandalism can

be proven.

Any extra charge associated with Contractor’s claim of negligence or misuse must be

verified with Building Superintendent or designated representative prior to the repair of

the equipment or payment may be withheld. Claims of negligence, misuse or vandalism

must be verified and agreed to by the City before payment will be made. Occasional comb

tooth breakage will be considered normal wear and tear.

D.     	At the option of and in the presence of the Building Superintendent or designated

representative, the following full load, full speed test may be required:

Load will be placed on each escalator near the top after which the unit will be started

in the down direction. The units will then be stopped and the sliding distance

accurately measured. Each escalator shall stop within seven (7) inches to twenty-four

(24) inches depending on the load.

E.      At the start of the contract and at least semiannually throughout the contract, Contractor

shall submit a comprehensive report showing actual measurements of operational

performances of all escalators. All escalators are to be checked annually by an adjuster

with a written report submitted to the Building Superintendent. A final report must be

submitted during final thirty (30) days of contract. Reports shall point out discrepancies

or irregularities in operation and recommend solutions.

F.      In addition to performance standards called for, escalators shall be kept in adjustment to

operate smoothly and quietly and steps shall not teeter.

ELEVATOR MAINTENANCE

The following exclusions shall apply:

Repair, refinishing or replacement of car lighting fixtures, ballasts, car and

hoist way enclosures, car and hoist way door panel frames and sills, power

switches or fuses for same, power wiring to the controller, hydraulic elevator

cylinders and underground piping.

  - Installing of new attachments as may be recommended or directed by insurance

companies or by governmental authorities.

Maintenance shall include, but is not limited to, the following:

- When required or necessary, adjust, repair or replace solid-state controls and circuit boards and provide programming as needed. Repair or replace as required, machine, motor, generator and controller parts, including: generator, worm gears, thrusts, brake magnet coils, brake shoes, brushes, windings, commutators, armature coils, contacts, resistance units, magnet frames, sheaves, shafts, bearings, plungers, pumping plants, tanks, piping, operating valves and all other mechanical parts.

- Lubricate guide rails and, when necessary, repair or renew car guide shoes. Counter-weight guide shoes and adjust or replace belts and when necessary, equalize tension on hoisting ropes; renew, when necessary, all wire rope cables and repair or replace conductor trail cables; replace fuses and indicator bulbs in operating panels, stations and indicators; renew, when necessary, wiring for shaftway door interlocks and wiring for push button and cat operating stations.

- Keep equipment pits and machinery spaces clean. The City will repair elevator pit sump pumps; however, Contractor shall notify the Building Superintendent or designated representative immediately by telephone, then in writing of any malfunction or standing water in the pit.

- Test emergency lighting, fire fighter and other emergency operating devices and seismic operation on a monthly basis. Check telephones during each service visit to confirm correct operation of the telephone service to the designated answering site.

- Test all safety devices, governors, buffers, etc. Contractor shall promptly correct any defects that may be found during the testing and examining of the safety devices and shall send a notice to the Building Superintendent or designated representative advising of the tests and corrections. Testing shall be performed in the presence of the duly authorized City Representative and written reports of the test results shall be provided.

- The following tests shall be preformed prior to the date required by the SC Elevator Code and/or ASME Safety Code for Elevators. A written report of the test results shall be provided to the Building Superintendent or designated representative:

TESTS: Buffer tests on oil buffers. By-pass settings and drift check on hydro elevators.

- Keep exterior of the machinery and any other parts of the equipment that are subject to rust properly painted and presentable at all times. Motor windings and controller coils are to be periodically treated with proper insulating compound.

- Provide 24-hour emergency callback service for all equipment maintained hereunder at no additional cost to the City.

1.	Emergency callback shall consist of prompt response to requests from an authorized City representative for emergency service on any day of the week, at any hour of the day or night. An “emergency call-back” is defined as any requirement to extract person(s) “trapped” in an elevator and/or to restore equipment to normal operation between regular service calls. “Prompt response” is defined as:

a.   Thirty (30) minutes if people are “trapped” in an elevator.

b.   Ninety (90) minutes for all other emergency callbacks.

2.    Failure to meet the above times may be considered reason for termination of the

contract, withholding of payment and/or hiring of another elevator contractor to

complete the work at the current Contractor’s expense.

Cost for emergency service described herein shall be included in the monthly

rate of the contract.

Contractor shall at all times, 24 hours per day, 7 days per week, have a back-up mechanic on stand-by to respond to emergency call backs or necessary after hours repairs should the assigned standby mechanic not respond.

I.      When requested by the City, Contractor shall submit a comprehensive quarterly report showing actual measurements of operational performance of the elevator(s). Report shall be on a form approved by the City and shall include brake to brake times, cycle times, door open and door close times, door waiting times, ride quality and all other pertinent information.

J.     Bi-annually, both elevators are to be checked and adjusted by an elevator adjuster, as

described herein, with a written report submitted to the Building Superintendent or

designated representative and a final report submitted during the final thirty (30) days of

the contract. If it is necessary to adjust an elevator on a more frequent time period,

Contractor shall abide by the request from the Building Superintendent or designated

representative.

Bi-annual adjustment shall include but is not limited to:

  - Using oscilloscope or equal device to adjust acceleration, deceleration, leveling and other necessary motor control functions

  - Cleaning and adjusting of all brakes

  - Adjusting all load weighing devices using test weights

  - Testing and calibrating governors

  - Thoroughly evaluating and correcting any problems with signal, dispatch or zoning circuitry

ELEVATOR EQUIPMENT PERFORMANCE

- Elevators are to be maintained in accordance with operational performance standards. Performance shall be brought up to these standards and maintained at all times during the contract. Elevators shall be kept in adjustment to provide:

  - Smooth starting and leveling without jars or bumps.

  - Full-speed riding free of sway and vibration.

  - Quiet operation of cars and doors.

- Periodic checks of the condition and performance of the equipment by a duly authorized City Representative will be made. Any discrepancies shall be corrected and performance shall be brought up to these standards and maintained at all times during the contract.

- Contractor shall also make adjustments to door waiting times, etc., to suit building requirements when so requested by the Building Superintendent or designated representative.

WIRING AND CONSTRUCTION PRINTS

- All wiring and construction prints or diagrams of the equipment covered under this contract are the property of the City and upon termination of this contract shall be delivered to the Building Superintendent or designated representative. Absolutely no changes are to be made to the circuitry or mechanical systems without prior approval of the Building Superintendent. Any changes made without prior approval may be considered a breach of contract. All changes in circuitry made by the Contractor shall be properly recorded on the diagrams including date of change and name of person making same. It is the responsibility of the Contractor to maintain clean, legible, readable and accurate schematics and wiring diagrams at all times. Prints and diagrams are to remain on the job site and are the property of the City.

- All changes to diagrams and new diagrams furnished shall be mounted to hard board or masonite and kept in the applicable equipment room.

- Existing straight line or schematic diagrams mounted on hard board, masonite or other similar type material are to be kept in good condition and repair so as to allow use of same. If deterioration or damage is done to the above diagrams due to negligence on the part of the Contractor, the Contractor shall supply, at Contractor’s expense, a new set in conformance with above and mount in the applicable equipment room.

SHUTDOWN PROCEDURE

- Any equipment covered under this contract that is shut down for any reason shall be immediately reported to the Building Superintendent or other authorized representative with full disclosure of problem(s) and procedure(s) being taken to reactivate the equipment. Should the shutdown be for an extended period of time, the City reserves the right to “pro-rate” the maintenance charge for the period of shutdown.

- When equipment is shut down, Contractor shall place “Out of Order” signs at all entrances to the equipment.

# EVALUATION CRITERIA: Proposals will be evaluated using the following criteria:

- Qualifications: 25%

Submit three (3) projects completed within the last twenty-four (24) months with a brief description of work including the location (be specific as to building name, address, etc.)

Include average down time of equipment before repairs are made, average time it takes to order and receive replacement parts for repair. Provide bot best and worst response times with some details.

2.	References: 15%

List references of current and past customers and past performance on other projects.

3.	Contract Management and Personnel Capability: 25%

Provide your company’s plan to manage this contract. Explain how your company plans to staff 	and conduct the work of the contract. Present your project management and procedures and 	proposed staffing.

4.   Cost: 35%

Provide your company’s past experience with similar of like services provided by the proposer.

REPAIR/CALLBACK SERVICES

The Contractor must make repair/callback services available on a twenty-four (24) hour a day, seven days per week basis.  In the event of a failure of the equipment, or to operate properly, the City of Myrtle Beach, at its option, will notify the Contractor and request immediate repair.  The costs associated with these repairs will be paid to the Contractor at the price indicated on the Proposal.

It shall be the responsibility of the Contractor to supply all necessary tools and equipment to perform the work as requested.

The Contractor must supply material invoices, indicating mark-up percentage, when submitting invoices to the City of Myrtle Beach, for work performed under this agreement.

Price Schedule

In accordance with the project scope, plans, drawings and specifications in the contract, the Contractor shall provide all plant, supervision, labor, materials, equipment, supplies, and transportation necessary to complete this scope of work.  Prices to include all taxes and costs, including (but not limited to):  supplies, tools, equipment, labor, supervision, delivery, loading/unloading, truck charges, mileage, travel time, per diem, fuel, fuel surcharges, energy surcharges, hazardous material handling fees, environmental impact fees, and waste disposal fees.

All work shall comply with all federal, state, and local laws and regulations, industry and construction codes and standards, manufacturer’s specifications and recommendations, all contract special provisions, and terms and conditions.  FOB:  Destination

| Item # | Description | Qty. | Unit of Issue | Unit Bid Price | Total Bid Price |
| --- | --- | --- | --- | --- | --- |
| 1 | Maintenance of two (2) Montgomery Escalator Two (2) each Two floors, 6000 lb. capacity, 90 ft. | 2 | EA | $________/mo | $_________/yr |
| 2 | Maintenance of One (1) each Two floors Montgomery Hydraulic Passenger Elevator One each, Two floors | 1 | EA | $________/mo | $_________/yr |
| 3 | Maintenance of one (1) each, Two floors, Montgomery Hydraulic Freight Elevator | 1 | EA | $_________/mo | $_________/yr |
| Grand Total Price (Line Items 1, 2, 3) |  |  |  |  | $____________ |

HOURLY RATES FOR WORK & REPAIRS NOT INCLUDED IN MONTHLY MAINTENANCE WORK:

Straight time hourly rate/Mechanic:					$___________/Hour

Time and one half rate/Mechanic					$___________/Hour

Double time rate including Sundays and Holidays/Mechanic		$___________/Hour

Material markup:							  ____________%

City of Myrtle Beach

INSURANCE REQUIREMENTS

PUBLIC LIABILITY AND PROPERTY DAMAGE

The Contractor shall purchase and thereafter maintain for the term of this agreement, and any subsequent extensions hereto, public liability insurance to protect Contractor from claims for bodily injury and/or property damage which may result from Contractor’s performance of this agreement. The policy shall provide a combined single limit of liability of $1,000,000 per occurrence for bodily injury and property damage with an aggregated limit of not less than $1,000,000.

AUTOMOBILE LIABILITY

The Contractor shall purchase and thereafter maintain for the term of this agreement and any subsequent extensions hereto, comprehensive automobile liability insurance to protect the Contractor from claims for bodily injury and property damage which may arise from Contractor’s use of motor vehicles in the performance of this agreement. The policy shall provide for a combined single limit of $1,000,000 per occurrence for bodily injury and property damage.

WORKERS’ COMPENSATION INSURANCE

Prior to beginning the work, the Contractor shall take out full compensation insurance for all persons which may be employed directly or indirectly in the performance of this agreement, coverage is to apply to all employees for statutory limits in compliance with the applicable state and federal laws. The policy must provide Employers Liability coverage in the amount of $500,000 each accident; $500,000 bodily injury by disease each employee and $500,000 bodily injury by disease policy limit and shall be maintained in full force and effect during the term and any subsequent extensions hereto.

EXCESS LIABILITY POLICY

At the option of the Contractor, the limits of the primary general liability, automobile liability and employer’s liability policies may be less than stipulated herein, with an excess policy providing the additional limits needed. This form of coverage must be approved by the City and will only be acceptable when both the primary and excess policies include the coverage and endorsements required herein.

POLICY ENDORSEMENTS

The following requirements shall apply to the policy(s) indicated below:

- General Liability and Automobile Liability

It is understood and agreed that the City of Myrtle Beach, its officials, agents and employees are recognized as additional insured under the policy and, as such, will be provided thirty (30) days written notice by mail of non-renewal, exhaustion of aggregate limit, modification of coverage or cancellation for any reason, and the company hereby agrees to provide such notice. Failure of the company to provide the required notice shall cause the coverage to continue in force for the benefit of the City, its officials, agents and employees until proper notification, as required herein, is provided, the provisions of the policy or any Certificate of Insurance to the contrary notwithstanding.

- Workers’ Compensation

The cancellation provision is hereby amended to provide that the City of Myrtle Beach will be provided thirty (30) days written notice via mail in the event of coverage cancellation.

### INSURANCE REQUIREMENTS continued

NOTIFICATION OF INSURANCE COMPANIES

It is the responsibility of the Contractor to notify all insurance companies to familiarize themselves with all the terms and conditions of this agreement. The insurance companies shall waive their right of notification by the City of any change or modification of this contract, or of decreased or increased work, or of the cancellation of this agreement or of any other acts by the City or its authorized employees or agents under the terms of this agreement. The waiver by the insurance companies shall in no way relieve them of their obligations under this agreement.

CERTIFICATES OF INSURANCE

Contractor shall file with the City a Certificate of Insurance, which shall be approved by the City prior to the inception of any work. Renewal certificates shall be sent to the City thirty (30) days prior to any expiration date.

INSURER LICENSING AND RATING

All insurance companies providing coverage to the City, shall be licensed to do business in the State and have an A.M. Best rating of “A-“ or better.

INSURANCE COVERAGE ADJUSTMENTS

In response to changing circumstance of loss exposures, the City reserves the right to modify the insurance coverage, limits of liability, policy endorsements and policy terms required in this contract. The City will provide written notice to the Contractor, which outlines such changes and allow Contractor a reasonable period of time in which to comply with the new requirements. However, in no event shall Contractor compliance period be longer than thirty (30) days.

COVERAGE CANCELLATION OR UNSATISFACTORY COVERAGE

If at any time any of the foregoing policies shall be or become unsatisfactory to the City, as to form or substance, or if a company issuing any such policy shall be or become unsatisfactory to the City, the Contractor shall, upon notice to that effect from the City, promptly obtain a new policy and submit the same for approval to the City. Upon failure of the Contractor to furnish, deliver and maintain the insurance coverage’s required herein, this agreement, at the sole discretion of the City, may be forthwith declared suspended, discontinued or terminated. Failure of the Contractor to take out and/or maintain any required insurance shall not relieve the Contractor from any liability under this agreement, nor shall the insurance requirements be construed to conflict with or otherwise limit the obligations of the Contractor concerning indemnification.

HOLD HARMLESS

Contractor agrees to protect, defend, indemnify and hold the City, its officers, employees and agents free and harmless from and against any and all losses, penalties, damages, settlements, cost, charges, professional fees or other expenses and liabilities of every kind and character arising out of, or relating to, any and all claims, liens, demands, obligations, actions, proceedings or causes of action of every kind in connection with or arising out of this agreement, and/or the performance hereof, that are due to the negligence of the Contractor, its officers, employees or agents. The Contractor further agrees to investigate, handle, respond to, provide defense for and defend the same at its sole expense and agrees to bear all other costs and expenses related thereto.

INSURANCE REQUIREMENTS continued

### SAMPLE

| #### CERTIFICATE OF INSURANCE |  |  |  |  |  |  |  | CERTIFICATE NUMBER |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ##### PRODUCER Insurance Agent Name 4000 Insurance Pkwy Anytown, USA 99999 |  | THIS CERTIFICATE IS ISSUED AS A MATTER OF INFORMATION ONLY AND CONFERS NO RIGHTS UPON THE CERTIFICATE HOLDER OTHER THAN THOSE PROVIDED IN THE POLICY. THIS CERTIFICATE DOES NOT AMEND, EXTEND OR ALTER THE COVERAGE AFFORDED BY THE POLICIES DESCRIBED HEREIN. |  |  |  |  |  |  |  |
|  |  |  |  |  | ##### COMPANIES AFFORDING COVERAGE |  |  |  |  |
| ##### INSURED Bidding Firm’s Name 1000 Any Street Anytown, USA 99999 |  | ###### COMPANY A ABC INSURANCE COMPANY COMPANY B COMPANY C COMPANY D |  |  |  |  |  |  |  |
| COVERAGES-THIS CERTIFICATE SUPERCEDES AND REPLACES ANY PREVIOUSLY ISSUED CERTIFICATE FOR THE POLICY NOTED BELOW |  |  |  |  |  |  |  |  |  |
| This is to certify that policies of insurance described herein have been issued to the insured named herein for the policy indicated. Notwithstanding any requirement, term or condition of any contract or other document with respect to which the certificate may be issued or may pertain, the insurance afforded by the policies described herein is subject to all the terms, conditions and exclusions of such policies. Aggregate limits shown may have been reduced by paid claims. |  |  |  |  |  |  |  |  |  |
| CO LTR | TYPE OF INSURANCE |  | POLICY NUMBER | POLICY EFFECTIVE DATE (MM/DD/YY) |  | POLICY EXPIRATION DATE (MM/DD/YY) | LIMITS |  |  |
| A | General Liability X Commercial General Liability _ Claims Made X Occur _ Owners & Contractor’s Prot ________________ |  | XYZ1234 | 00/00/00 |  | 00/00/00 | General Aggregate Products-Comp/Op Agg Personal & Adv Injury Each Occurrence Fire Damage (any 1 fire) |  | $ 1,000,000 $ 1,000,000 $ 1,000,000 $ 1,000,000 $ 50,000 |
| A | Automobile Liability X Any Auto _ All Owned Autos _ Scheduled Autos X Hired Autos X Non-Owned Autos_ |  | XYZ1234 | 00/00/00 |  | 00/00/00 | Combined Single Limit Bodily Injury (Per person) Bodily Injury (Per accident) Property Damage |  | $ 1,000,000 $ $ $ |
|  | Garage Liability _ Any Auto ________________ |  |  | 00/00/00 |  | 00/00/00 | Auto Only-Ea Accident Other than auto only: Each Accident Aggregate |  | $ $ $ |
|  | Excess Liability _ Umbrella Form _ Other than Umbrella Form |  |  | 00/00/00 |  | 00/00/00 | Each Occurrence Aggregate |  | $ $ |
| A | Workers Compensation (and Employer’s Liability) The Proprietor/Partners Executive Officers Are: X Inc _ Excl |  | XYZ1234 | 00/00/00 |  | 00/00/00 | X WC Statutory Limits _ Other EL Each Accident EL Disease-Policy Ltd EL Disease-Ea Employee |  | $ 500,000 $ 500,000 $ 500,000 |
|  | Other |  |  |  |  |  |  |  |  |
| Description of Operations/Locations/Vehicles/Special Items: City of Myrtle Beach is named as additional insured with respect to General and Automobile Liability |  |  |  |  |  |  |  |  |  |
| CERTIFICATE HOLDER |  |  |  | CANCELLATION |  |  |  |  |  |
| City of Myrtle Beach Attn: Purchasing Division Drawer 2468 Myrtle Beach, SC 29578-2468 |  |  |  | Should any of the policies described herein be cancelled before the expiration date thereof, the insurer affording coverage will endeavor to mail 30 days written notice to the certificate holder named herein, but failure to mail such notice shall impose no obligation or liability of any kind upon the insurer affording coverage, its agents or representatives, or the issuer of this certificate. |  |  |  |  |  |
|  |  |  |  | ##### INSURANCE AGENT SIGNATURE |  |  |  |  |  |

ADDITIONAL TERMS AND CONDITIONS

- Include with your proposal at least three (3) references of similar products/services provided by your company.  Telephone number and person to contact must be included for proposal consideration.

| 1) | __________________________________________________________________ |
| --- | --- |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |
| 2) | __________________________________________________________________ |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |
| 3) | __________________________________________________________________ |
|  | __________________________________________________________________ |
|  | __________________________________________________________________ |

- List any exceptions to specifications:

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

PROPOSAL AND SIGNATURE DOCUMENT

Proposal Number:  21-R0016

The undersigned, as Offeror, declare that we have examined all proposal documents contained herein and will contract, thereon, with the City of Myrtle Beach (hereinafter referred to as the “City”) and do everything necessary for the fulfillment of this contract.  We agree any addenda received are part of the proposal documents.  (If no addenda have been received, please place a zero in the space provided.)

In addition, we propose to furnish the following services in strict conformance to the proposal specifications and proposal invitation issued by the City of Myrtle Beach for this proposal.  Any exceptions are clearly noted as required.

We understand that any false statement made to meet any requirements may result in contract cancellation or initiation of action under federal or state laws, or both.

____________________________________________________________________________________

Offeror – Company Name

____________________________________________________________________________________

Mailing Address

____________________________________________________________________________________

Remittance Address (if different from mailing address)

____________________________________________________________________________________

Telephone Number										Fax Number

____________________________________________________________________________________

E-mail

____________________________________________________________________________________

Authorized Signature										Date

Addenda Numbers Received:  ___________________________________________________________

Printed Name:  _______________________________________________________________________

City Business License Number:  _________________________________________________________

South Carolina Sales Tax Registration Number:  ____________________________________________

If no SC Sales Tax Number, please give reason:  ____________________________________________

Federal Tax ID Number (FEIN):  ________________________________________________________

|  | CITY OF MYRTLE BEACH LOCAL VENDOR PREFERENCE TO QUALIFY FOR LOCAL PREFERENCE FORM MUST BE SUBMITTED WITH BID |
| --- | --- |
| First in Service |  |

APPLICATION OF ELIGIBILITY TO QUALIFY FOR LOCAL VENDOR PREFERENCE WITHIN THE DEFINED BOUNDARIES: MYRTLE BEACH CITY LIMITS, HORRY COUNTY, NESA AREA (NESA area is comprised of Horry, Georgetown, Williamsburg, Florence, Marion, Darlington, Dillon, Chesterfield, and Marlboro Counties).

| City of Myrtle Beach Business License: (To qualify for Local Vendor Preference vendor must have had a City of Myrtle Beach Business License a minimum of ninety (90) days prior to the request for bid/ proposal being made public) |  |  |
| --- | --- | --- |
| City of MB Business License Number: ______________ *NOT Horry County License Number | Date issued: ______________ |

Complete all areas below. Incomplete forms may be rejected.

| 1. | LEGAL NAME OF BUSINESS: |  |  | __________________________________________ |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mailing Address: |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |  |
|  | Physical Address: (To qualify vendor must have maintained a physical address and office as a principal place of business within the defined boundaries of the category sought for at least one (1) year, and during that time have had a majority of full-time employees, chief officers and managers regularly conducting work and business from this office.) |  |  |  |  | ________________________________________ ________________________________________ |  |  |  |  |  |
| 2. | Year business was established in the City of Myrtle Beach / Horry County / NESA area: |  |  |  |  |  |  |  |  |  |  |
|  | Year: | ______________ |  |  |  |  | County: |  | ______________ |  |  |
|  |  |  |  |  | (Name of County) |  |  |  |  |  |  |
| ************************************************************************************ |  |  |  |  |  |  |  |  |  |  |  |  |
| Under penalty of perjury, the undersigned states that the foregoing statements are true and correct. The undersigned also acknowledges that any person, firm, corporation or entity intentionally submitting false information to the City in an attempt to qualify for local preference shall be prohibited from bidding on City of Myrtle Beach products and services for a period of one (1) year. |  |  |  |  |  |  |  |  |  |  |  |
| Authorized Signature: |  |  | ____________________________________ |  |  |  |  |  |  | Date: | ______________ |
| Printed Name & Title: |  |  | ____________________________________ |  |  |  |  |  |  | Phone: | ______________ |

LOCAL VENDOR PREFERENCE continued

| Bid Amount | Within City Limits | Within Horry County | Within NESA Area |
| --- | --- | --- | --- |
| From $7,500.01 to $25,000.00 | 5% of Bid | 4% of Bid | 3% of Bid |
| $25,000.01 and up | $500.00 plus 4% of amount above $25,000.00 with the maximum being $2,000.00 including the $500.00 | $400.00 plus 3% of amount above $25,000.00 with the maxium being $1,800.00 including the $400.00 | $300.00 plus 2% of amount above $25,000.00 with the maxium being $1,600.00 including the $300.00 |

If company/individual performs services on City property a Certificate of Insurance must be provided prior to commencement of work meeting requirements of the City.

The vendor must submit this copy of the Local Vendor Preference Certificate with their proposal.

An eligible business shall maintain such status throughout the term of any contract with the City.  Failure to maintain such status or to keep current on all fees and taxes owed the City shall be grounds to terminate the contract.