{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":90,"n_cols":4,"rows_kept":90}
["Location","Brand","Size","Type"]
[40502]
["Ashland Elem","Kohler","100KW","NG"]
["Breckinridge Elem","Cummins","100KW","NG"]
["Cassidy Elem","Kohler","150KW","NG"]
["Glendover Elem","Cummins","100KW","NG"]
["Julius Marks Elem","Cummins","80KW","NG"]
["Morton Middle","Cummins","100KW","NG"]
["Morton Middle #2","Cummins","150KW","NG"]
["Henry Clay High","Cummins","200KW","NG"]
["701 E Main","Kohler","150KW","NG"]
[40503]
["Clays Mill Elem","Cummins","90KW","NG"]
["Stonewall Elem","Olympian","125KW","NG"]
["Wellington Elem","Cummins","100KW","Propane"]
["Jessie Clark Middle","Kohler","150KW","NG"]
["SCAPA @ Lafayette","Kohler","100KW","NG"]
["Lafayette High","Cummins","200KW","NG"]
["Preschool Center","Kohler","100KW","NG"]
["Electrical Shop (portable)","Kohler","150KW","Diesel"]
["Maintenance Electrical Office","Kohler","100KW","NG"]
["Joe G White","Cummins","100KW","NG"]
["Louie Mack","Kohler","40KW","NG"]
[40504]
["Cardinal Valley Elem","Cummins","100KW","NG"]
["Garden Springs Elem","Cummins","100KW","NG"]
["James Lane Allen Elem","Kohler","200KW","NG"]
["Picadome Elem","Cummins","100KW","NG"]
["Southside Tech","Cummins","45KW","NG"]
["Beaumont Middle","Cummins","80KW","NG"]
[40505]
["Arlington Elem","Cummins","100KW","NG"]
["Deep Springs","Kohler","100KW","NG"]
["Dixie Magnet Elem","Cummins","90KW","NG"]
["Mary Todd Elem","Olympian","100KW","NG"]
["Northern Elem","Kohler","100KW","NG"]
["Yates Elem","Cummins","100KW","NG"]
["Bryan Station Middle","Kohler","100KW","Propane"]
["Bryan Station High","Cummins","300KW","NG"]
["Crawford Middle","Kohler","50KW","NG"]
[40507]
["Harrison Elem","Kohler","100KW","NG"]
[40508]
["Booker T Elem","Cummins","100KW","NG"]
["The Learning Center","Olympian","100KW","NG"]
["Maxwell Elem","Cummins","100KW","NG"]
["William Wells Brown Elem","Kohler","100KW","Propane"]
["Carter G Woodson","Cummins","100KW","NG"]
["Lexington Traditional Middle","Cummins","100KW","NG"]
["100 Midland Avenue Building","Caterpillar","800KW","Diesel"]
[40509]
["Athens Chilesburg Elem","Cummins","100KW","Propane"]
["Liberty Elem","Kohler","125KW","NG"]
["Martin Luther King Academy","Kohler","100KW","NG"]
["East Side Tech","Kohler","20KW","Diesel"]
["Edythe J Hayes Middle","Kohler","125KW","NG"]
["Frederick Douglass High","Olympian","250KW","NG"]
["Garrett Morgan Middle","Kohler","300KW","NG"]
["Liberty Bus Garage","Cummins","80KW","NG"]
["Brenda Cowen Elem","Cummins","125KW","NG"]
[40511]
["Meadowthorpe Elem","Cummins","100KW","NG"]
["Russell Cave Elem","Cummins","100KW","Propane"]
["Sandersville Elem","Olympian","100KW","NG"]
["Rise STEM Academy for Girls","Kohler","100KW","NG"]
["Locust Trace","Cummins","100KW","NG"]
["Coventry Oak Elem","Cummins","100KW","NG"]
["Leestown Middle","Cummins","100KW","NG"]
["Winburn Middle","Kohler","100KW","NG"]
["Miles Point Bus Garage","Kohler","125KW","NG"]
["Russell Cave Warehouse","Cummins","250KW","NG"]
["STEAM/ Success Academy","Kohler","250KW","NG"]
["450 Park Place John Price Building","Caterpillar","255KW","NG"]
["451 Park Place John Price Building #2","Caterpillar","260KW","NG"]
[40513]
["Rosa Parks Elem","Kohler","100KW","NG"]
["Paul Laurence Dunbar High","Caterpillar","250KW","Diesel"]
[40515]
["Squires Elem","Cummins","80KW","NG"]
["Veterans Park Elem","Kohler","100KW","NG"]
[40517]
["Academy at Millreek Elem","Cummins","100KW","NG"]
["Lansdowne Elem","Cummins","80KW","NG"]
["Tates Creek Elem","Cummins","100KW","NG"]
["Tates Creek Middle","Cummins","100KW","NG"]
["Tates Creek High","Kohler","200KW","Diesel"]
["Southern Elem","Kohler","100KW","NG"]
["Southern Middle","Kohler","50KW","NG"]
[]
["NG = Natural Gas"]