- Do we need to be registered with the City to provide a quote?

No, but you will need to register if you are awarded the contract.

- Can we come look at the aeration basins?

Yes, schedule with Hector Renteria (979) 415-2680.

- It says we have 30 days to complete the work if awarded the project.  Are those calendar days or working days?

- Calendar days

- Is a temporary air compressor required?

No.

- Can we profile the sludge ourselves?

No, the job states that the sludge removed will be dewatered.